Fluke 5100B Calibrator Firmware Ver. 1.0.7

The Fluke 5100B Calibrator is designed to be a calibrator for 4 ½ digit DMM’s.  I obtained one, repaired it, and have used it as a calibrator for up to 8 ½ digit DMM’s by using another, calibrated, 8 ½ digit DMM as a ‘transfer standard’.

I have read and archived the EPROM’s on the CPU board of the unit with firmware ver. 1.0.7.  As the unit is turned on, very briefly, the version of the firmware installed is displayed on the center display.

Below, are pictures of the CPU Board, showing the location of the EPROM’s in U23 and U24.  They are both 2764-45 EPROM’s.  U20 is occupied, along with other modifications of the CPU board, in the 5101B Calibrator.

Attached to this document are the EPROM images for the firmware.

J. L. Trantham

WB4BPP