|  | 8 kVA / 5.6 kW | 10 kVA / 7 kW | 12 kVA / 8.4 kW | 15 kVA / 10.5 kW |
| --- | --- | --- | --- | --- |
| Dimensions W x D x H | 400x750x1000 mm | 400x750x1000 mm | 400x750x1000 mm | 400x750x1000 mm |
| Air flow requirements, Free space need | 100 mm on both sides, on top and at rear of the unit | 100 mm on both sides, on top and at rear of the unit | 100 mm on both sides, on top and at rear of the unit | 100 mm on both sides, on top and at rear of the unit |
| Weight w/o int. batteries with 32 pcs bat system with 42 pcs bat system (long life batteries) with 48 pcs bat system | 235 kg 320 kg 355 kg 360 kg | 235 kg 320 kg 355 kg 360 kg | 235 kg 320 kg 355 kg 360 kg | 235 kg n/a 355 kg 360 kg |