Electronic Supporting Information

Experimental Details of UV Melting Studies

Calf Thymus (CT) DNA, poly[dA]·poly[dT] and poly[dT] DNA were purchased from Sigma as the sodium salts and used without further purification.

An aqueous buffer containing 10 mM Na2HPO4/NaH2PO4, 1 mM Na2EDTA, pH 7.00  0.01 was used for CT DNA melting experiments.

An aqueous buffer containing 10 mM sodium cacodylate, 300 mM NaCl, 0.1 mM Na2EDTA, pH 6.00  0.01 was used for triplex DNA melting experiments.

Concentrations of all DNA solutions were determined by UV spectrophotometry using the extinction coefficients: CT DNA, 260 = 12 824 M(base pairs)-1 cm-1; poly[dA]·poly[dT], 260 = 12 000 M(base pairs)-1 cm-1; poly[dT], 265 = 8 700 M(nucleotides)-1 cm-1. The poly[dA]·poly[dT]2 triplex was formed by mixing equimolar (i.e., base pairs to nucleotides) solutions of the poly[dA]·poly[dT] duplex and the poly[dT] single strand, then annealing by heating to 95 C followed by slow cooling overnight.

Ligands were dissolved in buffer or DMSO, ensuring that the ultimate concentration of DMSO was  1-2% v/v where used. DMSO calibration curves were used to correct the Tm values. Ligand stock solutions were stored in the refrigerator (0–5 C) when not in use.

Ultraviolet DNA melting curves were determined using a Varian-Cary 400 Bio UV/Visible Spectrophotometer, equipped with a Peltier temperature controller. Heating runs were typically performed between 40 and 95 C, heating at a rate of 1 C min-1, while continuously monitoring the absorbance at 260 nm.  All melts were performed in 1 cm pathlength quartz cells. Solutions of DNA and the candidate ligand were prepared by direct mixing of a solution containing either CT DNA or triplex with aliquots from the ligand stock solution. Melting temperatures were determined from the primary data using the method of Wilson et al. (Chapter 15, Methods in Molecular Biology, Volume 90, DRUG-DNA INTERACTION PROTOCOLS, Edited by Keith R. Fox, Humana Press, Totowa, New Jersey, USA, 1997).

Example Spectroscopic and Analytical Data

1f free base H (CDCl3) 9.25 (d, J = 1.3 Hz, 1H), 8.08 (1/2AB, J = 8.4 Hz, 4H), 8.03 (d, J = 1.3 Hz, 1H), 7.46 (1/2AB, J = 8.4 Hz, 4H), 3.22 (t, J = 7.3 Hz, 4H), 2.70 (t, J = 7.3 Hz, 4H), 2.53 (m, 8H), 1.65 (m, 8H), 1.43 (m, 4H); C 164.5, 159.8, 141.8, 134.5, 128.4, 128.1, 112.3, 58.8, 55.2, 30.5, 26.6, 24.9; m/z (CI) 520 (M+H). HBr salt found: C, 43.55; H, 5.63; N, 6.50. C20H38N4S2·3HBr·4H2O requires C, 43.23; H, 5.92; N, 6.72 %. 2f HBr salt H (d6-DMSO) 9.39 (s, 1H, 2-H), 9.20 (br s, 2H), 8.97 (br t, J = 5.2 Hz, 2H), 8.81 (s, 1H, 5-H), 8.53 (1/2AB, J = 8.3 Hz, 4H), 8.11 (1/2AB, J = 8.3 Hz, 4H), 3.69 (q, J = 5.7 Hz, 4H), 3.58 (m, 4H), 3.29 (q, J = 5.7 Hz, 4H), 2.98 (br q, J = 9.8 Hz, 4H), 1.82 (m, 4H), 1.70 (m, 6H), 1.43 (m, 2H); C (d6-DMSO)166.8, 163.6, 159.7, 139.4, 136.5, 128.4, 127.9, 114.0, 55.6, 52.9, 34.8, 23.1, 21.8; m/z (CI, free base): 541 (M+H). Found: C, 49.08; H, 5.49; N, 10.57. C32H40N6O2·3HBr  requires: C, 49.06; H, 5.53; N, 10.73%.