Supporting Materials

- Calibration curve of DMAA standard in the GC method

- Calibration curve of the internal standard (2-aminopentane) in the GC method

Concentration of internal standard

Concentration of analyte

×

Peak area of analyte

Peak area of internal standard

F=

Response factor:

Thus, the response factors in this study are calculated from the following equation:

Slope of analytes calibration curve

Slope of internal standard calibration curve

F=

Response factor of DMAA to internal standard = 1.02.

4. HPLC-ESI-LIT chromatograms

A:  Now Foods geranium oil   spiked with 100 ppb DMAA

B:  Now Foods geranium oil   without DMAA spike

Note: The other spiked geranium oil samples had the same chromatograms as chromatogram A and the other non-spiked geranium oil samples had the same chromatograms as chromatogram B.

5. HPLC-ESI-QQQ chromatograms

A:  Nature's Alchemy geranium oil spiked with 30 ppb DMAA

Time (min)

2.3

2.5

2.7

2.9

3.1

3.3

3.5

3.7

3.9

4.1

0

100

200

300

400

500

600

700

349.00>171.00(+)

Time (min)

2.3

2.5

2.7

2.9

3.1

3.3

3.5

3.7

3.9

4.1

0

100

200

300

400

500

600

700

349.00>171.00(+)

B:  Nature's Alchemy geranium oil without DMAA spike

Note: The other spiked geranium oil samples had the same chromatograms as chromatogram A and the other non-spiked geranium oil samples had the same chromatograms as chromatogram B.