Electronic Supplementary Information – David K. Smith

Generating Calibration Graphs for Receptor 1 Binding Chloride Anions

Given that the binding constant (Kref) for the equilibrium between reference receptor (Rref) and substrate (S) can be defined as:

Kref = [Rref.S]/[Rref]free[S]free			(1)

and the unbound (free) concentrations of receptor ([Rref]free) and substrate ([S]free) in solution can be defined as:

[Rref]free = [Rref]total – [Rref.S]			(2)

[S]free = [S]total – [Rref.S]				(3)

The concentration of complex [Rref.S] can be defined as:

a[Rref.S]2 + b[Rref.S] + c = 0			(4)

where:

a = Kref						(5)

b = -(Kref[S]total + Kref[Rref]total + 1)		(6)

c = Kref[Rref]total[S]total				(7)

By using the value of Kref from the NMR titration (in this case 31 M-1), and the known values of [S]total and [Rref]total at each point in the calibration titration, a, b and c can be calculated, and the quadratic equation (4) can be solved for [Rref.S] at each point in the titration.  Straight line relationships between the NMR shift of the observed protons and [Rref.S] can then be generated (Figs. 1a and 1b).

Figure 1a – Calibration graph for compound 1 (Rref) being perturbed by chloride anions (S).  The graph relates the NMR shift of the N-H proton and [Rref.S].

Figure 1b – Calibration graph for compound 1 (Rref) being perturbed by chloride anions (S).  The graph relates the NMR shift of the Ar-H proton and [Rref.S].

Monitoring Competition for Chloride Anions Between Compound 1 and a Receptors of Interest

The binding constant (Kunk) for the receptor of interest (Runk) can be defined as:

Kunk = [Runk.S]/[Runk]free[S]free			(8)

In order to determine Kunk, we therefore need to express [Runk.S], [Runk]free and [S]free in terms of known quantities.  This can be done using equations 9-11.

[S]free = [Rref.S]/Kref([Rref]total – [Rref.S])		(9)

[Runk.S] = [S]total – [S]free – [Rref.S]		(10)

[Runk]free = [Runk]total – [Runk.S]			(11)

In equation 9: Kref is known from the calibration of receptor 1, [Rref]total is a known concentration, and [Rref.S] can be determined by using the NMR shifts of the N-H and Ar-H protons in the competition mixture with the calibration curves (Figs. 1a and 1b).  Hence [S]free is determined.

In equation 10: [S]total is a known concentration, [S]free was calculated using equation 9, and [Rref.S] was derived from the calibration curve.  Hence [Runk.S] is determined.

In equation 11: [Runk]total is a known concentration, and [Runk.S] was derived from the calibration curve.  Hence [Runk]free is determined.

Substituting these three values into equation (8) allows us to estimate the binding constant for the receptor of interest, Kunk.

The derivation of binding constants from actual experimental data will be illustrated for the competition for chloride anions between catechol 15 and receptor 1.

[1] = 3.67 mM,  [Cl-] = 3.57 mM,  [15] = 5.66 mM

NMR shift of N-H proton in competition experiment = 8.3664 ppm

Using the calibration equation shown on Fig. 1a:

[Rref.S] = (8.3664-8.293)/853.99

[Rref.S] = 0.086 mM

Using equation (9)

[S]free = 0.000086/31(0.00367-0.000086)

[S]free = 0.774 mM

Using equation (10)

[Runk.S] = 3.57 – 0.086 – 0.774

[Runk.S] = 2.71 mM

Using equation (11)

[Runk]free = 5.66 – 2.71

[Runk]free = 2.95 mM

Therefore	Kunk = 0.00271/(0.00295x0.000774)

Kunk = 1187 mol-1dm3

This fitting process is repeated for Ar-H.  Further single spectrum competition experiment(s) are made in order to generate average Kapp values (this is necessary to remove errors in measurement).  These are the values reported in Table 1 (see paper).

Note – this method requires no non-linear least squares fitting and generates approximate binding constants using ‘pencil and paper’.  A simple spreadsheet can be created to calculate Kapp values.