LESSON 3

FUNDAMENTALS OF ELECTRICAL TEST EQUIPMENT

TASK

Describe the purpose, construction, and operation of electrical test equipment.

CONDITIONS

Given information on voltmeters, ammeters, and ohmmeters; low voltage circuit testers; multimeters; and simplified test equipment for internal combustion engines (STE/ICE).

STANDARDS

Answer 70 percent of the multiple-choice items covering electrical test equipment.

REFERENCES

TM9-4910-571-12&P

TM9-8000

Applicable LVCT TM

Applicable multimeter TM

Learning Event 1:

DESCRIBE PRINCIPLES OF METERS

INTRODUCTION

If we did not know how to measure, where would we be?  Throughout each day, we make various measurements.  For example, we squeeze out the right amount of toothpaste onto the toothbrush.  When we go grocery shopping, we pay according to weight or size of the products we buy.  We measure time with our wristwatches and clocks.

Another example of daily measurement is the water and electricity supplied to our homes.  These measurements are made with meters that measure how much you use (volume or flowmeters).  Water and electricity bills are based on these meter readings.  You have probably seen at least one of these meters as the electricity meter should be mounted on your house in plain view.  These flowmeters, which are read by the "meter man," are only one of the many types of measuring devices needed to show service personnel how a system is operating.  Both water and electricity systems work best in a certain pressure range.  Both systems, therefore, include pressure-measuring devices at various points along the line.

Automotive electrical systems also require various measurements to indicate how they are operating.  The automotive electrical system actually resembles the water system in your home in many ways.

VOLTMETER

You know that voltage is measured with a voltmeter.  Let's compare the flow of voltage with a water system.

Have you ever opened the valve or spigot at your bathroom sink and the water flowed very slowly?  The next time you opened the valve a few hours later the waterflow was back to normal.  The problem was probably caused by a pressure loss in the water system.  If you could have looked at a pressure gage on the water system, you would have found the pressure was lower than normal when the water flowed too slowly.  This tells you that the pressure in a water system affects the flow.  The same is true of an automotive electrical system.  When the pressure (voltage) drops, it causes the flow (current) to drop also and makes electrical components work improperly.  For example, electric motors run too slow, solenoids or electromagnets do not have enough strength to operate, and lights and lamps do not burn brightly.

Let's compare a simple electrical system to a simple water system and see how the voltmeter measures pressure.  Notice that the electrical system, shown in Figure 20 contains a battery on the left.  The battery is connected to the load on the right.  The load could be any electrical component, such as a light bulb, electromagnet, or an electric motor.  The current flows from the battery to the load, then through the load and back to the battery.  Like the water system, the electrical pressure gage (voltmeter) must sample the pressure or voltage in this circuit.

FIGURE 20.  VOLTMETER OPERATION.

CAUTION

Always remove all jewelry, such as wristwatches and rings, before you make any test on electrical equipment.  These metal items could cause you to be shocked or burned.

The voltmeter, which has two connections, is connected to the electrical circuit in the following manner.  One connection is connected to the positive side of the circuit and the other is connected to the negative side of the circuit.  These connections then become the positive and negative sides of the voltmeter.  By connecting the voltmeter in this manner, equal voltage is applied to both the voltmeter and load.  The flow of electricity or current now has two paths to follow.  One path is through the load, and the other path is through the meter.  The wires in the meter are very long, and small in diameter, making the resistance high.  This means very little current will flow through the meter.

The resistance of the load varies depending on the type of load, such as a small lamp compared to a large motor.  However, the resistance of the load is generally less than that of the meter.  For this reason, most of the current in the circuit flows through the load.  The two paths are side by side or parallel.  We say the voltmeter is connected parallel to the circuit.

The voltmeter contains a pointer or hand known as the indicating pointer.  This pointer is connected to an electromagnet.  The pointer and electromagnet are mounted on a pivot or hinge pin and can be moved or swung around like a door.  A very small coil spring, known as a hairspring, holds the pointer on zero when the meter is not in use.  It also returns the pointer to zero when the meter is in use if the voltage stops or the meter is disconnected.

When voltage is applied to the voltmeter, it moves the current through the electromagnet.  The electromagnet then forces or moves the pointer away from zero.  The amount it moves depends on how much voltage is applied, because, as the voltage is increased the current will increase, and as the voltage decreases so does the current.  The more pressure or voltage applied to the circuit, the more current that will flow and the voltmeter will, therefore, change as the voltage changes.

The main thing to remember is that the voltmeter is connected parallel to the main circuit.  If the voltmeter was connected so that all the current within a circuit passed through the meter, it would be connected in series.  If a voltmeter was accidentally connected in this manner, it would in most cases indicate the source voltage.  However, the load component(s) would not operate normally due to the high resistance the voltmeter placed in the circuit.  When the voltmeter is used to test a battery with no load applied, positive is connected to positive and negative is connected to negative.  However, in that case the meter and the battery make up the complete circuit.

Voltmeters do not all look alike.  There are many types and sizes of portable voltmeters.  Large, complex electrical equipment has built-in voltmeters, because slight variations in voltage greatly affect the operation of this equipment.  Operators or service personnel must constantly measure the voltage on such equipment and make quick adjustments whenever needed.

Automotive electrical systems are not as sensitive and are designed for more variation in voltage.  Therefore, built-in voltmeters are not needed on vehicles.  If the voltage varies more than is allowed or if the voltage is thought to be wrong, portable voltmeters are available to measure the voltage.  Some voltmeters are in separate cases while others are part of a combination-type meter.  Two good examples of combination meters are the low-voltage circuit tester and multimeter.

Voltmeters vary depending on their model and use.  For example, some voltmeters have only one scale and others have two or more scales.  All portable voltmeters include flexible test leads, lengths of wire with a male plug on the meter end and a test probe or an alligator clip on the other end.  The test leads are usually color-coded red and black.  The red lead is connected to the positive terminal on the meter and the positive side of the circuit to be tested.  The black lead is used to connect the negative terminal of the meter to the negative side of the circuit.

There are two ways to connect the two test leads to the meter so that all ranges can be used.  In one method, the test leads are always connected to the same two terminal sockets of the meter, and a selector switch is used to select the proper range.  The second method uses one common terminal for the negative or positive lead, and the other lead is connected to a different terminal for each range.

Why do we need more than one range on a voltmeter?  Why not have one range from 0 to 500 volts?  That is not practical.  Electrical test meters are most accurate in the center of the scale or range.  This means the 0- to 500-volt scale would be most accurate around 250 volts.  The battery-generator voltage of most military vehicles is in the 24- to 28-volt range.  You will therefore be using the voltmeter to test voltages ranging from 5 volts to a fraction of 1 volt.

Suppose you were issued a voltmeter like the one in Figure 21.  Do you think you could use it?  Notice that the meter dial contains three ranges or scales, but the selector switch indicates there are actually four ranges.  The ranges on this voltmeter are 0 to 1 volt, 0 to 10 volts, 0 to 20 volts, and 0 to 50 volts.

The range or scale for 0 to 10 volts can also be accurately used when the selector switch is in the 0- to 1-volt position.  The numbers on the 0- to 10-volt scale then become tenths of a volt.  For example, 2 becomes 0.2 (two tenths) of a volt, 3 becomes 0.3 volt and 10 becomes 1.0 volt.

FIGURE 21.  MEASURING DC VOLTAGE.

Let's assume you want to test the voltage in the circuit in Figure 21, which includes a set of batteries.  First, make sure the selector switch is off.  Then, connect the test leads to the meter as in the figure.  The red lead connects to the positive (+) terminal and the black lead to the negative (-) terminal.  Next, connect the leads to the circuit to be tested.  Remember, parallel or across the circuit.  Connect the red lead to the positive side and the black lead to the negative side.  Now you are ready to measure the voltage.  Turn the selector switch to 100, and you have connected the meter to the circuit.

If the battery is charged and the load in this circuit is small, such as a small bulb, the meter should indicate close to 24 volts.  Notice this is about the center of this scale.  Let us say you are checking a defective 24-volt circuit with a heavy load, such as a starter.  When you switch the selector to 50, the meter indicates only approximately (about 12 volts).  If you want to get a more exact measurement, switch the selector to 20.  You are now using the 0 to 20 scale, and it is easier to read for this particular voltage.

CAUTION

You must turn the selector switch back to 50 or to OFF before this heavy load is disconnected from the circuit.  If you do not, the meter will be damaged if the voltage jumps past 20 volts when the load is disconnected.

Notice that ranges for the selector switch start with the highest range 0 to 50.  As the selector is turned to the right, the ranges become smaller.  This prevents burnout of the meter by the operator having to go through the higher ranges first, once the operator leaves the OFF position.

Let us review what you have learned so far.  We learned the automotive electrical system is in many ways similar to a water system.  We learned electrical pressure is measured with a voltmeter as water pressure is measured with a pressure gage.  We have also learned how a voltmeter is connected to an electrical circuit.  We know this is only one of many measurements that can be made on the automotive electrical system.  Let us next see how current can be measured with an ammeter.

AMMETERS

If we want to find out how much water is flowing through a pipe in a water system, we install a flowmeter, placed in the pipe in such a way that all of the water moving through the pipe goes through the meter.  The meter "counts" (measures) the gallons of water that move through it.

The ammeter does the same thing in an electrical circuit.  The ammeter measures the amount of current moving through the wire.  While the flowmeter measures the water flow in gallons, the ammeter measures the electrical current in amperes.  The gallon is a unit of measure for water and other liquids; the ampere is a unit of measure for electrical current.  Amperes are often called "amps" or  "amps of current."

FIGURE 22.  AMMETER OPERATION.

The ammeter must be placed in the electrical circuit in such a way that all the current flows through it.  It is necessary to break the circuit and connect the ammeter into it.  The electrical term for this type of connection is series.  A series circuit is one that has only one path or wire through which the current can flow.

An ammeter is always connected in series so it can measure the total amount of current (amperage) flowing.  Figure 22 shows the right way to install an ammeter.

There are three general types of ammeters.

The first type is used in the instrument panel of some automobiles and trucks.  This particular ammeter can be identified by the zero in the center of the scale and equal numbers to each side of the zero.  A minus or negative symbol (-) or the word discharge is located at the far left of the numbers.  A positive symbol (+) or the word "charge" is located to the far right of the numbers.  This ammeter shows the operator whether the battery is charging or discharging.

The second type of ammeter has the zero located at the left side of the dial and numbers increasing to the right side of the dial. This ammeter is found on many battery chargers.  Its purpose is to show the rate at which the battery is being charged.

The third type of ammeter is found in most automotive testing equipment.  It can be identified by the zero located close to the left end of the scale and the numbers increasing on each side of the zero.  The right side increases much more than the left.  Let's find out how this ammeter is used.

An ammeter resembles a voltmeter in many ways.  It may contain one or more scales on its face or dial.  Ammeters with only one scale, like voltmeters, are limited in use.  Ammeters with two or more scales generally have a terminal connection for each scale instead of a selector switch, especially if the ammeter is made to measure high amperage.  Ammeters with terminal connections for each range have one common terminal.  One test lead is connected to this terminal; the other is connected to the terminal of the range desired.  The ammeter, like the voltmeter, may be a separate meter or a part of a test instrument that contains other test equipment.

The electrical portion of the ammeter must be constructed to handle the amperage it must test.  An internal shunt or resistor is built into many ammeters to help carry the current.  Some ammeters are used to test very high amperage, and these meters are made to connect an external shunt or resistor to make the tests.  This is the purpose of the exterior-shunt terminals on many ammeters.  When the electrical leads are connected to these terminals, the external shunt assembly is included in the meter circuit.  All ammeter leads must be connected to the meter in the right polarity (red to positive, black to negative).  As you now know, the circuit must be broken and the ammeter must be connected in series so that all current will pass through the ammeter or the external shunt.

An ammeter is easy to use, if you follow proper procedures:

- You should never try to connect the ammeter into a circuit under load.  This will cause arcing, when the test leads are connected, which could injure you as well as damage the equipment.  This is especially true if the circuit carries a heavy amperage load.  The load can generally be disconnected by opening a switch.

- The ammeter should never be connected while the vehicle engine is running.

- Make sure that all switches are turned off including the master (battery) switch.

- You should always try to determine the amount of amperes or current that you are going to measure.  This information can be found in the vehicle technical manual.  If you are not able to find what amperage the circuit does carry, start with the highest range on the ammeter and work down.  Through this method you will not damage the ammeter by using a range too small to handle the amperage.  In fact, it is always best to start testing on a scale higher than you think is necessary for a particular circuit.

Let us follow the hookup of an ammeter in a circuit with a fully charged 12-volt battery, a load, and a switch to connect or disconnect the load to or from the battery.  The load is a large lamp similar to the headlamps on a vehicle.  The information included with this circuit indicates there should be about 10 amperes flowing when the switch is closed.  The ammeter has a range from 0 to 10 amperes; however, we will use the 0- to 50-amp range just in case the flow happens to be more than 10 amperes, which could harm the meter in the 10-ampere range.  We connect the red (positive) test lead to the common terminal of the meter because it is marked positive (+).  The black (negative) lead is then connected to the 50-ampere terminal on the meter.  We know the ammeter must be connected in series with the circuit, so we have connected the red lead to the positive side of the circuit and the black lead to the negative side of the circuit.

In a generator output rate test, the current flow will be from the generator back to the battery.  To read upscale, the leads must be connected to the circuit in reverse of a load test.  That would be red (positive) lead to negative, and black (negative) lead to positive.  Any load on the circuit would then be indicated to the left of zero or downscale.  The charging rate from the generator would be indicated upscale.

Once you are connected correctly for a load test, complete the circuit by closing the switch.  Current will then flow from the battery, through the load, through the ammeter to the switch, and back to the battery.  As the current passes through the ammeter, the amount of current flow will be indicated on the upscale side of the ammeter.

The amperage capacity of an ammeter depends on its construction. The ammeter used for the load test above can accept no more than 100 amperes through the meter.  With an external shunt, greater amounts of current can be measured.  You will learn how a shunt is used later.

From what we have covered so far, you see that the automotive electrical system can be compared with a water system.  Both systems work under pressure, and the pressure can be measured.  We also learned that pressure causes a flow in the system when the system is in use.  This flow can also be measured.  The amount of flow in each system depends on the amount of pressure and how much resistance is in the circuit or system.  In the water system, the size of pipes and valves can create resistance in the system, and the waterflow changes if the pressure is increased or the resistance is decreased.  The flow of electricity in a circuit also depends on several factors.  One important factor is resistance.

How can we know if the resistance in a circuit is correct?  One way is to measure the voltage and amperage, and if the voltage is correct but the amperage is not, you call safely assume the resistance is wrong.  We can measure resistance by itself using an ohmmeter.

OHMMETERS

Anything that moves meets resistance (opposition to movement).  Remember what happens to the space capsule when it returns after a trip in space?  It gets so hot it has to have a heat shield to keep the astronauts from being burned to death.  That heat is caused by the resistance of air as the space capsule moves through it.  The faster the capsule moves, the greater the resistance of the air, and resistance to motion always creates heat.

Resistance (opposition) to the movement of electricity in a wire also produces heat.  Sometimes we want a lot of resistance in a wire.  For example, the wires in the burners on an electric stove get red hot, and the wires in a light bulb get hot enough to shine and produce light.  At other times, we want as little resistance as possible in an electrical circuit, because the resistance does cause heat and loss of voltage and reduces the amount of current that can flow.

The unit of measure for electrical resistance is the ohm.  The instrument used to measure the resistance in an electrical circuit is an ohmmeter.

Many things can happen in the electrical circuit that will change the amount of resistance in the circuit.  Rust or corrosion where wires are joined together will cause an increase in resistance.  If the wires are not tightly joined together, there will be an increase in resistance.  Wires that have been partially cut are another cause of high resistance.  Whatever the cause, when the resistance in a circuit is too high, the load unit in the circuit (such as a horn, radio, headlight, or starter) will not work right--if it works at all.

The ohmmeter may be a separate meter, but more often, it is a part of a combination-type of meter known as a multimeter.  Combination meters are sometimes called volt-ohm-amp meters.  These meters vary in construction depending on the manufacturer.  Let us find out what a simple ohmmeter looks like and how it is used.

FIGURE 23.  OHMS METER.

Most simple ohmmeters have one scale.  The scale is calibrated or has numbers from zero to infinity.  The symbol for infinity looks like a figure 8 lying on its side ().  Infinity means more than the meter will measure.  You should notice in Figure 23 that the dial scale goes from 0 to 500 and then to 1M, 2M, and infinity.  1M means 1,000 ohms, and 2M means 2,000 ohms.

An ohmmeter is actually an ammeter that measures current flow in thousandths of an ampere.  This type of ammeter is referred to as a milliammeter.  Most ohmmeters consist of the milliammeter, a battery, some form of current-limiting resistance unit, and the case.  In most ohmmeters, the resistance unit is actually two resistors.  One is a fixed resistor and the other is a variable resistor (rheostat).  The simple ohmmeter has two test leads connected to two terminals.

The ohmmeter has many uses.  By measuring resistance, it locates shorted or open circuits and checks circuit continuity (zero resistance).  For example, consider a wire that is broken somewhere inside a wiring harness.  You can see the ends of the wire where they connect in the circuit, but the rest of the wire is hidden inside the harness.  The ohmmeter can check the continuity of the wire and prove if it is broken.

Use the following procedures when beginning a test with the ohmmeter:

- Remove the ohmmeter test leads from the case and connect them to the two terminals on the ohmmeter.  If the wire to be tested is in a vehicle, turn off all electricity in the vehicle's electrical system.  THIS IS IMPORTANT.  The ohmmeter has its own low-voltage battery, and the meter will be burned out if higher voltage enters it.

- The next step is to zero the ohmmeter.  When the meter is not in use, the pointer or hand will be on the infinity mark.  To zero the meter, touch the test lead ends together to complete a circuit.  If the meter hand does not move to zero, turn the zero-ohm adjustment knob until it does.  This changes the resistance of the variable resistor.

- You will find as the meter ages that you have to adjust the zero-ohm adjustment knob more and more to make up for the weaker battery.  When the hand will not come back to zero with any adjustments, the battery is too weak and must be replaced.

- When the ohmmeter is zeroed, connect one lead to each end of the wire to be tested.  If the wire is not broken, the tested wire will complete the circuit through the ohmmeter.  The hand will move to zero.  If the wire is broken, the circuit will not be completed.  The hand will not move.

The ohmmeter is also valuable for testing switches.  Suppose you have a small on-off switch that you think is not working, even though the lever seems to click normally.  The switch has two electrical terminals.  To test the switch with an ohmmeter, first zero the ohmmeter as explained above, then connect one test lead to each terminal of the switch.  With the switch in the OFF position, the ohmmeter hand should not move.  Then move the switch lever to the ON position.  The ohmmeter hand should move to zero.

If the ohmmeter hand remained on zero in both positions, ON and OFF, what would this tell you?  (Remember what makes the hand move to zero:  a complete circuit through the ohmmeter and switch.)  This tells you the switch is not working properly; it does not break (open) the circuit.  On the other hand, if the ohmmeter indicated infinity in both ON and OFF positions, the circuit is not being closed.  This means the switch is not making contact inside.

You now see how the ohmmeter can be used to locate open circuits caused by a defective switch or a broken wire.

You can also use the ohmmeter to check for shorts or an unwanted grounding effect.  Let's go back to that simple on-off switch and check it to see if it is grounded.  You know that the vehicle chassis acts as one wire or part of the circuit.  If the switch is mounted on metal, the circuit through the switch must be insulated from the metal or the circuit will be grounded out.  If the insulation fails, due to cracks, breaks, wear, and so forth, the contacts or terminals touch the metal frame and ground out.  Test the switch for grounding by connecting one ohmmeter test lead to the metal frame of the switch and the other to one terminal.  The ohmmeter hand should not move if the switch is not grounded.  Then, change the switch position and look at the meter.  Test both terminals in this manner.  If the ohmmeter hand moves from infinity, the switch is grounded.  You have a complete circuit or continuity from a terminal through the switch metal frame.  The switch must be replaced.

So far, we have tested using infinity and zero, but how about the numbers in between these two?  The numbers are used when you want to measure resistance.

As a wheeled vehicle repairer, you will not be removing or replacing many resistors; however, you will be working with many electrical components.  Many of these components, functioning properly, do place resistance in an electrical circuit.  Earlier in this lesson we learned these components are called the load in a circuit.  If the resistance of these components is not the specified resistance, the component or the electrical circuit will not function properly.  Let's see how the ohmmeter is used to measure the resistance of the load.

Let's assume we have a circuit that is fuse-protected.  (Some circuits are circuit-breaker protected.)  Our circuit includes a set of batteries, an electromagnet, an on-off switch, and a 3-amp fuse.  For the purpose of this test, let's say the circuit blows the fuse each time a replacement fuse is installed and the switch is closed.  The circuit has been checked, and the wires are not grounded.  The fuse is of the right amperage (3 amperes) for the circuit.  The battery voltage is normal (24 volts).  The fuse will not last long enough to make an amperage load test on the circuit.  The only component in this circuit that creates any measurable resistance is the load--the electromagnet.  According to the wiring schematic, the electromagnet should place 12 ohms of resistance on the circuit.  We will disconnect the electromagnet from the circuit and measure the electromagnet's resistance.

Do not forget to zero the ohmmeter first.  Remember, the circuit to be tested is hooked up in series with the ohmmeter.

For the purpose of this test, let's say the ohmmeter hand indicates 6 ohms of resistance.  This is only half of the 12 ohms the electromagnet should have.  Could this difference cause the 3-ampere fuse to blow?  Remember the laws you learned so far about electricity:  one law states if the resistance increases in a circuit and the voltage remains the same, the current or amperage decreases.

In this case, we have the opposite of that law.  The resistance decreases, the voltage remains the same, and therefore, the amperage increases.  The amperage increases to more than 3 amperes, and the fuse blows, opening the circuit.  This protects the circuit from an overload that would otherwise damage the wiring and components.

You now know how the ohmmeter can help you in testing circuits and switches and locating electrical system troubles.  The ohmmeter you will probably use will be part of a multimeter, which is covered later in this lesson.

Remember, the ohmmeter is actually an ammeter and is always connected in series with a circuit.  ALWAYS disconnect the vehicle battery or batteries from the circuit BEFORE connecting the ohmmeter to the circuit.  You will use the ohmmeter to measure resistance, locate open circuits (broken wires), and shorts (touching wires).  You can also check the operation of switches and locate grounds in a circuit.

The ohmmeter is a valuable test meter--take care of it!

So far, you have learned about the voltmeter, ammeter, and ohmmeter as separate test meters or instruments.  It is more practical to combine these meters into one unit.  You will be using two combined instruments:  the low-voltage circuit tester and the multimeter.

Learning Event 2:

DESCRIBE CONSTRUCTION AND USE OF LOW-VOLTAGE CIRCUIT TESTERS

INTRODUCTION

The military low-voltage circuit tester (LVCT) is a heavy-duty test instrument.  When you open the case, you will see two test meters that you are already familiar with, the ammeter and voltmeter, but there are some connections and controls not found on the separate ammeter and voltmeter.  Some repairers shy away from the LVCT, but it is really simple to use.  Once you learn what each connection and control is used for, the LVCT will make your troubleshooting problems a lot easier to solve.

CONSTRUCTION

When you are assigned to a unit that is authorized an LVCT, learn to use it as soon as possible.  If your unit is issued a second LVCT that does not look anything like the first, do not send it back.  The Army now uses several different models of LVCTs with only one Federal stock number (FSN).  This means your unit may order an LVCT under FSN 4910-092-9136 and receive one of several different testers.  All LVCTs include one ammeter and one voltmeter; however, the controls and connections vary.

The LVCT in your unit could be made by any of the following firms:  Auto Test, Inc., Model 10308; Atomic Engineering, Model TV100; Austin Continental Industries, Model 1060/A; Electro Mechanisms, Inc., Model 1060; Ram Meter, Inc., Model 62F151; Allen Electric and Equipment Company, Model 30-92; or Futrenics Industries, Inc., Model 225-01.  If you tried to learn each of these LVCTs from one lesson, you would be very confused.  However, if you know how to use one, you easily learn how to use the others by following the instructions.  Let's see what the Allen Model 30-92 LVCT looks like and how to use it.

The Allen Model 30-92 LVCT is a portable (hand carried) test instrument.  It is used for testing low voltage, DC, and electrical circuits on automotive vehicles.  The unit includes a voltmeter and ammeter, to measure voltage and amperage, and a load bank that is an adjustable resistance unit.  The load bank is used for current tests of values up to 100 amperes on a 24-volt circuit.

COMPONENT LOCATION AND PURPOSE

FIGURE 24.  LOW VOLTAGE CIRCUIT TESTER.

The illustration shows the LVCT with the cover removed showing the various controls, meters, and connections on the face of the instrument.

Start with the ammeter.  It is located on the upper left side of the tester.  It has ranges from 0 to 500 amperes to the right of the zero, and from 0 to 150 amperes to the left of the zero.  This range or scale is known as a "minus 150-ampere to plus 500-ampere" range.  The minus figures are used to measure reverse current without reversing the meter leads.

The coarse load control is located directly below the ammeter.  This is part of the load bank controls.  The control has eight positions and an OFF position.  During a 24-volt load operation, each position adds 12.5 amperes of load when the knob is turned to the right.  If the tester is being used for a 12-volt load operation, each position from 2 to 8 adds 6.5 amperes of load.  (Position 1 of the coarse load control has no control during the 12-volt load operation.)  The load bank also has a fine load control located to the right of the coarse load control.  This is used when you want an amperage load between the 12.5-ampere positions for 24 volts.  It can also be used for the 12-volt load operation.

The field rheostat control, located in the lower right of the tester, is a variable resistor.  It is used to change the generator output.  This control should be left in the open position when the field rheostat is not being used.

The voltmeter in the upper right of the tester has two scales, four rows of numbers, and four ranges that can measure from 0 to 50 volts.  The 0 to 10 scale is also used as an accurate 0- to 1-volt scale or range.  The voltmeter has a range selector switch located to its lower left.  The switch to the left of the voltmeter dial is used to turn the load bank on or off and should be left in the OFF position when not in use.

The compartment along the right-hand side of the tester is used to store test leads.  There are seven separate leads and an external shunt.  The leads consist of four 16-gage (light) leads (three black and one red), two 6-gage heavy leads (one black and one red), and one black jumper lead.  The 16-gage leads are used to connect the voltmeter to a circuit and to connect the field rheostat to a generating circuit.  The two 6-gage leads are used to connect the adjustable load bank, ammeter, and the fixed resistor to a circuit.  The black jumper lead can be used anywhere it is needed in a circuit with low amperage.  The external shunt consists of two large and two small leads.  It is used when measuring loads from -150 amperes to +500 amperes.

The area above the ammeter and voltmeter has long slots cut in the metal.  These slots allow air to circulate through the LVCT for cooling.  It is very important, when the meter is in use, that they are not covered in any way.

Many terminals or connections are located around three front sides of the LVCT.  We will start with the terminals to the left of the ammeter.  The first two terminals are used to connect the external shunt to the LVCT.  The terminals are polarity marked (+) and (-).  The small red lead of the shunt is connected to the positive (+) terminal and the black lead to the negative (-) terminal.

The top of the terminal is the head of a screw.  It is knurled and rough so it will not slip in your fingers.  The screw is threaded into a long, smooth nut.  The nut has a hole bored at right angles to the threaded screw hole, and the test lead has a long pin on the meter end, which fits into this hole.  To make a connection, loosen the knurled screwhead by hand.  Unscrew the knurled screw until the test lead pin will slide through the hole.  Then turn the knurled screw in until it is snug on the pin.  Always tighten by hand only.  All of the test lead connections are connected in this manner.

Just below the external shunt connections you will see two straps.  Each strap can be connected to two terminals.  These straps are called links because they are a link of a circuit when they are connected.  We could say they are actually a switch because they can be used to open or close a circuit.  The upper link is used with the external shunt.

The next four terminals are used with the ammeter.  The 6-gage test leads are connected to these terminals.  Three of the terminals are marked negative (-), and each of the three matches one of the scales or ranges on the ammeter.  The fourth terminal is marked COMMON and is therefore the positive (+) connection for the three ranges.  For example, if you wish to measure a current flow of 20 to 30 amperes, you would connect the leads to the LVCT as follows:  the red lead positive to the common terminal and the black lead to the -50A (ampere) terminal.  The other ends of the leads would be connected in series with the circuit to be tested.

The next two terminals, located below the fine load control, are marked 24V and 12V respectively.  These terminals are used with the COMMON terminal when placing a load on a circuit with the load bank.  The 6-gage test leads are also used with these terminals, because heavy amperage (up to 100 amperes on 24-volt circuits) can be forced to flow through these terminals.  The black lead is connected to the common terminal when using the load bank.  The red lead is then connected to the 12- or 24-volt terminal, depending on which voltage circuit is being tested.

The next two terminals are used to connect a fixed resistor to a circuit.  The resistor is located in the LVCT and is rated at 0.25 (¼ ohm) of resistance.  It is used to test some types of voltage regulators.

The next two terminals are marked FIELD RHEOSTAT.  These terminals are used to connect the adjustable resistor to a circuit.  The field rheostat is used to change the strength of the electromagnet in generators, thereby changing the generator output.  It can also be used to add a varied amount of resistance in other electrical circuits, if desired.

The last two connections or terminals are marked VOLTMETER.  One terminal is marked positive, and the other is marked negative. These terminals are the connections for the voltmeter and are located right beside it.  The 16-gage color-coded test leads (red/black) are used with these voltmeter terminals.  The voltage range selector between the two meters connects the terminals to the proper range on the voltmeter.

The off-on switch between the two meters is used to turn the load bank on and off.  It is always left in the OFF position except when the load bank is in use.

As you can see, it is easy to use the LVCT for simple tests. During this lesson, we discussed only one type of LVCT to help you learn what the tester is and what it is used for.  Each LVCT has an instruction booklet.  If you have any questions on how to use the tester, always refer to the instruction booklet.

Learning Event 3:

DESCRIBE CONSTRUCTION AND USE OF MULTIMETERS

INTRODUCTION

You know that most ohmmeters that you will use will be part of a multimeter.  The LVCT had more than one meter, but it is not a "multimeter."  It measures only DC voltage and amperage and is therefore called a low voltage circuit tester.  The "multimeter" measures AC and DC voltage, amperage, and resistance.

CONSTRUCTION

In Figure 25, the first difference you notice between the multimeter and the LVCT is the multimeter has only one dial.  This dial has scales to indicate values for each of the tests the meter can make.

FIGURE 25.  MULTIMETER.

There are several kinds of multimeters, made by different manufacturers.  In general, most will have the same jacks and controls.

The jacks for various tests are usually located around the edges of the meter.  There may be a common jack.  This is used for the negative lead for all tests.  The positive lead is placed in the appropriate jack for the test being made.  In some multimeters a range selector switch is used instead of separate jacks for each range, and these meters have common positive and negative jacks.

The rheostat knob is used to zero-adjust the meter for resistance tests.

The switch knob is used to position components of the meter in the proper circuit for the test to be made.

The meter dial usually has three scales:

- One scale is for DC measurements.  It can be used for either voltage or current.

- Another scale is the ohms scale.  Remember, the scale is read from right to left.  In other words, if there is no resistance in a circuit, the pointer will go all the way to the right or to 0 ohms.  As resistance increases, the pointer will stay farther to the left.

- Another scale is for AC voltages.

You must remember that all meter scales will not be the same.  You must use each meter in accordance with the way it is designed.

As you gain experience in automotive electrical system repair, you will learn the approximate resistance of each component.  For example, you will learn that if the circuit is connected with light wires (18 gage or smaller) the current flow is going to be low.  By dividing the approximate current flow (amperes) into the voltage, you will get some idea what the resistance should be.  Always check the specifications for a system or component to get the exact amount.  You should be able to find either the current or resistance for most components in the technical manual.

You can check continuity with this meter just as you did with the separate ohmmeter.  Use the proper position and zero the meter before you connect it to the circuit.  Like the ohmmeter, if the hand moves to zero when the leads are connected to a wire or component, there is continuity.  If the hand does not move from infinity, there is no continuity--there is an open circuit or excessive resistance.  If the hand stops between the infinity mark and zero, there is a readable resistance in the circuit. This resistance might be normal if there is a load-type component in the circuit.  If there is no load component in the circuit, there could be a bad connection somewhere.

The continuity test will generally show this type of defect.  If the continuity test on a circuit with a switch indicates resistance, the switch contacts could be dirty.  This is one example of a malfunction causing resistance in a circuit.  As you use the multimeter to check continuity you will learn how it will help you in locating loose connections, broken wires, dirty contacts, and other malfunctions.

When you finish using an ohmmeter, turn the range selector to any position other than a resistance position.  This will prevent discharging the meter battery in case the test leads accidentally touch each other.

You can also use the multimeter to measure DC voltage.  As you can see, the multimeter can be a valuable test instrument for the wheeled vehicle repairer.  You can use it to locate shorts, broken circuits, and measure DC voltage as well as other tests. Remember, when you use the multimeter as an ohmmeter, make sure the circuit to be tested has no voltage in it.  Turn the voltage OFF.  Otherwise, the meter can be damaged beyond repair.

Learning Event 4:

DESCRIBE CONSTRUCTION AND USE OF SIMPLIFIED TEST EQUIPMENT/

INTERNAL COMBUSTION ENGINE (STE/ICE)

CHARACTERISTICS

STE/ICE is a versatile tool for testing and taking measurements of vehicle engines as well as many other types of electrical and mechanical equipment.  In a protective transit case, complete with all accessories, it is easily transported to a field site for general measurements and diagnostic connector assembly (DCA) tests.

CAPABILITIES

STE/ICE has three major measurement capabilities:

General measurements

STE/ICE can be used to make standard voltage, current, resistance, pressure, and speed measurements without specific vehicle or equipment information.  In making general measurements, the vehicle test meter (VTM) receives power through power cable W5 or DCA cable W1.  Test data may be received through various test probe cables and transducers.

Special tests

STE/ICE can be used to test specific vehicles in the Army inventory.  When a recognized vehicle identification (VID) number is entered in the VTM, STE/ICE will automatically use vehicle information stored in its memory together with test data to give a result.  In performing special tests, the VTM receives power from a battery through power cable W5 or DCA cable W1.  Test data may be received through various test probe cables and transducers.

Diagnostic connector assembly tests

If the vehicle or equipment to be tested has a permanently mounted DCA, the VTM can receive both power and test data through DCA cable W1.  Wires from the DCA connect to test points and to the vehicle/equipment or power source.  Additional transducers can be used at the same time for test points not connected to the DCA.

FEATURES

Provides summary measurements of equipment condition.

Performs a broad range of tests, quickly and accurately.

Simple to set up, operate, and interpret.

Portable.

Built-in protection against common operator errors.

Operates on 12- or 24-volt power supply.

VEHICLE TEST METER

The VTM tests electrical and mechanical components.  Readings are either pass/fail or digital displays (PSI, RPM, volts, and so forth).

The VTM interfaces with the vehicle or equipment being tested by either a transducer from the TK or by a DCA.

Power for the VTM is drawn from the vehicle/equipment batteries or from an alternate power source.

The flip cards attached to the front of the VTM provide a quick (but limited) reference for the operator.  These flip cards list test numbers, messages, and some procedures.  Test limits are provided for some vehicles.

TRANSDUCER KIT

The transducer kit (TK) is a tray inside the transit case that contains transducers, fittings, and connectors.

The TK is stored in a molded tray in the top of the transit case.  TK item numbers shown in the illustration are for reference only and do not appear on the tray.  Many of the fittings do not have part number markings on them and are referred to by TK item number and name.

TRANSDUCERS AND FITTINGS

FIGURE 26.  TK ITEM 10 - HOSE AND FITTING ASSEMBLY.

Used to measure cylinder compression pressure.

FIGURE 27.  TK ITEM 11 - CURRENT PROBE.

Used to measure current and frequency.

FIGURE 28.  TK ITEM 12 - ¾-INCH REDUCER.

Used to reduce ¾-inch threaded holes down to the ¼-inch female pipe thread required for pressure transducers.

FIGURE 29.  TK ITEM 13 - ½-INCH REDUCER.

Used to reduce ½-inch threaded holes down to the ¼-inch female pipe thread required for pressure transducers.

FIGURE 30.  TK ITEM 14 - 3/8-INCH REDUCER (TWO).

Used to reduce 3/8-inch threaded holes down to the ¼-inch female pipe thread required for pressure transducers.

FIGURE 31.  TK ITEM 15 - ¼-INCH PIPE PLUG.

Used to plug female pipe threads of ¼-inch pipe street tee to allow its use as an elbow or straight fitting.

FIGURE 32.  TK ITEM 16 - 1/8-INCH PIPE PLUG.

Used to plug female pipe threads of 1/8-inch pipe street tee to allow its use as an elbow or a straight fitting.

FIGURE 33.  TK ITEM 17 - PRESSURE TRANSDUCER.

Used to measure cylinder compression, oil, fuel, and other pressures in excess of 25 PSI.

FIGURE 34.  TK ITEM 18 - ¼-INCH MALE CONNECTOR.

Used to connect to 5/16-inch inverted flare fitting as found on gas lines.

FIGURE 35.  TK ITEM 19 - PIPE REDUCER COUPLING.

Adapts 1/8-inch male pipe thread to pressure transducer.  Use with hose assembly, TK item 35, or with long hex pipe nipple, TK item 36.

FIGURE 36.  TK ITEM 20 - ADAPTER (TWO).

Used to adapt 1/8-inch female threaded hole to pressure transducer.

FIGURE 37.  TK ITEM 21 - SNUBBER.

A ¼-inch male pipe thread fitting with porous metal insert.  Used with 25-PSI transducer on intake manifold of spark ignition (SI) engines.  Can be used on other measurements to reduce pulsations.

FIGURE 38.  TK ITEM 22 - PRESSURE TRANSDUCER.

Used to measure manifold vacuum, air cleaner pressure drops, manifold pressure after turbochargers, airbox pressures, fuel pressures on SI engines, and other pressures.  When measuring manifold vacuum on SI engines, use snubber, TK item 21, to protect transducer from backfiring pressures.

FIGURE 39.  TK ITEM 23 - ½-INCH STREET TEE.

Used to tee a pressure transducer into a line where measurements are to be made under flow conditions.  Use with adapters to provide thread compatibility with existing fittings.

FIGURE 40.  TK ITEM 24 - ¼-INCH STREET TEE.

Used to tee a pressure transducer into a line where measurements are to be made under flow conditions.  Use with adapters to provide thread compatibility with existing fittings.

FIGURE 41.  TK ITEM 25 - 1/8-INCH STREET TEE.

Used to tee a pressure transducer into a line where measurements are to be made under flow conditions.  Use with adapters to provide thread compatibility with existing fittings.

FIGURE 42.  TK ITEM 26 - ¼-INCH STREET ELBOW.

Used to adapt to pressure transducer in tight spaces or with other fittings.

FIGURE 43.  TK ITEM 27 - 1/8-INCH STREET ELBOW.

Used to adapt to pressure transducer in tight spaces or with other fittings.

FIGURE 44.  TK ITEM 28 - INVERTED FLARE TEE.

Used with 25 PSI pressure transducer for M880 fuel pressure measurement.

FIGURE 45.  TK ITEM 29 - ADAPTER CONNECTOR.

Used to connect two transducer cables together to extend reach of transducer.

FIGURE 46.  TK ITEM 30 - IGNITION ADAPTER.

Used with ignition adapter cable for M151A2 ignition system measurements.

FIGURE 47.  TK ITEM 31 - TACHOMETER DRIVE ADAPTER.

Used to adapt flexible drive shaft to pulse tachometer, TK item 34, for engine speed measurements.  Attaches to instrument panel end of shaft.

FIGURE 48.  TK ITEM 32 - FUEL LINE ADAPTER.

Used with 1,000-PSI pressure transducer, TK item 17, to measure fuel pressure on M48A3/M60A1.  Inserts in output side of fuel pump.

FIGURE 49.  TK ITEM 33 - AIR CHUCK.

Used with 1,000-PSI pressure transducer, TK item 17, to measure tire pressure.

FIGURE 50.  TK ITEM 34 - PULSE TACHOMETER.

Used to sense speed on compression ignition (CI) engines.  When end of shaft is not accessible, use with tachometer drive adapter, TK item 31.

FIGURE 51.  TK ITEM 35 - FLEXIBLE HOSE ASSEMBLY.

Used for pressure measurements on M48A3/M60 transmission and airbox measurements on Detroit diesels.  Use with pipe reducer, TK item 19.

FIGURE 52.  TK ITEM 36 - LONG HEX PIPE NIPPLE.

Used to adapt 1/8-inch pipe thread holes to pressure transducer.

CABLE ASSEMBLIES

Cable assemblies are included for power supply and testing and are referred to by a number for quick identification.  Each cable also has a name which describes its use.  W1, for example, is the DCA cable.  Connectors on the cable are identified by a number preceded by either a P or an E (P1, E2, and so forth).

The cable assemblies included in the STE/ICE are:

W1 - DCA cable

W2 - Test probe cable

W3 - Ignition adapter cable

W4 - Transducer cable (two)

W5 - Power cable

FIGURE 53.  DIAGNOSTIC CONNECTOR ASSEMBLY CABLE W1.

Used to power the VTM and provide access to test points and sensors connected to the vehicle/equipment mounted DCA.  When a DCA measurement is being performed, both the power and the measurement information are received through W1.

FIGURE 54.  TEST PROBE CABLE W2.

Used for general and special measurements.  It is used for measuring voltages, frequency, resistance, and continuity; and also for the first-peak series and compression unbalance tests.  W2 is divided into two color coded leads, red for E1 and black for E2.  Test clips E1 and E2 of W2 attach to points on the equipment being tested.

FIGURE 55.  IGNITION ADAPTER CABLE W3.

Used in measuring dwell angle, points voltage, engine RPM, and power tests.  W3 is divided into two color-coded leads; red for E1 and black for E2.

FIGURE 56.  TRANSDUCER CABLES W4.

Used as extensions to connect the VTM to a pressure transducer, pulse tachometer, current probe, or ignition adapter cable.  Two transducer cables can be joined using connector adapter, TK item 29.

FIGURE 57.  POWER CABLE W5.

Used to power the VTM when cable W1 is not being used.  Cable W5 is divided into two leads with color-coded clips, red for E1 and black for E2.  Battery clips E1 and E2 are attached to a vehicle/equipment battery or a 9- to 32-volt 4A regulated power supply.  Never connect the VTM to a battery charger unless it is also connected to a battery, or damage to the VTM may result.

Transit Case

The STE/ICE is housed in a portable, protective transit case which contains all necessary accessories.

A relief vale on the front of the case allows the operator to release pressure or vacuum caused by changes in climate during transit.

PRINCIPLES OF OPERATION

This section describes the principles of operation for the STE/ICE VTM, cables, and accessories.  Block diagrams show power, control, and display functions.

FIGURE 58.  OPERATIONAL DIAGRAM.

Power is supplied to the VTM from the vehicle/equipment battery or an alternate power source.

Measurement information is sent to the VTM and is compared to values stored in its memory.

Setting the TEST SELECT switches tells the VTM which measurement procedure to do.

Pressing and releasing the TEST button tells the VTM to perform the measurement procedure.

The VTM display shows the results in the unit being measured (volts, RPM, PSI, and so forth) or as a PASS/FAIL message.

Resistance Measurement

FIGURE 59.  RESISTANCE.

Setting the TEST SELECT switches to the required test number tells the VTM to make a resistance measurement when the TEST button is pressed and released.

The VTM supplies constant electrical current to the vehicle/equipment under test.

Voltage across equipment under test is measured, and resistance is calculated by the VTM.

The VTM displays the resistance in ohms or kilohms.

AC Voltage Measurement

FIGURE 60.  AC VOLTAGE.

Setting the TEST SELECT switches to the required test number tells the VTM to make the AC voltage measurement when the TEST button is pressed and released.

The AC voltage value across vehicle/equipment under test is sent to the VTM.

The VTM displays the average value of the signal in volts.

Pressure Measurement

FIGURE 61.  PRESSURE.

Setting the TEST SELECT switches to the required test number tells the VTM to make a pressure measurement when the TEST button is pressed and released.

VTM supplies constant voltage to the pressure transducer.

The pressure transducer returns a voltage in proportion to the pressure being measured.

Voltage developed by the transducer is measured and converted to pressure by the VTM.

The VTM displays the pressure in PSIG, inches of mercury, or inches of water.

Current Measurement

FIGURE 62.  CURRENT.

Setting the TEST SELECT switches to the required test number tells the VTM to make a current measurement when the TEST button is pressed and released.

VTM supplies constant voltage to the current probe.

The current probe returns a voltage in proportion to the current being measured.

Voltage developed by the current probe is measured and converted to current by the VTM.

The VTM displays the current in amps.

RPM Measurement

FIGURE 63.  RPM.

Setting the TEST SELECT switches to the required test number tells the VTM to make an RPM measurement when the TEST button is pressed and released.

On CI engines, the VTM measures the time needed for an engine revolution.

On SI engines, the VTM measures the time between cylinder firings.

The VTM uses an internal clock as a time reference to convert these measurements to RPM.

The VTM displays the engine speed in RPM.

OPERATOR'S CONTROLS AND INDICATORS

FIGURE 64.  CONNECTORS.

DCA/Power Connector J1

Used to connect VTM to either a vehicle diagnostic connector with the DCA cable W1 or to a DC power source with the power cable W5.  The DC power source is usually the vehicle batteries.

Transducer Cable Connectors J2 TK and J3 TK

Used to connect transducer cables W4 to VTM when doing TK measurements.  Power and signals are routed through these connectors.  Both connectors may be used if a test requires two measurements to be made at the same time.

Volts/Ohms Connector J4

Used to connect test probe cable W2 to VTM for voltage and resistance tests.

FIGURE 65.  READOUT AND FLIP CARDS.

Readout Display

Displays different types of readouts during testing up to a maximum of four characters.  Types of readouts are:

Status - keeps operator informed of what is happening, such as power applied, failed test, and so forth.

Numerical - measurement results.  Units of measurement (PSI, RPM, volts, and so forth) are not displayed.

Error - informs operator of an error (wrong test number entered, transducer not connected, VTM faulty, and so forth).

Flip Cards

General information to aid in testing.

FIGURE 66.  SWITCHES.

Test Button

This push-button switch has two functions:

Press and Release - causes selected test measurement to begin.

Press and Hold - initiates an offset test.

Test Select Switches

Two 10-position switches.  Used to select the test to be performed by the VTM when the TEST button is pressed and released.

Push On/Pull Off Switch

Used to control power to the VTM from the power source.  Switch contains a 4-ampere circuit breaker to protect VTM internal circuitry.

ERROR MESSAGES

An error message indicates that the VTM needs additional or corrected information before testing can continue, or that additional procedures are required.

Error messages are displayed as an E followed by three numbers (for example, E003).

Error Message Displays

| DISPLAY | MEANING |
| --- | --- |
| E000 | VTM has been asked for information that it does not have. (For example, you have requested the vehicle/equipment ID and it has not been entered.) |
| E001 | A test number which does not exist has been entered on the TEST SELECT switches. |
| E002 | The required transducer is not connected. |
| E003 | Test number wrong for DCA connected. This happens if the test selected does not apply to the class of vehicle/equipment under test, or if the DCA harness does not have the required transducers. |
| E004 | A vehicle identification (VID) number or number-of-cylinders information has not been entered. It can also occur if a VID has been entered that the VTM has not been programmed to recognize. |
| E005 | Required offset test was not performed. |
| E007 | The VID number and number-of-cylinders information do not agree. |
| E008 | VTM is not receiving required voltage signal for selected test. This message can occur on tests 14, 15, 19, 20, and 72 through 79. |
| E009 | VTM is not receiving engine speed signal. This applies only to engine power test and SI full power simulation. |

| DISPLAY | MEANING |
| --- | --- |
| E010 | A wrong VID number was entered. The VTM will only accept numbers between 01 and 28. If E010 is displayed when the VID entered was between 01 and 28, it means that the VID does not agree with the identity of DCA harness powering the VTM. Testing may continue. |
| E011 | Throttle control was operated incorrectly. It took too long to accelerate or decelerate during power test. |
| E012 | The SI ignition adapter, TK item 30, or CI pulse tachometer, TK item 34, is missing or not connected to the VTM. |
| E013 | VTM unable to use data received. |
| E014 | The wrong number of cylinders was entered. |
| E015 | The number-of-cylinders information entered does not agree with the number of cylinders in the vehicle powering VTM (DCA harness). |
| E017 | VTM not receiving ignition information. |
| E018 | Test discontinued due to no information being detected by VTM. This will occur after several minutes of no-signal operation. |

STATUS MESSAGES

A status message keeps the operator informed of what is happening.  The status messages and their meanings are as follows:

Status Message Displays

| DISPLAY | MEANING |
| --- | --- |
| .8.8.8.8 | There is power to the VTM, and the display is working properly. This appears only for a short period after power is turned on. |
| ---- | After power turn-on, VTM is ready for testing. During compression unbalance test, testing is in progress. |
| .9.9.9.9 | VTM is reading a test value beyond its range. |
| PASS | Unit under test has passed test, or VTM has accepted a control function entry. |
| FAIL | Unit under test has failed test. |
| AUE | Numerical display is an average value. |
| LO | Engine speed below 1,600 RPM during SI power test. Indicates the engine failed the power test. |
| -1-1-1-1 | VTM is busy. |

PROMPTING MESSAGES

A prompting message means that the operator must do something.  After the operator action, testing will continue.  The prompting messages and their meanings are as follows:

Prompting Message Displays

| DISPLAY | MEANING |
| --- | --- |
| UEH | Tells the operator to enter VID on the TEST SELECT switches. |
| CYL | Tells the operator to enter the number of cylinders into the VTM. |
| GO | Tells the operator to crank the engine. |
| SIP | Tells the operator to apply full throttle in an SI power test. |
| CIP | Tells the operator to apply full throttle in a CI power test. |
| OFF | Tells the operator to stop the operation being performed. In a compression unbalance test, this means stop cranking the engine. In a CI power test, it means to release the accelerator. |
| CAL | Tells the operator to release the TEST button during an offset test. |
| 0066 | Tells the operator to set TEST SELECT switch to 99 during confidence test. |

Confidence Test Error Messages

Confidence test messages are displayed either as PASS or by a C followed by three numbers (#).  A C### is an error message used by VTM repair personnel.