STP 5-51K12-SM-TG

Plumber, Skill Levels 1/2,

MOS 51K, Soldier's Manual and Trainer's Guide

DISTRIBUTION RESTRICTION:  Approved for public release; distribution is unlimited.

DESTRUCTION NOTICE:  Destroy by any method that will prevent disclosure of contents or reconstruction of the document.

HEADQUARTERS

DEPARTMENT OF THE ARMY

SOLDIER TRAINING	HEADQUARTERS

PUBLICATION	DEPARTMENT OF THE ARMY

No. 5-51K12-SM-TG	Washington, DC, 15 March 2001

SOLDIER'S MANUAL and TRAINER'S GUIDE

MOS 51K

PLUMBER, SKILL LEVELS 1/2, MOS 51K, SOLDIER'S MANUAL AND TRAINER'S GUIDE

Skill Levels 1 and 2

TABLE OF CONTENTS

PAGE

Table of Contents	i

PREFACE	iv

Chapter 1.  Introduction	1-1

Chapter 2.  Trainer's Guide	2-1

2-1.  General	2-1

2-2.  Subject Area Codes	2-2

2-3.  Duty Position Training Requirements	2-3

2-4.  Critical Tasks List	2-4

Chapter 3.  MOS/Skill Level Tasks	3-1

Skill Level 1

Subject Area 1: Basic Mine Warfare

052-192-1021  Locate Mines by Visual Means	3-1

052-192-1105  Install an M15 Antitank (AT) Mine Using the M624 Fuze	3-3

052-192-1106  Remove an M15 Antitank (AT) Mine With the M624 Fuze	3-15

052-192-1107  Install an M15 Antitank (AT) Mine Using the M603 Fuze	3-19

052-192-1108  Remove an M15 Antitank (AT) Mine With the M603 Fuze	3-27

052-192-1109  Install an M19 Antitank (AT) Mine	3-29

052-192-1110  Remove an M19 Antitank (AT) Mine	3-33

052-192-1117  Install an M21 Antitank (AT) Mine	3-35

052-192-1118  Remove an M21 Antitank (AT) Mine	3-41

052-192-1128  Locate Mines With the AN/PSS-12 Mine Detector	3-44

052-192-1154  Install an M5 Pressure-Release Firing Device on Antitank (AT) Mines	3-49

052-192-1155  Remove an M5 Pressure-Release Firing Device From Antitank (AT) Mines	3-55

Subject Area 2: Basic Demolitions

052-193-1013  Neutralize Booby Traps	3-57

052-193-1101  Install an M142 Multipurpose Firing Device	3-68

052-193-1102  Remove an M142 Multipurpose Firing Device	3-73

052-193-1310  Construct Demolition Firing Systems	3-75

052-193-1311  Prime Military Explosives	3-89

052-193-1312  Construct Demolition Initiating Sets	3-108

052-193-1313  Identify Characteristics of Military Demolitions and Explosives	3-113

Subject Area 3: Basic Combat Construction

052-195-1020  Install Wire Obstacle Materials	3-114

Subject Area 4: Basic Rigging

052-200-1075  Tie Knots	3-123

Subject Area 5: Maintenance

052-248-1000  Maintain Plumbing Tools	3-127

052-248-1025  Winterize a Water System	3-134

Subject Area 6: Materials

052-248-1021  Identify Plumbing Materials	3-138

052-248-1056  Prepare a Plumbing-Materials Takeoff List	3-145

Subject Area 7: Plumbing Systems

052-248-1002  Install Steel, Plastic, and Copper Pipes	3-147

052-248-1006  Grade a Sewer Line	3-166

052-248-1007  Test Waste and Water Systems	3-168

052-248-1023  Install a Shower System	3-170

052-248-1041  Install a Water System	3-173

052-248-1042  Install a Waste System	3-176

052-248-1055  Install Cast-Iron Pipe	3-187

Subject Area 8: Plumbing Fixtures

052-248-1009  Install a Water Closet With Tank	3-192

052-248-1010  Install Urinals	3-198

052-248-1022  Install a Water Heater	3-202

052-248-1024  Install a Drinking Fountain	3-205

052-248-1050  Install a Lavatory	3-209

Subject Area 9: Plumbing Repairs

052-248-1011  Repair Valves and Fixture-Control Devices	3-216

052-248-1012  Clear Waste-System Stoppages	3-219

052-248-1028  Troubleshoot Faucets	3-224

052-248-1029  Troubleshoot a Water Closet and Tank	3-226

052-248-1033  Prevent Backflow	3-228

052-248-1043  Repair Steel, Plastic, and Copper Pipes	3-231

Subject Area 10: Coupled Pipeline

052-248-1013  Install a Coupled Pipeline	3-232

052-248-1014  Repair a Coupled Pipeline	3-236

Subject Area 11: Pumping Station

052-248-1016  Install Components With a Pumping Station	3-239

Subject Area 12: Repair Hose Line

052-248-1017  Repair a Flexible Hose Line	3-241

Subject Area 13: Planning

052-248-1040  Interpret Plumbing Prints and Drawings	3-243

Skill Level 2

Subject Area 14: Underground Pipeline

052-248-2005  Install Pipeline (Underground)	3-245

052-248-2006  Bend Pipe (for Pipeline)	3-247

Subject Area 15: Emplace Hose Line

052-248-2003  Emplace a Flexible Hose Line	3-251

Subject Area 16: Collapsible Tank

052-248-2004  Emplace a Collapsible Tank	3-253

APPENDIX A - TRAINING AMMUNITION	A-1

APPENDIX B - DEPARTMENT OF THE ARMY (DA) FORM 5164-R (HANDS-ON EVALUATION)	B-1

APPENDIX C - DEPARTMENT OF THE ARMY (DA) FORM 5165-R (FIELD EXPEDIENT SQUAD BOOK)	C-1

APPENDIX D - CONVERSION FACTORS (UNITED STATES [US] AND METRIC)	D-1

Glossary	Glossary-1

References	References-1

PREFACE

This publication is for skill level (SL) 1 and 2 soldiers holding military occupational specialty (MOS) 51K and their trainer or first-line supervisors.  It contains standardized training objectives in the form of task summaries, which may be used to train and evaluate critical tasks that support unit missions during wartime.  Soldiers holding MOS 51K should have access to this publication.  Trainers and first-line supervisors should actively plan for soldiers to have access to this publication.

Most tasks in this manual are applicable to both active-duty and Reserve Component (RC) soldiers; however, some tasks are only for active-duty soldiers due to the differences in the equipment and missions.  Tasks unique to RC soldiers are identified by (RC) following the task title and are grouped into RC-unique subject areas.

Users of this publication are encouraged to recommend changes and submit comments for its improvement.  Comments should be keyed to a specific page, paragraph, and line of text in which the change is recommended.  Reasons for each comment should be provided to ensure understanding and a complete evaluation.

Unless this publication states otherwise, masculine nouns and pronouns do not refer exclusively to men.

1CHAPTER 1

Introduction

GENERAL

1-1.  This manual identifies the individual training requirements for soldiers in MOS 51K.  It is designed to be used by commanders, trainers, and soldiers to plan, conduct, and evaluate individual training in units.  This manual is the primary reference to support that portion of the Integrated Test Evaluation Program (ITEP) that requires commanders to routinely evaluate soldiers' abilities to perform MOS-specific tasks critical to the unit mission.  Army Regulation (AR) 350-41 describes the ITEP in detail.

1-2.  This manual should be used along with Soldier Training Publications (STPs) 21-1-Soldier's Manual of Common Tasks (SMCT) and 21-24-SMCT; Army Training and Evaluation Programs (ARTEPs); and Field Manuals (FMs) 25-4, 25-5, 25-100, and 25-101 to establish effective training plans and programs that integrate individual and collective tasks.

TASK SUMMARIES

1-3.  Task summaries contain information necessary to conduct training and evaluate soldier proficiency on tasks critical to the MOS.  A separate task summary is provided for each critical task.  These task summaries are, in effect, standardized training objectives which ensure that soldiers do not have to relearn a task upon reassignment to a new unit.  The format for the task summaries included in this manual is as follows:

	Task Title.  The task title identifies the action to be performed.

	Task Number.  A 10-digit number identifies each task or skill.  Include this task number, along with the task title, in any correspondence relating to the task.

	Conditions.  The task conditions identify all of the equipment, tools, references, job 		aids, and supporting personnel that the soldier needs to perform the task in wartime.  		This section identifies any environmental conditions that can alter task performance, 		such as visibility, temperature, and wind.  This section also identifies any specific cues 		or events (a chemical attack or identification of a threat vehicle) that trigger task 		performance.

	Standards.  The task standards describe how well and to what level you must perform 		a task under wartime conditions.  Standards are typically described in terms of 			accuracy, completeness, and speed.

	Training and Evaluation.  This section may contain all or part of the following:  a 		training-information outline, an evaluation-preparation subsection, and an evaluation 		guide.  The training-information outline includes detailed training information.  The 		evaluation-preparation subsection indicates the necessary modifications to task 		performance in order to train and evaluate a task that cannot be trained to the wartime 		standard under wartime conditions.  It may also include special training and evaluation- 	preparation instructions to accommodate these modifications and any instruction that 		should be given to the soldier before the evaluation.  The evaluation guide identifies the specific actions, known as performance measures, that the soldier must do to 		successfully complete the task.  These actions are listed in a pass/fail format for easy 		evaluation.  Each evaluation guide contains a feedback statement that indicates the 		requirements for receiving a GO on the evaluation.

	References.  This section identifies references that provide more detailed and thorough explanations of task-performance requirements than that given in the task summary description.

1-4.  Additionally, some task summaries include safety statements and notes.  Safety statements (danger, warning, and caution) alert users to the possibility of immediate death, personal injury, or damage to equipment.  Notes provide a small, extra supportive explanation or hint relative to the performance measures.

SOLDIER'S RESPONSIBILITIES

1-5.  Each soldier is responsible for performing individual tasks which the first-line supervisor identifies based on the unit's mission-essential task list (METL).  The soldier must perform the task to the standards listed in the soldier's manual (SM).  If a soldier has a question about how to do a task or which tasks in this manual he must perform, it is his responsibility to ask the first-line supervisor for clarification.  The first-line supervisor knows how to perform each task or can direct the soldier to the appropriate training materials.

NONCOMMISSIONED OFFICER (NCO) SELF-DEVELOPMENT AND THE SM

1-6.  Self-development is one of the key components of the leader development program.  It is a planned, progressive, and sequential program followed by leaders to enhance and sustain their military competency.  It consists of individual study, research, professional reading, practice, and self-assessment.  Under the self-development concept, the NCO, as an Army professional, has the responsibility to remain current in all phases of the MOS.  The SM is the primary source for the NCO to use in maintaining MOS proficiency.

1-7.  Another important resource for NCO self-development is the Army Correspondence Course Program (ACCP).  (See Department of the Army [DA] Pamphlet 351-20 for information on enrolling in this program and for a list of courses, or write to:  Army Institute for Professional Development, United States [US] Army Training Support Center, ATTN:  ATIC-IPS, Newport News, Virginia  23628-0001.)

1-8.  Unit learning centers are valuable resources for planning self-development programs.  They can help access enlisted career maps, training-support products, and extension-training materials.

TRAINING SUPPORT

1-9.  This manual includes the following appendixes and information that provide additional training- support information:

	Appendix A, Training Ammunition. This appendix lists the mines and explosives, live 		and inert, required to support the training of critical tasks contained in the SM.

	Appendix B, Department of the Army (DA) Form 5164-R (Hands-On Evaluation).  This 		appendix provides an overprinted copy of DA Form 5164-R for the tasks contained in 		the SM.  The NCO trainer can use this form to set up the leader book described in FM 		25-101.  The use of this form may help preclude writing the soldier tasks associated 		with the unit's METL and can become a part of the leader book.

	Appendix C, Department of the Army (DA) Form 5165-R (Field Expedient Squad Book). This appendix provides an overprinted copy of DA Form 5165-R for the tasks contained in the SM.  The NCO trainer can use this form to set up the leader book described in FM 25-101.  The use of this form may help preclude writing the soldier tasks associated with the unit's METL and can become a part of the leader book.

	Appendix D, Conversion Factors (United States [US] Units and Metric).  This appendix 		provides a conversion chart for US and metric measurements.

	Glossary.  The glossary is a single comprehensive list of acronyms, abbreviations, 		definitions, and letter symbols.

	References.  This section contains two lists of references, required and related, that support the training of all tasks in this SM.  The required references are listed in the conditions statement and are required for the soldier to perform the task.  Related references are materials that provide more detailed information and a more thorough explanation of task performance.

ENLISTED PERSONNEL MANAGEMENT SYSTEM

1-10.  The Enlisted Personnel Management System (EPMS) (AR 614-200) is the Army's overall system to improve the professionalism of the enlisted force.  It integrates policies relating to training, evaluation, classification, and promotion into an overall system.  It provides the soldier with a means to look to the future and see a realistic, clear, and viable career-progression path from private (PVT) to sergeant major (SGM).  However, the EPMS is useless if the soldier does not understand and use it.  Part of the trainer's job is to make sure that the soldier understands and uses the EPMS.  As an aid, Figure 1-1 provides the trainer with a career map for the 51K soldier.  Along with information contained in AR 614-200, the soldier can use the career map to develop goals early in his career and plan accordingly.

| NCOES | PLDC | BNCOC | ANCOC | USASMA |
| --- | --- | --- | --- | --- |
| Civilian schools | High school, GED diploma | College* |
|  |  | 1 year | 2 years | 3 years |
|  |  | A goal: troop assignments often preclude off-duty education. |
| Other schools | Drill Sergeant School Recruiting School Battle Staff Course 1SG Course |
| Encouraged assignments | Retention, recruiter Drill sergeant Instructor Ops/intel/recon sergeant *Construction sergeant Inspector/foreman RC advisor CMF 51 staff assignments |
| Key leadership assignments | Technician | Team ldr | Sqd ldr Sec ldr | Plt/sec SGT | 1SG | CSM |
| Rank | PVT, PFC SPC, CPL | SGT | SSG | SFC | 1SG MSG | SGM CSM |
| Years of service | 1-4 | 3-8 | 6-14 | 10-18 | 16-22 | 20+ |

# Figure 1-1.  Career Map, Career Management Field (CMF) 51

SKILL PROGRESSION CHART

1-11.  Similar or related education, training, and experience are grouped into CMFs.  The career-progression path for MOS 51K, CMF 51, Plumber, is shown in Figure 1-2.

| E9 | 00Z50 Command Sergeant Major |
| --- | --- |
| SL 5 E8 through E9 | 51Z50 General Engineering Supervisor |
| SL 4 (E7) | 51H40 Construction Engineering Supervisor |
| SL 3 (E6) | 51H30 Construction Engineering Supervisor |
| SL 2 (E5) | 51K20 Senior Plumber 51B20 Senior Carpenter/Masonry 51R20 Senior Electrician |
| SL 1 (E1 through E4) | 51K10 Plumber 51B10 Carpenter/Masonry 51R10 Electrician |
|  | Trainee |

Figure 1-2.  Career-Progression Sequence for General Engineering (CMF 51)

2CHAPTER 2

Trainer's Guide

2-1.  General.  The MOS Training Plan (MTP) identifies the essential components of a unit training plan for individual training.  Units have different training needs and requirements based on differences in environment, location, equipment, dispersion, and similar factors.  Therefore, the MTP should be used as a guide for conducting unit training and not a rigid standard.  The MTP consists of two parts.  Each part is designed to assist the commander in preparing a unit training plan which satisfies integration, cross training, training up, and sustainment training requirements for soldiers in this MOS.

Part One of the MTP shows the relationship of an MOS skill level between duty position and critical tasks.  These critical tasks are grouped by task commonality into subject areas.

Section I lists subject area numbers and titles used throughout the MTP.  These subject areas are used to define the training requirements for each duty position within an MOS.

Section II identifies the total training requirement for each duty position within an MOS and provides a recommendation for cross training and train-up/merger training.

(	Duty Position column.  This column lists the duty positions of the MOS, by skill level, which have different training requirements.

(	Subject Area column.  This column lists, by numerical key (see Section I), the subject areas a soldier must be proficient in to perform in that duty position.

(	Cross Train column.  This column lists the recommended duty position for which soldiers should be cross trained.

(	Train-up/Merger column.  This column lists the corresponding duty position for the next higher skill level or MOSC the soldier will merge into on promotion.

Part Two lists, by general subject areas, the critical tasks to be trained in an MOS and the type of training required (resident, integration, or sustainment).

(	Subject Area column.  This column lists the subject area number and title in the same order as Section I, Part One of the MTP.

(	Task Number column.  This column lists the task numbers for all tasks included in the subject area.

(	Title column.  This column lists the task title for each task in the subject area.

(	Training Location column.  This column identifies the training location where the task is first trained to soldier training publications standards.  If the task is first trained to standard in the unit, the word “Unit” will be in this column.  If the task is first trained to standard in the training base, it will identify, by brevity code (ANCOC, BNCOC, etc.), the resident course where the task was taught.  Figure 2-1 contains a list of training locations and their corresponding brevity codes.

AIT	Advanced Individual Training

UNIT	Trained in the Unit

# Figure 2-1.  Training Locations

(	Sustainment Training Frequency column.  This column indicates the recommended frequency at which the tasks should be trained to ensure soldiers maintain task proficiency.  Figure 2-2 identifies the frequency codes used in this column.

BA	-	Biannually

AN	-	Annually

SA	-	Semiannually

QT	-	Quarterly

MO	-	Monthly

BW	-	Bi-weekly

WK	-	Weekly

# Figure 2-2.  Sustainment Training Frequency Codes

(	Sustainment Training Skill Level column.  This column lists the skill levels of the MOS for which soldiers must receive sustainment training to ensure they maintain proficiency to soldier’s manual standards.

2-2.  Subject Area Codes.

Skill Level 1

1	Basic Mine Warfare

2	Basic Demolitions

3	Basic Combat Construction

4	Basic Rigging

5	Maintenance

6	Materials

7	Plumbing Systems

8	Plumbing Fixtures

9	Plumbing Repairs

10	Coupled Pipeline

11	Pumping Station

12	Repair Hose Line

13	Planning

Skill Level 2

14	Underground Pipeline

15	Emplace Hose Line

16	Collapsible Tank

2-3.  Duty Position Training Requirements.

2-4.  Critical Tasks List.

MOS TRAINING PLAN

51K12

| CRITICAL TASKS |
| --- |
| Subject Area | Task Number | Title | Training Location | Sust Tng Freq | Sust Tng SL |
| Skill Level 1 |
| 1. Basic Mine Warfare | 052-192-1021 | Locate Mines by Visual Means |  |  |  |
|  | 052-192-1105 | Install an M15 Antitank (AT) Mine Using the M624 Fuze |  |  |  |
|  | 052-192-1106 | Remove an M15 Antitank (AT) Mine With the M624 Fuze |  |  |  |
|  | 052-192-1107 | Install an M15 Antitank (AT) Mine Using the M603 Fuze |  |  |  |
|  | 052-192-1108 | Remove an M15 Antitank (AT) Mine With the M603 Fuze |  |  |  |
|  | 052-192-1109 | Install an M19 Antitank (AT) Mine |  |  |  |
|  | 052-192-1110 | Remove an M19 Antitank (AT) Mine |  |  |  |
|  | 052-192-1117 | Install an M21 Antitank (AT) Mine |  |  |  |
|  | 052-192-1118 | Remove an M21 Antitank (AT) Mine |  |  |  |
|  | 052-192-1128 | Locate Mines With the AN/PSS-12 Mine Detector |  |  |  |
|  | 052-192-1154 | Install an M5 Pressure-Release Firing Device on Antitank (AT) Mines |  |  |  |
|  | 052-192-1155 | Remove an M5 Pressure-Release Firing Device From Antitank (AT) Mines |  |  |  |
| 2. Basic Demolitions | 052-193-1013 | Neutralize Booby Traps |  |  |  |
|  | 052-193-1101 | Install an M142 Multipurpose Firing Device |  |  |  |
|  | 052-193-1102 | Remove an M142 Multipurpose Firing Device |  |  |  |
|  | 052-193-1310 | Construct Demolition Firing Systems |  |  |  |
|  | 052-193-1311 | Prime Military Explosives |  |  |  |
|  | 052-193-1312 | Construct Demolition Initiating Sets |  |  |  |
|  | 052-193-1313 | Identify Characteristics of Military Demolitions and Explosives |  |  |  |

| 3. Basic Combat Construction | 052-195-1020 | Install Wire Obstacle Materials |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 4. Basic Rigging | 052-200-1075 | Tie Knots |  |  |  |
| 5. Maintenance | 052-248-1000 | Maintain Plumbing Tools | UNIT | AN | 1,2 |
|  | 052-248-1025 | Winterize a Water System |  |  |  |
| 6. Materials | 052-248-1021 | Identify Plumbing Materials |  |  |  |
|  | 052-248-1056 | Prepare a Plumbing-Materials Takeoff List |  |  |  |
| 7. Plumbing Systems | 052-248-1002 | Install Steel, Plastic, and Copper Pipes | AIT | AN | 1,2 |
|  | 052-248-1006 | Grade a Sewer Line | AIT | AN | 1,2 |
|  | 052-248-1007 | Test Waste and Water Systems | AIT | AN | 1,2 |
|  | 052-248-1023 | Install a Shower System |  |  |  |
|  | 052-248-1041 | Install a Water System |  |  |  |
|  | 052-248-1042 | Install a Waste System |  |  |  |
|  | 052-248-1055 | Install Cast-Iron Pipe |  |  |  |
| 8. Plumbing Fixtures | 052-248-1009 | Install a Water Closet With Tank | AIT | AN | 1,2 |
|  | 052-248-1010 | Install Urinals | AIT | AN | 1,2 |
|  | 052-248-1022 | Install a Water Heater |  |  |  |
|  | 052-248-1024 | Install a Drinking Fountain |  |  |  |
|  | 052-248-1050 | Install a Lavatory |  |  |  |
| 9. Plumbing Repairs | 052-248-1011 | Repair Valves and Fixture-Control Devices | AIT | AN | 1,2 |
|  | 052-248-1012 | Clear Waste-System Stoppages | AIT | AN | 1,2 |
|  | 052-248-1028 | Troubleshoot Faucets |  |  |  |
|  | 052-248-1029 | Troubleshoot a Water Closet and Tank |  |  |  |
|  | 052-248-1033 | Prevent Backflow |  |  |  |
|  | 052-248-1043 | Repair Steel, Plastic, and Copper Pipes |  |  |  |

| 10. Coupled Pipeline | 052-248-1013 | Install a Coupled Pipeline | AIT | AN | 1,2 |
| --- | --- | --- | --- | --- | --- |
|  | 052-248-1014 | Repair a Coupled Pipeline | AIT | AN | 1,2 |
| 11. Pumping Station | 052-248-1016 | Install Components With a Pumping Station | AIT | AN | 1,2 |
| 12. Repair Hose Line | 052-248-1017 | Repair a Flexible Hose Line | AIT | AN | 1,2 |
| 13. Planning | 052-248-1040 | Interpret Plumbing Prints and Drawings |  |  |  |
| Skill Level 2 |
| 14. Underground Pipeline | 052-248-2005 | Install Pipeline (Underground) |  |  |  |
|  | 052-248-2006 | Bend Pipe (for Pipeline) |  |  |  |
| 15. Emplace Hose Line | 052-248-2003 | Emplace a Flexible Hose Line | UNIT | AN | 2 |
| 16. Collapsible Tank | 052-248-2004 | Emplace a Collapsible Tank | UNIT | AN | 2 |

3CHAPTER 3

MOS/Skill Level Tasks

Skill Level 1

Subject Area 1: Basic Mine Warfare

Locate Mines by Visual Means

052-192-1021

Conditions: As a combat-engineer squad member in a field environment, given an area with a possible minefield and different minefield characteristics.

Standards: Locate possible mine sites and visually search suspected areas for mines and trip wires.  Ensure that no visible mines, parts of mines, or trip wires are overlooked.

Performance Steps

1. Locate possible mine sites by looking at the following areas:

a. Avenues of approach.

b. Key intersections and turnouts.

c. Trails, paths, and cleared spots in wooded areas.

d. Approaches and exits to bridges, fords, and tunnels.

e. Wood lines.

f. Depressions and ditches.

g. Open fields or grassland.

2. Search possible mine sites for suspected mines and trip wires by looking at the following areas:

a. Damaged vehicles.

b. Dead animals.

c. Areas avoided by the local population.

d. Signs of digging.

e. Signs of concrete or asphalt removal.

f. Holes or grooves in the road.

g. Boxes or parcels placed along the road or shoulder of the road.

h. Parked vehicles or bicycles without operators.

i. Wire on the road surface or extending onto the shoulder of the road.

j. Metallic devices on the road surface or extending onto the shoulder of the road.

k. Evidence of vegetation disturbance along the shoulder of the road.

l. Evidence of mine-peculiar supplies (such as wrenches, shipping plugs, wrapping paper, and safety collars from fuzes).

m. Disturbance of road potholes or puddles.

n. Difference in the amount of moisture or dew on the road surface.

o. Difference in plant growth (such as wilting, changed colors, or dead foliage).

p. Disturbance in previous tire tracks.

q. Signs posted on trees that covertly alert the local populace to the presence of mines.

NOTE: In addition to the above indicators, knowledge and recognition of likely threat mines, intelligence preparation of the battlefield, and plotting of likely ambush sites may also warn of buried mines.

3. Report all suspected areas to the noncommissioned officer in charge (NCOIC).

Evaluation Preparation:  Setup:  Provide a mined or simulated mined and trip-wired area that has different characteristics listed in the conditions statement.

Brief soldier: Tell the soldier to look at the terrain and visually locate mined and trip-wired areas.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Located possible mine sites. | —— | —— |
| 2. Searched possible mine sites for suspected mines and trip wires. | —— | —— |
| 3. Reported all suspected areas to the NCOIC. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
|  | FM 20-32 |

Install an M15 Antitank (AT) Mine Using the M624 Fuze

052-192-1105

Conditions: As a combat-engineer squad member in a field environment, given an M15 AT mine, an M624 fuze with tilt rod, an M20 arming wrench, G697 silicone grease, sandbags, and an entrenching tool.

Standards: Install the M15 AT mine using an M624 fuze, in the proper sequence, without causing the mine to detonate.

Performance Steps

1. Inspect the mine (Figure 052-192-1105-1).

Figure 052-192-1105-1 M15 AT Mine

CAUTION: IF THERE IS A PROBLEM IN ANY OF THE FOLLOWING STEPS, NOTIFY THE NONCOMMISSIONED OFFICER IN CHARGE (NCOIC).

a. Check to see if the mine is dented, cracked, or damaged. If it is, do not use it.

b. Use the M20 arming wrench to unscrew and remove the arming plug from the mine.

c. Examine the fuze well for foreign material. If there is foreign material present, turn the mine upside down and gently tap the bottom with your hand to dislodge it. If it cannot be removed, replace the arming plug and do not use the mine.

d. Ensure that the booster retainer ring is seated in the fuze well. If the retainer ring is missing, replace the mine.

2. Inspect the fuze.

a. Remove the M624 fuze from the metal shipping container and inspect it for serviceability.

b. Inspect the plastic collar of the fuze by looking down through the top of the pressure ring (Figures 052-192-1105-2 and 052-192-1105-3).

Figure 052-192-1105-2 Correct Safety-Pin Configuration

Figure 052-192-1105-3 Incorrect Safety-Pin Configuration

CAUTION: IF THE SAFETY PIN IS MISSING OR IMPROPERLY ASSEMBLED, DO NOT USE THE FUZE. CAUTION: DO NOT USE THE FUZE IF THE PLASTIC COLLAR APPEARS TO BE CRACKED.

3. Fuze the mine (Figure 052-192-1105-4).

Figure 052-192-1105-4 Fuzing the Mine

NOTE: For long-term emplacement, coat the fuze threads and gasket with silicone grease before removing the end closure.

a. Unscrew and remove the end closure from the M624 fuze.

b. Screw the fuze, hand tight, into the threaded fuze well of the M15 AT mine.

c. Remove the extension rod from its packaging.

d. Tighten the fuze by inserting the unthreaded end of one extension rod piece into the hole on the side of the fuze. Turn the fuze a quarter turn (Figure 052-192-1105-5).

Figure 052-192-1105-5 Tighten the Fuze With the Extension Rod

e. Remove the extension rod for further use after the fuze is secure.

NOTE: The M15 AT mine (with the M624 fuze) can be buried or surface laid. If surface laid, it must be staked in place.

4. Dig a hole to fit the mine.

a. Dig a hole deep enough so that the top of the pressure plate will be at ground level.

b. Dig the sides of the hole at a 45-degree angle to prevent vehicles from bridging the mine.

5. Emplace the mine.

a. Place the mine in the hole.

b. Cover the mine with 2 centimeters (cm) of soil (Figure 052-192-1105-6).

Figure 052-192-1105-6 M15 AT Mine in Hole

c. Assemble all three pieces of the extension rod (mines that use a tilt rod) (Figure 052-192-1105-7).

Figure 052-192-1105-7 Extension-Rod Assembly

d. Thread the extension rod into the threaded pressure ring of the fuze (mines that use a tilt rod) (Figure 052-192-1105-8).

Figure 052-192-1105-8 Place Assembly of the Extension Rod Into the Fuze Ring

6. Arm the mine.

a. Use your right hand to raise the safety pin to the horizontal position. Grasp the safety band and the safety stop with your left hand (Figure 052-192-1105-9).

Figure 052-192-1105-9 Left Hand Grasping the Fuze

b. Remove the safety pin with your right index finger and pull to the right (Figure 052-192-1105-10).

Figure 052-192-1105-10 Removal of the Safety Pin

c. Hold the safety band in place and carefully remove the safety stop (Figure 052-192-1105-11).

Figure 052-192-1105-11 Removing the Safety Stop and the Safety Band

d. Remove the safety band.

7. Camouflage the mine.

a. Camouflage the mine with twigs, grass, or other material in the area. Place mines with extension rods in tall grass, if possible. Ensure that no pressure is applied to the tilt rod or the fuze.

b. Place excess soil in sandbags and remove them from the area.

c. Give the band, the stop, the pull-ring assembly, the arming plug, and the end closure to the NCOIC.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the condition statement.  Use inert equipment when performing this task.

Brief soldier:  Observe the soldier's performance for any improper procedures that may cause the mine to detonate.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Inspected the mine. | —— | —— |
| 2. Inspected the fuze. | —— | —— |
| 3. Fuzed the mine. | —— | —— |
| 4. Dug a hole to fit the mine. | —— | —— |
| 5. Emplaced the mine. | —— | —— |
| 6. Armed the mine. | —— | —— |
| 7. Camouflaged the mine. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
|  | FM 20-32 |
|  | FM 5-34 |
|  | GTA 5-10-36 |
|  | GTA 5-10-37 |
|  | TM 43-0001-36 |

Remove an M15 Antitank (AT) Mine With the M624 Fuze

052-192-1106

Conditions: As a combat-engineer squad member in a field environment, given the location of an emplaced M15 AT mine, and armed with an M624 fuze with a tilt rod, a safety clip, a safety band, a safety stop, and an M20 arming wrench.

Standards: Remove an M15 AT mine armed with an M624 fuze, in the proper sequence, without causing the mine to detonate.

Performance Steps

WARNING: BEFORE ATTEMPTING TO DISARM AND REMOVE THE MINE, CHECK FOR BOOBY TRAPS AND DAMAGE OR MALFUNTIONS TO THE MINE. IF ANY OF THESE CONDITIONS EXIST, NOTIFY THE NONCOMMISSIONED OFFICER IN CHARGE (NCOIC). DO NOT ATTEMPT TO DISARM THE MINE.

1. Disarm the mine.

WARNING: DO NOT APPLY PRESSURE TO THE TILT ROD OR FUZE AT ANY TIME.

a. Clear the camouflage away from the mine.

b. Assemble the safety band and safety stop on the fuze so that the pressure ring is immobilized (Figure 052-192-1106-1).

Figure 052-192-1106-1 Safety-Band and Safety-Stop Installation

c. Install the safety pin while holding the safety band and the safety stop (Figure 052-192-1106-2 and Figure 052-192-1106-3).

Figure 052-192-1106-2 Safety Pin Installation

Figure 052-192-1106-3 Correct Safety-Pin Configuration

NOTE: Ensure that the safety pin is replaced correctly.

d. Unscrew and remove the extension rod.

2. Check for antihandling devices (AHDs).

a. Hold the mine firmly in place with one hand without putting pressure on the fuze.

b. Feel for AHDs by digging around and underneath the mine with the other hand.

3. Remove the mine.

a. Remove the mine from the hole.

b. Remove the fuze from the mine. Use the extension rod, if necessary.

c. Replace the end closure on the fuze.

d. Install the arming plug in the fuze well of the mine.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.  Use inert equipment when performing this task. 

Brief soldier:  Observe the soldier's performance for any improper procedures that may cause the mine to detonate.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Disarmed the mine | —— | —— |
| 2. Checked for AHDs. | —— | —— |
| 3. Removed the mine | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
|  | FM 20-32 |
|  | FM 5-34 |
|  | TM 43-0001-36 |

Install an M15 Antitank (AT) Mine Using the M603 Fuze

052-192-1107

Conditions: As a combat-engineer squad member in a field environment, given an M15 AT mine, an M603 fuze, an M20 arming wrench, G697 silicone grease, sandbags, and an entrenching tool.

Standards: Install an M15 AT mine with an M603 fuze, in the proper sequence, without causing the mine to detonate.

Performance Steps

1. Inspect the mine.

CAUTION: IF THERE IS A PROBLEM IN ANY OF THE FOLLOWING STEPS, NOTIFY THE NONCOMMISSIONED OFFICER IN CHARGE (NCOIC).

a. Check to see if the mine is dented, cracked, or damaged. If it is, do not use it.

b. Use the M20 wrench, if needed, to unscrew and remove the arming plug from the mine (Figure 052-192-1107-1).

Figure 052-192-1107-1 M15 AT Mine

c. Examine the fuze well for foreign material. If foreign material is present, remove it by turning the mine upside down and lightly shaking the mine.

NOTE: If the material cannot be removed, replace the arming plug and do not use the mine.

d. Ensure that the booster-retainer ring is seated in the fuze well. If the retainer ring is missing, replace the mine.

2. Perform a function check with the arming plug.

a. Turn the setting knob to the ARMED (A) position. Ensure that the shutter bar moves across the bottom of the arming plug (Figure 052-192-1107-2).

Figure 052-192-1107-2 ARMED Position

b. Turn the setting knob to the SAFE (S) position. Ensure that the shutter bar moves back across the bottom of the arming plug (Figure 052-192-1107-3).

Figure 052-192-1107-3 SAFE Position

NOTE: If the shutter bar does not go into the SAFE or ARMED position, notify the NCOIC.

3. Fuze the mine.

CAUTION: ENSURE THAT THE SAFETY FORK MOVES FREELY. IF THERE IS PRESSURE ON THE FORK, DO NOT REMOVE IT. NOTIFY THE NCOIC.

a. Remove the M603 fuze from its metal shipping container and inspect it for damage. The varnish or painted lining must show on the bottom of the fuze.

NOTE: For long-term emplacement, coat the fuze with silicone grease G697. Also, smear grease on the threads and walls of the fuze well.

b. Use the hooked end of the M20 wrench to remove the safety fork of the M603 fuze. Retain the safety fork for future use (Figure 052-192-1107-4).

Figure 052-192-1107-4 Safety Fork

WARNING: DO NOT APPLY PRESSURE TO THE PRESSURE PLATE OF THE FUZE AT ANY TIME.

c. Insert the fuze into the fuze well until it seats securely on top of the booster retaining ring.

d. Use the M20 arming wrench to perform a clearance check (Figure 052-192-1107-5). Insert the tab end of the arming wrench into the fuze well and move it back and forth to ensure that the tab end does not touch the fuze.

Figure 052-192-1107-5 Fuze Clearance Check

WARNING: IF THE FUZE PRESSURE PLATE INTERFERES WITH THE TAB END OF THE M20 ARMING WRENCH, INVESTIGATE THE CAUSE AND NOTIFY THE NCOIC. DO NOT ARM THE MINE.

4. Install the arming plug.

NOTE: For long-term emplacement, smear silicone grease G697 on the threads, the gasket, and the shutter on the underside of the arming plug.

a. Ensure that the setting knob is in the SAFE position.

b. Screw the arming plug into the mine by hand. Ensure that there is a watertight seal by using the M20 arming wrench to tighten the arming plug.

5. Dig a hole deep enough to fit the mine.

a. Dig a hole deep enough so that when the mine is placed into it, the top of the pressure plate is about 1 1/2 inches below ground level.

b. Dig the sides of the hole at a 45-degree angle to prevent vehicles from bridging the mine (Figure 052-192-1107-6).

Figure 052-192-1107-6 M15 AT Mine in the Hole

6. Emplace the mine.

a. Put the mine in the hole.

b. Cover the mine with soil until it is level with the top of the pressure plate.

7. Use the M20 arming wrench to arm the mine. Turn the setting knob from the SAFE to the ARMED position.

8. Camouflage the mine.

a. Cover the mine with 1 to 2 inches of soil.

b. Camouflage the mine. Place the excess soil in sandbags and remove them from the area.

c. Give the safety fork to the NCOIC.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.  Use inert equipment when performing this task. 

Brief soldier:  Observe the soldier's performance for any improper procedures that may cause the mine to detonate.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Inspected the mine. | —— | —— |
| 2. Performed a function check with the arming plug. | —— | —— |
| 3. Fuzed the mine. | —— | —— |
| 4. Installed the arming plug. | —— | —— |
| 5. Dug a hole deep enough to fit the mine. | —— | —— |
| 6. Emplaced the mine. | —— | —— |
| 7. Used the M20 wrench to arm the mine. | —— | —— |
| 8. Camouflaged the mine. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
|  | FM 20-32 |
|  | FM 5-34 |
|  | TM 43-0001-36 |

Remove an M15 Antitank (AT) Mine With the M603 Fuze

052-192-1108

Conditions: As a combat-engineer squad member in a field environment, given the location of an emplaced M15 AT mine armed with an M603 fuze, a safety fork, and an M20 arming wrench.

Standards: Remove an M15 AT mine armed with an M603 fuze, in the proper sequence, without causing the mine to detonate.

Performance Steps

WARNING: BEFORE ATTEMPTING TO DISARM AND REMOVE THE MINE, CHECK FOR BOOBY TRAPS, DAMAGE, OR MALFUNCTIONS TO THE MINE. IF ANY OF THESE CONDITIONS EXIST, STOP AND NOTIFY THE NONCOMMISSIONED OFFICER IN CHARGE (NCOIC). DO NOT ATTEMPT TO DISARM THE MINE.

1. Disarm the mine.

WARNING: DO NOT APPLY PRESSURE TO THE PRESSURE PLATE AT ANY TIME.

a. Clear the soil from the top of the mine.

b. Hold the mine firmly in place with one hand. Do not put pressure on the pressure plate.

c. Feel for antihandling devices (AHDs), with the other hand, by digging around the sides and underneath the mine.

WARNING: IF YOU FIND AN AHD, STOP AND NOTIFY THE NCOIC. DO NOT REMOVE THE MINE.

d. Use the M20 arming wrench to turn the setting knob to the SAFE (S) position (Figure 052-192-1108-1).

Figure 052-192-1108-1 M20 Arming Wrench and the Setting Knob

WARNING: IF THE SETTING KNOB IS DIFFICULT TO TURN, STOP; DO NOT FORCE IT. NOTIFY THE NCOIC.

2. Remove the mine

a. Remove the mine from the hole.

b. Use the M20 arming wrench to turn the arming plug counterclockwise to remove the plug.

c. Remove the M603 fuze from the fuze well and replace the safety fork on the fuze.

d. Install the arming plug.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.  Use inert equipment when performing this task. 

Brief soldier:  Observe the soldier's performance for any improper procedures that may cause the mine to detonate.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Disarmed the mine. | —— | —— |
| 2. Removed the mine. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
|  | FM 20-32 |
|  | FM 5-34 |
|  | GTA 5-10-36 |
|  | GTA 5-10-37 |
|  | TM 43-0001-36 |

Install an M19 Antitank (AT) Mine

052-192-1109

Conditions: As a combat-engineer squad member in a field environment, given an M19 AT mine, an M50 detonator, an M22 arming wrench, an entrenching tool, G697 silicone grease, and sandbags.

Standards: Install an M19 AT mine, in the proper sequence, without detonating the mine.

Performance Steps

1. Inspect the mine.

CAUTION: IF THERE IS A PROBLEM IN ANY OF THE FOLLOWING STEPS, NOTIFY THE NONCOMMISSIONED OFFICER IN CHARGE (NCOIC).

a. Check to see if the mine is dented, cracked, or damaged. If it is, do not use it.

b. Use the M22 wrench to remove the M606 fuze from the fuze well by turning it counterclockwise one-quarter turn (Figures 052-192-1109-1 and 052-192-1109-2).

Figure 052-192-1109-1 M22 Arming Wrench

c. Ensure that the rubber gasket is on the M606 fuze.

Figure 052-192-1109-2 Pressure-Plate Removal

d. Remove any foreign material found in the fuze well.

e. Ensure that the setting knob is in the SAFE (S) position and that the safety clip is in place.

f. Use the M22 wrench, if needed, to remove the shipping plug from the detonator well. Retain the shipping plug.

g. Examine the detonator well for foreign material. If foreign material is present, remove it by turning the fuze upside down and tapping it lightly on the side.

NOTE: The activator well is to be used with the M142 multipurpose firing device.

2. Test the firing-pin position (Figure 052-192-1109-3).

Figure 052-192-1109-3 Firing-Pin Positions

WARNING: DO NOT ADJUST THE SETTING KNOB WHILE THE DETONATOR IS IN THE DETONATOR WELL.

a. Look at the firing pin's position. Ensure that the firing pin is at the edge of the well when the setting knob is in the SAFE (S) position.

NOTE: If the pin is in the middle of the well, notify the NCOIC.

b. Remove the safety clip.

c. Use the M22 wrench to turn the setting knob to the ARMED (A) position. Ensure that the firing pin is in the center of the well.

d. Use the M22 wrench to turn the setting knob back to the SAFE (S) position. Ensure that the firing pin moves back to the side of the well.

NOTE: If the firing pin is not in the correct position when the setting knob is in either the ARMED (A) or the SAFE (S) position, notify the NCOIC.

e. Replace the safety clip.

3. Place the M50 detonator into the detonator well.

NOTE: For long-term emplacement, smear G697 silicone grease on the top of the detonator, the detonator holder, and the threaded portion of the detonator holder.

4. Use the M22 wrench to tighten the M606 fuze into the fuze well.

NOTE: For long-term emplacement, smear G697 silicone grease on the fuze gasket.

5. Dig a hole to fit the mine.

a. Dig a hole deep enough so the top of the pressure plate is even or slightly below ground level.

b. Dig the sides of the hole at a 45-degree angle to prevent vehicles from bridging the mine.

6. Emplace the mine.

a. Put the mine in the hole.

b. Cover the mine with soil until it is level with the top of the pressure plate, leaving the setting knob exposed.

7. Arm the mine.

a. Remove the safety clip.

b. Use the M22 wrench to turn the setting knob from the SAFE (S) to the ARMED (A) position.

8. Camouflage the mine.

a. Cover the mine with 1 to 2 inches of soil.

b. Camouflage the mine. Place the excess soil in sandbags and remove them from the area.

c. Give the safety clip and shipping plug to the NCOIC.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.  Use inert equipment when performing this task. 

Brief soldier:  Observe the soldier's performance for any improper procedures that may cause the mine to detonate.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Inspected the mine. | —— | —— |
| 2. Tested the firing-pin position. | —— | —— |
| 3. Placed the M50 detonator into the detonator well. | —— | —— |
| 4. Used the M22 wrench to tighten the M606 fuze into the fuze well. | —— | —— |
| 5. Dug a hole to fit the mine. | —— | —— |
| 6. Emplaced the mine. | —— | —— |
| 7. Armed the mine. | —— | —— |
| 8. Camouflaged the mine. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
|  | FM 20-32 |
|  | FM 5-34 |
|  | GTA 5-10-36 |
|  | GTA 5-10-37 |
|  | TM 43-0001-36 |

Remove an M19 Antitank (AT) Mine

052-192-1110

Conditions: As a combat-engineer squad member in a field environment, given the location of an emplaced M19 AT mine, an M22 arming wrench, a safety clip, and a shipping plug.

Standards: Remove an M19 AT mine, in the proper sequence, without causing the mine to detonate.

Performance Steps

WARNING: BEFORE ATTEMPTING TO DISARM AND REMOVE THE MINE, CHECK FOR BOOBY TRAPS, DAMAGE, OR MALFUNCTIONS. IF ANY OF THESE CONDITIONS EXIST, NOTIFY THE NONCOMMISSIONED OFFICER IN CHARGE (NCOIC). DO NOT ATTEMPT TO DISARM THE MINE.

1. Disarm the mine.

WARNING: DO NOT APPLY PRESSURE TO THE PRESSURE PLATE AT ANY TIME.

a. Clear the soil from the top of the mine.

b. Hold the mine firmly in place with one hand. Do not put pressure on the pressure plate.

c. Feel for antihandling devices (AHDs), with the other hand, by digging around the sides and underneath the mine.

WARNING: IF YOU FIND AN AHD, STOP AND NOTIFY THE NCOIC. DO NOT REMOVE THE MINE.

d. Use the M22 wrench to turn the setting knob to the SAFE (S) position.

WARNING: IF THE SETTING KNOB IS DIFFICULT TO TURN, DO NOT FORCE IT. NOTIFY THE NCOIC.

e. Replace the safety clip on the M606 fuze.

2. Remove the mine.

a. Remove the mine from the hole.

b. Use the M22 wrench to remove the M606 fuze. Turn the wrench counterclockwise and lift the fuze out of the fuze well.

c. Remove the detonator holder assembly from the well.

d. Replace the shipping plug in the detonator well.

e. Replace the pressure plate in the mine.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.  Use inert equipment when performing this task. 

Brief soldier:  Observe the soldier's performance for any improper procedures that may cause the mine to detonate.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Disarmed the mine. | —— | —— |
| 2. Removed the mine. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
|  | FM 20-32 |
|  | FM 5-34 |
|  | GTA 5-10-36 |
|  | GTA 5-10-37 |
|  | TM 43-0001-36 |

Install an M21 Antitank (AT) Mine

052-192-1117

Conditions: As a combat-engineer squad member in a field environment, given an M21 AT mine, an M120 booster, an M607 fuze, an M26 arming wrench, an entrenching tool, G697 silicone grease, and sandbags.

Standards: Install an M21 AT mine, in the proper sequence, without causing the mine to detonate.

Performance Steps

1. Inspect the mine and components.

CAUTION: IF THERE IS A PROBLEM IN ANY OF THE FOLLOWING STEPS, NOTIFY THE NONCOMMISSINED OFFICER IN CHARGE (NCOIC).

a. Check to see if the mine is dented, cracked, or damaged. If it is, do not use it.

b. Ensure that the cotter pin of the fuze pull-ring assembly and fuze closure assembly are securely in place (Figure 052-192-1117-1).

Figure 052-192-1117-1 M607 Fuze

c. Turn the safety band, and safety stop and look at the top of the fuze (Figure 052-192-1117-1).

CAUTION: IF THE TOP OF THE FUZE TURNS WITH THE STOP AND BAND, THE NECK OF THE FUZE IS BROKEN.

2. Insert the booster.

a. Turn the mine upside down. Use the screwdriver end of the M26 wrench to remove the closing plug from the bottom of the mine by turning the plug counterclockwise (Figure 052-192-1117-2).

Figure 052-192-1117-2 M26 Wrench

b. Examine the booster well for foreign material. If foreign material is present, gently tap the side of the mine with your hand to dislodge it.

CAUTION: IF THE FOREIGN MATERIAL CANNOT BE REMOVED, REPLACE THE CLOSING PLUG. DO NOT USE THE MINE.

c. Insert the M120 booster, with the washer side toward the fuze, into the booster well.

d. Use the M26 wrench to replace the closure plug, with the gasket side toward the booster, and turn clockwise.

NOTE: For long-term emplacement, smear G697 silicone grease on the threads of the closing-plug assembly.

3. Fuze the mine.

a. Turn the mine over. Use the M26 wrench to remove the shipping plug from the fuze well on top of the mine (Figure 052-192-1117-3).

Figure 052-192-1117-3 View of M21 AT Mine

b. Examine the fuze well for foreign material. If foreign material is present, gently shake the mine to dislodge it.

CAUTION: IF THE FOREIGN MATERIAL CANNOT BE REMOVED, DO NOT USE THE MINE.

c. Use the M26 wrench to remove the closure assembly from the M607 fuze. Ensure that the gasket remains in place on the fuze.

d. Screw the fuze, hand tight, into the fuze well and set the mine to the side.

NOTE: For long-term emplacement, smear G697 silicone grease on the fuze threads.

4. Dig a hole to fit the mine.

NOTE: Mines with extension rods should be placed in tall grass, if possible.

a. Dig a hole deep enough so that the top of the mine will be at ground level (Figure 052-192-1117-4).

Figure 052-192-1117-4 M21 AT Mine in a Hole

b. Check the bottom of the hole to ensure that the ground is solid enough to support the mine. If necessary, place a flat object under the mine to provide a firm foundation. Allow additional depth for the object.

5. Emplace the mine.

a. Put the mine in the hole.

b. Cover the mine with soil until it is level with the top of the mine.

c. Press the soil firmly around the sides of the mine.

NOTE: Ensure that no soil falls around or under the plastic collar.

6. Assemble the extension rod.

a. Assemble the three pieces of the extension rod.

b. Screw the extension rod on the M607 fuze.

WARNING: DO NOT TILT THE EXTENSION ROD. A 20-DEGREE TILT OF THE EXTENTION ROD WILL DETONATE THE MINE.

7. Arm the mine.

a. Squeeze the end of the cotter pin together on the pull ring (Figure 052-192-1117-5).

b. Remove the cotter pin by holding the fuze firmly in one hand and pulling on the pull ring with the other hand.

Figure 052-192-1117-5 Removal of a Cotter Pin and Safety Stop

c. Remove the safety stop and safety band from the fuze slowly and carefully.

8. Camouflage the mine.

a. Add twigs, grass, or other materials to make the area look natural. Ensure that no pressure is applied to the tilt rod or the fuze.

b. Place the excess soil in sandbags and remove it from the area.

c. Give the band and stop, the pull-ring assembly, the shipping plugs, and the closure assembly to the NCOIC.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.  Use inert equipment when performing this task. 

Brief soldier:  Observe the soldier's performance for any improper procedures that may cause the mine to detonate.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Inspected the mine and components. | —— | —— |
| 2. Inserted the booster. | —— | —— |
| 3. Fuzed the mine. | —— | —— |
| 4. Dug a hole to fit the mine. | —— | —— |
| 5. Emplaced the mine. | —— | —— |
| 6. Assembled the extension rod. | —— | —— |
| 7. Armed the mine. | —— | —— |
| 8. Camouflaged the mine. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
|  | FM 5-34 |
|  | GTA 5-10-36 |
|  | GTA 5-10-37 |
|  | TM 43-0001-36 |

Remove an M21 Antitank (AT) Mine

052-192-1118

Conditions: As a combat-engineer squad member in a field environment, given the location of an emplaced M21 AT mine, an M26 arming wrench, a band and stop, cotter pins, a shipping plug, and a closure assembly.

Standards: Remove an M21 AT mine, in the proper sequence, without causing the mine to detonate.

Performance Steps

WARNING: BEFORE ATTEMPTING TO DISARM AND REMOVE THE MINE, CHECK FOR BOOBY TRAPS, DAMAGE, OR MALFUNCTIONS TO THE MINE. IF ANY OF THESE CONDITIONS EXIST, NOTIFY THE NONCOMMISSIONED OFFICER IN CHARGE (NCOIC). DO NOT ATTEMPT TO DISARM THE MINE.

1. Disarm the mine.

WARNING: DO NOT APPLY PRESSURE TO THE TILT ROD OR FUZE AT ANY TIME.

a. Clear the camouflage away from the mine.

b. Attach the safety band and safety stop to the fuze (Figure 052-192-1118-1).

Figure 052-192-1118-1 Attaching the Band and Stop

c. Insert the cotter pin into the safety band and safety stop. Spread the ends of the cotter pin (Figure 052-192-1118-2).

Figure 052-192-1118-2 Inserting the Cotter Pin

d. Unscrew and remove the extension rod.

2. Check for antihandling devices (AHDs).

a. Hold the mine firmly in place with one hand. Do not put pressure on the fuze.

b. Feel for the AHDs, with the other hand, by digging around the sides and underneath the mine.

WARNING: IF YOU FIND AN AHD, STOP AND NOTIFY THE NCOIC. DO NOT REMOVE THE MINE.

3. Remove the mine.

a. Remove the mine from the hole.

b. Remove the fuze from the mine.

c. Install the closure assembly on the fuze.

d. Install the shipping plug into the fuze well of the mine.

e. Remove the closing plug from the bottom of the mine.

f. Remove the booster from the mine.

g. Install the closing plug into the booster well.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.  Use inert equipment when performing this task. 

Brief soldier:  Observe the soldier's performance for any improper procedures that may cause the mine to detonate.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Disarmed the mine. | —— | —— |
| 2. Checked for AHDs | —— | —— |
| 3. Removed the mine. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
|  | FM 20-32 |
|  | FM 5-34 |
|  | GTA 5-10-36 |
|  | GTA 5-10-37 |
|  | TM 43-0001-36 |

Locate Mines With the AN/PSS-12 Mine Detector

052-192-1128

Conditions: As a combat-engineer squad member in a field environment, given an operational and tuned AN/PSS-12 mine detector and an area with hidden metallic mines.

Standards: Locate mines using the AN/PSS-12 mine detector without overlooking mines or causing mine detonation.

Performance Steps

1. Search for mines while in a standing position.

NOTE: This unit may require frequent adjustments of the sensitivity knob during operation.

a. Adjust the handle of the mine detector to a comfortable position by loosening the knurl nut (Figure 052-192-1128-1).

Figure 052-192-1128-1 Mine Detector

b. Adjust the position of the search head so that it is parallel to the ground.

c. Move the search head not more than 5 centimeters above the ground in a 2-meter path (Figure 052-192-1128-2).

d. Sweep at a rate of approximately 1 meter per second.

Figure 052-192-1128-2 Directional Mine Detector (Increase in Tone)

NOTE: The inner ring of the search head indicates metal objects by sounding a tone in the earphone. This tone depends on the size (metal content), shape, and position of the object and its depth under the ground surface.

e. Move the search head when you hear a tone above the object to locate its exact position (Figure 052-192-1128-3).

Figure 052-192-1128-3 Identifying the Exact Position of the Mine

NOTE: Normally, the tone pitch will be the highest when the search head is immediately above the object. For really tiny horizontal metal pins, the tone pitch will be the highest nearer the inner ring of the search head rather than at the middle.

f. Prevent interference during setting and searching by ensuring that the distance between the different search heads is not less than 2 meters.

2. Search for mines while in a prone position.

a. Use only the inner part of the telescopic pole when operating the mine detector from a prone position (Figure 052-192-1128-4).

Figure 052-192-1128-4 Searching in the Prone Position

b. Adjust the position of the search head so that it is parallel to the ground.

NOTE: If the indicator lamp flashes, change the batteries as soon as possible and readjust the settings. If searching is continued, a constant tone in the headphone will be obtained after some time and will render further searching impossible. If the ticking checking tone disappears or its frequency decreases, stop searching and readjust the setting.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.  Use an inert minefield when performing this task.

Brief soldier:  Tell the soldier to locate all buried metallic objects in a designated path.  Observe the soldier's performance for any improper procedures that may cause the mines to detonate or cause the soldier to miss a mine in the search path.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Searched for mines in the standing position. | —— | —— |
| 2. Searched for mines in the prone position. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
|  | TM 5-6665-298-10 |

Install an M5 Pressure-Release Firing Device on Antitank (AT) Mines

052-192-1154

Conditions: As a combat-engineer squad member in a field environment, given an M15 or an M19 AT mine with the appropriate fuze or detonator and arming wrench; an M5 pressure-release firing device; an M1 or an M2 mine activator; a standard base; 10- and 18-gauge wire; an entrenching tool; and a flat, solid object (wood or rock).

Standards: Install the M5 pressure-release firing device on the M15 or the M19 AT mine, in the proper sequence, without causing the mine to detonate.

Performance Steps

1. Install the M15 or M19 AT mine.

a. Inspect the mine and the appropriate fuze or detonator.

b. Install the fuze or the detonator in the mine.

c. Dig a hole to fit the mine, with a trench coming off of the side at a 45-degree angle toward the friendly side (Figure 052-192-1154-1).

Figure 052-192-1154-1 Mine Hole With an Open Trench

2. Install the M5 pressure-release firing device.

WARNING: HANDLE THE ANTIHANDLING DEVICE (AHD) WITH CARE DURING ASSEMBLY. FAILURE TO DO SO COULD RESULT IN A MINE DETONATION.

a. Inspect the firing device for damage.

b. Keep pressure on the lid while inserting a length of 10-gauge wire in the positive safety hole. Remove the locking safety pin, and replace it with a length of 18-gauge wire (Figure 052-192-1154-2).

Figure 052-192-1154-2 Pressure-Release Firing Device

NOTE: Other items, such as a wire clothes hanger, may be used instead of the 10- or 18-gauge wire.

c. Screw the activator to the standard base. Figure 052-192-1154-3 shows M1and M2 AT-mine activators.

Figure 052-192-1154-3 M1 and M2 AT-Mine Activators

NOTE: The M1 activator is used with the M15 AT mine, and the M2 activator is used with the M19 AT mine.

d. Screw the standard base to the M5 firing device (Figure 052-192-1154-4).

Figure 052-192-1154-4 M5 Firing Device

NOTE: Ensure that the pins are oriented toward the outside edge of the mine for easy removal and that the safety pins do not fall out.

e. Place the mine in the hole upside down. Screw the M5 firing device into the secondary fuze well on the bottom of the mine.

f. Turn the mine over in the hole. Ensure that the safety pins remain in place. Place the firing device on a solid, level surface with the pins pointing toward the trench (Figure 052-192-1154-5).

Figure 052-192-1154-5 Arming the Mine

WARNING: ENSURE THAT THE MINE AND THE FIRING DEVICE ARE RESTING ON A FIRM FOUNDATION BEFORE REMOVING THE PINS.

3. Arm the mine.

a. Arm the mine.

b. Cover and camouflage the mine up to the pressure plate. Leave the trench at the side of the mine exposed. This will leave enough room to remove the safety pins.

4. Arm the firing device.

a. Remove the locking safety pin.

WARNING: IF YOU FEEL A JAR OR HEAR A METALLIC CLICK, STOP AND NOTIFY THE NONCOMMISIONED OFFICER IN CHARGE (NCOIC). THE FIRING PIN HAS MOVED FORWARD AND IS RESTING ON THE POSITIVE SAFETY PIN. DO NOT REMOVE THE POSITIVE SAFETY PIN.

b. Remove the positive safety pin.

WARNING: IF THE POSITIVE SAFETY PIN IS DIFFICULT TO REMOVE, STOP AND NOTIFY THE NCOIC.

c. Finish camouflaging the mine. Give the safety pins to the NCOIC.

Evaluation Preparation:  Setup:  Provide the soldier with the items in the conditions statement.  The soldier will install the M15 AT mine or the M19 AT mine.  Use inert equipment when performing this task.

Brief soldier:  Ensure that the soldier has the proper fuze or detonator, an arming wrench, and the appropriate activator for the mine being installed.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Installed the M15 or M19 AT mine. | —— | —— |
| 2. Installed the M5 pressure-release firing device. | —— | —— |
| 3. Armed the mine. | —— | —— |
| 4. Armed the firing device. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
|  | FM 20-32 |
|  | FM 5-34 |
|  | GTA 5-10-36 |
|  | GTA 5-10-37 |
|  | TM 43-0001-36 |
|  | TM 9-1375-213-12 |

Remove an M5 Pressure-Release Firing Device From Antitank (AT) Mines

052-192-1155

Conditions: As a combat-engineer squad member in a field environment, given the location of an emplaced M15 or M19 AT mine with an M5 firing device attached; 10- and 18-gauge wire; and the appropriate arming wrench.

Standards: Remove the M5 firing device from the mine, in the proper sequence, without causing the mine to detonate.

Performance Steps

WARNING: DISARMING AN ARMED FIRING DEVICE IS CONSIDERED HAZARDOUS. ALL UNNECESSARY PERSONNEL MUST LEAVE THE AREA DURING DISARMING PROCEDURES. BEFORE ATTEMPTING TO DISARM AND REMOVE THE MINE, CHECK FOR PRESSURE PRONGS, TILT RODS, TRIP WIRES, AND ANY OTHER TYPES OF BOOBY TRAPS. IF ANY OF THESE CONDITIONS EXIST, NOTIFY THE NONCOMMISSIONED OFFICER IN CHARGE (NCOIC). DO NOT ATTEMPT TO DISARM THE MINE.

1. Locate the firing device.

WARNING: DO NOT APPLY PRESSURE TO THE MINE'S PRESSURE PLATE AT ANY TIME. WARNING: DO NOT RELEASE THE PRESSURE THAT IS BEING APPLIED TO THE DEVICE.

a. Clear the camouflage away from the mine.

b. Hold the mine firmly in place with one hand. Do not put pressure on the pressure plate.

c. Feel with the other hand for antihandling devices (AHDs), by digging around the sides and underneath the mine until the firing device is located.

2. Disarm the firing device.

a. Install the positive safety pin (10-gauge wire).

b. Install the locking safety pin (18-gauge wire).

3. Use the appropriate arming wrench to disarm the mine.

4. Remove the mine and firing device from the hole. Ensure that the safety pins remain in place.

5. Remove the firing device from the mine.

a. Turn the mine upside down and remove the firing device from the mine. Ensure that the safety pins remain in place on the firing device.

b. Disassemble the activator and the standard base from the firing device.

6. Remove the fuze or detonator from the mine.

7. Give all of the components to the NCOIC.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.  The soldier will remove the M15 AT mine or the M19 AT mine.  Use inert equipment when performing this task.  

Brief soldier:  Ensure that the soldier has the proper arming wrench for the mine being disarmed.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Located the firing device. | —— | —— |
| 2. Disarmed the firing device. | —— | —— |
| 3. Used the appropriate arming wrench to disarm the mine. | —— | —— |
| 4. Removed the mine and firing device from the hole. Ensured that the safety pins remained in place. | —— | —— |
| 5. Removed the firing device from the mine. | —— | —— |
| 6. Removed the fuze or detonator from the mine. | —— | —— |
| 7. Gave all of the components to the NCOIC. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
|  | FM 20-32 |
|  | FM 5-34 |
|  | GTA 5-10-36 |
|  | GTA 5-10-37 |
|  | TM 43-0001-36 |
|  | TM 9-1375-213-12 |

Subject Area 2: Basic Demolitions

Neutralize Booby Traps

052-193-1013

Conditions: As a combat-engineer squad member in a field environment, given a suspected booby-trapped area, explosives, demolition equipment, a grapnel hook attached to 50 meters of rope, and a standard booby-trap marking sign.

Standards: Locate the booby trap, and neutralize it or mark it with the materials provided, without causing injury to personnel.

Performance Steps

1. Detect booby traps without activating them.

a. Detect booby traps in outside areas.

(1) Look for explosive and nonexplosive traps at and above ground level.

(2) Look for hidden traps near litter, unused construction material, and any movable, valuable, or useful items.

(3) Look for disturbed ground, unusual marks on the ground, and weathered camouflaged materials.

(4) Search for traps around machinery and abandoned vehicles.

(5) Probe to locate firing devices.

(6) Look and feel carefully for trip wires.

b. Detect booby traps inside buildings.

(1) View the inside of the building or room from the outside before entering, whenever possible.

(2) Work from the lowest level up, if possible.

(3) Investigate electrical circuits before turning switches, connecting broken wires, or using electrical appliances.

(4) Look carefully where you are walking. Inspect loose tiles, floorboards, or carpets. These items may conceal traps with pressure fuses.

(5) Look carefully for release fuses or wires attached to pull fuses. Do this before moving pictures, furniture, boxes, drawers, and other items you find indoors.

(6) Check the inside of fireplaces, stoves, furnaces, flues, and dead-air spaces for booby traps.

2. Identify detonation devices.

a. Detonate explosives. Use the following information to identify the six types of detonation actions:

(1) Pressure. The downward force of a man's foot or the wheel or track of a vehicle activates a fuse (Figure 052-193-1013-1).

Figure 052-193-1013-1 Weight Activation

( a) The pressure method is activated by a downward force of a soldier's weight, a vehicle wheel, or a similar source.

( b) The amount of pressure usually cannot be determined.

( c) The activation device can be pressure prongs, a pressure plate, or any other kind of pressure-activated switch.

(2) Pull. The pull on the trip wire attached to the fuse activates the fuse (Figure 052-193-1013-2.)

Figure 052-193-1013-2 Trip-Wire Activation

( a) Trip wires should be looked for and felt for.

( b) Trip wires may be tied between fixed objects and the initiating source.

( c) Trip wires may be located anywhere between ankle and neck high on the average-height soldier.

( d) Trip wires are usually camouflaged in the same color as their surroundings.

( e) Trip wires may be strung at different angles to avoid detection and provide optimum employment against the enemy.

( f) Trip wires on a pull employment method of a booby trap can usually be identified by the trip wire being slightly slack or loose.

(3) Tension release. Releasing the tension activates the fuse. Cutting a trip wire is an example of tension release (Figure 052-193-1013-3).

Figure 052-193-1013-3 Tension-Release Activation

(4) Pressure release. Removing weight activates the fuse (Figure 052-193-1013-4).

Figure 052-193-1013-4 Pressure-Release Activation

( a) The pressure release is activated by removing a weighted object from the activating mechanism.

( b) The objects can be anything. It is usually something of interest or value to the unsuspecting soldier, such as war trophies (weapons, binoculars, knives, and so forth), possible intelligence items (maps, documents, and so forth), or anything to draw attention to the object.

(5) Electrical. Closing an electrical circuit activates the fuse (Figure 052-193-1013-5).

Figure 052-193-1013-5 Electrical Activation

( a) The electrical circuit consists of a power source, a firing mechanism (usually some form of electrical detonator), a firing wire, and an activation switch.

( b) The power source can be in the form of a battery, electrical current from a power outlet, or generated from static electricity.

( c) The firing wire can be any wire available to the user.

( d) The activation switch can be in the form of something as simple as tin can lids separated by paper; a clothespin with wires wrapped around the end, or a light switch in a room.

( e) The electrical circuit is usually camouflaged by its surroundings and is very difficult to detect without careful inspection.

(6) Timer rundown. A timer reaching the preset time activates the fuse (Figure 052-193-1013-6).

Figure 052-193-1013-6 Time Activation

b. Initiate the following types of mechanical traps:

(1) Passive mechanical traps have few, if any, moving parts and require the soldier to act directly against them. A camouflaged pit containing upturned spikes or scattered caltrops is an example.

(2) Active mechanical traps have moving components and require the soldier to activate the trap. This is done by tripping a latch, pulling a wire, or releasing a counterweight. Examples of active mechanical traps are bamboo whips, snares, bear traps, or swing maces (Figure 052-193-1013-7).

Figure 052-193-1013-7 Mechanical Activation

CAUTION: ENSURE THAT FRIENDLY PERSONNEL ARE AT A SAFE DISTANCE BEFORE NEUTRALIZING BOOBY TRAPS.

3. Neutralize booby traps.

NOTE: Report the location, type of traps, and any unique method used to the noncommissioned officer in charge (NCOIC).

a. Mark all booby traps that cannot be destroyed at the time of detection. Mark the traps with a standard sign, or use an expedient marker as designated by the unit (Figure 052-193-1013-8).

Figure 052-193-1013-8 Standard Booby-Trap Sign

NOTE: The standard booby-trap sign is a red triangle with a 3-inch, white circle in the center. The word "booby traps" will be spelled out in white letters across the top of the sign. The sign will be placed so that the right-angled apex is pointing down.

b. Neutralize traps by activating or blocking the firing chain and/or the mechanical sequence.

(1) Activate the firing chains and/or mechanical sequences using a rope or wire that is at least 50 meters long. Hook or tie one end of the rope to the trip wires, pins, or restraining weights. Move to a protected position (at least 50 meters away) and pull the other end of the rope (Figure 052-193-1013-9). Wait at least 5 minutes before approaching a trap that did not detonate or operate.

Figure 052-193-1013-9 Neutralizing a Booby Trap

(2) Block firing chains and/or a mechanical sequence by cutting slack trip wires and electrical conductors or by replacing the safety pins.

NOTE: You can neutralize passive mechanical traps by scraping the ground, filling the pit, or removing or breaking spikes and blades.

c. Destroy traps in place by detonating a 1-pound explosive charge next to the main charge.

(1) Place a 1-pound explosive charge within 6 inches of, but not touching, the main charge of the booby trap.

d. Neutralize passive mechanical booby traps by filling in the pit or by breaking spikes, blades, and so forth.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement. 

Brief soldier: Tell the soldier to identify the booby trap and mark it if it cannot be neutralized.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Detected booby traps without activating them. | —— | —— |
| 2. Identified detonation devices. | —— | —— |
| 3. Neutralized booby traps. | —— | —— |
| 4. Marked the traps not destroyed to warn friendly soldiers. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed.  Score the soldier NO-GO if any step is failed.  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
|  | FM 20-32 |

Install an M142 Multipurpose Firing Device

052-193-1101

Conditions: As a combat-engineer squad member in a field environment, given a complete M142 multipurpose firing device (MPFD); an M15 or M19 antitank (AT) mine with an M1 or an M2 activator; a standard base; an entrenching tool; a flat, solid object (wood or rock); and a suitable working area.

Standards: Install an M142 MPFD in the pressure-release mode on a mine without activating the MPFD prematurely.

Performance Steps

1. Install the M15 or M19 AT mine.

a. Inspect the mine and the appropriate fuze or detonator.

b. Install the fuze or the detonator in the mine.

c. Dig a hole to fit the mine, with a trench coming off of the side at about a 45-degree angle toward the friendly side (Figure 052-193-1101-1).

Figure 052-193-1101-1 Hole for the Mine With an Open Trench

2. Install the M142 MPFD in the pressure-release mode.

WARNING: HANDLE THE MPFD WITH CARE DURING ASSEMBLY. FAILURE TO DO SO COULD RESULT IN DETONATION.

a. Inspect the firing device for damage, and check all safety pins for placement and ease of removal (Figure 052-193-1101-2).

Figure 052-193-1101-2 M142 in the Pressure-Release Mode

b. Screw the standard base into the firing device (Figure 052-193-1101-3).

Figure 052-193-1101-3 Standard Base to a M142

c. Screw the firing device and standard base into the M1 or M2 activator (Figure 052-193-1101-4).

Figure 052-193-1101-4 M142 and Standard Base With M1/M2 Activator

NOTE: Use the M1 activator with the M15 AT mine, and use the M2 activator with the M19 AT mine.

d. Screw the firing device, standard base, and activator into the side well of the mine (Figure 052-193-1101-5).

Figure 052-193-1101-5 Attaching the Firing Device, Standard Base, and Activator

e. Place the mine and the firing device in the hole. Ensure that the safety pins remain in place.

3. Place an object on the firing device at the pressure-release point (F) (Figure 052-193-1101-6).

Figure 052-193-1101-6 M142 in Pressure-Release Mode in the Side Fuze Well

NOTE: Use an object weighing at least 2 pounds but no more than 150 pounds.

4. Arm the mine.

a. Arm the mine.

b. Cover and camouflage the mine up to the pressure plate. Leave the trench at the side of the mine exposed. This will give room to remove the safety pins.

5. Arm the firing device.

a. Use a wire to carefully remove the round-head pin (pivot pin), when necessary.

WARNING: IF YOU FEEL A JAR OR HEAR A METALLIC CLICK, STOP AND NOTIFY THE NONCOMMISSIONED OFFICER IN CHARGE (NCOIC). THIS IS A RESULT OF THE FIRING PIN GOING FORWARD AND RESTING ON THE POSITIVE SAFETY PIN. DO NOT REMOVE THE POSITIVE SAFETY PIN.

b. Remove the positive safety pin.

WARNING: IF THE POSITIVE SAFETY PIN IS DIFFICULT TO REMOVE, STOP AND NOTIFY THE NCOIC.

c. Complete camouflaging the mine. Give the safety pins to the NCOIC.

Evaluation Preparation:  Setup:  Provide the soldier with the items in the conditions statement.  The soldier will install the M15 AT mine or the M19 AT mine.  

Brief soldier:  Ensure that the soldier has the proper fuze or detonator, an arming wrench, and the appropriate activator for the mine being installed.  Use inert equipment when performing this task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Installed the mine. | —— | —— |
| 2. Installed the M142 MPFD in the pressure-release mode. | —— | —— |
| 3. Placed an object on the pressure-release point (F). | —— | —— |
| 4. Armed the mine | —— | —— |
| 5. Armed the firing device. | —— | —— |
| 6. Camouflaged the mine. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P). Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
|  | FM 20-32 |
|  | FM 5-250 |
|  | FM 5-34 |
|  | TM 9-1375-213-12 |

Remove an M142 Multipurpose Firing Device

052-193-1102

Conditions: As a combat-engineer squad member in a field environment, given the location of an emplaced M15 or M19 antitank mine (AT) with an attached M142 multipurpose firing device (MPFD), safety pins, and a sandbag.

Standards: Remove the M142 MPFD from the mine, in the proper sequence, without detonating the mine.

Performance Steps

WARNING: DISARMING AN ARMED FIRING DEVICE IS CONSIDERED HAZARDOUS. ALL UNNCESSARY PERSONNEL MUST LEAVE THE AREA DURING DISARMING PROCEDURES. BEFORE ATTEMPTING TO DISARM AND REMOVE THE MINE, CHECK FOR PRESSURE PRONGS, TILT RODS, TRIP WIRES, AND ANY OTHER TYPE OF BOOBY TRAP. IF ANY OF THESE CONDITIONS EXIST, NOTIFY THE NONCOMMISSIONED OFFICER IN CHARGE (NCOIC) AND DO NOT ATTEMPT TO DISARM THE MINE.

1. Locate the mine by visual means or by using the AN/PSS-12 mine detector.

2. Locate the firing device.

WARNING: DO NOT APPLY PRESSURE TO THE MINE'S PRESSURE PLATE AT ANY TIME.

a. Clear the camouflage away from the mine.

b. Hold the mine firmly in place with one hand. Do not put pressure on the pressure plate.

c. Feel for antihandling devices (AHDs), with the other hand, by digging around the sides and underneath the mine, until the firing device is located.

3. Disarm the firing device.

a. Install the positive safety pin first.

b. Install the locking safety pin.

4. Disarm the mine by using the appropriate arming wrench.

5. Remove the mine and the firing device from the hole. Ensure that the safety pins remain in place.

6. Remove the firing device from the mine.

a. Ensure that the safety pins remain in place on the firing device.

b. Disassemble the activator and standard base from the firing device.

7. Remove the fuze or detonator from the mine.

8. Give all the components to the NCOIC.

Evaluation Preparation:  Setup:  Provide the soldier with the items in the conditions statement. The soldier will remove the M15 AT mine or the M19 AT mine.  

Brief soldier:  Ensure that the soldier has the proper arming wrench for the mine being disarmed.  Use inert equipment when performing this task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Located the mine. | —— | —— |
| 2. Located the firing device. | —— | —— |
| 3. Disarmed the firing device. | —— | —— |
| 4. Disarmed the mine. | —— | —— |
| 5. Removed the mine and the firing device from the hole. | —— | —— |
| 6. Removed the firing device from the mine. | —— | —— |
| 7. Removed the fuze or detonator from the mine. | —— | —— |
| 8. Gave all the components to the NCOIC. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
|  | FM 20-32 |
|  | FM 5-250 |
|  | FM 5-34 |
|  | TM 9-1375-213-12 |

Construct Demolition Firing Systems

052-193-1310

Conditions: As a combat-engineer squad member in a field environment, given military explosives, detonating cord, M11 or M16 branch lines, M12 or M13 transmission lines, M2 crimpers, a demolition knife, and sandbags.

Standards: Construct a demolition firing system (stand alone or combination), in sequence, without causing premature detonation.

Performance Steps

NOTE: There are two types of firing systems: a stand-alone firing system and a combination firing system. On a stand-alone firing system, the initiation set(s), transmission line(s), and branch line(s) are modernized-demolition-initiator (MDI) components and explosives are primed with MDI blasting caps. It is important that the firing system is balanced. All charges must have the same distance in the shock tube from the firing point to the charge. A combination firing system consists of the MDI initiation set; either a detonating cord line or ring main; and branch lines that can be either MDI, detonating cord, or a mix of both. The combination firing system is the preferred firing system for reserved demolition targets. WARNING: DO NOT DISPOSE OF USED SHOCK TUBES BY BURNING THEM. THE SHOCK TUBES GIVE OFF POTENTIALLY TOXIC FUMES FROM THE BURNING PLASTIC.

1. Construct a stand-alone firing system.

a. Identify the firing point.

b. Emplace and secure the explosive charges on the target.

c. Begin with the set of charges furthest from the firing point and place a sandbag or other easily identifiable marker over the M12 blasting cap.

d. Unreel the M12 transmission line toward the next set of charges in the direction of the firing point.

NOTE: Use an M11 branch line when the distance is less than 30 feet.

e. Place the shock tube of the first M12 in the blasting cap holder of the second M12. Cover the holder with a sandbag or another easily identifiable marker.

NOTE: Do not close the hinged flap of the holder.

f. Unreel the second M12 transmission line toward the third set of charges in the direction of the firing point.

g. Place the shock tube of the second M12 in the blasting cap holder of the third M12. Cover the holder with a sandbag or another easily identifiable marker.

NOTE: Continue this process for each set of charges. WARNING: ENSURE THAT THE FIRING SYSTEM IS BALANCED. THE SHOCK WAVE IN THE SHOCK TUBE MUST TRAVEL THE SAME DISTANCE TO ALL CHARGES TO EFFECTIVELY PREVENT A MISFIRE.

h. Unreel the last M12 transmission line toward the firing point, from the set of charges closest to it (Figure 052-193-1310-1).

Figure 052-193-1310-1 Transmission Line to the Firing Line

i. Lay out at each set of charges the M11 or M16 branch line from the charges to be primed toward the transmission line blasting-cap holder. Ensure that the M11 or M16 blasting caps are underneath a sandbag or another easily identifiable marker (Figure 052-193-1310-2).

Figure 052-193-1310-2 Branch Line Toward Transmission Line

j. Remove the sandbag at each transmission line blasting-cap holder and insert the branch line(s) into the transmission line blasting-cap holder. Secure the transmission line and branch line(s) by taping the connector closed.

NOTE: No more than five M11 or M16 branch lines can be connected to the transmission line's blasting-cap holder. If there are more than five charges, group the branch lines from the charges, and connect them to the M9's blasting-cap holder using an M11 or M16 branch line. NOTE: Secure all the sandbags near the firing point.

k. Use the M11 or M16 blasting caps to prime the explosive charges.

l. Return to the firing point, construct the initiation set(s), and prepare to initiate the system (Figure 052-193-1310-3).

Figure 052-193-1310-3 Initiate System

2. Construct a combination firing system.

a. Identify the firing point.

b. Emplace and secure explosive charges on the target.

c. Construct the detonating-cord line main or ring main.

(1) Line main. Lay the desired amount of detonation cord in a straight line between the charges, from the furthest charge back toward the firing point (Figure 052-193-1310-4).

Figure 052-193-1310-4 Line Main

(2) Ring main.

( a) Method One. Lay out the desired amount of detonating cord and form a loop. Attach the loop to itself with a girth hitch and an extra turn (Figure 052-193-1310-5).

Figure 052-193-1310-5 Ring Main (Method One)

( b) Method Two. Lay out the desired amount of detonating cord and form a U-shape. Lay another piece of detonating cord across the open end of the U-shape and attach the crossover ends to the U-shape with a girth hitch and an extra turn (Figure 052-193-1310-6).

Figure 052-193-1310-6 Ring Main (Method Two)

d. Place the M12 or M13 blasting caps underneath a sandbag or another easily identifiable marker at the connection between the detonating-cord line main or ring main.

e. Unreel the M12 or M13 transmission line to the firing point.

f. Connect the branch lines.

NOTE: Branch lines must be connected perpendicular to the line main or ring main. Avoid kinks and crossing lines. Curves and angles should not be sharp. Any number of branch lines may be connected to a line main or ring main. Ensure that there is at least one foot of space between each branch-line connection. Do not connect the branch lines at the point where the ring main is connected.

(1) Prime the explosive with detonating cord. Connect the branch line from the explosive to the line main or ring main with a girth hitch and an extra turn or an M1 detonating-cord clip. Figures 052-193-1310-7 and 052-193-1310-8 show the two methods of connection.

Figure 052-193-1310-7 Girth Hitch With Extra Turns

Figure 052-193-1310-8 M1 Detonating-Cord Clip

(2) Use the J-hook of the M11 or M16 branch line and wrap the shock tube around and through the J-hook and pull it tight. This prevents the J-hook from slipping. Clip the J-hook to the detonating-cord line main or ring main (Figures 052-193-1310-9 and 052-193-1310-10). Prime the explosive with a M11 or M16 blasting cap.

Figure 052-193-1310-9 J-Hook Self Loop

Figure 052-193-1310-10 J-Hook to the Detonating Cord

g. Lay out an M11 or M16 transmission line from the end of the detonation-cord line main or ring main to the M12 or M13 transmission-line plastic connector. Ensure that the M11 or M16 blasting caps are underneath a sandbag.

h. Remove the M12 or M13 plastic connector from underneath the sandbag. Insert the M11 or M16 shock tube to the connector and secure the connection with tape (Figure 052-193-1310-11).

Figure 052-193-1310-11 M11 to M12/M13

i. Remove the M11 or M16 blasting cap from underneath the sandbag. Insert the blasting cap into the blasting cap slot of an M9 holder. Close the small hinged flap, loop the end of the detonating-cord line main or ring main into the M9 holder, close the hinged flap, and secure the connection with tape (Figure 052-193-1310-12).

Figure 052-193-1310-12 Transmission Line to the Detonating Cord

NOTE: Secure all sandbags near the firing point.

j. Return to the firing point. Construct the initiation set(s) and prepare to initiate the system (Figures 052-193-1310-13 and 052-193-1310-14).

Figure 052-193-1310-13 Line Main

Figure 052-193-1310-14 Ring Main

NOTE: Charges are primed with detonating cord or MDI. Branch lines are connected with a girth hitch with an extra turn, M1 clip, or J-hook.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.  Ensure that the soldier is evaluated on the construction of the firing system and not on the priming methods or initiating sets.  Use inert demolitions for this evaluation.

NOTE:  With approval from the site noncommissioned officer in charge (NCOIC), the evaluator may evaluate the soldier on three tasks at one station in sequence:  construct demolition firing systems, prime military explosives, and construct demolition initiation sets.  Ensure that all conditions and standard statements are read and understood by the evaluated soldier before evaluation.

Brief soldier: Tell the soldier to construct a stand-alone firing system or a combination firing system. 

NOTE:  Ensure that the soldier understands what he will be evaluated on before the evaluation.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Constructed a stand-alone firing system. | —— | —— |
| 2. Constructed a combination firing system. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
|  | FM 5-250 |

Prime Military Explosives

052-193-1311

Conditions: As a combat-engineer squad member in a field environment, given various types of military explosives, detonating cord, modernized demolition initiators (MDIs) with high-strength blasting caps, a demolition knife, M2 crimpers, string, and adhesive tape.

Standards: Prime the explosives, in sequence, without causing premature detonation.

Performance Steps

1. Prime military explosives with detonating cord. Use the methods below to prime trinitrotoluene (TNT) blocks with detonating cord.

a. Common method. Lay one end (1-foot length) of detonating cord at an angle across the explosive. Wrap the running end around the block three turns, laying the wraps over the standing end. On the fourth wrap, slip the running end under all of the wraps, parallel to the standing end, and draw the wraps tight. This forms a clove hitch with two extra turns (Figure 052-193-1311-1).

Figure 052-193-1311-1 Common Method

b. Alternate method. Place a loop of detonating cord on the explosive. Leave enough length on the end to make four turns around the block, and loop with the remaining end of the detonating cord. Ensure that the first wrap crosses over the standing end of the loop. Work toward the closed end of the loop, passing the free end of the detonating cord through the loop. Pull the running end through the eye of the loop and tighten it (Figure 052-193-1311-2).

Figure 052-193-1311-2 Alternate Method

2. Prime M112 (composition C4 [C4]) demolition blocks with detonating cord.

a. Form either a Uli, a double overhand, or a triple roll knot (Figure 052-193-1311-3).

Figure 052-193-1311-3 Detonating Cord Knots

b. Cut an L-shaped portion of explosives, but leave it connected to the explosive. Ensure that the space is large enough to insert the knot you formed (Figure 052-193-1311-4).

Figure 052-193-1311-4 C4, L-Shaped Cut

CAUTION: USE A SHARP, NONSPARKING KNIFE ON A NONSPARKING SURFACE TO CUT THE EXPLOSIVES.

c. Insert the knot into the L-shaped cut, and push the explosive over the knot. Ensure that there is at least one-half inch of explosive on all sides of the knot. Strengthen the primed area by wrapping it with tape.

3. Prime M118 and M186 demolition charges (sheet charges) with detonating cord (Figure 052-193-1311-5).

Figure 052-193-1311-5 Demolition Charges

a. Form a Uli, double overhand, or triple roll knot.

b. Insert the knot between two sheets of explosive, or place the knot on top of the sheet explosive. Secure it with a small strip of sheet explosive. The knot must be covered on all sides with at least one-half inch of explosive.

4. Prime dynamite with detonating cord.

a. Use the M2 crimpers and, starting one inch from either end of the dynamite charge, punch four equally spaced holes through the dynamite cartridge (Figure 052-193-1311-6).

NOTE: Rotate the cartridge 180 degrees after punching each hole to keep the holes parallel.

b. Lace the detonating cord through the holes in the same direction the holes were punched (Figure 052-193-1311-6).

CAUTION: DO NOT PULL THE DETONATING CORD TOO TIGHT. THE CARTRIDGE WILL BREAK.

c. Secure the detonating-cord tail by passing it between the detonating-cord lace and the dynamite charge (Figure 052-193-1311-6).

Figure 052-193-1311-6 Priming Dynamite

5. Prime a 40-pound cratering charge (Figure 052-193-1311-7).

NOTE: Because the cratering charge is primarily an underground charge, prime it only with C4 primed with a detonating cord. Dual prime to protect against misfires.

a. Prime a 40-pound, composition-H6 (H6) cratering charge.

(1) Prime two packages of C4 with detonating cord.

(2) Place the primed packages parallel to the cratering charge, on opposite sides of it, and flush with the top.

(3) Firmly hold the packages in place with 100-miles-per-hour tape.

Figure 052-193-1311-7 H6 Cratering Charge

NOTE: Instructions and markings on the canister indicate the exact placement of the primed C4. NOTE: Ensure that the detonating-cord branch lines (from the C4) are long enough to reach the detonating-cord line main or ring main. NOTE: Place tape on the detonating cord from the cratering charge one foot up to aid in clearing possible misfires.

b. Prime a 40-pound ammonium-nitrate cratering charge.

CAUTION: AMMONIUM NITRATE IS HYGROSCOPIC AND INEFFECTIVE WHEN WET; THEREFORE, INSPECT THE METAL CONTAINER FOR DAMAGE OR RUST. DO NOT USE DAMAGED OR RUSTY CHARGES.

(1) Pass the end of the detonating cord through the tunnel on the side of the cratering charge.

(2) Tie an overhand knot with a 6-inch tail at the lower end of the length of the detonating cord.

(3) Take a preprimed 1-pound block of explosive (C4 or TNT) and tape the charge along the center of the cratering charge (Figure 052-193-1311-8).

Figure 052-193-1311-8 Prime Cratering Charge

6. Prime a bangalore torpedo with detonating cord.

CAUTION: USE EXACTLY EIGHT WRAPS TO PRIME THE TORPEDO. TOO MANY WRAPS WILL EXTEND THE DETONATING CORD PAST THE BOOSTER CHARGE HOUSING, POSSIBLY CAUSING THE TORPEDO TO BE CUT WITHOUT DETONATION. TOO FEW WRAPS MAY CAUSE THE TORPEDO TO ONLY BE CREASED WITHOUT DETONATION.

a. Wrap the detonating cord eight times around the end of the section, just below the bevel, and pull the knot tight (Figure 052-193-1311-9).

NOTE: Never use the short end (tail) of the detonating cord to initiate the torpedo. Initiation must come from the running end of the detonating cord.

b. After pulling the knot tight, insert the short end of the detonating cord into the cap well, and secure it with tape when needed.

Figure 052-193-1311-9 Bangalore Torpedo

WARNING: NEVER USE THE SHORT END OF THE DETONATING CORD TO INITIATE THE TORPEDO. INITIATION MUST COME FROM THE RUNNING END OF THE DETONATING CORD CONNECTED TO THE LINE MAIN OR RING MAIN.

7. Prime TNT with an MDI high-strength blasting cap and an M1A4 priming adapter.

a. Place the blasting cap underneath a sandbag.

b. Use the pointed end of the M2 crimpers to punch a hole in the paper covering the cap well of the block of TNT (Figure 052-193-1311-10).

Figure 052-193-1311-10 Demolition Block

c. Inspect the cap well to ensure that nothing is preventing the blasting cap from fully seating in the cap well of the explosive.

d. Attach the priming adapter.

NOTE: The M1A4 priming adapter must be slid down the full length of the shock tube to the blasting cap.

(1) Cut the desired amount of shock tube, or cut the sealed end of the shock tube, and remove the J-hook (when attached).

(2) Slide the priming adapter onto the shock tube, threaded end first, down to the blasting cap.

(3) Remove the blasting cap from underneath the sandbag, slide the priming adapter over the blasting cap, and place the blasting cap back underneath the sandbag.

(4) Replace the J-hook, when used.

e. Secure the blasting cap to the TNT block.

(1) Remove the blasting cap from underneath the sandbag.

(2) Secure the blasting cap in one hand. Ensure that the cap is completely enclosed in the hand and facing down and away from the thumb (Figure 052-193-1311-11).

Figure 052-193-1311-11 Holding the Blasting Cap

(3) Insert the blasting-cap end into the threaded cap well of the TNT (Figure 052-193-1311-12).

Figure 052-193-1311-12 Inserting Blasting Cap in TNT

(4) Tighten the priming adapter by screwing it into the threaded cap well.

8. Prime TNT with an MDI high-strength blasting cap using the string or tape method.

a. String Method.

(1) Place the blasting cap underneath a sandbag.

(2) Use the pointed end of the M2 crimpers to punch a hole in the paper that covers the threaded cap well of the block of TNT.

(3) Inspect the threaded cap well to ensure that nothing is preventing the blasting cap from fully seating in the threaded cap well of the explosive.

(4) Wrap the string around the block four times. Ensure that the tails are the same length, and secure the wraps with a nonslip knot (Figure 052-193-1311-13).

Figure 052-193-1311-13 Tie String Around TNT

(5) Remove the blasting cap from underneath the sandbag.

(6) Secure the blasting cap in one hand. Ensure that the cap is completely enclosed in the hand, facing down, and away from the thumb.

(7) Insert the blasting cap end into the threaded cap well of the TNT.

(8) Bend the shock tube over the nonslip knot, and secure it with two half-hitches (Figure 052-193-1311-14).

Figure 052-193-1311-14 Secure Shock Tube With String

b. Tape Method:

(1) Place the blasting cap underneath a sandbag.

(2) Use the pointed end of the M2 crimpers to punch a hole in the paper that covers the threaded cap well of the block of TNT.

(3) Inspect the threaded cap well to ensure that nothing is preventing the blasting cap from fully seating in the threaded cap well of the explosive.

(4) Remove the blasting cap from underneath the sandbag.

(5) Secure the blasting cap in one hand. Ensure that the cap is completely enclosed in the hand, facing down, and away from the thumb.

(6) Insert the blasting cap end into the threaded cap well of the TNT.

(7) Bend the shock tube over the block, and secure it with electrical tape (Figure 052-193-1311-15).

Figure 052-193-1311-15 Secure Shock Tube With Tape

9. Prime dynamite with an MDI high-strength blasting cap.

a. End-Priming Method.

(1) Place the blasting cap underneath a sandbag.

(2) Use the M2 crimpers or another nonsparking tool to make a cap well in one end of the dynamite cartridge.

(3) Remove the blasting cap from underneath the sandbag, and insert the blasting cap into the cap well.

(4) Secure the blasting cap and shock tube to the cartridge with tape to hold the blasting cap firmly in place (Figure 052-193-1311-16).

Figure 052-193-1311-16 End-Priming Method

b. Side-Priming Method.

(1) Place the blasting cap underneath a sandbag.

(2) Use the M2 crimpers to make a cap well (about 1 1/2 inches long) in the side of the dynamite cartridge at one end. Slightly slant the cap well so the blasting cap, when inserted, will be nearly parallel to the side of the cartridge and the explosive end of the cap will be at a point nearest the middle of the cartridge.

(3) Insert the blasting cap into the cap well.

(4) Tie a string securely around the fuse. Then, wrap the string tightly around the cartridge, making two or three turns before tying it (Figure 052-193-1311-17).

Figure 052-193-1311-17 Side-Priming Method

NOTE: Weatherproof the primed cartridge by wrapping a string snuggly around the cartridge, extending it an inch or so on each side of the hole to cover the hole completely. Cover the string with a weatherproof sealing compound.

10. Prime the M112 demolition block (C4) with an MDI high-strength blasting cap.

a. Place the blasting cap underneath a sandbag.

b. Use the M2 crimpers or another nonsparking tool to make a hole in one end or in the side (at midpoint) of the demolition block.

NOTE: The hole must be large enough to hold a blasting cap.

c. Remove the blasting cap from underneath the sandbag, and insert the blasting cap into the hole of the demolition block (Figure 052-193-1311-18).

Figure 052-193-1311-18 Prime C4 With MDI

WARNING: DO NOT FORCE THE BLASTING CAP. IF THE BLASTING CAP DOES NOT FIT, ENLARGE THE HOLE.

d. Anchor the blasting cap into the block by gently squeezing the C4 plastic explosive around the cap.

e. Use electrical tape to secure the cap in the charge.

11. Prime an M2A4 or M3A1 shape charge with an MDI high-strength blasting cap and an M1A4 priming adapter.

NOTE 1: Do not prime the charge until it is placed on the target. NOTE 2: Use tape to secure the blasting cap in the threaded cap well when a priming adapter is not used.

a. Place the blasting cap underneath a sandbag.

b. Position the charge.

c. Cut the desired amount of shock tube, or cut the sealed end of the shock tube and remove the J-hook, when attached.

d. Slide the priming adapter onto the shock tube, threaded end first, down to the blasting cap.

e. Remove the blasting cap from underneath the sandbag, slide the priming adapter over the blasting cap, and place the blasting cap back underneath the sandbag.

f. Replace the J-hook, if used.

g. Remove the blasting cap from underneath the sandbag.

h. Secure the blasting cap in one hand. Ensure that the cap is completely enclosed in the hand, facing down, and away from the thumb.

i. Insert the blasting cap into the threaded cap well of the shape charge. Secure the blasting cap by tightening the priming adapter into the threaded cap well (Figure 052-193-1311-19).

Figure 052-193-1311-19 Priming the Shaped Charger With MDI

12. Prime the bangalore torpedo with an MDI high-strength blasting cap and a M1A4 priming adapter.

NOTE: Do not prime the charge until it is placed on the target. NOTE: Secure the blasting cap in the threaded cap well by using tape when a priming adapter is not used.

a. Place the blasting cap underneath a sandbag.

b. Position the charge.

c. Cut the desired amount of shock tube, or cut the sealed end of the shock tube, and remove the J-hook, when attached.

d. Slide the priming adapter onto the shock tube, threaded end first, down to the blasting cap.

e. Remove the blasting cap from underneath the sandbag. Slide the priming adapter over the blasting cap, and place the blasting cap back underneath the sandbag.

f. Replace the J-hook, when used.

g. Remove the blasting cap from underneath the sandbag.

h. Secure the blasting cap in one hand. Ensure that the cap is completely enclosed in the hand, facing down, and away from the thumb.

i. Insert the blasting cap into the threaded cap well of the bangalore torpedo. Secure the blasting cap by tightening the priming adapter into the threaded cap well (Figure 052-193-1311-20).

Figure 052-193-1311-20 Priming Bangalore With MDI

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.  Ensure that the soldier has various types of military explosives to be primed, using detonating cord and a MDI.  Use the inert demolition equipment for this task.

Brief soldier:  Tell the soldier he will be priming several different types of military explosives using detonating cord and MDI.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Primed military explosives with detonating cord. | —— | —— |
| 2. Primed military explosives with MDI. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
|  | FM 5-250 |
|  | TM 9-1375-213-12 |

Construct Demolition Initiating Sets

052-193-1312

Conditions: As a combat-engineer squad member in a field environment, given a demolition firing system, an M11 or an M16 branch line, an M12 or an M13 transmission line, an M14 time-delay fuze, an M81 fuze igniter, an M9 holder, adhesive tape, a demolition knife, and a sandbag.

Standards: Construct command and delay demolition initiating sets without causing premature detonation.

Performance Steps

NOTE 1: All modernized-demolition-initiator (MDI) blasting caps can be used to initiate a shock tube. Only use the M11, M14, and M15 high-strength blasting caps to detonate the detonation-cord line main or ring main. NOTE 2: Use MDI initiating sets to initiate instantly by using M12 and M13 transmission lines or an M14 delay fuze for delay initiation up to 5 minutes. NOTE 3: When using combination command and delay demolition initiating sets on demolition firing systems, the command initiation set will be the primary set and the delay initiation set will be the secondary set. Place a sandbag on the secondary initiation-set blasting cap to reduce fragmentation hazard of the cap when detonated from the firing system.

1. Construct a command initiation set.

a. Lay out one or more M12s or M13s to achieve the necessary safe distance from the explosive charges being emplaced, and place the plastic connectors under a sandbag.

b. Connect the blasting cap furthest from the initiation point to the demolition firing system.

(1) MDI demolition firing system. Remove the plastic connector from underneath the sandbag. Open the large-hinged flap on the plastic connector of the M12 or M13 transmission line, and loop the end of the firing system shock tube into a 6-inch bite around the plastic connector. Insert the shock tube into the channels of the plastic connector. Snap the large-hinged flap shut and secure it with tape (Figure 052-193-1312-1).

Figure 052-193-1312-1 Connecting the Shock Tube to the M12/M13

NOTE 1: Continue this procedure with the M12s and M13s to the initiation point or until the necessary safe distance from the explosives is achieved. NOTE 2: Ensure that the shock tube is in contact with the blasting cap. NOTE 3: Do not insert more than five shock tubes into the plastic connector.

(2) Detonation-cord demolition firing system.

( a) Lay out one or more M12s or M13s to achieve the necessary safe distance from the explosive charges being emplaced, and place the plastic connectors under a sandbag. Connect an M11 high-strength blasting cap to the detonating-cord ring main or line main (Figure 052-193-1312-2).

Figure 052-193-1312-2 Connect Detonation Cord to the M9 Holder

( b) Connect the blasting cap furthest from the initiation point to the demolition firing system.

( c) Open both hinged flaps on the M9 holder, insert the M11 blasting cap into the cap slot, and snap the flap shut. Loop the detonating-cord firing system ring main or line main into a 6-inch bite around the M9 holder and insert the detonation cord into the channels of the holder. Snap the hinged flap shut and secure it with tape.

NOTE: Ensure that the detonating cord is in contact with the blasting cap.

( d) Remove the plastic connector from underneath the sandbag. Open the large hinged flap on the plastic connector of the M12 or M13 transmission line and loop the end of the M11 shock tube into a 6-inch bite around the plastic connector. Insert the shock tube into the channels of the plastic connector. Snap the large hinged flap shut and secure it with tape (refer to Figure 052-193-1312-1).

NOTE 1: Ensure that the shock tube is in contact with the blasting cap. NOTE 2: Continue this procedure with the M12s and M13s to the initiation point or until the necessary safe distance from the explosives is achieved.

c. Connect the M81 fuze igniter to the shock tube.

(1) Turn the M81 end cap one-half turn counterclockwise, and pull the shipping plug out of the igniter (Figure 052-193-1312-3).

Figure 052-193-1312-3 M81 Fuze Igniter

(2) Cut off the crimped, sealed end of the shock tube.

NOTE: Use the demolition knife to cut the shock tube for a smooth cut. M2 crimpers do not ensure a smooth cut.

(3) Push the shock tube into the M81's end cap as far as it will go (Figure 052-193-1312-4).

Figure 052-193-1312-4 M81 and Shock Tube

(4) Turn the igniter's end cap clockwise, once the shock tube is seated. Finger tighten to secure the shock tube into the igniter.

(5) Hold the igniter securely, and pull lightly on the tube to ensure that it is secure.

d. Actuate the M81 fuze igniter to initiate the system, upon command from the officer in charge (OIC) or noncommissioned officer in charge (NCOIC).

(1) Squeeze together the spread legs of the safety cotter pin.

(2) Use the safety-pin cord to remove the safety cotter pin from the igniter's body.

(3) Actuate the igniter by sharply pulling its pull ring. The pop of the igniter's primer should be heard.

NOTE: If the primer does not fire the M81, it can be recocked and reactuated by holding the igniter firmly and pushing the pull rod back into the igniter until a click is heard or felt, and again, sharply pulling the pull ring to actuate it.

2. Construct a delay initiation set.

NOTE: The M14 delay will allow up to a 5-minute delay before detonation. Each yellow band indicates a 1-minute delay.

a. MDI-demolition firing system. Open both of the hinged flaps on the M9 holder, and insert the M14 blasting cap into the cap slot and snap the flap shut. Loop the firing-system shock tube into a 6-inch bite around the M9 holder, and insert the shock tube into the channels of the holder. Snap the hinged flap shut, and secure it with tape (refer to Figure 052-193-1312-1).

b. Detonating-cord demolition firing system. Open both hinged flaps on the M9 holder, insert the M14 blasting cap into the cap slot, and snap the flap shut. Loop the firing-system detonating cord into a 6-inch bite around the M9 holder, and insert the detonating cord into the channels of the holder. Snap the hinged flap shut, and secure it with tape (refer to Figure 052-193-1312-2).

c. Connect the M81 fuze igniter to the shock tube.

(1) Turn the M81 end cap one-half turn counterclockwise, and pull the shipping plug out of the igniter (refer to Figure 052-193-1312-3).

(2) Cut off the crimped, sealed end of the M14 delay blasting-cap tube.

(3) Push the tube into the M81's end cap as far as it will go (refer to Figure 052-193-1312-4).

(4) Turn the igniter's end cap clockwise. Once the shock tube is seated, finger tighten to secure the shock tube into the igniter.

(5) Hold the igniter securely, and pull lightly on the tube to ensure that it is secure.

d. Initiate the system upon command from the OIC/NCOIC, and actuate the M81 fuze igniter.

(1) Squeeze together the spread legs of the safety cotter pin.

(2) Use the safety-pin cord to remove the safety cotter pin from the igniter's body.

(3) Actuate the igniter by sharply pulling its pull ring. The pop of the igniter's primer should be heard.

NOTE: If the primer does not fire the M81, it can be recocked and reactuated by holding the igniter firmly and pushing the pull rod back into the igniter until a click is heard or felt and again sharply pulling the pull ring to actuate it.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.

Brief soldier: Tell the soldier to construct a demolition initiation set using command initiation and delay initiation.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Constructed a command initiation set. | —— | —— |
| 2. Constructed a delay initiation set. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
|  | FM 5-250 |

Identify Characteristics of Military Demolitions and Explosives

052-193-1313

Conditions: As a combat-engineer squad member in a field environment, given various types of military demolitions and explosives.

Standards: Identify the characteristics of military demolitions and explosives correctly.

Performance Steps

NOTE: The soldier must be familiar with the evaluated material before evaluation.

Evaluation Preparation:  Setup:  For the classroom, present the figures in this task or similar material (mockups, graphic training aids (GTAs), flash cards, overhead transparencies, 35-millimeter slides) to the soldier.  For a field environment, present the figures in this task as emplaced mockups, training devices, or actual items. 

Brief soldier:  Tell the soldier that pictures or similar material will be shown for 30 seconds each.  During each 30-second period, the soldier must identify the characteristics of each item correctly.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Identified the characteristics of military demolitions. | —— | —— |
| 2. Identified the characteristics of military explosives. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
|  | FM 5-250 |

Subject Area 3: Basic Combat Construction

Install Wire Obstacle Materials

052-195-1020

Conditions: As a combat-engineer squad member in a field environment, given U-shaped pickets, barbed wire, concertina, wire gauntlets, wooden sticks, a picket driving cap, a sledgehammer or a picket pounder, ground staples, and a suitable working area with the known expected direction of enemy travel.

Standards: Insert U-shaped pickets, ensuring that the concave side faces the enemy and that the lower notch is approximately  4 inches off of the ground.  Make correct barbed wire and apron ties.  Tighten loose wire by racking, laying out, and installing concertina.

Performance Steps

1. Install a U-shaped picket to support the fencing material.

a. Install the U-shaped picket with a driving cap and a sledgehammer.

(1) Lay the picket on the ground with the narrow end pointing toward the enemy and the concave side facing skyward.

(2) Place a picket driving cap over the top of the picket.

NOTE: The top of the picket is the wide end that faces away from the enemy.

(3) Stand the picket on the narrow end, and pound on the driving cap with a sledgehammer until the lower notch of the picket is approximately 4 inches off of the ground.

NOTE: The concave side of the picket must face the enemy.

b. Install the U-shaped picket with a picket pounder.

(1) Lay the picket on the ground so the narrow end is pointing toward the enemy and the concave side is facing skyward.

(2) Place a picket pounder over the top of the picket.

NOTE: Many engineer units make their own picket pounders. The picket pounder is easier for one-man picket installation than the driving cap and sledgehammer.

(3) Stand the picket on the narrow end, and raise and lower the picket pounder. Drive the picket into the ground until the lower notch of the picket is approximately 4 inches off of the ground.

NOTE: The concave side of the picket must face the enemy.

2. Make barbed-wire posts and apron ties, and tighten loose wire by racking.

WARNING: USE WIRE GAUNTLETS WHEN WORKING WITH BARBED WIRE TO AVOID HAND INJURY.

a. Make barbed-wire post ties (Figure 052-195-1020-1).

Figure 052-195-1020-1 Post Tie

NOTE: Use the post tie to fasten standard barbed wire to wooden posts or to U-shaped pickets.

(1) With your palm down, reach around the picket, over the fixed end, and take a loop from the free end.

(2) Wrap the loop around the post above the fixed end.

(3) Wrap the loop around the free end at least two turns to complete the tie.

b. Make barbed-wire apron ties (Figure 052-195-1020-2).

Figure 052-195-1020-2 Apron Tie

NOTE: Use the apron tie whenever two wires that cross must be tied together.

(1) Draw a large loop from the free end back under the wire.

(2) Bring the loop up and over the top of the diagonal wire.

(3) Bring the loop down and under the free end.

(4) Wind the loop around the free end at least two complete turns.

c. Tighten loose wires by racking with a short stick. Rack the wire in the middle, not at the ties or where wires intersect (Figure 052-195-1020-3).

Figure 052-195-1020-3 Tighten Loose Wire by Racking

3. Install and collapse concertina wire.

NOTE: Use wire gauntlets when working with concertina to avoid hand injury.

a. Lay out concertina.

NOTE: When carrying a roll of concertina, step inside the roll, grasp the carrying handles, lift the roll about waist high, and carry it to the required location.

(1) Untie the plain-wire bindings from around the quarter points of the coil. Leave the plain-wire bindings attached to one end hoop.

NOTE: Concertina should never be extended longer than 49.2 feet and should not be used across openings less than 16.4 feet. Normally, a minimum of two soldiers will extend concertina, although one soldier can extend concertina as described in this task.

(2) Grasp the top end-hoop carrying handles with the loose coil laid flat on the ground, then lift the end hoop upward. Extend the concertina by bouncing the extended coil in a line parallel to the desired fence line until about half of the coil is extended.

NOTE: During the extending procedure, do not overextend short portions of the extending coil. When snags and uneven hoops occur, stop and loosen the snags and hoops to ensure that the concertina opens and extends evenly without distorting its shape.

(3) Extend the remaining half of the coil by first lifting the bottom end-hoop carrying handles. Grasp both carrying handles and extend the second half by bouncing the coil in the same manner as the first half of the coil.

b. Install concertina.

NOTE: Personnel will remain on the friendly side of the fence at all times.

(1) Place the end hoop over the end picket.

( a) Grasp the side of the coil and end hoop while facing the extended concertina from the friendly side.

( b) Lift and place the lower and upper midpoints of the first coil over the end picket.

NOTE: The middle coils of concertina are simply lifted and placed over the individual pickets along the fence line.

(2) Connect concertina when joining concertinas over a picket (Figure 052-195-1020-4).

Figure 052-195-1020-4 Joining Concertinas

( a) Grasp the side of the coil and end hoop while facing the extended concertina from the friendly side.

( b) Lift and place the lower midpoint of the first coil over the picket.

( c) Place the second concertina's first coil over the picket in the same manner as over an end picket.

( d) Lift the upper midpoint of the first coil on the first concertina over the picket while pushing downward on the second concertina's first coil.

(3) Connect concertina when joining concertinas without a picket.

( a) Insert the first coil of one concertina inside the first coil of the second concertina.

( b) Use plain steel wire (binding wire) to tie the two concertinas together.

c. Install ground staples.

(1) Hammer ground staples into the ground. Keep the hoop wire between the staple legs.

(2) Install a ground staple over each pair of end hoops at the bottom of the coil and at the quarter points between the pickets.

NOTE: The enemy-row concertinas are always stapled to the ground.

d. Install horizontal wire.

(1) Stretch a strand of barbed wire along the top of the extended concertina.

(2) Use a post tie to tie the barbed wire to each picket (Figure 052-195-1020-5).

Figure 052-195-1020-5 Anchored Concertina

NOTE: The horizontal wire should be as tight as possible to improve the resistance of the fence against crushing. Racking may be required.

(3) Stagger the end hoops and the joints of multirow fences.

( a) Stagger the rows of double-concertina fences every 2.5 paces.

( b) Stagger the top row of triple-concertina fences between the lower two rows of concertina.

(4) Install and rack a top-row concertina.

( a) Extend and join concertina as required for the top row.

( b) Lift the concertina from the friendly side and place the coils in the trough formed by the bottom rows.

( c) Rack the top-row concertina to the rear horizontal wire at points halfway between the rear-row long pickets.

( d) If the noncommissioned officer in charge (NCOIC) authorizes access to the enemy side of the fence, similarly rack the top-row concertina to the forward horizontal wire.

NOTE: The end hoops at each end of the top row are racked to the rear horizontal wire between the anchor picket and the end long picket.

e. Collapse the concertinas.

NOTE: Normally, a minimum of two soldiers will collapse concertinas, although one soldier can collapse concertinas as described in this task.

(1) Remove the horizontal wire from the concertina.

(2) Remove kinks in the coils, tighten loose clips, or replace missing clips with plain binding wire.

(3) Place a foot at the bottom of one end of the hoop, and grasp the top carrying handle.

(4) Walk toward the other end hoop while feeding the wire into your hand and against your foot.

(5) Lay the loose coil flat on the ground, when closed, and compress it with your feet.

(6) Remove the plain-wire bindings from the handles, and tie the coil at quarter points.

Evaluation Preparation:  NOTE:  This task may be used to evaluate more than one soldier at one time on the overall installation of a barbed-wire fence or a concertina-wire obstacle.

Setup:  Provide the soldier(s) with the items listed in the conditions statement.

Brief soldier:  Ensure that the soldier(s) know the evaluation standard before beginning the task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Installed the picket with a driving cap and sledgehammer. | —— | —— |
| 2. Installed the picket with a picket pounder. | —— | —— |
| 3. Made barbed-wire post ties. | —— | —— |
| 4. Made barbed-wire apron ties. | —— | —— |
| 5. Tightened loose wire by racking. | —— | —— |
| 6. Laid out concertina. | —— | —— |
| 7. Installed concertina. | —— | —— |
| 8. Installed ground staples. | —— | —— |
| 9. Installed horizontal wire. | —— | —— |
| 10. Collapsed concertina. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
|  | FM 5-102 |
|  | FM 5-34 |

Subject Area 4: Basic Rigging

Tie Knots

052-200-1075

Conditions: As a combat-engineer in a field environment, given lengths of fiber rope up to 1 inch in diameter (including at least one rope of a different diameter) and wooden poles of various sizes.

Standards: Tie each knot so it performs the designed function without failure.

Performance Steps

1. Tie a square knot. Use the square knot to tie together two dry ropes of the same thickness. Make the first crossing left over right or right over left. Tie the second crossing opposite the first (Figure 052-200-1075-1).

Figure 052-200-1075-1 Tying a Square Knot

2. Tie a bowline. Use the bowline for forming a nonslipping loop (Figure 052-200-1075-2).

Figure 052-200-1075-2 Tying a Bowline

3. Tie a clove hitch. Use the clove hitch to fasten a rope to a timber, pipe, or post. The clove hitch is also used for making other knots (Figure 052-200-1075-3).

Figure 052-200-1075-3 Tying a Clove Hitch

4. Tie a girth hitch. Use a girth hitch on rope bridges (Figure 052-200-1075-4).

Figure 052-200-1075-4 Tying a Girth Hitch

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.

Brief soldier:  Tell the soldier what is expected.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Tied a square knot. | —— | —— |
| 2. Tied a bowline. | —— | —— |
| 3. Tied a clove hitch. | —— | —— |
| 4. Tied a girth hitch. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
|  | FM 5-125 |

Subject Area 5: Maintenance

Maintain Plumbing Tools

052-248-1000

Conditions: As a plumber/pipe fitter in a field environment, given general and supplementary pipe-fitter tool kits, an electric grinder, metal files, sandpaper, emery cloth, linseed oil, rags, goggles, gloves, hearing protection, and Technical Manual (TM) 9-243.  The soldier should maintain the plumbing tools after each use.

Standards: Clean, adjust, and lubricate all tools as required by the respective TMs.  All tool-handling safety precautions must be observed.

Performance Steps

NOTE: Refer to TM 9-243 to maintain all tools.

1. Maintain the measuring tapes.

a. Keep the tapes clean and dry.

b. Store the tapes where they will not become bent or damaged.

2. Maintain the cutting tools.

a. Maintain the hacksaws.

(1) Store the blades in a dry place. Apply a light coat of oil to the blades when not in use in order to avoid rusting.

(2) Avoid placing heavy tools or objects on the saw blades as this can result in a distortion of the blade.

(3) File the saw teeth to keep them in top condition.

(4) Use a wedge to spread the cut on a bound saw. Do not force the saw.

b. Maintain the pipe threaders (Figure 052-248-1000-1).

Figure 052-248-1000-1 Pipe Threader

(1) Wipe off the excess cutting oil, and clean the metal shavings from the cutting-die edges and collar.

(2) Store the pipe threaders in a case or box which will protect the cutting dies.

c. Maintain the pipe cutters (Figure 052-248-1000-2).

Figure 052-248-1000-2 Cutting Tools

(1) Clean and lightly oil the cutter wheel, roller guide, and adjusting screw.

(2) Store on a rack or in a box which protects the cutting wheel.

d. Maintain the tube cutter (Figure 052-248-1000-2).

(1) Keep the cutting wheel clean and lightly oiled.

(2) Keep the reaming device retracted when not in use (if mounted on the body of the cutter).

(3) Store the tube cutters on a rack or in a box.

e. Maintain the pipe reamer (Figure 052-248-1000-2).

(1) Keep the pipe reamer clean to maintain accuracy.

(2) Avoid use of the pipe reamer when removing more than 0.003 inch of metal. If the hole is too small, enlarge it with a drill before reaming it.

(3) Replace the pipe reamer if it chatters when the proper pressure is applied during use.

(4) Turn the pipe reamer in the cutting direction only in order to prevent chipping and dulling when reaming a hole.

(5) Hone the edges on an oilstone to restore the sharpness on slightly dulled edges. On an adjustable reamer, the blades may be replaced.

(6) Wrap the pipe reamer in an oily cloth, and keep it in a box in order to prevent damage during short-term storage.

(7) Clean the pipe reamer thoroughly, and coat it with a rust-preventive compound. Wrap each pipe reamer separately in oiled cloth, and store in a dry, safe place for long-term storage.

3. Maintain the gripping tools.

a. Maintain the wrenches (Figure 052-248-1000-3).

Figure 025-248-1000-3 Wrenches

(1) Apply a thin film of oil to the metal parts of the wrench before storing.

(2) Remove the oil before use in order to prevent injury or damage.

(3) Cover the wrench with a rust preventive compound, and carefully store in a dry location (for long-term storage).

b. Maintain the slip-joint pliers and the adjustable (monkey) wrench (Figure 052-248-1000-4). Remove dirt and grease with a clean rag, and apply a light coat of oil after each use.

Figure 052-248-1000-4 Gripping Tools

c. Maintain the vise and pipe stand (Figure 052-248-1000-5).

Figure 052-248-1000-5 Vise and Pipe Stand

(1) Clean with a rag after each use, and apply a light coat of oil.

NOTE: Never oil the swivel base or swivel joint, as this decreases its holding power.

(2) Bring the jaws lightly together, and leave the handle in a vertical position when not using the vise in order to protect the jaws.

4. Maintain the driving tools (Figure 052-248-1000-6).

Figure 052-248-1000-6 Driving Tools

a. Maintain the screwdrivers.

(1) Wipe clean after each use.

(2) Apply a rust preventive compound to all metal surfaces, and store in a dry place (for long-term storage).

b. Maintain the ball peen hammer. Rub a small amount of linseed oil into the wood handles to prevent the wood from drying out and shrinking.

5. Maintain the soldering torch kit (Figure 052-248-1000-7). Wipe off the cooled torch head with a clean, dry cloth.

Figure 052-248-1000-7 Soldering Torch Kit

Evaluation Preparation:  Setup: Provide the soldier with the proper tools and cleaning supplies listed in the conditions statement. 

Brief soldier:  Tell the soldier that he will be required to complete the performance measures according to the standards set forth in the task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Maintained the measuring tapes. | —— | —— |
| 2. Maintained the cutting tools. | —— | —— |
| 3. Maintained the gripping tools. | —— | —— |
| 4. Maintained the driving tools. | —— | —— |
| 5. Maintained the soldering torch kit. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P). Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| TM 9-243 | FM 3-34.471 (FM 5-420) |

Winterize a Water System

052-248-1025

Conditions: As a plumber/pipe fitter in a field environment, given a general pipe-fitter tool kit, an installed water-supply system, wool-felt pipe covering, flex-rubber and sponge-felt paper insulation, a utility knife, duct tape, and Field Manual (FM) 3-34.471.  The company has received an operation order (OPORD) to construct troop facilities.

Standards: Winterize a water-supply system according to FM 3-34.471, covering all exposed pipes and valves.

Performance Steps

1. Identify the types of insulation. Identify-

a. The most common types of insulation (Figure 052-248-1025-1).

Figure 052-248-1025-1 Types of Insulation

(1) Sponge-felt paper insulation is made of asbestos paper and a maximum amount of sponge. It is made to fit most pipe sizes and comes in 3-foot lengths ranging from 1 to 3 inches thick. It can also be obtained in blocks of straight or preformed shapes for valves and fittings. Sponge-felt paper insulation is used mainly on hot-water lines.

(2) Wool-felt pipe covering is made of matted wool fibers, wool and fur, or wool and hair which has been pressure rolled into a compact material. This type of insulation is used on cold-water service lines and hot-water return lines.

(3) Flex-rubber insulation is made from a tough, flexible rubber material. It has very good insulating qualities and is used to prevent sweating on cold-water lines.

b. Additional types of pipe insulation (Figure 052-248-1025-2).

(1) Frost-proof insulation is used on cold-water service lines passing through unheated areas and on lines located outside. It comes in sections 3 feet long and 1 1/2 inches thick.

(2) Fiberglass insulation is shaped to fit pipes, tubing, small boilers, and water heaters. It has a long life as it will not shrink, swell, rot, or burn. It can be easily applied.

(3) Antisweat insulation is used on cold-water lines. It keeps water in the pipes colder and, if properly installed, prevents the pipes from sweating.

(4) Cork pipe-covering insulation is used for covering brine, ammonia, ice water, and all types of cold-water lines. It comes in a variety of sizes and shapes that can be used on various sizes of pipes and fittings. A waterproof material should be used to coat the insulation and keep out moisture.

(5) Magnesia insulation is used for steam and hot-water lines or other pipes whose temperature does not exceed 600 degrees Fahrenheit. It may be used on pipes up to 30 inches in diameter.

(6) Blanket insulation is used to prevent heat loss and protect against fire. It is used on boilers, furnaces, tanks, drums, dryers, ovens, flanges, and valves. It is used to wrap around objects that are irregular in shape and to cover large, flat areas.

2. Install pipe insulation. Install--

a. Above-ground-pipe covering.

(1) Each section is split in half and has a canvas cover with a flap for quick sealing.

(2) Use a joint collar to cover the joint seams on piping exposed to outside conditions. Use 3/4-inch-wide metal straps placed 18 inches apart to hold the insulation firmly (Figure 052-248-1025-2).

Figure 052-248-1025-2 Pipe Insulation

b. Underground-pipe covering.

(1) Use a concrete trench to install underground piping (in most cases).

(2) Protect the pipes using coal tar as a sealer, or wrap them with tar paper or aluminum foil.

(3) Cover the valves and fittings with wool, felt, or magnesia or mineral wool cement. Use the same thickness as the pipe's protection material. For magnesia or mineral wood cement, use cheesecloth to bind and hold it in place.

c. Waterline insulation.

(1) Insulate cold-water lines with wool-felt or flex-rubber insulation. Insulate hot-water lines with wool-felt or sponge-felt insulation.

( a) Each section is split in half and has a canvas cover with a flap for quick sealing.

( b) Use joint collars to cover the joint seams on piping exposed to outside conditions. Use 3/4-inch wide metal straps placed 18 inches apart to hold the insulation firmly in place.

( c) Cut the insulation to fit the valves or fittings, and use duct tape to secure the insulation. Cement the same thickness as the pipe covering.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.

Brief soldier:  Tell the soldier to ensure that the proper insulation for the type of pipe and temperature is used.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Identified the types of insulation. | —— | —— |
| 2. Installed above-ground-pipe covering, underground-pipe covering, and waterline insulation. | —— | —— |

Evaluation Guidance:  Score the soldier a GO if all steps are passed (P).  Score the soldier a NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 3-34.471 (FM 5-420) |  |

Subject Area 6: Materials

Identify Plumbing Materials

052-248-1021

Conditions: As a plumber/pipe fitter in a field environment, given cast-iron, plastic, and galvanized pipe and fittings; copper tubing with compression rings and couplings; plumbing fixtures; waste-system components; water-supply system components; valves; fixture-control devices; faucets; winterizing materials; and Field Manual (FM) 3-34.471.  The company has received an operation order (OPORD) to install plumbing fixtures.

Standards: Identify plumbing materials and fixture system components and their uses according to FM 3-34.471.

Performance Steps

1. Identify cast-iron pipe and fittings.

a. Cast-iron pipe comes in two wall weights or degrees of thickness.

(1) Service weight (SW) is used in households and is adequate for most military construction.

(2) Extra-heavy weight (XH) is used where liquids may corrode the pipe or where greater strength is needed, such as under roadways or in tall stacks.

b. Types and sizes of pipe.

(1) Hub-and-spigot pipe comes in 5-foot lengths ranging in diameter from 2 to 15 inches.

(2) Double-hub pipe comes in 5-inch lengths ranging in diameter from 2 to 15 inches.

(3) Hubless pipe comes in 10-foot lengths ranging in diameter from 1 1/2 to 8 inches.

c. Fittings. The major fitting types used for cast-iron pipe are the T and Y branches, bends, and traps. These fittings are used for connecting hub-and-spigot pipes or hubless cast-iron pipes.

(1) T-fittings.

( a) Sanitary T-fittings are used to carry drainage, and straight T-fittings are used for vent lines.

( b) Tapped T-fittings are used to connect threaded branch or drain lines.

( c) A T-fitting size is given first by the through section (run) and then by the takeoff (outlet) section.

(2) Y-branches are used to join one or more sanitary-sewer branches or to connect a branch line to a main line. The most common Y-branches are the 45-degree and 90-degree types. There are other types of Y-fittings that have reducing or inverted outlets for certain applications.

(3) Bends are used to change the direction of a cast-iron pipeline. The degree of direction change is given as a common math fraction. Bends are designated in fractions of 1/16, 1/8, 1/6, 1/5, 1/4, and 1/2 as they change the direction by 22 1/2, 45, 60, 72, 90, and 180 degrees. Bends can also be regular, short sweep, or long sweep.

(4) Traps provide a water seal, which keeps sewer gases from entering a building through the waste system. The most commonly used traps are the P-trap and the running trap.

( a) P-traps are used in a partition to connect a drain to a waste branch.

( b) Running traps are used in a building's drain line when the codes require that the building drain be trapped.

2. Identify steel pipe and fittings.

a. Galvanized steel/iron pipe. Galvanized steel/iron pipe can be used for hot- and cold-water supply, distribution, certain drainage applications, and vent installations. It comes in three strengths: standard, extra strong, and double extra strong. The definitions "schedule 40" and "schedule 80" also describe the pipe's strength. Schedule 40 is the most common strength used in plumbing. Pipe diameter sizes (nominal) are 1/8 inch to 12 inches and are available in 21-foot lengths, threaded or unthreaded.

b. Fittings.

(1) Ordinary fittings (standard) are used for water service and venting. They range in sizes from 3/8 inch to 6 inches.

(2) Drainage fittings (recessed) are used in a waste system. The threads on a drainage pipe are at a slight angle so that the drainage pipe slopes 1/4 inch per foot. Drainage fittings range in sizes from 1 1/4 inches to 12 inches.

(3) T-fittings are used for pipe branches that run on a 90-degree angle. The size is specified by the through section (run) and then the outlet.

(4) Elbows (Ls) are used to change the direction of a pipeline. The most common elbows are 90- and 45-degree angles. Either type can be a standard or a reducing type. The size of an L is given first by the larger opening and then by the smaller opening.

(5) Couplings are used to connect two lengths of pipe. They are available in standard, reducing, and eccentric types.

(6) Unions.

( a) Ground unions consist of three parts. The pipes are screwed together at the shoulder pieces, and the collar is tightened to draw together the pipes.

( b) Flange unions have two parts, each with a female thread, which are screwed to the pipes to be joined. Nuts and bolts pull the flanges together.

( c) Dielectric unions are used to connect dissimilar-metal or water-supply pipes and to prevent electrolysis (corrosion). Always use dielectric unions when connecting galvanized steel/iron pipe to copper pipe.

(7) Nipples are used to make an extension from a fitting or to join two fittings. Nipples are less than 12 inches long and are threaded on both ends.

(8) Plugs and caps are used to seal off openings in other fittings or pipe ends.

(9) Crosses join two different pipelines in the same plane.

(10) Bushings are used to reduce a fitting outlet or to connect a pipe to a larger outlet. They are available in pipe or face types.

3. Identify plastic pipe and fittings.

a. Plastic pipes can be used in a water system or a waste system. They are used for hot- or cold-water piping, drain waste, and vent piping.

b. Types and sizes of pipe.

(1) Polyvinyl chloride (PVC) pipe is cream or white colored and is used only in cold-water pipelines, sanitary drainage, and venting. PVC pipe comes in 10- and 20-foot lengths and in diameter sizes ranging from 1/2 inch to 6 inches.

(2) Chlorinated polyvinyl chloride (CPVC) pipe is cream or white colored and is used in hot-water pipelines, sanitary drainage, and venting. It comes in 10-foot lengths and in 1/2- and 3/4-inch diameter sizes.

(3) Acrylonitrile butadiene styrene (ABS) pipe is black or gray colored and is used for above- and below-ground sanitary drainage and venting. It comes in 10- and 20-foot lengths and in diameter sizes ranging from 1 1/4 to 6 inches.

(4) Polybutylene (PB) pipe is black or dark gray colored and is used for cold-water lines. It comes in coils of 100 feet or more and in diameter sizes ranging from 3/4 inch to 2 inches. PB is costly, requires special fittings, and is not widely used.

(5) Polyethylene (PE) pipe is black in color and is used for cold-water lines and sprinkler systems. It comes in coils of 100 feet and in diameter sizes ranging from 3/4 inch to 2 inches.

c. Fittings.

(1) PVC and CPVC fittings are similar to steel and copper fittings; however, the joints are sealed with epoxy or plastic sealant, rather than threading and soldering. PVC fittings are used for water and waste piping. CPVC fittings are used only for CPVC hot-water and cold-water system piping.

(2) ABS fittings are only used on ABS pipe in waste and vent systems.

4. Identify copper tubing and fittings.

a. Copper tubing is used in hot- and cold-water supply systems, certain drainage applications, and venting.

b. Types and sizes of tubing.

(1) Type K tubing is thick-walled, rigid or flexible copper tubing available in 20-foot lengths or 100-foot coils. The diameter sizes range from 1/4 inch to 12 inches.

(2) Type L tubing is a medium-walled, rigid or flexible copper tubing available in 20-foot lengths or 100-feet coils. The diameter sizes range from 1/4 inch to 12 inches.

(3) Type M tubing is a thin-walled, rigid copper tubing available in 20-foot lengths. The diameter sizes range from 1/4 inch to 12 inches.

(4) Drain-waste vent (DWV) tubing comes in 20-foot lengths. The diameter sizes range from 1 1/4 inches to 8 inches.

(5) Fittings.

( a) A solder fitting can be used with either rigid or flexible copper tubing. The fitting sizes are similar to galvanized-steel/iron fittings.

( b) A flared fitting can be used with flexible copper tubing with flared ends. The diameter sizes range from 3/8 inch to 3 inches.

( c) DWV fittings are similar to cast-iron fittings of the solder type.

5. Identify water-supply systems.

a. The water main is usually made of cast-iron pipe, 8 inches or more in diameter. When there is no opening or fitting in the water main, the main must be tapped. Use a tapping machine to tap the water main when it is under pressure. The tapping machine can be used on steel, asbestos, cement, or cast-iron pipes. If the main is less than 8 inches in diameter, the tap should be 2 inches or smaller.

b. Water supply lines.

(1) Water-service main-supply line. The water-service main-supply line provides water to the building. The line is a pipe, usually hung from a ceiling, with branches connected to serve the fixture risers.

(2) The supply line has the same diameter as the water-service main-supply line and is centrally located to provide a short takeoff point to the fixture supply risers throughout the building.

c. Corporation-, curb-, and meter-stop valves are used in conjunction with water service to the building.

(1) The corporation stop is connected directly to the distribution main line. It is the first component installed when the main line is tapped.

(2) The curb stop is normally installed inside a protective box between the street and the curb. The curb stop is used to turn off the water for repairs.

(3) The meter stop is installed inside the foundation wall. It is a ground-joint valve which controls the water supply.

d. Fixture supply risers run through the building's interior walls and supply water in conjunction with individual fixtures.

6. Identify wastewater systems.

a. The sewer thimble is a special fitting used to branch off of an existing main sewer line. It is the first step in grading the sewer line to the house drain. The hole in the sewer line should only be large enough to fit the sewer thimble and must be tapped above the sewer's normal flow line. The sewer thimble must be installed with the discharge parallel to the direction of flow in the main sewer line.

b. The house sewer carries liquid and waterborne wastes from the house drain to the main sewer lines. The house sewer line begins just outside of the building's foundation wall and ends at the main sewer. Sanitary sewers are not connected to storm sewers because the discharge material must be treated before being discharged into a stream or a lake. The line carries liquid and waterborne waste from the house drain to the main sewer line. Sanitary sewers must be treated before being discharged into a stream or a lake.

c. The house drain collects the discharge from sanitary and domestic waste in the building's drain and carries it to the house sewer. The house drain is located between and connected to the building's drain and house sewer. The house drain may be underground or suspended from the basement ceiling.

d. The building drain receives the discharge from sanitary and domestic waste from within the building. There are two types of pipes or drains classified under building drains.

(1) Soil pipe is a drainpipe that carries the discharge from water closets containing fecal matter to the house drain.

(2) Waste pipe is a drainpipe that receives waste from any type of plumbing fixture, except water closets.

e. A trap is a fitting or a device that, when properly vented, provides a water seal to prevent the discharge of sewer gases without affecting the flow of sanitary drainage. Traps are used in conjunction with selected fixtures and floor drains inside buildings.

(1) The P-trap is the most widely used device for fixtures. This type of trap is normally constructed of plastic or tubular brass. It may or may not have a chromed exterior finish. The most common diameter sizes are 1 1/4 inches and 1 1/2 inches. Most P-traps have a cleanout plug to service stoppages.

(2) The drum trap is commonly used in bathtubs, but it can also be used in kitchen sinks. This type of trap can hold a large volume of water and discharge it in greater volume than a P-trap. A drum trap is normally 3 or 4 inches in diameter, with a trap screw one size smaller than the diameter. Drum traps are available in a variety of styles, depending on the manufacture and the type of material used.

(3) The full S-trap and 3/4-inch S-trap are not used in modern plumbing. These types of traps should be replaced with P-traps.

f. Vents are used in conjunction with a waste system. The primary function of the vent is to allow fresh air into the plumbing system to equalize the pressure, thus preventing trap-seal loss through siphonage.

(1) The main vent consists of a vertical pipe connecting fixture vents to the main soil-and-waste vent or directly into the atmosphere. In a building containing three or more stories, the main vent should be connected to the bottom of the soil stack to prevent pressure on the lower branches.

(2) The single-fixture vent is the most common vent type and is considered the best because it can be adapted to all fixtures. The single-fixture vent prevents direct or indirect siphonage.

(3) When a battery of two or more fixtures is present, each fixture is individually vented and connected by a vent pipeline (branch or revent) connected to the main vent. Using a branch or revent economizes the use of materials since it is not necessary to run a pipe from each fixture vent through the roof. Branch vents are connected 6 inches above the fixture overflow level, 36 inches off the floor.

(4) Fixtures mounted back to back are vented using a common vent. In common vent use, both fixtures discharge into a double sanitary T with deflectors. Common vents are used in buildings where bathrooms have a common partition.

(5) The circuit vent is used in applications where there are more than two and less than nine fixtures installed on a branch line. It is commonly used on lavatories. The circuit vent is installed between the last two fixtures on the line.

(6) The wet vent is part of the vent line through which liquid wastes flow from another fixture with an individual vent. It is commonly used on small groups of bathroom fixtures. The disadvantage of the wet vent is that it tends to become fouled with waste material, which could reduce its diameter or cause a stoppage.

7. Identify the types of valves. A valve is a device to start, stop, and regulate the flow of liquid wastes from another fixture with an individual vent.

a. Gate valves are used to start or stop liquid, steam, or gas flow. This type of valve is not used to regulate the flow of liquids.

b. Glove valves are used to regulate the flow of liquids. It is a compression-type valve that controls the flow of liquids by means of a circular disc, forced onto or withdrawn from an angular-ring seat.

c. Stop and waste valves, also known as bleeders, have a plug on the outlet side which allows water to be drained from the pipelines.

d. Angle valves are glove valves with the inlet and the outlet positioned at 90-degree angles from each other. This type of valve is recommended for frequent operation, throttling, or a positive shutoff (when closed).

e. Check valves permit only a one-way flow of liquid within the pipeline and closes automatically to prevent backflow. Check valves can be a swing or a lift type.

(1) Swing check valves are used in pipelines where the pressure and the velocity of flow are low.

(2) Lift check valves are used in pipelines where the pressure and the velocity flow is high.

f. Reducing valves reduce the water pressure as the water enters the building.

g. Pressure- or temperature-relief valves are used on water heaters.

h. Flushometer valves are used in urinals and water closets.

NOTE: All valves show the pounds-per-square-inch (psi) rating on the valve housing. Always use the right valve for the right job. NOTE: Gas and water valves are not interchangeable.

8. Identify the types of faucets.

a. A compression (washer) faucet works by raising the washer on a seat to allow for water flow and compressing the washer onto the seat to stop the water flow. A compression faucet can be a single unit or a combination faucet for hot- or cold-water use.

b. A noncompression (washerless) faucet has a lever or knob that opens and closes ports for water flow and shutoff. Noncompression faucets come in valve, ball, and cartridge types.

NOTE: A bathtub faucet may be a combination compression faucet or a single-knob, noncompression faucet. The faucet is mounted in the wall on the drain end of the bathtub, with or without a shower.

9. Identify plumbing fixtures.

a. Water closets.

(1) Types of bowls.

( a) The common wash-down bowl is the least expensive and simplest type. The trap is in the front of the bowl, and the bowl is flushed by small streams of water running down from the rim.

( b) The wash-down bowl with a jet is similar to the common wash-down bowl, but it is flushed differently. The bowl has a small hole in the bottom which delivers a direct jet of water as the unit is flushed. The jet, directed into the upper arm of the trap, begins a siphoning action.

( c) The reverse-trap bowl is similar to the wash-down bowl, except that the trap is located in the rear, making the bowl longer. The reverse-trap bowl holds more water than the common wash-down bowl and operates quieter.

( d) The siphon-jet bowl is the most-efficient, quietest, and most-expensive bowl. It looks similar to the reverse-trap bowl, but it fills completely with water.

(2) Types of tanks.

( a) The close-coupled tank is mounted or attached to a floor-mounted bowl.

( b) A wall-hung tank is attached to the wall above the bowl, using fittings for the bowl.

(3) Flushing mechanisms.

( a) The two most common mechanisms are the ball-cock and the float-cup.

( b) The flushometer valve delivers a preset amount of water directly into a water closet during flushing. The flushing action is quick, forceful, and shuts off automatically. The most common type of flushometer valves are the diaphragm and the piston.

b. Types of lavatories.

(1) The wall-hung lavatory hangs on a bracket attached to the wall. This type of lavatory may or may not have legs for added support.

(2) The vanity-type lavatory is installed on a cabinet or a cabinet top with a stainless-steel rim.

(3) The weight of the pedestal lavatory rests on the floor and is not supported by the wall.

(4) A trough lavatory is used in commercial plants and certain military facilities.

c. Types of urinals.

(1) The wall-hung urinal comes with a built-in water-seal trap or a P-trap with a wash-down or siphon-jet flushing action. The flushing device for a wall-hung urinal is a flushometer valve.

(2) The stall urinal is set into the floor. A strainer covers the outlet drain, which is caulked to a P-trap below floor level. The flushing action is the wash-down type produced by a flushometer.

(3) A trough urinal is wall-hung with a flush tank. It has perforated pipe across the rear which allows water to flow down the back of the trough when flushed.

10. Identify the materials used to winterize pipes.

a. Insulation comes in two types, rigid and unformed blanket. Both types prevent a variety of physical and mechanical problems, such as loss of heat, freezing of hot- and cold-water pipes, condensation on cold-water pipes, and protection against fires.

(1) Rigid, preformed insulation.

( a) Frost-proof insulation is used on cold-water service lines that pass through unheated areas and lines located outside. The common supply size is 3 inches long and 1 1/2 inches thick, with a canvas cover.

( b) Fiberglass insulation is shaped to fit pipes, tubing, small boilers, and water heaters. It has a long life; will not shrink, swell, rot, or burn; and is easily applied, lightweight, and a space saver. Fiberglass insulation is made of very fine glass fibers bound together by an inactive resinous mixture.

( c) Antisweat insulation is used on cold-water lines. It keeps the water in the pipes colder and prevents the pipes from sweating. Antisweat insulation has a flap which extends beyond the joint to help make a perfect seal. A canvas jacket is placed around each 3-foot section to protect the outer-felt covering.

( d) Cork-pipe insulation, a grainy material made by grinding the cork of tree bark, provides excellent insulation during low temperatures. It will not rot or burn and is clean, sanitary, and odor free. The pure cork is pressed and molded to the exact size and shape required and finished with a coating of plastic asphalt. A waterproof material should also be used to keep out moisture.

( e) Wool-felt insulation is made of matted wool fibers rolled into a compact material. It is used on cold-water and hot-water return lines. Wool-felt insulation may be layered with tar paper to form a waterproof barrier.

( f) Flex-rubber insulation is made of tough, flexible rubber material. It prevents the sweating of cold-water lines. Flex-rubber insulation has good insulating and cementation qualities and excellent weather-aging qualities.

( g) Magnesia insulation is used on steam and hot-water lines where the temperature does not exceed 600 degrees. It may be used on pipes up to 30 inches in diameter.

(2) Blanket insulation protects against heat loss and fire. It is used on boilers, furnaces, tanks, drums, dryers, ovens, and valves. The fiberglass type is used on small boilers and water heaters. It is used for large, flat areas and to wrap around irregularly-shaped objects. Blanket insulation is manufactured in sheets, strips, rolls, and blocks and comes in a variety of widths and thicknesses.

b. Each section of above-ground-piping insulation is split in half and has a canvas cover with a flap for quick sealing. Use joint collars to cover the joint seams on piping exposed to outside conditions.

c. In most cases, a concrete trench is created for the installation of underground piping insulation. To protect the pipes from ground moisture, use coal tar as a sealer.

d. Boiler and tank coverings should be insulated with an approved material. The insulation must be firmly wired in place.

e. Valves and fittings should be insulated with wool, felt, magnesia cement, or mineral-wool cement, the same thickness as the pipe covering. These types of insulation are molded into shape.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.

Brief soldier:  Tell the soldier to identify plumbing materials and their uses and fixture and system components.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Identified cast-iron pipe and fittings. | —— | —— |
| 2. Identified steel pipe and fittings. | —— | —— |
| 3. Identified plastic pipe and fittings. | —— | —— |
| 4. Identified copper tubing and fittings. | —— | —— |
| 5. Identified water-supply systems. | —— | —— |
| 6. Identified wastewater systems. | —— | —— |
| 7. Identified the types of valves. | —— | —— |
| 8. Identified the types of faucets. | —— | —— |
| 9. Identified plumbing fixtures. | —— | —— |
| 10. Identified the materials used to winterize pipes. | —— | —— |

Evaluation Guidance:  Score the soldier a GO if all steps are passed (P).  Score the soldier a NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 3-34.471 (FM 5-420) |  |

Prepare a Plumbing-Materials Takeoff List

052-248-1056

Conditions: As a plumber/pipe fitter in a field environment, given paper, a pencil, a ruler, Field Manual (FM) 3-34.471, and Technical Manual (TM) 5-704.  The company has received an operation order (OPORD) to construct troop facilities.

Standards: Prepare a plumbing-materials takeoff list, to include all fittings and fixture components, according to the construction prints and drawings, FM 3-34.471, and TM 5-704.

Performance Steps

1. Refer to the construction prints and FM 3-34.471, and use the information for plastic pipe and fittings.

2. Prepare a plumbing-materials takeoff list, organizing the information by column (Table 052-248-1056-1).

Table 052-248-1056-1 Plumbing-Materials Takeoff List

a. Complete column 1 with the name or use of each piece. Identify the items by their use in the structure, the utility system, or their common name.

b. Complete column 2 with the number of pieces required. List the total amount of each particular item that is needed.

c. Complete column 3 with the required unit. Annotate the common nomenclature for each individual item, such as "ea" for each and "pc" for piece.

d. Complete column 4 with the required length of the item when placed. List the actual length of each member after it has been cut and is ready to be installed. List NA next to items when the length is not required.

e. Complete column 5 with the required size. Refer to the nominal size of the member.

f. Complete column 6 with the required length. Convert the required length to the available length of the material.

g. Complete column 7 with the number required per length. Calculate the number of pieces that may be cut from a nominal length of material.

h. Complete column 8 with the quantity required. Total the amount of material needed based on a nominal length of material.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.

Brief soldier:  Tell the soldier that he will be required to complete the performance measures according to the standards set forth in the task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Referred to the construction prints and FM 3-34.471, and used the information for plastic pipe and fittings. | —— | —— |
| 2. Prepared a plumbing-materials takeoff list, organizing the information by column. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 3-34.471 (FM 5-420) |  |
| TM 5-704 |  |

Subject Area 7: Plumbing Systems

Install Steel, Plastic, and Copper Pipes

052-248-1002

Conditions: As a plumber/pipe fitter in a field environment, given Field Manual (FM) 3-34.471, blue prints, standard-length steel, plastic and copper pipe, a pipe-fitter tool kit, emery cloth, steel wool, rags, a wire brush, cutting oil, pipe-joint compound, solder, flux solder, solvent cleaner, solvent cement, a brush, a heating torch, an igniter torch, and a vise stand.

Standards: All pipes should be cut to within plus/minus 1/8 inch of the required lengths and installed with leakproof fittings as shown on the blueprint.  Install steel, plastic, and copper pipes according to FM 3-34.471.

Performance Steps

1. Identify galvanized-steel/iron pipe and fittings. Galvanized-steel/iron pipe can be used for hot- and cold-water supply distribution, certain drainage applications, and vent installations. Identify the--

a. Types and sizes. Galvanized-steel/iron pipe comes in standard, extra-strong, and double extra-strong strengths. The definitions schedule 40 and schedule 80 also describe pipe strengths. Schedule 40 standard is commonly used in plumbing. Pipe comes in diameter sizes (nominal pipe sizes) ranging from 1/8 inch to 12 inches, 21-foot lengths, threaded or unthreaded (Figure 052-248-1002-1).

Figure 052-248-1002-1 Galvanized-Steel/Iron Pipe

b. Handling and storage requirements. Store galvanized steel/iron pipe in a dry place. If the pipe ends are threaded, they must be protected from damage.

c. Fittings. The fittings for galvanized steel/iron pipe are classified as ordinary (standard) or drainage (recessed) (Figure 052-248-1002-2).

Figure 052-248-1002-2 Ordinary and Drainage Pipe Fittings

NOTE: Ordinary fittings are used for water service and venting. They range in sizes from 3/8 inch to 6 inches. Drainage fittings are used in waste systems. They have threads at a slight angle so that horizontal drainage pipe will slope about 1/4 inch per foot. They range in sizes from 1 1/4 to 12 inches.

(1) T fittings are used when a pipe run branches at a 90-degree angle. The T size is specified by the through section (run) and then the outlet (Figure 052-248-1002-3).

Figure 052-248-1002-3 T Fittings

(2) Elbow (L) fittings are used to change the direction of the fluid flow in a pipeline. The size of an L is given first by the larger opening and then by the smaller opening. Elbow fittings come in a variety of sizes and patterns. The most common elbow fittings are the 90-degree and the 45-degree angles (Figure 052-248-1002-4).

Figure 052-248-1002-4 Elbows

(3) Coupling fittings are used to connect two lengths of pipe (Figure 052-248-1002-5).

Figure 052-248-1002-5 Couplings

( a) An ordinary coupling connects pipes of the same size.

( b) A reducing coupling connects pipes of different sizes. An eccentric reducing coupling connects pipes of different sizes, off-center.

(4) Union fittings are used to join the ends of two pipes that can be turned or disconnected. They are available in ground, flange, and dielectric.

(5) Nipple fittings are used to make an extension from a fitting or to join two fittings. Nipple fittings are pieces of pipe 12 inches or less in length and threaded on each end. They are available in close, shoulder (short), and long (Figure 052-248-1002-6).

Figure 052-248-1002-6 Nipples, Plugs, Caps, Bushings, and Cross Fittings

(6) Plug and cap fittings are used to seal off openings in other fittings or pipe ends. These fittings seal off the water system to allow for testing. This type of roughed-in system remains in place until the fixtures are installed.

(7) Cross fittings join two different pipelines in the same plane, making them perpendicular to each other. They are available in side-outlet and reducing.

(8) Bushing fittings are used to reduce a fitting outlet or to connect a pipe to a larger outlet. They are available as pipe bushings or face bushings.

d. Procedures for cutting and reaming pipe.

NOTE: Galvanized steel/iron pipe is cut and reamed using a vise, pipe cutter, and reamer. To avoid waste, refer to FM 3-34.471 for additional information.

(1) Determine the length of pipe required and mark the spot to be cut.

(2) Place the pipe in the vise, spacing the cutting mark 8 inches from the vise. Lock the pipe tightly in the vise.

(3) Open the jaws of the cutter, using a single-wheel cutter, by turning the handle counterclockwise.

(4) Place the cutter around the pipe, with the cutting wheel exactly on the mark. The rollers will ensure a straight cut. If using a three-wheel cutter, place the cutting wheel of the movable jaw on the mark. Ensure that all three wheels are at right angles to the centerline of the pipe.

(5) Close the vise jaws lightly against the pipe by turning the handle clockwise.

(6) Give the handle a one-quarter turn clockwise when the cutting wheel and rollers make contact with the pipe (Figure 052-248-1002-7).

Figure 052-248-1002-7 Cutting and Reaming Steel Pipe

(7) Apply cutting oil, and rotate the cutter completely around the pipe, making a one-quarter turn on the handle for each complete revolution around the pipe. Continue this action until the pipe is cut.

(8) Push the reamer into the pipe. Turn the reamer clockwise in short, even strokes, while keeping steady pressure against the pipe until the inside burrs are removed.

(9) Remove the outside burrs with a file (if using a three-wheeled cutter).

e. Procedures for threading pipe. There are many types of pipe-threading sets in use. A common set is one with a ratchet, nonadjustable stock with solid dies, and individual guides. The die and guide must be the same size to fit the pipe being threaded. When using a threading set, always refer to the manufacturer's, or accompanying instructions in addition to using the following procedures:

(1) Lock the pipe securely in the vise, leaving enough pipe projecting for threading.

(2) Slide the die stock over the end of the pipe, with the guide on the inside. Push the die against the pipe using one hand.

(3) Make three or four short, slow, clockwise strokes until the dies are firmly started on the pipe. Apply a generous amount of cutting oil on the die.

(4) Give the stock a complete clockwise turn, then a one-quarter turn counterclockwise. This will clear cut metal from the die and burrs from the new threads. Continue this procedure until 1/2 to 1/4 inch extends from the die stock.

(5) Turn the diestock counterclockwise until the die is free of the cut threads.

(6) Use a heavy rag to wipe away excess oil and a wire brush to remove any chips. The pipe is now ready to be joined.

f. Procedures for joining pipe (Figure 052-248-1002-8). To ensure a good fit, the fittings are normally screwed to the pipe after it is threaded, while the pipe is still in the vise. The assembled pipe and fittings are then screwed into the proper place in the installation.

Figure 052-248-1002-8 Joining Threaded Pipe

(1) Check the fitting threads for cleanliness and damage. If necessary, clean with a wire brush or replace.

(2) Apply pipe-joint compound or Teflon tape to the pipe threads.

(3) Screw the fitting on by hand, and tighten it using a vise or two pipe wrenches.

2. Identify plastic pipe and fittings. Plastic piping is lightweight and rigid or flexible (similar to copper tubing). This type of pipe is easily joined and corrosion resistant. Identify the--

a. Use. Plastic pipe can be used for water or waste systems. It is used for hot- or cold-water piping and for drain, waste, and vent piping.

b. Types and sizes. Plastic pipe is classified by the acronym for the type of material from which it is made.

(1) Polyvinyl chloride (PVC) pipe is cream or white colored and is used only in cold-water pipelines, sanitary drainage, and venting. It comes in 10- and 20-foot lengths, with diameter sizes ranging from 1/2 inch to 6 inches.

(2) Chlorinated polyvinyl chloride (CPVC) pipe is light or cream colored and is used for hot-water pipelines, sanitary drainage, and venting. The pipe comes in 10-foot lengths, with diameter sizes ranging from 1/2 to 3/4 inch.

(3) Acrylonitrile-butadiene-styrene (ABS) pipe is black or gray colored and is used for above- and below-ground sanitary drainage and venting. It comes in 10- and 20-foot lengths, with diameter sizes of 1 1/4 to 6 inches.

(4) Polybutylene (PB) pipe is black or dark gray in color and is used for cold-water lines. It is available in coils of 100 feet or more, with diameter sizes ranging from 3/4 inch to 2 inches. PB pipe is not widely used due to the fact that it is costly and requires special fittings.

(5) Polyethylene (PE) pipe is black in color and is used for cold-water lines and sprinkler systems. It comes in coils of 100 feet, with diameter sizes ranging from 3/4 inch to 2 inches.

c. Fittings. Fitting sizes for PVC and CPVC piping are similar to steel and copper fittings; however, they are usually joined with epoxy or plastic sealants.

d. Procedures for measuring pipe. Measure plastic pipe, rigid or flexible, as described in FM 3-34.471.

e. Procedures for cutting pipe (Figure 052-248-1002-9).

Figure 052-248-1002-9 Cut and Remove Burrs From a Plastic Pipe

(1) Determine the length of pipe required, and mark the spot to be cut.

(2) Place the pipe in a miter box or jig to ensure a square cut. Cut the pipe using a hacksaw or a fine-tooth handsaw.

(3) Remove any burrs from the inside and the outside of the pipe using a pocketknife or sandpaper.

f. Procedures for joining pipe (052-248-1002-10).

Figure 052-248-1002-10 Rigid Plastic Pipe Joint

(1) Join a plastic pipe using a solvent-cement weld joint. A solvent-cement weld joint is made by using a cleaning primer and solvent cement on the pipe and the fitting. Solvent cement consists of a plastic filler (the same material for each type of plastic pipe) dissolved in a mixture of solvents.

( a) Inspect the pipe end for burrs and the fitting for cracks.

( b) Clean the pipe and inside of the fitting using an authorized cleaning primer and a clean rag.

( c) Coat the outside of the pipe end and the inside of the fitting with solvent cement.

( d) Push the pipe as quickly as possible into the fitting as far as it will go.

( e) Give the fitting a one-quarter turn to spread the solvent cement evenly.

( f) Hold the joint connection for 30 seconds to be sure it is solidly set.

( g) Wipe off the excess cement.

(2) Insert a fitting joint.

( a) Slide a clamp over the flexible plastic pipe.

( b) Push the pipe onto the fitting to the last serration.

( c) Slide the clamp over the pipe, and tighten the clamp using a screwdriver.

g. Procedures for supporting pipe joints.

NOTE: Plastic pipe is not as stiff as metal pipe; therefore, the pipe runs (both horizontal and vertical) require more support. Support joint connections in the same manner as metal pipe.

3. Identify copper tubing and fittings (Figure 052-248-1009-11). Copper tubing is lightweight, easily joined, and corrosion resistant. It can be rigid or flexible and is classified by its wall thickness. Identify the--

Figure 052-248-1002-11 Copper Tubing

a. Use. Copper tubing is used for hot- and cold-water supply systems, certain drainage applications, and venting.

b. Types and sizes.

(1) K is a thick-walled, rigid or flexible copper tubing available in 20-foot lengths or 100-foot coils, with diameter sizes ranging from 1/4 inch to 12 inches.

(2) L is a medium-walled, rigid or flexible copper tubing available in 20-foot lengths or 100-foot coils. The diameter sizes are the same as K.

(3) M is a thin-walled, rigid copper tubing available in 20-foot lengths. The diameter sizes are the same as K and L.

(4) Drain waste vent (DWV) is available in 20-foot lengths, with diameter sizes ranging from 1 1/4 to 8 inches.

c. Fittings. Fittings for copper tubing are available in solder, flared, or compression types (Figure 052-248-1002-12).

Figure 052-248-1002-12 Fittings for Copper Tubing

(1) Solder fittings can be used with either rigid or flexible copper tubing. The fitting sizes are similar to galvanized-steel/iron fittings and are identified in the same manner.

(2) Flared fittings are used with flexible copper tubing having flared ends. The fitting sizes range from 3/8 inch to 3 inches in diameter.

(3) DWV fittings are similar to galvanized-steel/iron fittings of the solder type.

d. Procedures for measuring. The most commonly used methods of measuring pipe lengths are the face-to-face and center-to-center methods. Additional methods include the end-to-end and offset methods. Refer to FM 3-34.471 for the proper procedures for measuring copper tubing.

e. Procedures for cutting and reaming. Cut copper tubing with a tubing cutter or a fine-tooth hacksaw (32 teeth per inch) (Figure 052-248-1002-13).

Figure 052-248-1002-13 Cutting Copper Tubing

(1) Determine the length of tubing, and mark the spot to be cut.

(2) Set the cutting wheel on the mark, and turn the cutter knob clockwise to get a bite on the tubing.

(3) Hold the tubing firmly with one hand, and turn the cutter clockwise around the tubing until the tubing is cut. If using a hacksaw, place the tubing in a miter box or a jig made of lumber to ensure a square cut.

(4) Ream the tubing's cut end with the reamer attached to the tubing cutter. If the cutter does not have a reamer, use a fine metal file.

f. Procedures for joining pipe.

(1) Prepare a soldered joint. Soldered joints are used to connect rigid copper tubing. The materials needed to perform this task include a propane torch, 50-50 nonacid solder wire, soldering flux, a brush, and fine steel wool or an emery cloth (Figure 052-248-1002-14).

Figure 052-248-1002-14 Soldering Tools and Materials

( a) Inspect the end of the tubing to ensure that it is round, free of burrs, and cut square.

( b) Clean the end of the tubing and the inside of the fitting to a bright shine using fine steel wool or an emery cloth.

( c) Apply a thin coat of flux to the shined end of the tubing and the fitting (Figure 052-248-1002-15).

Figure 052-248-1002-15 Soldering a Joint

( d) Push the fitting onto the tubing, and give it a one-quarter turn to spread the flux evenly.

( e) Heat the connection using a torch, applying the flame to the fitting.

( f) Apply the solder to the joint when the flux begins to bubble. The solder will flow into and completely around the joint.

( g) Clean the joint using a clean rag.

CAUTION: USE CAUTION WHEN SOLDERING. WHEN THE JOINT IS CLOSE TO THE WOOD OR OTHER COMBUSTIBLE MATERIAL, PLACE AN INSULATION SHEET OR METAL BETWEEN THE FITTING AND THE COMBUSTIBLE MATERIAL BEFORE APPLYING THE TORCH FLAME. TO FORM A LEAKPROOF JOINT, KEEP THE JOINT CONNECTION MOTIONLESS WHILE THE SOLDER IS COOLING.

(2) Prepare a flared joint. A flared joint is used with flexible copper tubing. The flare on the end of the tubing can be made using a flaring tool or a flanging tool (Figure 052-248-1002-16). Refer to FM 3-34.471 for the proper procedures for flaring and flanging flexible copper tubing.

Figure 052-248-1002-16 Flaring and Flanging Tool

( a) Inspect the end of the tubing to ensure that it is free of burrs and is cut square.

( b) Remove the flange nut from the fitting, and slide the unthreaded end onto the tubing.

( c) Flare the end of the tubing with either a flaring tool or a flanging tool. For the flaring-tool method, loosen the wing nuts with a flaring tool, and place the tubing in the correct size hole. Make the tubing's end even with the tool's surface, tighten the wing nuts, and turn the yoke cone down into the tubing until the flare fills the beveled pad of the hole. For the flanging-tool method, hold the flanging tool on the end of the tubing so that it is centered and straight. Using a hammer, tap the flanging tool until the flare fills the recess in the flanging nut (Figure 052-248-1002-17).

Figure 052-248-1002-17 Flaring and Flanging Flexible Copper Tubing

( d) Slide the flanging nut up to the flared end, screw it on the fitting by hand, and tighten using a wrench (Figure 052-248-1002-18).

Figure 052-248-1002-18 Flared Joint

(3) Prepare a mechanical compression joint. A mechanical compression joint is used to connect a fixture's water-supply tubing to the shutoff valves (Figure 051-248-1002-19).

Figure 052-248-1002-19 Mechanical Compression Joint

( a) Cut or bend the tubing to the required length.

( b) Slide the compression nut and compression ring onto the tubing.

( c) Screw the compression nut onto the fitting by hand, and tighten it with a wrench. The ring is compressed to form a sealed, leakproof joint.

(4) Prepare a swaged joint (Figure 052-248-1002-20). Swaging is used to join two sections of thin-walled copper tubing without using a fitting. The connection is soldered to form a leakproof joint. The required tools include a swaging tool set and a ball peen hammer.

Figure 052-248-1002-20 Preparing Swaggered Joint

( a) Inspect the tubing end to make sure it is free of burrs and cut square.

( b) Place the correct size swaging tool into the tubing, centered and straight, and tap the swaging tool firmly with the ball peen hammer to enlarge the tubings's end.

( c) Connect the two sections of tubing, and solder the joint.

g. Procedures for bending pipe. Spring benders are used to bend flexible copper tubing having 1/4 to 7/8-inch outside diameters. Slide the correct-size spring bender over the tubing to the area of the bend. Bend the spring and tubing together (Figure 052-248-1002-21).

Figure 052-248-1002-21 Bending Flexible Tubing

h. Procedures for supporting pipe joints. Copper tubing should be supported horizontally and vertically at appropriate points. The method of support depends on the size of the tubing and the location of all fittings.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.

Brief soldier:  Tell the soldier that he will be required to complete the performance measures according to the standards set forth in the task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Identified galvanized-steel/iron pipe and fittings. Identified the-- | —— | —— |
| a. Use. |  |  |
| b. Types and sizes. |  |  |
| c. Handling and storage requirements. |  |  |
| d. Fittings. |  |  |
| e. Procedures for cutting and reaming pipe. |  |  |
| f. Procedures for threading pipe. |  |  |
| g. Procedures for joining pipe. |  |  |
| 2. Identified plastic pipe and fittings. Identified the-- | —— | —— |
| a. Use. |  |  |
| b. Types and sizes. |  |  |
| c. Fittings. |  |  |
| d. Procedures for measuring pipe. |  |  |
| e. Procedures for cutting pipe. |  |  |
| f. Procedures for joining pipe using a solvent-cement weld joint and a fitting joint. |  |  |
| g. Procedures for supporting pipe joints. |  |  |
| 3. Identified copper tubing and fittings. Identified the-- | —— | —— |
| a. Use. |  |  |
| b. Types and sizes. |  |  |
| c. Fittings. |  |  |
| d. Procedures for measuring. |  |  |
| e. Procedures for cutting and reaming. |  |  |
| f. Procedures for joining pipe using the solder joint, the flared joint, the mechanical compression joint, and the swaged joint. |  |  |
| g. Procedures for bending pipe. |  |  |
| h. Procedures for supporting pipe joints. |  |  |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 3-34.471 (FM 5-420) |  |

Grade a Sewer Line

052-248-1006

Conditions: As a plumber/pipe fitter in a field environment, given a general pipe-fitter tool kit, a carpenter's tool kit, construction prints and drawings, a preinstalled main sewer line, an existing building, a shovel, a pick mattock with a handle, a sledgehammer, lumber, a plumb bob, a chalked mortar board, a brick trowel, rich Portland-cement mixture, a sewer thimble, a cold chisel, oakum, nails, rags, safety goggles, gloves, and  Field Manual (FM) 3-34.471.  The company has received an operation order (OPORD) to construct troop facilities.

Standards: Grade a sewer line according to FM 3-34.471 and within plus/minus 1/8 inch of the construction prints and drawings.

Performance Steps

1. Grade a sewer line (Figure 052-248-1006-1).

NOTE: Grade the sewer line to a slope of 1/4 inch per foot.

a. Use a 2-foot carpenter's level and a 1/2-inch-thick board to grade the sewer line.

b. Place the level on the sewer pipe with the block under the end of the level away from the building, closer to the main sewer line.

c. Center the bubble between the two lines in the center vial to correctly slope the pipe. Make adjustments by removing or adding block supports under the pipes.

d. Continue to place pipe, checking the slope as you go.

e. Join the pipe by making a lead caulked joint or by joining with a neoprene coupling.

Figure 052-248-1006-1 Grading a Sewer Line

2. Install a sewer thimble (Figure 052-248-1006-2).

a. Tap gently around the circumference of the main sewer pipe to find the depth of flow for the placement of the thimble.

b. Place the thimble on the main sewer pipe where the fitting will be installed.

c. Trace around the fitting with crayon or chalk to mark the location where the hole will be cut.

d. Score the mark with a hammer and a cold chisel to a depth of 1/8 inch.

e. Knock a hole in the center of the scored area using a hammer.

f. Start at the hole and work outward to the scored mark, tapping lightly with a hammer to widen the hole until it is the correct size.

g. Place the thimble over the hole on the main sewer line.

h. Support the thimble in place using pieces of scrap lumber.

i. Pack the connection with oakum, and seal it with rich Portland-cement mixture.

j. Remove the support when the joint sets.

Figure 052-248-1006-2 Installing a Sewer Thimble

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.

Brief soldier: Tell the soldier that he will be required to complete the performance measures according to the standards set forth in the task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Graded a sewer line. | —— | —— |
| 2. Installed a sewer thimble. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P). Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 3-34.471 (FM 5-420) |  |

Test Waste and Water Systems

052-248-1007

Conditions: As a plumber/pipe fitter in a field environment, given a general pipe-fitter tool kit, a preinstalled water-supply system, caps and plugs for the water-supply system, an air-pressure gauge, a source of air pressure, and Field Manual (FM) 3-34.471.  Personnel should complete the installation of the water service, the supply lines and fixtures, the vents, and the waste-drainage system.

Standards: Test the water-supply system according to FM 3-34.471.

Performance Steps

1. Perform a water test.

a. Close all risers using either the caps or the shutoff valves.

b. Pressurize the system with water by turning on the main water-supply valve.

c. Check for leaks at all fittings and joints.

d. Turn off the main water-supply valve and release the pressure from the system.

e. Repair any leaks.

f. Retest the system.

2. Perform an air test (Figure 052-248-1007-1).

Figure 052-248-1007-1 Air Test

a. Seal off all openings, leaving one opening for the test equipment and the gauge.

b. Attach the air-pressure gauge to the opening.

NOTE: A mercury-column gauge may be used in place of an air-pressure gauge.

c. Apply air pressure of about 5 pounds per square inch (psi).

d. Observe the gauge for leaks for 15 minutes. A drop in the pressure (or mercury column) on the gauge implies that there is a leak in one of the joints.

e. Listen for the sound of escaping air to help locate any leaks. If no sound is heard and the pressure is falling, apply soap solution to the joints in the area of the leak.

f. Repair any leaks.

g. Retest the system.

Evaluation Preparation:  Setup: Provide the soldier with the items listed in the conditions statement.

Brief soldier: Tell the soldier that he will be required to complete the performance measures according to the standards set forth in the task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Performed a water test. | —— | —— |
| 2. Performed an air test. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P). Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 3-34.471 (FM 5-420) |  |

Install a Shower System

052-248-1023

Conditions: As a plumber/pipe fitter in a field environment, given a general pipe-fitter tool kit, construction prints and drawings, a shower fixture, mixing or gate valves, a preinstalled water supply line, a preinstalled waste drain, galvanized pipe with fittings, joint compound, rags, pipe hangers, screws, and Field Manual (FM) 3-34.471.  The company has received an operation order (OPORD) to construct troop facilities.

Standards: Install an exposed-pipe shower system with no leaks, according to FM 3-34.471, and within plus/minus 1/8 inch of the construction prints and drawings.

Performance Steps

1. Install a lead shower pan on a shower floor (Figure 052-248-1023-1).

NOTE 1: For an impervious waterproof floor such as a tiled-floor shower, a lead pan or similar device must be used under the floor. Standing water will slowly seep through the floor and cause leaks. The lead shower pan forms a waterproof base on which the floor is laid. NOTE 2: Before installing the lead shower pan, a carpenter must rough in the general outline of the shower stall and lay a solid base of subflooring or plywood. Without a solid base, the shower pan will be soft and flexible.

a. Cut a hole where the drain is located, and lower the shower pan into place. The pan should rest firmly on the seepage flange of the shower drain.

b. Coat the inside of the shower pan with asphalt.

c. Place pipe-joint compound and putty under the top of the flange.

d. Place the upper flange on top of the lower flange, and attach the two together to form a watertight joint between the shower waste and the shower pan.

e. Thread the strainer down into the flanges to the desired level of the tile.

f. Complete the installation by laying cement in the shower pan and tiling the floor.

Figure 052-248-1023-1 Shower Floor

2. Install an exposed galvanized-steel pipe.

a. Determine the length requirement of the pipe, and mark it for cutting.

b. Apply cutting oil and cut the pipe.

c. Ream the pipe until the inside burrs are removed.

d. Thread the pipe with the stock and die set.

e. Check the fitting and threads, and clean them if necessary.

f. Apply pipe-joint compound or Teflon tape.

g. Screw the fitting on, and tighten it using two pipe wrenches.

h. Install the lines of pipe using the pipe hangers. The cold waterline enters from the right, and the hot waterline enters from the left.

i. Connect the faucets, valves, and the shower head.

(1) Apply plumber's putty to the bottom of the faucet (either single or combination).

NOTE: If a gasket comes with a combination faucet, putty is not required.

(2) Place the faucet on top of the bowl, with the threaded end through the holes.

(3) Attach a washer and a lock nut to each threaded end under the bowl.

(4) Tighten each lock nut with a basin wrench.

(5) Wipe off any excess putty around the faucet.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement. 

Brief soldier:  Tell the soldier to install a shower system with no leaks, using the proper pipe, fittings, and valves.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Installed a lead shower pan on a shower floor. | —— | —— |
| 2. Installed an exposed galvanized-steel pipe. | —— | —— |

Evaluation Guidance:  Score the soldier a GO if all steps are passed (P).  Score the soldier a NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 3-34.471 (FM 5-420) |  |

Install a Water System

052-248-1041

Conditions: As a plumber/pipe fitter in a field environment, given construction prints and drawings, a general supplementary pipe-fitter tool kit, steel-pipe fittings, joint compound, a wire brush and cutting oil or PVC pipe fittings, a knife, acrylonitrile-butadiene-styrene (ABS) solvent and glue or copper tubing with compression rings and couplings, sheet metal, an emery cloth, water shutoff valves, a level, nails, screws, pipe hangers, safety goggles, gloves, and Field Manual (FM) 3-34.471.  The company has received an operation order (OPORD) to provide water for troop facilities.

Standards:  Install a water system using steel or PVC pipe and copper tubing, according to FM 3-34.471, and within plus/minus 1/8 inch of the construction prints and drawings.

Performance Steps

1. Cut and ream a steel pipe using a vise and a pipe cutter.

a. Determine the length of pipe required, and mark it for cutting.

b. Lock the pipe tightly in the vise. Ensure that the cutting mark protrudes about 8 inches from the vise.

c. Open the jaws of the cutter by turning the handle counterclockwise.

d. Place the cutter around the pipe, with the cutting wheel on the mark.

e. Close the cutter's vise jaws lightly against the pipe by turning the handle clockwise.

f. Once the cutting wheel and the roller have made contact with the pipe, give the handle a one-quarter turn clockwise.

g. Apply cutting oil to the pipe, and rotate the cutter completely around the pipe, turning the handle one-quarter turn for each complete revolution around the pipe. Continue this action until the pipe is cut.

h. Insert the reamer into the pipe. Apply steady pressure against the pipe, and turn the reamer clockwise in short, even strokes. Continue this action until the inside burrs are removed.

(1) Lock the pipe securely in the vice, leaving enough of the pipe projecting for threading.

(2) Slide the diestock over the pipe's end with the guide facing the inside. Push the die against the pipe with one hand.

(3) Make three or four short, slow, clockwise strokes until the die is firmly started on the pipe. Apply a generous amount of cutting oil on the die.

(4) Give the stock a complete clockwise turn, then turn it counterclockwise one-quarter turn. This will clear the cut metal from the die and the burrs from the new threads.

NOTE: If a three-wheel cutter is used, remove the outside burrs with a file.

2. Thread a steel pipe using a stock and die set.

a. Lock the pipe securely in the vice, leaving enough of the pipe projecting for threading.

b. Slide the diestock over the pipe's end with the guide facing the inside. Push the die against the pipe using one hand.

c. Make three or four short, slow, clockwise strokes until the die is firmly started on the pipe. Apply a generous amount of cutting oil on the die.

d. Give the stock a complete clockwise turn, then turn it counterclockwise one-quarter turn. This will clear the cut metal from the die and the burrs from the new threads. Continue until 1/4 to 1/2 inch extends from the stock.

NOTE: Too much pipe thread is as undesirable as too little. A good rule is to cut threads until the pipe extends 1/4 inch from the base of the dies.

e. Carefully turn the diestock counterclockwise until the die is free from the cut threads.

f. Use a heavy rag to wipe away excess oil and a wire brush to remove any chips.

3. Join a steel pipe.

NOTE 1: Steel pipe is jointed using pipe wrenches and joint compound or Teflon tape. NOTE 2: Fittings are normally screwed to the pipe after it is threaded and while it is still in the vise. This ensures a good fit. The assembled pipe and fittings should then be screwed into the proper place in the installation.

a. Check the fitting threads for cleanliness and damage. If necessary, clean with a wire brush or replace.

b. Repeat the above step for the pipe threads.

c. Apply pipe-joint compound or Teflon tape to the pipe threads only.

d. Screw the fitting on by hand, and tighten it using two pipe wrenches, one on the fitting and the other on the pipe (if a vise is not available).

4. Join copper tubing and fittings.

NOTE: Copper tubing is lightweight, easily joined, and corrosion resistant. It can be rigid or flexible and is classified by its wall thickness. It is used for hot- and cold-water supply systems, certain drainage applications, and venting. NOTE: The fittings for copper tubing are solder, flared, or compression type.

a. Cut and ream the tubing.

(1) Determine the length of the tubing, and mark the spot for the cut.

(2) Set the cutting wheel on the mark, and turn the cutter knob clockwise to get a bite on the tubing.

(3) Hold the tubing firmly with one hand, and use the other hand to turn the cutter clockwise around the tubing until the tubing is cut.

(4) Ream the tubing's cut end with the reamer attached to the tubing cutter.

b. Join copper tubing and a solder fitting.

NOTE: Solder fittings can be used with either rigid or copper tubing. The fitting sizes are similar to galvanized-steel or iron fittings.

(1) Inspect the end of the tubing to ensure that it is round, free of burrs, and cut square.

(2) Clean the end of the tubing and the inside of the fitting to a bright shine with an emery cloth or fine steel wool.

(3) Apply a thin coat of flux to the shined end of the tubing and fitting.

(4) Push the fitting onto the tubing and give it a quarter turn to spread the flux evenly.

(5) Heat the connection with a torch, applying the flame to the fitting.

(6) When the flux is bubbling, apply the solder to the joint. The solder will flow into and completely around the joint.

(7) Clean the joint using a clean rag.

c. Join copper tubing and flared fittings. Flared fittings are used with flexible copper tubing having flared ends. The fitting sizes range from 3/8 inch to 3 inches in diameter.

(1) Inspect the end of the tubing to ensure that it is free of burrs and cut square.

(2) Remove the flange nut from the fitting and slide its unthreaded end onto the tubing first.

(3) Flare the end of the tubing with either a flaring tool or a flanging tool.

( a) For the flaring-tool method, loosen the wing nuts with a flaring tool, and place the tubing in the correct size hole. The tubing's end should be even with the tool's surface. Tighten the wing nuts. Turn the yoke cone down into the tubing until the flare fills the beveled pad of the hole.

( b) For the flanging-tool method, hold the flanging tool on the end of the tubing so that it is centered and straight. Using a hammer, tap the flanging tool until the flare fills the recess in the flanging unit.

(4) Slide the flanging nut up to the flared end, and hand tighten it on the fitting. Tighten the flange nut.

5. Join a mechanical compression joint. A compression joint is used to connect a fixture's water-supply tubing to the shutoff valves.

a. Cut or bend the tubing to the required length.

b. Slide the compression nut onto the tubing.

c. Slide the compression ring onto the tubing.

d. Screw the compression nut onto the fitting by hand.

e. Tighten the nut. The ring is compressed to form a sealed leakproof joint.

6. Join a swaged joint.

a. Inspect the tubing end to make sure that it is free of burrs and cut square.

b. Place the correct size swaging tool into the tubing (with one hand), ensuring that it is centered and straight.

c. Tap the swaging tool firmly with the ball peen hammer to enlarge the tubing's end.

d. Connect the two sections of tubing and solder the joint.

7. Bend copper tubing. Spring benders are used to bend flexible copper tubing having 1/4 to 7/8-inch outside diameters. The spring bender allows the copper tubing to be bent smoothly without causing folds or links in the tubing.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.

Brief soldier:  Tell the soldier that he will be required to complete the performance measures according to the standards set forth in the task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Cut and reamed a steel pipe using a vise and a pipe cutter. | —— | —— |
| 2. Threaded a steel pipe using a stock and die set. | —— | —— |
| 3. Joined a steel pipe. | —— | —— |
| 4. Joined copper tubing and fittings. | —— | —— |
| 5. Joined a mechanical compression joint. | —— | —— |
| 6. Joined a swaged joint. | —— | —— |
| 7. Bent copper tubing. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 3-34.471 (FM 5-420) |  |

Install a Waste System

052-248-1042

Conditions: As a plumber/pipe fitter in a field environment, given a pipe-fitter tool kit, construction prints and drawings, cast-iron pipe, hub-and-spigot pipe, a cold chisel, oakum, lead wool or shredded lead, packing and caulking irons, stainless-steel clamps, neoprene sleeves, polyvinyl-chloride (PVC) pipe and fittings, a level, nails, screws, pipe hangers, acrylonitrile-butadiene-styrene (ABS) solvent and glue, emery cloth, safety goggles, work gloves, and Field Manual (FM) 3-34.471.  The company has received an operation order (OPORD) to construct plumbing for troop facilities.

Standards: Installed a cast-iron- or PVC-pipe waste system without leaks, according to FM 3-34.471, and within plus/minus 1/8 inch of the construction prints and drawings.

Performance Steps

1. Determine the pipe offset measurements (Figure 052-248-1042-1).

Figure 052-248-1042-1 Offset Measurements

a. Determine the vertical distance (A) from pipe center to pipe center.

b. Determine the degree of offset constant (Table 052-248-1042-1). Locate the degree of offset in the left column, and read right horizontally to locate the column heading that represents the distance to be determined.

Table 052-248-1042-1 Degree of Offset Constraints

c. Multiply the degree of offset constant by the vertical distance to find the amount of pipe required (in inches).

d. Subtract the sum of both elbow fitting dimensions from the number of inches of pipe (two elbows are needed).

e. Locate the type of fitting material in the left column of Table 052-248-1042-2, and read right horizontally under the column heading of nominal size diameter to locate the fitting size. Read right under the column heading of approximate pipe engagement to locate the length to be subtracted (Table 052-248-1042-2).

Table 052-248-1042-2 Pipe Engagements and Fittings

f. Add the sum of the pipe engagement for each fitting to the pipe's length.

g. Total the amount of pipe needed.

2. Install a roughed-in waste system in a structural opening (Figure 052-248-1042-2). Install the piping and the fittings between and through the building's framework.

Figure 052-248-1042-2 Structural Opening

NOTE: Install the waste system in a structural opening before the exposed wall studs and floor joists are covered. Installation at this time makes it easier to rough in pipe runs.

3. Cut a floor joist (Figure 052-248-1042-3).

Figure 052-248-1042-3 Cutting the Floor Joist

a. Cut a notch in the joist using a handsaw. The notch may be cut at the top or the bottom of the joist. The width of the notch should be slightly larger than the pipe's outside diameter, and the depth should not be larger than one quarter of the joist's depth.

b. Cut away any wood between the saw cuts using a wood chisel.

4. Cut a wall stud (Figure 052-248-1042-4).

Figure 052-248-1042-4 Cutting Wall Studs

a. Cut the notch from the top or the bottom half of the stud. The notch cut cannot be greater than 1/2 of the depth of the stud.

b. Ensure that the notch is sized according to the size of the pipe to be installed.

5. Cut a joist for a water-closet bend (Figure 052-248-1042-5).

Figure 052-248-1042-5 Cutting a Closet Bend

NOTE: Before cutting, make sure there is enough room to install and support a closet bend.

a. Cut out and completely remove a section of the joist.

b. Reinforce the joist using headers. Use double headers on each side of the cut.

NOTE: Headers are boards of the same size.

c. Install the closet bend.

6. Brace a joist (Figure 052-248-1042-6).

Figure 052-248-1042-7 Brace a Joist

a. Brace a joist with a notch cut on top using a 2- by 4-inch board on each side.

b. Center the boards under the notch, and nail them in place.

c. Brace a joist with a notch cut on the bottom using a steel plate centered on the notch.

7. Brace a wall stud, with a notch cut at the top or the bottom, using steel plates over the center of the notch (Figure 052-248-1042-7).

Figure 052-248-1042-7 Brace a Wall Stud

8. Cut PVC pipe.

a. Determine the length of pipe required, and mark it for cutting.

b. Place the pipe in a miter box or a jig, and squarely cut the pipe using a hacksaw.

c. Remove burrs from the cut end of the pipe (inside and out) by scraping it with a pocket knife. If a pocket knife is not available, sand it with sandpaper.

9. Join PVC pipe.

a. Join a solvent-cement weld joint.

(1) Inspect the pipe end for burrs and the fittings for cracks.

(2) Clean the pipe and the inside of the fitting with an authorized cleaning primer and a clean rag.

(3) Coat the outside of the pipe's end and the inside of the fitting with solvent cement.

(4) Push the pipe quickly into the fitting as far as it will go. A small bead of cement should be visible.

(5) Give the fitting a one-quarter turn to spread the solvent cement evenly.

(6) Hold the joint connection for about 30 seconds to be sure it is solidly set.

(7) Wipe off the excess cement.

b. Insert a fitting joint.

(1) Slide a clamp over the flexible pipe.

(2) Push the pipe onto the insert fitting to the last serration.

(3) Slide the clamp over the pipe, and tighten the clamp with a screwdriver.

10. Perform a 12-hour test.

a. Seal all branches and vent lines, and place a test plug in the test T.

b. Fill the system with water from the top of the main soil and waste vent. Keep it filled for at least 12 hours to allow the oakum in the joints to swell and form a watertight seal.

c. Drain the system, and perform a water test.

11. Perform a water test.

a. Seal all of the branches and the vent lines, and place a test plug in the test T.

b. Fill the system with water, and check the system for leaks.

c. Check the system for leaks if the water level drops more than 4 inches in 30 minutes.

d. Remove the water from the system, and repair any leaks.

12. Perform an air test.

a. Seal off all openings, leaving one for the test equipment and the gauge.

b. Apply air pressure of 5 pounds per square inch (psi).

NOTE: A drop in the mercury column on the gauge shows a leaky joint. In a satisfactory test, the line should hold 5 psi for 15 minutes.

c. Listen for the sound of escaping air to help locate any leaks. If no sound is heard and the pressure is falling, apply a soap solution to the joints in the area of the leak.

d. Remove the water from the system, and repair any leaks.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.

Brief soldier:  Tell the soldier that he will be required to complete the performance measures according to the standards set forth in the task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Determined the pipe offset measurements. | —— | —— |
| 2. Installed a roughed-in waste system in a structural opening. | —— | —— |
| 3. Cut a floor joist. | —— | —— |
| 4. Cut a wall stud. | —— | —— |
| 5. Cut a joist for a water-closet bend. | —— | —— |
| 6. Braced a joist. | —— | —— |
| 7. Braced a wall stud. | —— | —— |
| 8. Cut PVC pipe. | —— | —— |
| 9. Joined PVC pipe. | —— | —— |
| 10. Performed a 12-hour test. | —— | —— |
| 11. Performed a water test. | —— | —— |
| 12. Performed an air test. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 3-34.471 (FM 5-420) |  |

Install Cast-Iron Pipe

052-248-1055

Conditions: As a plumber/pipe fitter in a field environment, given a pipe-fitter tool kit, construction prints and drawings, cast-iron pipe, a hub-and-spigot pipe, a cold chisel, oakum, lead wool or shredded lead, packing and caulking irons, stainless-steel clamps, neoprene sleeves, chalk rags, safety goggles, gloves, and Field Manual (FM) 3-34.471.

Standards: Install a cast-iron pipe, with no leaks, according to FM 3-34.471, and within plus/minus 1/8 inch of the construction prints and drawings.

Performance Steps

1. Cut a cast-iron pipe (Figure 052-248-1055-1).

Figure 052-248-1055-1 Cutting a Cast-Iron Pipe

a. Make a chalk or crayon mark completely around the pipe at the desired line of cut.

b. Cut the pipe using a pipe cutter.

(1) Set the pipe in a vise, and position the cutting wheels on the mark by turning the adjusting knob.

(2) Apply pressure to the handle until the pipe is cut.

(3) Use the adjusting knob to keep a good bite on the pipe.

c. Cut the pipe using a hammer and a chisel.

(1) Place the pipe on a board or mound of dirt at the point to be cut.

(2) Place the chisel's cutting edge on the cutting line, and hit it lightly with the hammer.

(3) Rotate the pipe as needed, scoring completely around the pipe.

(4) Continue scoring around the pipe, increasing the force of the blows until the pipe is cut.

2. Install a cast-iron pipe.

a. Install a hub-and-spigot pipe joint (Figure 052-248-1055-2).

Figure 052-248-1055-2 Installing a Hub-and-Spigot Pipe Joint

(1) Clean the hub and spigot or the pipe's cut end to remove moisture and foreign matter.

(2) Center the spigot or the pipe's cut end into the hub of the pipe or the fitting.

(3) Use the large packing iron to pack strands of oakum into the hub.

(4) Use the regular packing iron and a ball peen hammer to tightly compact the oakum to within 1 inch of the end hub.

(5) Roll the lead wool or shredded lead into several strands about 1/2 inch in diameter and 1 to 2 inches long.

(6) Use the large packing iron to pack strands of lead into the hub.

(7) Use the regular packing iron and ball peen hammer to tightly compact the lead units until they are flush with the end of the hub.

(8) Caulk the lead against the pipe with the inside caulking iron and then against the hub with the outside caulking iron.

b. Install a horizontal molten-lead joint (Figure 052-248-1055-3).

Figure 052-248-1055-3 Installing a Horizontal Molten-Lead Joint

(1) Wipe the hub and spigot or the pipe's cut end to remove moisture and foreign matter.

(2) Center the spigot or cut end into the hub of the pipe or fitting.

(3) Use a packing iron to pack strands of oakum into the hub completely around the pipe or fitting to within 1 inch of the end of the hub.

(4) Clamp the joint runner around the pipe or the fitting.

(5) Using a plumber's ladle, pour molten lead into the hub in one pour.

(6) When the lead hardens, remove the joint runner.

(7) Caulk the lead against the pipe with the inside caulking iron and then against the hub with the outside caulking iron.

c. Install a vertical molten-lead joint (Figure 052-248-1055-4).

Figure 052-248-1055-4 Installing a Vertical Molten-Lead Joint

(1) Wipe the hub and spigot or the pipe's cut end to remove moisture and foreign matter.

(2) Center the spigot or cut end in the hub of the pipe or fitting. Equal spacing around the interior of the hub will ensure an evenly distributed joint.

(3) Use a packing iron and pack strands of oakum into the hub. Completely cover around the pipe or fitting to within 1 inch of the end of the hub.

(4) Pour hot molten lead carefully into the hub in one pour.

(5) Allow the lead to cool one minute or more to harden.

(6) Caulk the lead against the pipe with the inside caulking iron and then against the hub with the outside caulking iron.

d. Install a hubless joint (Figure 052-248-1055-5).

Figure 052-248-1055-5 Installing a Hubless Joint

(1) Remove the neoprene sleeve from the stainless-steel clamp.

(2) Slide the sleeve on the end of one pipe or fitting until it rests firmly against the collar inside the sleeve.

(3) Slide the clamp on the other pipe.

(4) Slide the pipe end into the sleeve until it rests firmly against the collar inside the sleeve.

(5) Center the clamp over the sleeve, and tighten it with a screwdriver or a wrench.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.

Brief soldier:  Tell the soldier that he will be required to complete the performance measures according to the standards set forth in the task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Cut a cast-iron pipe. | —— | —— |
| a. Cut the pipe using a soil-pipe cutter. |  |  |
| b. Cut the pipe using a hammer and a chisel. |  |  |
| 2. Installed a cast-iron pipe. | —— | —— |
| a. Installed a hub-and-spigot-pipe joint. |  |  |
| b. Installed a horizontal molten-lead joint. |  |  |
| c. Installed a vertical molten-lead joint. |  |  |
| d. Installed a hubless joint. |  |  |

Evaluation Guidance:  Score the soldier a GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 3-34.471 (FM 5-420) |  |

Subject Area 8: Plumbing Fixtures

Install a Water Closet With Tank

052-248-1009

Conditions: As a plumber/pipe fitter in a field environment, given a roughed-in plumbing system, a general pipe-fitter tool kit, a floor flange, a water-closet bowl, a level, a wrench, a wax or rubber gasket, closet bolts, a closet tank, a sealing gasket, bolts, washers, nuts, outlets, a rubber washer, a metal friction ring, slip-joint nuts, a water-closet elbow, a spud flange, an inlet, a ball-cock mechanism, a flushometer valve, and Field Manual (FM) 3-34.471.  The company has received an operation order (OPORD) to construct troop facilities.

Standards: Install a water closet with tank, free of leaks, and according to FM 3-34.471.

Performance Steps

1. Identify the different types of bowls.

a. The common wash-down bowl is the least expensive and the simplest type of water closet. The trap is in the front of the bowl, and the bowl is flushed by small steams of water running down from the rim.

b. The wash-down bowl with a jet is similar to the wash-down bowl but is flushed differently. The unit has a small hole in the bottom which delivers a direct jet of water as the unit is flushed, and the jet, which is directed into the upper arm of the trap, begins a siphoning action.

c. The reverse-trap bowl is similar to the wash-down bowl, except that the trap is at the rear of the bowl, making it longer. This bowl holds more water than the wash-down bowl and is quieter in operation.

d. The siphon-jet bowl is the most efficient, the quietest, and the most expensive water closet. It looks like the reverse-trap bowl but holds more water, filling completely.

2. Install a water-closet bowl. Install a--

NOTE: Water-closet bowls can be either floor-mounted or wall-hung. The method of installing water-closet bowls is the same regardless of the flushing action.

a. Floor-mounted water-closet bowl (Figure 052-248-1009-1).

Figure 052-248-1009-1 Floor-Mounted Water-Closet Bowl

(1) Place the floor flange over the closet bend until the flange rests on the finished floor. Make a joint for the type of piping being used.

(2) Place two closet bolts, threaded ends up, into the flange slots. If the bowl needs four bolts, place the bowl properly on the flange, and mark the spots for the two additional bolts. Set these bolts into the marked positions. For a wood floor, use bolts with wood threads on one end and machine threads on the other end. For tile or concrete floors, set the heads of the machine bolts into the holes and fill the hole with cement until it reaches floor level.

(3) Turn the bowl upside down on protective waste newspaper or wooden strips to avoid scratching. Set a wax gasket over the horn.

(4) Turn the bowl right-side up and set it on the flange with the bolts through the holes of the bowl.

(5) Place a washer and a nut on each bolt, and tightening each alternately until the bowl is set.

(6) Ensure that the bowl is in a level position. If necessary, insert thin metal shims under the bow until it is level.

(7) Place a nut cap on each nut, and tighten it down. Do not overstress.

b. Wall-hung water-closet bowl.

NOTE: Install the bowl after the wall has been completed. A wall-hung water-closet bowl is installed on a carrier mounted between the wall studs. This type of water closet is used mainly in commercial buildings, but it may also be found in residential buildings.

(1) Install a carrier according to the manufacture's instructions.

(2) Connect the carrier's outlet to the roughed-in waste pipe.

(3) Place a sealing gasket in the rear opening of the bowl.

(4) Place the bowl against the wall, ensuring that the carrier bolts are through the bowl's holes.

(5) Place a washer and a nut on each bolt.

(6) Tighten the nuts alternately, keeping the bowl level.

(7) Place beauty caps over the bolts.

3. Install a closet tank. Install a--

NOTE: Tanks are classified as closed-coupled (floor-mounted) or wall-hung. A close-coupled tank is attached to a floor-mounted bowl. A wall-hung tank is attached to the wall above the bowl, using fittings for the bowl connection. The flushing mechanism is the same for both types.

a. Close-coupled (floor-mounted) tank (Figure 052-248-1009-2).

Figure 052-248-1009-2 Close-Coupled (Floor-Mounted) Tank

(1) Push the cone-shaped gasket over the tank's flush outlet. If a cushion gasket is included, place it on the bowl, lining up the holes.

(2) Place the tank on the bowl with the bolt holes lined up.

(3) Slide a rubber washer on each bolt and, from inside the tank, push the bolts through the holes.

(4) Slide a washer over each bolt under the back lip of the bowl, and tighten the nuts by hand.

(5) Tighten the nuts alternately to seat the cone gasket and the tank on the bowl.

b. Wall-hung tank.

(1) Install a 2- by 4-inch mounting board by notching the wall studs at the height recommended by the manufacturer.

(2) Install the elbow and the spud connection (flange) to the rear of the bowl.

(3) Slide the slip nut, ring, and washer (in that order) onto the other end of the elbow.

(4) Attach the tank to the wall's mounting board using screw bolts. Make sure that the elbow is in the tank's outlet and the tank is level.

(5) Connect the elbow to the tank outlet and hand tighten.

(6) Check the elbow alignment and tighten the slip-joint nuts.

4. Install the tank water-supply connection. A close-coupled tank water supply is connected from the roughed-in plumbing to a shutoff valve and from the shutoff valve to the inlet at the bottom of the tank (Figure 052-248-1009-3).

Figure 052-248-1009-3 Tank Water-Supply Connection

a. Slide a chrome cover over the pipe projecting from the wall, and push it up against the wall.

b. Coat the threads with joint compound or Teflon tape, and screw the shutoff valve onto the pipe. Tighten the valve so that its other opening is straight.

c. Bend the flexible tube using a spring bender to achieve a proper fit.

d. Slide on the inlet coupling nut, with the threads up, and attach it to the tank's inlet. Tighten it by hand.

e. Slide the coupling nut and the compression ring down onto the tubing. Screw the coupling nut onto the valve by hand.

f. Tighten the inlet coupling and valve coupling nuts.

g. Open the shutoff valve for the water supply, and check for any leaks.

h. Adjust the valve until the water level is 1 inch below the top of the overflow tube. If an adjustment is made, check the operation.

i. Place the tank cover, and install the water-closet seat.

5. Install a flushing mechanism (Figure 052-248-1009-4). Install a--

Figure 052-248-1009-4 Flushing Mechanisms

a. Tank-flushing mechanism. A tank's flushing mechanism is mechanically operated. The two most common mechanisms are the ball-cock and float-cup. Follow the manufacturer's instructions to install a flushing mechanism in a tank.

(1) Connect the water-supply service line (following the tank's installation).

(2) Check the operation of the flushing mechanism.

(3) Adjust the flushing mechanism to ensure that it maintains the proper water level in the tank.

b. Flushometer. The flushometer valve delivers (under pressure) a preset amount of water directly into a water closet for flushing. The flushing action is quick and shuts off automatically. The most common type of flushometers are the diaphragm and the piston.

(1) Install the flushometer according to the manufacturer's instructions.

(2) Turn on the water supply, and operate the flushometer several times.

(3) Check for leaks and proper operation.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement

Brief soldier:  Tell the soldier that he will be required to complete the performance measures according to the standards set forth in the task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Identified the different types of bowls. | —— | —— |
| 2. Installed a bowl. Installed a-- | —— | —— |
| a. Floor-mounted water-closet bowl. |  |  |
| b. Wall-hung water-closet bowl. |  |  |
| 3. Installed a tank. Installed a-- | —— | —— |
| a. Close-coupled (floor-mounted) tank. |  |  |
| b. Wall-hung tank. |  |  |
| 4. Installed a tank water-supply connection. | —— | —— |
| 5. Installed a flushing mechanism. Installed a-- | —— | —— |
| a. Tank-flushing mechanism. |  |  |
| b. Flushometer. |  |  |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 3-34.471 (FM 5-420) |  |

Install Urinals

052-248-1010

Conditions: As a plumber/pipe fitter in a field environment, given construction prints and drawings, a general pipe-fitter's tool kit, a spud wrench, a carpenter's level, a preinstalled water-supply line with a shutoff valve, a preinstalled rough-in waste drain system, a wall-hung urinal, hardware for the urinal drain outlet, a P-trap (if required), a hanger bracket, a flushometer, joint compound, copper tubing with compression rings and couplings, a shutoff valve, 2- by 6-inch lumber, a crosscut saw, a hammer, nails, screws, and Field Manual (FM) 3-34.471.  The company has received an operation order (OPORD) to construct troop facilities.

Standards: Install urinals according to FM 3-34.471.  The urinals should contain no leaks and be within plus/minus 1/8 inch of the construction prints and drawings.

Performance Steps

1. Identify the different types of urinals (Figure 052-248-1010-1).

Figure 052-248-1010-1 Types of Urinals

NOTE: If required to install a type of urinal other than those listed, follow the procedures outlined in FM 3-34.471 and the manufacturer's instructions.

a. Identify a wall-hung urinal. A wall-hung urinal can have a built-in water-seal trap or a P-trap with a washdown or siphon-jet flushing action. The flushing device for a wall-hung urinal is a flushometer valve.

b. Identify a stall urinal. The stall urinal is set into the floor. A beehive strainer covers the waste outlet, which is caulked to a P-trap below the floor level. The flushing action is the washdown type produced by a flushometer valve.

c. Identity a trough urinal. A trough urinal is a wall-hung urinal with a flush tank. It has perforated pipe across the rear, which allows the water to flow down the back of the trough when it's flushed.

2. Identify the different types of flushometers (Figure 052-248-1010-2).

FIgure 052-248-1010-2 Types of Flushometers

a. Identify the piston flushometer. The piston flushometer--

(1) Has a hollow piston that separates and traps the water from the lower chamber in the dashpot chamber.

(2) Is operated by a lever which discharges the water from the dashpot chamber.

(3) Will drop the piston down to its seat, closing off the water supply when the water pressure is equal on both sides of the piston.

b. Identify the diaphragm flushometer. The diaphragm flushometer--

(1) Uses a flat, rubber diaphragm to control the water entering and exiting the device.

(2) Moves the relief valve to the open position, discharging the water from the upper chamber when the valve is operated.

(3) Operates within a predetermined interval. When sufficient water forces itself through the bypass and into the upper chamber, the diaphragm moves down onto the seat and closes the flow of water to the bowl.

3. Install a urinal.

a. Install the mounting board between the studs as directed in the manufacturer's instructions. Attach a hanger bracket on the finished wall using the proper length of wood screws.

b. Place the urinal on the bracket. Verify that the urinal is level, and fasten it in place with four brass bolts or screws.

NOTE: Do not use iron or steel bolts, as they corrode rapidly from the acid present around urinals.

c. Make the waste connection to the roughed-in piping.

(1) A spud connects the porcelain urinal to the tailpiece.

(2) The tailpiece connects to the P-trap. The P-trap connects to the drain line.

d. Make the water connection to the roughed-in piping, to include the flushometer valve.

NOTE: Protect the wall area and floor around the urinal or use a quality waterproof paint.

4. Install a flushometer (Figure 052-248-1010-3).

Figure 052-248-1010-3 Install a Flushometer

a. Screw the angle stop onto the 3/4-inch supply line.

b. Connect the flushometer to the angle stop.

NOTE: The connection must be leakproof. A compression joint (metal to metal) should be used.

c. Install the chrome-plated tailpiece on the outlet side of the flushometer.

d. Install a 3/4-inch spud to connect the flushometer tailpiece to the urinal. A spud wrench is needed to tighten the spud onto the urinal.

e. Turn on the water supply and operate the flushometer several times to check for leaks and ensure proper operation.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement. 

Brief soldier:  Tell the soldier that he will be required to complete the performance measures according to the standards set forth in the task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Identified the different types of urinals. | —— | —— |
| 2. Identified the different types of flushometers. | —— | —— |
| 3. Installed a urinal. | —— | —— |
| 4. Installed a flushometer. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 3-34.471 (FM 5-420) |  |

Install a Water Heater

052-248-1022

Conditions: As a plumber/pipe fitter in a field environment, given a general pipe-fitter tool kit, manufacturer's instructions, construction prints and drawings, a preinstalled water-supply system with output lines and shutoff valves, steel pipe with fittings, copper tubing with compressing rings and couplings, a piece of sheet metal, a level, nails, screws, pipe hangers, joint compound, a wire brush, a propane torch, solder flux, solder, cutting oil, an emery cloth, safety goggles, gloves, an electric water heater with a preinstalled power source, and Field Manual (FM) 3-34.471.  The company has received an operation order (OPORD) to install hot water in troop facilities.

Standards: Install an electric water heater according to the manufacturer's instructions, the construction prints and drawings, and FM  3-34.471.  The completed project should contain no leaks.

Performance Steps

NOTE 1: The two general types of water heaters are electric and gas. The pipe selection for hot-water systems is similar to that used in cold-water systems. The pipe size for the hot-water main-supply lines and the risers is determined by following the same procedures as for the cold-water system. NOTE 2: Refer to FM 3-34.471

1. Place and level the water heater in the location shown on the construction print.

2. Cut and ream steel pipe.

NOTE: Normally, there will be a shutoff valve installed between the service line and the input line to the water heater.

a. Determine the required pipe length and mark it for cutting.

b. Lock the pipe tightly in a vise. Ensure that the cutting mark protrudes about 8 inches from the vise.

c. Open the jaws of the cutter by turning the cutter's handle counterclockwise.

d. Place the cutter around the pipe, with the cutting wheel on the mark.

e. Close the cutter's vise jaws lightly against the pipe by turning the handle clockwise.

f. Once the cutting wheel and the roller make contact with the pipe, give the handle a one-quarter turn clockwise.

g. Apply cutting oil to the pipe, and rotate the cutter completely around the pipe, turning the handle a one-quarter turn for each complete revolution around the pipe. Continue to turn the handle until the pipe is cut.

h. Insert the reamer into the pipe. Apply steady pressure against the pipe and turn the reamer clockwise, using short, even strokes. Continue to turn the reamer until the inside burrs are removed.

i. Remove the outside burrs using a file (if a three-wheel cutter was used).

3. Thread a steel pipe.

a. Lock the pipe securely in the vice, leaving enough pipe projecting to thread.

b. Slide the diestock over the pipe's end, with the guide on the inside. Push the die against the pipe using one hand.

c. Make three or four short, slow, clockwise strokes until the die is firmly started on the pipe. Apply a generous amount of cutting oil on the die.

d. Give the diestock a complete clockwise turn, then turn it counterclockwise one-quarter turn. This will clear the cut metal from the die and the burrs from the new threads.

e. Continue to turn the diestock in clockwise and counterclockwise turns until 1/4 to 1/2 inch of pipe thread extends from the stock.

NOTE: Too much pipe thread is as undesirable as too little. In general, cut the threads until the pipe extends about 1/4 inch from the base of the dies.

f. Turn the diestock counterclockwise carefully until the die is free from the cut threads.

g. Use a heavy rag to wipe away excess oil and a wire brush to remove any chips.

4. Join a steel pipe.

NOTE 1: Steel pipe is joined using pipe wrenches and joint compound or Teflon tape. NOTE 2: To ensure a good fit, the fittings are normally screwed to the pipe after it is threaded and while it is still in the vise.

a. Check the fitting threads for cleanliness and damage. If necessary, clean them with a wire brush or replace as needed.

b. Repeat the above step for the pipe threads.

c. Apply pipe-joint compound or Teflon tape to the pipe threads only.

d. Screw on the fittings, and tighten them using two pipe wrenches, one on the fitting and the other on the pipe. If available, use a vise.

5. Join copper tubing and fittings for hot- and cold-water supply systems, certain drainage applications, or venting. They are available in a variety of types and sizes.

6. Cut and ream the tubing.

a. Determine the required length of the tubing, and mark the spot for the cut.

b. Set the cutting wheel on the mark, and turn the cutter knob clockwise to get a bite on the tubing.

c. Hold the tubing firmly with one hand, and use the other hand to turn the cutter clockwise around the tubing until it is cut.

d. Ream the tubing's cut end with the reamer attached to the tubing cutter.

7. Join a copper-tubing solder joint.

a. Inspect the end of the tubing to be sure it is round, free of burrs, and cut square.

b. Clean the end of the tubing and the inside of the fitting to a bright shine using an emery cloth or fine steel wool.

c. Apply a thin coat of flux to the shined end of the tubing and fitting.

d. Push the fitting onto the tubing and give it a one-quarter turn to spread the flux evenly.

e. Heat the connection with a torch, applying the flame to the fitting.

f. Apply the solder to the joint when the flux begins to bubble. The solder will flow into and completely around the joint.

g. Clean the joint using a clean rag.

8. Join a flared joint.

NOTE: Flared joints are used with flexible copper tubing whose ends have been flared. Fitting sizes range from 3/8 inch to 3 inches in diameter.

9. Join a mechanical comprehension joint.

NOTE: A mechanical compression joint is used to connect a fixture's water-supply tubing to the shutoff valves.

10. Join a swaged joint.

a. Inspect the tubing end to make sure it is free of burrs and cut square.

b. Select the correct size swaging tool and place into the tubing using one hand. Ensure that the swaging tool is centered and straight.

c. Tap the swaging tool firmly with the ball peen hammer to enlarge the end of the tubing.

d. Connect the two sections of tubing and solder the joint.

11. Bend the copper tubing. Use spring benders to bend flexible copper tubing having 1/4- to 7/8-inch outside diameters. The spring bender allows the copper tubing to be bent smoothly without causing folds or links.

12. Connect the hot-water output line to the output line on the water heater.

NOTE: Normally, there is a shutoff valve installed between the service line and the line coming out of the water heater.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.

Brief soldier:  Tell the soldier that he will be required to complete the performance measures according to the standards set forth in the task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Placed and leveled the water heater in the location shown on the construction print. | —— | —— |
| 2. Cut and reamed the steel pipe. | —— | —— |
| 3. Threaded a steel pipe. | —— | —— |
| 4. Joined a steel pipe. | —— | —— |
| 5. Joined copper tubing and fittings for hot- and cold-water supply systems, certain drainage applications, or venting. | —— | —— |
| 6. Cut and reamed the tubing. | —— | —— |
| 7. Joined a copper-tubing solder joint. | —— | —— |
| 8. Joined a flared joint. | —— | —— |
| 9. Joined a mechanical comprehension joint. | —— | —— |
| 10. Joined a swaged joint. | —— | —— |
| 11. Bent the copper tubing. Used spring benders to bend flexible copper tubing having 1/4- to 7/8-inch outside diameters. | —— | —— |
| 12. Connected the hot-water output line to the output line on the water heater. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 3-34.471 (FM 5-420) |  |

Install a Drinking Fountain

052-248-1024

Conditions: As a plumber/pipe fitter in a field environment, given construction prints and drawings, a general pipe-fitter tool kit, a carpenter's tool kit, a wall-hung water fountain with the manufacturer's instructions, a preinstalled water-supply line with a gate valve, a preinstalled waste drain, a P-trap, copper tubing with compression rings and couplings, 2- x 6-inch lumber, nails, screws, and Field Manual (FM) 3-34.471.  The company has received an operation order (OPORD) to construct troop facilities.

Standards: Installed a drinking fountain with no leaks, according to FM 3-34.471 and the manufacturer's instructions, and within plus/minus 1/8 inch of the construction prints and drawings.

Performance Steps

1. Identify the three types of drinking fountains (Figure 052-248-1024-1).

Figure 052-248-1024-1 Types of Water Fountains

a. The pedestal drinking fountain needs no wall support.

b. The wall-hung drinking fountain is bolted to a mounting board on the wall.

c. The electrically-cooled drinking fountain has a refrigerating unit in which the water passes over refrigerating coils to be cooled before being supplied to the drinking outlet.

2. Install a wall-hung drinking fountain. Follow the manufacturer's instructions for installation.

a. Install a mounting board and a bracket between the wall studs.

b. Place the wall-hung drinking fountain on the bracket.

c. Ensure that the mounting will support considerable weight in addition to the drinking fountain.

3. Install a drain assembly (Figure 052-248-1024-2).

Figure 052-248-1024-2 Drain Assembly (P-Trap Connection)

NOTE: The drain-assembly hookup for the wall-hung drinking fountain is the same as the lavatory. A P-trap is used to form a water seal on the drain line. NOTE: Ensure that the fountain drain has a good strainer to keep chewing gum and other objects from entering the drain.

a. Apply a ring of plumber's putty around the drain outlet, and set the flange firmly into the outlet.

b. Connect the flange to the bowl with a washer and a locknut.

c. Coat the flange threads with a pipe-joint compound, and screw on the tailpiece.

d. Connect the P-trap between the roughed-in waste outlet and the tailpiece. Use washers and slip nuts on all connections to form leakproof joints.

4. Install a waterline as shown in Figure 052-248-1024-3. Turn on the water supply and check for leaks.

Figure 052-248-1024-3 Waterline Installation

NOTE: The waterline must not interfere with the electrical service for electrically-cooled drinking fountains.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.

Brief soldier:  Tell the soldier to install a drinking fountain with no leaks.  All of the connections should be made with washers and slip nuts and form watertight joints.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Identified the three types of drinking fountains. | —— | —— |
| 2. Installed a wall-hung drinking fountain. | —— | —— |
| 3. Installed a drain assembly. | —— | —— |
| 4. Installed a waterline. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 3-34.471 (FM 5-420) |  |

Install a Lavatory

052-248-1050

Conditions: As a plumber/pipe fitter in a field environment, given construction prints and drawings, a general pipe-fitter tool kit, a carpenter's tool kit, a wall-hung lavatory with manufacture's instructions, installed waterlines with gate valves and a drain, a P-trap, faucets, copper tubing with compression rings and couplings, a pop-up plug, 2- x 6-inch lumber, nails, screws, hanger brackets, and Field Manual (FM) 3-34.471.  The company has received an operation order (OPORD) to construct troop facilities.

Standards: Install a wall-hung lavatory with no leaks, according to FM 3-34.471 and the manufacturer's instructions, and within plus/minus 1/8 inch of the construction prints and drawings.

Performance Steps

1. Identify the four types of lavatories (Figure 052-248-1050-1).

Figure 052-248-1050-1 Lavatories

a. A wall-hung lavatory hangs on a bracket attached to the wall. This type of lavatory may or may not have legs for added support.

b. A vanity lavatory is installed on a cabinet or a cabinet top with a stainless-steel rim.

c. A pedestal lavatory's weight rests on the floor and is not supported by the wall.

d. A trough lavatory is used mainly in commercial plants and military facilities.

2. Install a lavatory.

a. Install a wall-hung lavatory (Figure 052-248-1050-2).

Figure 052-248-1050-2 Wall-Hung Lavatory

(1) Install the mounting board between the studs.

( a) Install a 2- x 4-inch mounting board by notching the wall studs at the height recommended by the manufacturer or the construction prints.

( b) Measure and mark the location of the hanger to within plus/minus 1/8 inch of the specifications.

(2) Attach the hanger bracket on the finished wall using the proper length of wood screws. Ensure that the metal bracket is level.

(3) Place the lavatory on the bracket and push it down. Verify that the lavatory is level

b. Install a faucet (Figure 052-248-1050-3).

Figure 052-248-1050-3 Faucet Installation

(1) Apply plumber's putty on the bottom of the faucet (single or combination). If a gasket comes with a combination faucet, putty is not required.

(2) Place the faucet on the top rear of the bowl, with the threaded end through the holes.

(3) Place a washer and attach a locknut to each threaded end under the bowl.

(4) Tighten each locknut with a basin wrench.

(5) Wipe off any excess putty around the faucet.

c. Install a drain assembly (flange) (Figure 052-248-1050-4).

Figure 052-249-1050-4 Drain Assembly

(1) Apply a ring of plumber's putty around the drain outlet, and set the flange firmly in the outlet.

(2) Connect the flange to the bowl with a washer and a locknut.

(3) Coat the flange threads with pipe-joint compound and screw on the tailpiece.

(4) Connect the P-trap between the waste arm and the tailpiece. Ensure that all connections are made with washers and slip nuts to form leakproof joints (Figure 052-248-1050-5).

Figure 052-248-1050-5 P-Trap Connection

d. Connect the water supply (Figure 052-248-1050-6).

Figure 052-248-1050-6 Water-Supply Connection

(1) Connect the supply line to the cold-water and hot-water connections on the faucet.

(2) Place a compression ring on the faucet and the shutoff valve.

(3) Connect the coupling nut on both ends.

(4) Tighten the coupling nuts.

(5) Turn the water on and check for leaks.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.

Brief soldier:  Tell the soldier that he will be required to complete the performance measures according to the standards set forth in the task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Identified the four types of lavatories. | —— | —— |
| 2. Installed a lavatory. | —— | —— |
| a. Installed a wall-hung lavatory. |  |  |
| b. Installed a faucet. |  |  |
| c. Installed a drain assembly (flange). |  |  |
| d. Connected the water supply. |  |  |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 3-34.471 (FM 5-420) |  |

Subject Area 9: Plumbing Repairs

Repair Valves and Fixture-Control Devices

052-248-1011

Conditions: As a plumber/pipe fitter in a field environment, given manufacturer's instructions, malfunctioning gate and globe valves, a flushometer valve, valve repair parts, new valves, joint compound, rags, and Field Manual (FM) 3-34.471.  The company has received an operation order (OPORD) to pull maintenance on troop facilities.

Standards: Repair or replace malfunctioning valves and fixture-control devices according to the manufacturer's instructions and FM 3-34.471.

Performance Steps

1. Identify the types of valves.

a. A gate valve is used to start or stop liquid, steam, or gas flow. This valve has a split or a solid wedge disc which fits into a machine surface called a seat. The valve is operated by raising the disc to start the flow and seating the disc to stop the flow. Gate valves come in the following models: rising stem with an outside screw and yoke, rising stem with an inside screw, and nonrising stem with an inside screw.

b. A globe valve is a compression-type valve that controls the flow of liquid by means of a circular disc, forced (compressed) onto or withdrawn from an annular ring seat that surrounds the opening through which the liquid flows. All globe valves operate with a rising stem.

c. An angle valve is a globe valve with the inlet and the outlet at a 90-degree angle to one another. This type of valve is recommended for frequent operation and throttling and/or to provide a positive shutoff when closed.

d. A check valve permits a one-way flow of liquid within the pipeline and closes automatically to prevent backflow. It can be a swing- or lift-type valve. Swing check valves are used in pipelines where the pressure and the flow velocity are low. Lift check valves are used where the pressure and flow velocity are high.

e. A stop-and-waste valve, also known as a bleeder valve, has a plug on the outlet side which allows water to drain from the pipeline.

f. A reducing valve reduces the water pressure in the pipe entering the building.

g. Pressure- or temperature-relief valves are used on water heaters.

h. A flushometer valve is used in urinals and water closets.

i. Foot, check, gauge, and relief valves are used on centrifugal pumps.

2. Perform repair and maintenance procedures.

NOTE: Valves and fixture-control (operating) devices are a vital part of a plumbing system. Leakage and wear of valves and fixture-control devices may require simple or extensive repair. Check all valves regularly for leaks. Most leaks are from leaky washers or bonnets which have been used for a long period of time.

a. Gate valve.

NOTE: During disassembly, check all parts for wear and replace them as needed.

(1) Repair a leak at the stem and the packing nut.

( a) Tighten the packing nut. If the leak continues, turn off the water supply.

( b) Remove the wheel handle, packing nut, and old packing.

( c) Set in new packing.

( d) Replace the packing nut and the wheel handle.

( e) Turn on the water supply and check for leaks.

(2) Repair a valve that will not close properly.

( a) Turn off the water supply.

( b) Disassemble the valve from the wheel handle to the body.

( c) Resurface the disc with a mixture of oil and lapping compound.

( d) Reassemble the valve.

( e) Turn on the water supply and check for leaks and proper operation.

(3) Repair a valve with an unknown malfunction.

( a) Turn off the water supply.

( b) Disassemble the valve until you find the fault.

( c) Replace the faulty parts.

( d) Reassemble the valve.

( e) Turn on the water supply and check for leaks and proper operation.

b. Globe valve.

(1) Repair a leak at the stem and the packing nut.

( a) Tighten the packing nut. If the leak continues, turn off the water supply.

( b) Remove the wheel handle, packing nut, and old packing.

( c) Set in the new packing.

( d) Replace the packing nut and the wheel handle.

( e) Turn on the water supply and check for leaks.

(2) Repair a valve that will not regulate or control the amount of water flow.

( a) Turn off the water supply.

( b) Disassemble the valve from the wheel handle to the body.

( c) With a composition disc, remove the old disc and replace with a new one. With a plug or a conventional disc, remove the disc, insert a washer, and lay the disc on the seat for a snug fit.

( d) Reassemble the valve.

( e) Turn on the water supply, and check for leaks and proper operation.

(3) Repair an unknown malfunction in the valve.

( a) Turn off the water supply, and check for leaks and proper operation.

( b) Replace the faulty parts.

( c) Reassemble the valve.

( d) Turn on the water supply, and check for leaks and proper operation.

c. Angle valve. Repair the angle valve using the same procedures as for the globe valve.

d. Swing check valve.

NOTE: During disassembly, check all parts for wear and replace them as needed.

(1) Repair a loose disc locknut that is causing water backflow.

( a) Turn off the water supply, and remove the cap.

( b) Tighten the locknut.

( c) Replace the cap.

( d) Turn on the water supply, and check for leaks and proper operation.

(2) Repair or replace a hinge that is not closing completely.

( a) Turn off the water supply, and remove the cap.

( b) Replace the hinge pin, or attach a hinge with a hinge pin.

( c) Replace the cap.

( d) Turn on the water supply, and check for leaks and proper operation.

(3) Replace a worn disc face that is causing a water leak.

( a) Turn off the water supply, and remove the cap.

( b) Remove the locknut and the disc.

( c) Attach a new disc to the hinge, and tighten the locknut.

( d) Replace the cap.

( e) Turn on the water supply, and check for leaks and proper operation.

e. Lift check valve.

NOTE: To avoid replacement of the lift check valve, inspect it once a year.

(1) Inspect the valve for wear, freedom of motion, and alignment.

(2) Inspect the clapper and the body seat rings.

(3) Remove any dirt or foreign matter lodged in the valve.

(4) If the disc or body seat-ring surfaces show signs of wear or corrosion, resurface or replace them.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.

Brief soldier:  Tell the soldier that he will be required to complete the performance measures according to the standards set forth in the task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Identified the types of valves. | —— | —— |
| 2. Performed repair and maintenance procedures. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 3-34.471 (FM 5-420) |  |

Clear Waste-System Stoppages

052-248-1012

Conditions: As a plumber/pipe fitter in a field environment, given a general pipe-fitter tool kit, an exiting waste system and fixtures with stoppages, a plain or a cone plunger, a 1/4- to 1/2-inch-wide drain snake, a closet auger, a pail, chemicals, rags, and Field Manual (FM) 3-34.471.  The company has received an operation order (OPORD) to pull maintenance on troop facilities.

Standards: Clear waste-system stoppages according to FM 3-34.471.

Performance Steps

1. Clear a stoppage in a water closet. Clear a stoppage using a--

a. Plunger.

(1) Pump the plunger up and down until the water level drops.

(2) Place toilet paper in the bowl and flush the water closet to check if the stoppage is cleared.

b. Water-closet snake.

(1) Push the snake into the bowl, and turn the handle clockwise with a push-pull action until the water level drops.

(2) Place toilet paper in the bowl and flush the water closet to check if the stoppage is cleared.

2. Clear a stoppage in a lavatory P-trap (Figure 052-248-1012-1). Clear a stoppage using a--

052-248-1012-1 Lavatory P-Trap

a. Plunger.

(1) Place a wet rag in the bowl's overflow opening.

(2) Remove the plug (on lavatories with a pop-up plug).

(3) Set the plunger over the waste outlet, and push it up and down until the water completely drains out of the bowl.

(4) Remove the rag from the overflow opening, and replace the pop-up plug.

b. Snake, 1/4 to 1/2 inch wide.

(1) Remove the plug (on lavatories with a pop-up plug).

(2) Push the snake down into the waste outlet as far as it will go.

(3) Perform a push-pull and turning action with the snake until the water completely drains out of the bowl.

3. Clear a stoppage in a lavatory drain line (Figure 052-248-1012-2).

Figure 052-248-1012-2 Lavatory Drain Line

a. Turn the water service off at the shutoff valve.

b. Place a bucket under the P-trap to catch the water spillage, and disassemble the P-trap.

c. Push the snake into the drain line, turning it with a push-pull action until it moves freely.

d. Remove the snake, replace the P-trap, and turn on the water service.

4. Clear a stoppage in a urinal with an exposed P-trap (Figure 052-248-1012-3). Clear a stoppage using a--

Figure 052-248-1012-3 Urinal With an Exposed P-Trap

a. Plunger.

(1) Place a wet rag in the bowl's overflow opening.

(2) Place the plunger over the waste outlet and push it up and down until the water completely drains out of the bowl.

(3) Remove the rag from the overflow opening.

b. Snake, 1/4 to 1/2 inch wide.

(1) Push the snake down into the waste outlet as far as it will go.

(2) Perform a push-pull and turning action until the water completely drains out of the bowl.

5. Clear a stoppage in a urinal with a water seal. Clear a stoppage using a--

a. Plunger.

(1) Pump the plunger up and down until the water level drops.

(2) Place toilet paper in the bowl, and flush the water closet to check if the stoppage is cleared.

b. Snake, 1/4 to 1/2 inch wide.

(1) Push the snake into the bowl and turn the handle clockwise with a push-pull action until the water level drops.

(2) Place toilet paper in the bowl, and flush the water closet to check if the stoppage has cleared.

6. Clear a stoppage in a bathtub. Clear a stoppage in a bathtub with a--

a. P-trap drain.

(1) Remove the stopper linkage and the overflow cover.

(2) Push a 1/4- to 1/2-inch-wide drain snake into the overflow opening until it meets resistance.

(3) Turn the snake using a push-pull motion until it turns freely.

(4) Remove the snake, turn on the water supply, and check to see if the stoppage has cleared.

(5) Replace the overflow cover and the linkage.

b. Drum-trap drain.

(1) Remove the drum-trap cover and gasket, and push a 1/4- to 1/2-inch-wide snake into the trap's lower line to search for stoppage.

(2) Clear any stoppage. If no stoppage is found in the lower line, remove the snake and push it into the upper line.

(3) Turn the snake with a push-pull action to remove the stoppage.

(4) Replace the gasket cover, turn on the water service, and check to see if the stoppage has cleared.

7. Clear a stoppage in a shower drain using a 1/4 inch to 1/2-inch-wide snake.

a. Remove the strainer from the drain.

b. Push the snake into the drain, and turn the snake with a push-pull action until it moves.

c. Remove the snake, and replace the strainer.

NOTE: Clear a stoppage in a floor drain the same as in a shower drain. A floor drain may have the strainer cemented to the floor. If so, remove it by chipping the cement around the strainer. Once the stoppage is cleared, cement the strainer back in place.

8. Clear a stoppage in a branch line and a main line (Figure 052-248-1012-4). Clear a stoppage in a--

FIgure 052-248-1012-4 Branch and Main Line

a. Branch line.

(1) Remove the closet cleanout plug.

(2) Clear the stoppage using a snake.

(3) Replace the cleanout plug.

b. Main line (Figure 052-248-1012-4).

(1) Remove the closet cleanout plug.

(2) Clear the stoppage using a 3/4- to 1-inch-wide heavy-duty snake.

(3) Replace the cleanout plug.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement. 

Brief soldier:  Tell the soldier to clear waste-system stoppages in a water closet, a lavatory P-trap drain, a lavatory drain line, a urinal with an exposed P-trap drain, a urinal with a water seal, a bathtub, a shower drain, a branch line, and a main line.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Cleared stoppages in water closets using a plunger and a water-closet snake. | —— | —— |
| 2. Cleared stoppages in lavatory P-traps using a plunger and a 1/4- to 1/2-inch-long snake. | —— | —— |
| 3. Cleared a stoppage in a lavatory drain line. | —— | —— |
| 4. Cleared stoppages in urinals with an exposed P-trap using a plunger and a 1/4- to 1/2-inch-long snake. | —— | —— |
| 5. Cleared stoppages in urinals with a water seal using a plunger and a 1/4- to 1/2-inch-long snake. | —— | —— |
| 6. Cleared stoppages in bathtubs containing a P-trap and a drum trap. | —— | —— |
| 7. Cleared a stoppage in a shower drain using a 1/4- to 1/2-inch-long snake. | —— | —— |
| 8. Cleared stoppages in branch and main lines. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 3-34.471 (FM 5-420) |  |

Troubleshoot Faucets

052-248-1028

Conditions: As a plumber/pipe fitter in a field environment, given a compression faucet, a noncompression faucet, plumber's putty, washers, a general pipe-fitter tool kit, and Field Manual (FM) 3-34.471.  The company has received an operation order (OPORD) to construct troop facilities.

Standards: Perform troubleshooting operations on faucets according to FM 3-34.471.

Performance Steps

NOTE: Before repairing any faucet, drain it by turning the water off at the fixture shutoff valve.

1. Repair a single compression or combination compression faucet.

NOTE 1: When repairing compression (or washer) faucets, always check the valve seat. If it is chipped or rough, reface it with a refacing tool. NOTE 2: When repairing faucets, check all parts for wear and replace as needed.

a. Repair a leak at the stem and the packing.

(1) Turn off the water supply at the shutoff valve, and remove the cap, the screw, and the handle.

(2) Remove the packing nut, the old packing material, and the washer.

(3) Place a new washer on the stem's lower end.

(4) Reassemble all parts in the proper order.

(5) Turn on the water supply, and check for leaks and proper operation.

b. Repair a leak at the spout.

(1) Turn off the water supply at the shutoff valve, and remove the cap, the screw, and the handle.

(2) Remove the packing nut with a wrench, and remove the stem from the body.

(3) Remove the screw and the washer from the bottom of the stem.

(4) Place a new washer on the bottom of the stem.

(5) Check the valve seat inside of the body. If it is chipped or rough, reface the seat with a refacing tool. If the seat is even, place the stem in the body.

(6) Reassemble all parts in the proper order.

(7) Turn on the water supply, and check for leaks and proper operation.

c. Repair a leak at the base of the body.

(1) Turn off the water supply at the shutoff valve, and remove the cap, the screw, and the handle.

(2) Remove the packing nut with a wrench.

(3) Remove the worn washer from the packing nut.

(4) Slide a new washer in the packing nut for a snug fit.

(5) Reassemble all parts in the proper order.

(6) Turn on the water supply, and check for leaks and proper operation.

2. Repair a noncompression ball faucet.

NOTE: Leaks in a ball faucet can be caused by a corroded or gouged selector ball or by worn rubber valve seats. If the faucet malfunctions due to corrosion or wear, use the manufacture's instructions to make repairs.

a. Remove the lever handle by loosening the seat screw.

b. Remove the cap, and pull out the ball with the cam assembly.

c. Disengage the stopper mechanism under the lavatory, and remove the ceramic cartridge held by two brass screws.

d. Replace the cartridge.

e. Reassemble the stopper mechanism and the faucet.

f. Turn on the water supply, and check for leaks and proper operation.

3. Repair bathtub and shower faucets. These faucets function the same as compression and noncompression faucets on sink and lavatory faucets. Follow the same procedures for repair.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the condition statement.

Brief soldier:  Tell the soldier to troubleshoot compression, noncompression, and bathtub and shower faucets.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Repaired a single compression or combination compression faucet. | —— | —— |
| 2. Repaired a noncompression ball faucet. | —— | —— |
| 3. Repaired bathtub and shower faucets. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 3-34.471 (FM 5-420) |  |

Troubleshoot a Water Closet and Tank

052-248-1029

Conditions: As a plumber/pipe fitter in a field environment, given a general pipe-fitter tool kit; manufacturer's instructions; a malfunctioning water closet and tank; water-closet and tank repair parts; a new water closet, tank, and components; rags; and Field Manual (FM) 3-34.471.  The company has received an operation order (OPORD) to perform maintenance on troop facilities.

Standards: Perform troubleshooting procedures.  Repair a water closet and a tank to operate properly without leaks, or replace the water closet and its components according to the manufacturer's instructions and FM 3-34.471.

Performance Steps

1. Repair a water-closet ball cock. Repair the ball cock when the--

a. Water level is running into the top of the overflow pipe.

(1) Remove the tank top, and unscrew the float ball from the float rod.

(2) Shake the float ball to find out if water is in it. If water is inside the ball, replace the ball. If no water is in the float ball, it is functional.

(3) Place both hands on the middle of the float rod, and carefully bend the ball side of the rod down about 1/2 inch.

(4) Flush the water closet. Ensure that the water level is about one inch below the top of the overflow pipe. Replace the tank top.

b. Water is continuously running through the water closet.

(1) Remove the tank top, and turn off the water supply at the shutoff valve.

(2) Flush the water closet to empty the tank.

(3) Unscrew the flush (tank) ball from the lift wire.

(4) Check the bottom of the flush ball for damage or wear, and replace it as necessary.

(5) Clean the flush-outlet valve with an emery cloth or steel wool.

(6) Operate the handle to see if the flush ball sits evenly in the flush-outlet valve.

(7) Turn on the water supply, and flush the water closet to check the operation of the repaired items. Replace the tank top.

c. Ball-cock operation is faulty.

(1) Remove the tank top, and turn off the water supply.

(2) Flush the water closet to empty the tank.

(3) Remove the float rod with the float ball attached.

(4) Remove the screws or pins at the top of the ball-cock assembly.

(5) Lift the plunger out of the assembly.

(6) Remove the washer located under the bottom of the plunger and the O-ring from around the plunger, and replace them.

(7) Reassemble the ball-cock-assembly float rod with the float ball attached.

(8) Turn on the water supply and check the ball cock.

2. Repair a water-closet float cup. Repair the float cup when the--

a. Water level is running into the top of the overflow pipe.

(1) Remove the tank top. Squeeze the top and the bottom of the adjustment clip, and move it down on the pull rod to lower the float cup.

(2) Flush the tank, and check the incoming water level. The level should be about one inch below the top of the overflow pipe.

(3) Replace the tank top if the level is correct. If the level is not correct, repeat steps 2a(1) and 2a(2) until it is correct. Replace the tank top.

b. Water is continuously running through the water closet.

(1) Remove the tank top. Turn off the water supply at the shutoff valve, and flush the water closet to empty the tank.

(2) Lift up the flapper ball and check the bottom for damage or wear. If the flapper ball is damaged or worn, replace it.

(3) Clean the outlet valve with an emery cloth or steel wool.

(4) Operate the handle to check that the flapper ball is sitting evenly in the outlet valve.

(5) Turn on the water supply, and flush the water closet to check the operation of the repaired items.

(6) Replace the tank top.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.

Brief soldier:  Tell the soldier to repair a water-closet ball cock and a water-closet float cup.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Repaired a water-closet ball cock. Repaired the ball cock when the-- | —— | —— |
| a. Water level was running into the top of the overflow pipe. |  |  |
| b. Water is continuously running through the water closet. |  |  |
| c. Ball-cock operation was faulty. |  |  |
| 2. Repaired a water-closet float cup. Repaired the float cup when the-- | —— | —— |
| a. Water level was running into the top of the overflow pipe. |  |  |
| b. Water is continuously running through the water closet. |  |  |

Evaluation Guidance:  Score the soldier GO if all the steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 3-34.471 (FM 5-420) |  |

Prevent Backflow

052-248-1033

Conditions: As a plumber/pipe fitter in a field environment, given construction prints and drawings, a general pipe-fitter tool kit, a check valve and fittings, a preinstalled water system with a gate valve, and Field Manual (FM) 3-34.471.  The company has received an operation order (OPORD) to perform facility maintenance.

Standards: Install and repair a check valve with no leaks, according to FM 3-34.471, and within plus/minus 1/8 inch of the construction prints and drawings.

Performance Steps

1. Install a check valve.

NOTE: A check valve permits a one-way flow of liquid within the pipeline and closes automatically to prevent backflow. A swing check valve is used in pipelines where the pressure and flow velocity are low. A lift check valve is used where the pressure and flow velocity are high.

a. Determine the type of check valve used based on the pressure and the velocity.

b. Inspect the valve to determine the inlet and outlet sides of the valve. Most check valves are marked to indicate the direction of flow.

c. Install the check valve in line with the direction of flow according to the procedures outlined for the specific type of pipe.

2. Repair a swing check valve (Figure 052-248-1033-1). Repair a swing check valve when--

Figure 052-248-1033-1 Swing Check Valve

a. A loose locknut is causing water backflow.

(1) Turn off the water supply and remove the cap.

(2) Tighten the locknut.

(3) Replace the cap.

(4) Turn on the water supply, and check for leaks and proper operation.

b. The hinge does not close completely.

(1) Turn off the water supply and remove the cap.

(2) Replace the hinge pin or the hinge.

(3) Replace the cap.

(4) Turn on the water supply, and check for leaks and proper operation.

c. The disc face is worn, causing a leak.

(1) Turn off the water supply and remove the cap.

(2) Remove the locknut and the disc.

(3) Attach a new disc to the hinge, and tighten the locknut.

(4) Replace the cap.

(5) Turn on the water supply, and check for leaks and proper operation.

3. Repair a lift check valve (Figure 052-248-1033-2).

Figure 052-248-1033-2 Lift Check Valve

a. Inspect the valve for wear, freedom of motion, and alignment.

b. Inspect the clapper and the body-seat rings.

c. Remove any dirt or foreign matter lodged in the valve.

d. Resurface or replace the disc- or body-seat ring surfaces if they show signs of wear or corrosion.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.

Brief soldier:  Tell the soldier that he will be required to complete the performance measures according to the standards set forth in the task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Installed a check valve. | —— | —— |
| 2. Repaired a swing check valve. | —— | —— |
| 3. Repaired a lift check valve. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 3-34.471 (FM 5-420) |  |

Repair Steel, Plastic, and Copper Pipes

052-248-1043

Conditions: As a plumber/pipe fitter in a field environment, given general and supplementary pipe-fitter tool kits; damaged steel, polyvinyl-chloride (PVC), and copper pipe; steel pipe and fittings; copper tubing with compression rings and couplings; joint compound; a wire brush; cutting oil; a knife; a piece of sheet metal; a level; nails; screws; pipe hangers; acrylonitrile-butadiene-styrene (ABS) solvent; glue; emery cloth; rags; safety goggles; gloves; and Field Manual (FM) 3-34.471.  The company has received an operation order (OPORD) to perform maintenance on troop facilities.

Standards: Repair steel, PVC, and copper pipe without leaks and according to FM 3-34.471.

Performance Steps

NOTE: Corrosion is the thinning of the wall in a metal pipe. It can be caused by electrolysis (a chemical breakdown by an electric current), rust, or water acidity. The first sign of corrosion may be a leak in the system occurring within the walls or floors of a building.

1. Identify leaks and corrosion.

a. Use a strip of wood as a resonator to detect and magnify the sound of the leak.

b. Place one end of the wood against your ear and the other end against the pipe, and trace the sound. The sound will increase as you get closer to the leak.

2. Repair steel and PVC pipe.

a. Shut off the water at the nearest valve below the leak, and drain the pipe.

b. Cut out the leaking section where the fittings on each side of the leak are not readily available.

c. Hold the pipe with a wrench to prevent it from turning in the adjoining fitting, and cut a tread on it.

d. Replace the cut section with a coupling, the required length of pipe section, and a union.

3. Repair copper tubing.

a. Shut off the water at the nearest valve below the leak and drain the pipe.

b. Cut out the corroded section.

c. Replace the corroded section with soldered or compression joints.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.

Brief soldier:  Tell the soldier that he will be required to complete the performance measures according to the standards set forth in the task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Identified leaks and corrosion. | —— | —— |
| 2. Repaired steel and PVC pipe. | —— | —— |
| 3. Repaired copper tubing. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If a soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 3-34.471 (FM 5-420) |  |

Subject Area 10: Coupled Pipeline

Install a Coupled Pipeline

052-248-1013

Conditions: As a plumber/pipe fitter in a field environment, given a pipe-fitter's tool set, a truck, pipe, couplings, groove-type fittings, elbows, trees, reducers, blank ends, adapters, a socket set, a file, a dauber brush, a lazy board, two pipeline jacks per crew, a lineup cage, two snakes, valves, 4- by 4- by 10-inch wood blocks with carrying rope, cup grease, rags, crowbars, brush hooks, axes, saws, shovels, a hand auger, a hatchet, large nails, long bolts, adjustable- and open-end wrenches, wire brushes, pup joints, construction drawings and specifications, Field Manual (FM) 5-482, and FM 10-67-1.

Standards: Install a coupled pipeline, secure and free of leaks.

Performance Steps

NOTE: Keep pipes clean and free from debris during construction. Small quantities of loose material in each pipe length can accumulate in sufficient volume to clog sand traps or strainers located at the pumping stations. Before coupling or welding pipe lengths together, inspect them for cleanliness inside and out. Before connecting the pipe to the line, run a swab or wire brush through each length to clean out any debris. Aluminum pipes are equipped with end caps that should remain in place until the pipes are coupled. Discard any corroded pipe.

1. Inspect the pipeline components. Inspect the--

a. Pipe ends for dents, the proper round appearance, paint, scales, rust, or other irregularities.

b. Coupling gasket to ensure that it will fit smoothly inside the coupling halves.

c. Couplings for any cracks or gouges due to rough handling.

d. Hose lines for dry rot. Replace any hoses found to have dry rot.

2. Perform coupling procedures.

a. Stake the pipeline route.

b. Clear and level the pipeline route.

(1) Clear the pipeline route just enough to lay the line efficiently and permit patrolling. Keep the clearing procedures to a minimum to save time and maximize natural vegetation for camouflage.

(2) Ensure that the terrain is level when constructing coupled aluminum pipelines. It is not as critical to level the route for coupled steel pipeline.

c. Determine the valves' locations.

(1) For repair purposes, gate valves are located at intervals in the pipeline. The number and location of the gate valves are based on the tactical situation.

(2) To prevent backflow in the case of shutdown operations, check valves are placed in the line at the bottom of steep upgrades.

(3) To provide an outlet for air in the pipeline, vent valves are installed about every mile at the top of the highest terrain.

d. Construct pipeline-obstacle crossings. Construct a crossing using--

(1) Nestable culvert material.

(2) A gap-crossing support structure with a pipeline roller assembly.

(3) A suspension-bridge kit (Figure 052-248-1013-1).

Figure 052-248-1013-1 Suspension-Bridge Kit

e. Prepare a construction staging area.

f. Assign crews to the pipeline construction areas.

g. Place the pipes and valves.

h. Couple the pipeline. The crew will require two pipeline jacks, an assembly tool, brass hammers, drift pins, a file, two end caps, cleaning rags, and a half-gallon bucket filled with general-agency-agreement (GAA) grease (Figure 052-248-1013-2).

Figure 052-248-1013-2 Materials to Couple the Pipeline

(1) Grease the gasket lightly and place it in a clean location.

(2) Place the greased gasket over the end of a pipe section. Do not fold the inside gasket flaps over because a leak could result.

(3) Position the pipe ends together. It is important to line up the pipe ends and have them remain in this position until you close the coupling completely.

(4) Adjust the gasket over both pipe ends centered on the joint.

(5) Seat the coupling in the bottom grooves of the pipe.

(6) Close the snap-joint coupling, or install the top half of a bolted coupling in the top grooves of the pipe.

(7) Close the coupling halves together.

NOTE: Use bolts on older couplings and an assembly handle on newer couplings.

(8) Insert a retaining pin in the closed hinge of the snap-joint coupling, and drive the pin into place.

i. Align the pipeline.

NOTE: The relative position of the pipe's length to the next pipe is known as pipeline alignment.

(1) Use sandbags to level an aluminum-pipeline system.

(2) Place sandbags no closer than 2 feet from a coupling point to allow for expansion and contraction. Ensure that the sandbag placement is stable.

j. Anchor the pipeline.

k. Fill and test the pipeline.

Evaluation Preparation:  Setup: Provide the soldier with the items listed in the conditions statement. 

Brief soldier:  Tell the soldier to identify lines, symbols, and title-block information.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Inspected the pipeline components. Inspected the-- | —— | —— |
| a. Pipe ends for dents, the proper round appearance, paint, scales, rust, or other irregularities. |  |  |
| b. Coupling gasket to ensure that it fit smoothly inside the coupling halves. |  |  |
| c. Couplings for any cracks or gouges due to rough handling. |  |  |
| d. Hose lines for dry rot. |  |  |
| 2. Performed coupling procedures. | —— | —— |
| a. Staked the pipeline route. |  |  |
| b. Cleared and leveled the pipeline route. |  |  |
| c. Determined the valves' locations. |  |  |
| d. Constructed pipeline-obstacle crossings. |  |  |
| e. Prepared a construction staging area. |  |  |
| f. Assigned crews to the pipeline construction areas. |  |  |
| g. Placed the pipes and valves. |  |  |
| h. Coupled the pipeline. |  |  |
| i. Aligned the pipeline. |  |  |
| j. Anchored the pipeline. |  |  |
| k. Filled and tested the pipeline. |  |  |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 10-67-1 |  |
| FM 5-482 |  |

Repair a Coupled Pipeline

052-248-1014

Conditions: As a plumber/pipe fitter in a field environment, given pipeline, pit-leak clamps, split-leak clamps, overcoupling-leak clamps, a supplemental pipeline-pump-station tool kit, a general mechanic's automotive tool set, Field Manual (FM) 10-67-1, and FM 5-482.

Standards: Repair a coupled pipeline by installing clamps so that the gasket completely covers the damaged area and stops the leak.

Performance Steps

1. Perform temporary repairs.

NOTE: Temporarily repair small leaks in pipe sections and couplings using clamps. The type of clamps used will depend on the type of leak. It is not necessary to stop pumping operations while installing the clamps. Replace the repaired pipe section and couplings as soon as possible.

a. Emplace a pit-leak clamp (Figure 052-248-1014-1).

Figure 052-248-1014-1 Pit-Leak Clamp

NOTE: Small-caliber bullets can make small holes in a pipeline, and rust can eat holes. These small holes are called pit leaks. Use a pit-leak clamp to repair these leaks. If possible, drive small wooden pegs into the holes to stop the leaks until a clamp can be installed.

(1) Place the saddle half of the clamp around the pipeline. The gasket should cover the hole.

(2) Place the bolts in the saddle half of the clamp.

(3) Place the other half of the clamp around the pipeline and over the bolts in the saddle half of the clamp.

(4) Place the nuts on the bolts and tighten.

b. Emplace a split-leak clamp.

NOTE: The flow and surge pressure in a pipeline can cause a section of pipeline to crack or split. Use a split-leak clamp to repair such a split.

(1) Cut the gasket material large enough to fit the saddle of the split-leak clamp.

(2) Place the saddle half of the clamp around the pipeline. Cover the leak with the gasket and the saddle.

(3) Place the clamp stirrups around the pipeline.

(4) Place the nuts on the ends of the stirrups and tighten.

c. Emplace an over-coupling leak clamp.

NOTE: To stop a leak at a split-ring, grooved-type coupling, tighten the bolts on the coupling. Moving the pipe and the coupling back and forth and up and down may reseal the gasket and stop the leak. If these actions do not stop the leak, use an over-coupling leak clamp to surround the faulty coupling.

(1) Remove the vent plug from the top of the over-coupling leak clamp. This allows the pressure and the fuel to escape while installing the clamp.

(2) Remove the four large side bolts in the over-coupling leak clamp.

(3) Fit the two halves of the clamp and the two-part gaskets over and around the split-ring, groove-type coupling.

(4) Replace the four large side bolts in the clamp and tighten the nuts.

(5) Tighten the smaller packing bolts around each side of the leak clamp to form a seal between the two-part gaskets and the pipe.

(6) Replace the vent plug in the over-coupling leak clamp. Tighten the vent plug.

2. Perform permanent repairs.

NOTE: To make permanent repairs on coupled pipelines, break the line and replace the faulty coupling, pipe, or fitting. WARNING: USE EXTREME CAUTION WHEN REMOVING A SNAP-JOINT COUPLING. BEFORE BREAKING A PIPELINE, DRAIN ITS CONTENTS AND RELEASE THE PRESSURE. FUEL VAPORS LEFT IN THE LINE IN THE AREA OF THE BREAK AND THOSE THAT HAVE COLLECTED IN THE LOW AREAS COULD CAUSE A FIRE IF IGNITED. TO PREVENT IGNITION, KEEP VEHICLES A SAFE DISTANCE FROM THE AFFECTED AREA, REMOVE ALL ITEMS THAT COULD CAUSE A SPARK, AND COVER ANY FUEL SPILLS WITH FIRE-RETARDING FOAM. ENSURE THAT FIRE-FIGHTING EQUIPMENT IS NEARBY WHEN REPLACING A COUPLING.

a. Replace a faulty coupling.

(1) Stop pumping operations in the area to be repaired.

(2) Close the closet gate valve on the sides of the area to be repaired.

(3) Drain the line and release the pressure.

(4) Remove the over-coupling leak clamp by removing the four large side bolts (if a temporary repair was made). Catch the spilled fuel in a container.

(5) Remove the split-ring coupling and gasket. Drain any fuel from the repair section into drums or tank vehicles.

NOTE: One mile of 6-inch pipeline holds 210 barrels (8,400 gallons) of fuel.

(6) Inspect the coupling and the gasket to determine the cause of the leak. Replace the faulty parts.

(7) Reinstall the coupling. Use a come-along to pull the pipe ends together.

(8) Restore pressure in the pipeline by slowly opening the gate valves.

(9) Begin pumping.

(10) Remove air from the repaired section by opening the vent valves in the repaired section. If possible, send a scraper through the repaired section to evacuate the air.

(11) Restore the repaired section to the necessary test pressure, and check the repaired coupling for leaks.

b. Repair a section of coupled pipeline.

WARNING: ALWAYS ENSURE THAT FIRE-FIGHTING EQUIPMENT IS NEARBY WHEN REPLACING PIPELINE.

(1) Stop pumping operations in the area to be repaired.

(2) Close the closet gate valve on the sides of the area to be repaired.

(3) Drain the line and release the pressure.

(4) Remove the coupling and the gasket. Drain any fuel from the repair section into drums or tank vehicles.

(5) Reinstall a new pipe section. Inspect the used gaskets before reinstalling them. A come-along may be required to draw the pipe ends together.

(6) Restore the pressure in the pipeline by slowly opening the gate valves.

(7) Begin pumping.

(8) Remove air from the repaired section by opening the vent valves in the section. If possible, send a scraper through the repaired section to evacuate the air.

(9) Restore the repaired section to the necessary test pressure, and check the replaced pipe section for leaks.

Evaluation Preparation:  Setup: Provide the soldier with the items listed in the conditions statement.

Brief soldier:  Tell the soldier that he will be required to complete the performance measures according to the standards set forth in the task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Perform temporary repairs. | —— | —— |
| a. Emplace a pit-leak clamp. |  |  |
| b. Emplace a split-leak clamp. |  |  |
| c. Emplace an over-coupling leak clamp. |  |  |
| 2. Perform permanent repairs. | —— | —— |
| a. Replace a faulty coupling. |  |  |
| b. Repair a section of coupled pipeline. |  |  |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 10-67-1 |  |
| FM 5-482 |  |

Subject Area 11: Pumping Station

Install Components With a Pumping Station

052-248-1016

Conditions: As a plumber/pipe fitter in a field environment, given a pipe-fitter tool kit, construction prints and drawings, cast-iron pipe, a hub and spigot pipe, a cold chisel, oakum, lead wool or shredded lead, packing and caulking irons, stainless-steel clamps, neoprene sleeves, polyvinyl chloride (PVC) pipe and fittings, a level, nails, screws, pipe hangers, acrylonitrile butadiene styrene (ABS) solvent, glue, emery cloth, safety goggles, gloves, Field Manual (FM) 3-34.471.  The company has received an operation order (OPORD) to install a pumping station.

Standards: Install a cast-iron or PVC waste system without leaks, according to FM 3-34.471, and within plus/minus 1/8 inch of the construction prints and drawings.

Performance Steps

1. Identify the types of centrifugal pumps. Identify a--

a. Submerged centrifugal pump. A submerged pump is a pump whose motor remains above the water level while the pump itself is submerged. The motor is usually mounted near the wellhead and is connected to the pump by a shaft. Because long pump shafts vibrate, the submerged pump is used mainly for shallow wells.

b. Submersible centrifugal pump. A submersible pump is connected directly to an electric motor in a single casing. The unit is lowered into the well with the motor above the pump. Both the motor and the pump may be below the water level. A waterproof cable connects to the control box at ground level. A suitable discharge hose or pipe is connected to the housing elbow. The submersible pump should be used when the suction lift exceeds 25 feet or if it is difficult to set up a separate prime mover close to the water.

NOTE: To install a pump, the plumber must know the type of pump and how it works.

2. Install a centrifugal pump.

a. Set the pump on a firm foundation to avoid vibration.

b. Place the pump as close to the water supply as possible.

c. Ensure that the suction hose does not have a collapsed lining, breaks, cuts, or pinholes.

d. Tighten the hose connections, and screw the nipples tightly to prevent air leaks. Use pipe cement. Rigid hose is preferred on the discharge side.

e. Support the piping so that its weight is not carried by the pump.

f. Reduce the friction loss by making all piping, especially on the suction side, as short as possible and with few elbows.

g. Place the suction pipe so it rises gradually toward the pump (this is not necessary on a self-priming centrifugal pump).

NOTE: Install a strainer on the suction line to prevent clogging. Clogging reduces the pump's capacity and stops it. The net on the strainer should be at least four times larger than the size of the net on the suction pipe. The net should be inspected and cleaned often. To decrease friction loss in long discharge lines, use a pipe that is one or more sizes larger than the discharge fitting of the pump.

3. Identify the types of valves. Identify a--

a. Check valve. The check valve (on the suction side) prevents the loss of priming liquid in the pump casing during idle-pump periods. It allows a one-way flow of liquid and usually opens or closes automatically.

b. Foot valve. The foot valve (on the end of the suction pipe) is not required but may be provided to fill the pipe.

c. Gauge valve. The gauge valve is controlled by a hand-operated wheel. It is used on discharge and suction lines to cut off fluid flow. The gauge valve should never be used to throttle or control fluid flow as the flow of liquid corrodes the gate fence.

d. Relief valve. The relief valve is a safety valve designed to open when the liquid pressure in the pump becomes too high.

4. Prime a pump.

NOTE: Following installation, prime the pump by filling it with water. After the first priming, a self-priming centrifugal pump does not need to be reprimed unless it has been drained.

a. Remove the priming plug on top of the pump casing, and fill the case to the top with water. The valve on the discharge line should be wide open.

b. Replace the pump.

c. Start the pump.

NOTE: To decrease the load and the fuel consumption on shallow suction lifts with little liquid supply going to the pump, reduce the engine speed using the throttle.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.

Brief soldier:  Tell the soldier that he will be required to complete the performance measures according to the standards set forth in the task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Identified the types of centrifugal pumps. | —— | —— |
| 2. Installed a centrifugal pump. | —— | —— |
| 3. Identified the types of valves. | —— | —— |
| 4. Primed a pump. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 3-34.471 (FM 5-420) |  |

Subject Area 12: Repair Hose Line

Repair a Flexible Hose Line

052-248-1017

Conditions: As a plumber/pipe fitter in a field environment, given a hose-line repair kit and adapters.  This task may be performed at the job site.

Standards: Repair a flexible hose line using the rejoining or patching method.  The repaired line should contain no leaks.

Performance Steps

NOTE 1: Repair leaking and broken hoses as soon as possible. NOTE 2: Use a repair kit to fix seeping or fine-spraying leaks which can occur in the hose wall during testing and use. Fix all leaks immediately to avoid breaking the hose.

1. Repair a leaking hose.

a. Reduce the pressure in the hose line to cut down on the amount of leaking fuel.

b. Clean a 6-inch-wide area on each side of the leak with solvent. If no solvent is available, wipe the area clean and dry.

c. Apply a thin coat of rubber adhesive to the area, and let it set about 5 minutes or until tacky.

d. Cover the adhesive area with a spiral wrap of 2-inch-wide rubber tape. Overlap each wrap about 1 inch.

e. Apply two spiral wraps of 2-inch vinyl-plastic tape to the area, wrapping it in the opposite direction. Wrap the tape as tightly as possible without causing the hose to buckle.

f. Apply pressure to the hose so it remains cylindrical.

2. Repair a broken hose. Repair breaks, splits, or punctures in the hose wall by cutting out the defective area and joining the cut ends with two coupling sleeves and a coupling. This is the only possible way to repair a collapsible hose in this manner as the suction or hard wall hose has a wire wrap on the inside which makes cutting almost impossible.

a. Shut down the system and ensure that there is no pressure in the hose line.

b. Place a hose clamp from the repair kit on each side of the break.

c. Cut the hose about 6 inches from the edge of the break, and check the inside for damage. If any damage is found, cut the hose again to remove the damaged area.

d. Wipe the end of the hose clean and dry.

e. Place solvent on the inside of the hose, about 6 inches deep, and apply adhesive to the cut, raw end. While the solvent is drying, put a coat of adhesive on the outside of the coupling sleeve.

f. Place the sleeve in the hose immediately so that the adhesive can act as a lubricant.

g. Use the banding tool from the repair kit to put banding straps on the hose.

h. Bond the sleeve to the hose using three banding straps.

i. Apply the bands tightly, cut off any excess, and secure them with buckles. Stagger the buckles around the hose.

j. Apply a coat of adhesive to the other cut end of the hose.

k. Repeat the above steps on the other end of the hose.

l. Connect the coupling sleeves with a grooved coupling, and remove the hose clamps.

Evaluation Preparation:  Setup:  Provide the soldier with the items list in the conditions statement.

Brief soldier:  Tell the soldier that he will be required to complete the performance measures according to the standards set forth in the task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Repaired a leaking hose. | —— | —— |
| a. Reduced the pressure in the hose line. |  |  |
| b. Cleaned a 6-inch-wide area on each side of the leak. |  |  |
| c. Applied rubber adhesive to the area. |  |  |
| d. Covered the adhesive area with rubber tape. |  |  |
| e. Applied vinyl-plastic tape to the area. |  |  |
| 2. Repaired a broken hose. | —— | —— |
| a. Shut down the system and ensured that there was no pressure in the hose line. |  |  |
| b. Placed a hose clamp on each side of the break. |  |  |
| c. Cut the hose about 6 inches from the edge of the break, and checked the inside for damage. If any damage was found, cut the hose again and removed the damaged area. |  |  |
| d. Wiped the end of the hose clean and dry. |  |  |
| e. Placed solvent on the inside of the hose and applied adhesive to the cut, raw end. While the solvent was drying, put a coat of adhesive on the outside of the coupling sleeve. |  |  |
| f. Placed the sleeve in the hose immediately so that the adhesive could act as a lubricant. |  |  |
| g. Used the banding tool to put banding straps on the hose. |  |  |
| h. Bonded the sleeve to the hose using three banding straps. |  |  |
| i. Applied the bands tightly, cut off any excess, and secured them with buckles. Staggered the buckles around the hose. |  |  |
| j. Applied adhesive to the other cut end of the hose. |  |  |
| k. Repeated the above steps on the other end of the hose. |  |  |
| l. Connected the coupling sleeves with a grooved coupling, and removed the hose clamps. |  |  |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 10-67-1 | FM 5-482 |
| FM 10-69 |  |

Subject Area 13: Planning

Interpret Plumbing Prints and Drawings

052-248-1040

Conditions: As a plumber/pipe fitter in a field environment, given paper, a pencil, Field Manual (FM) 3-34.471, and Technical Manual (TM) 5-704.  The company has received an operation order (OPORD) to construct troop facilities.

Standards: Identify the lines, symbols, title-block information, general notes, and specifications according to FM 3-34.471 and TM 5-704.

Performance Steps

1. Identify plumbing lines. Identify the--

a. Visible lines. A visible line is a heavy, unbroken line used to indicate the visible edges of an object.

b. Hidden lines. Hidden lines are medium lines with short, evenly spaced dashes used to indicate the concealed edges.

c. Centerlines. Centerlines are thin lines made up of long and short dashes alternately spaced and consistent in length. They are used to indicate the symmetry of an axis and the location of the centers.

d. Dimension lines. Dimension lines are thin lines terminated with arrowheads at each end. They are used to indicate a measured distance.

e. Extension lines. Extension lines are thin, unbroken lines used to indicate the extent of the dimensions.

f. Leader lines. Leader lines are terminated with an arrowhead or dot at one end and are used to indicate a part, dimension, or other reference.

g. Phantom or datum lines. Phantom or datum lines are a series of medium lines consisting of one long dash and two short dashes evenly spaced and ending with a long dash. They are used to indicate the alternate positions of parts, repeated detail, or a datum plane.

h. Stitch lines. Stitch lines are medium lines or short dashes evenly spaced and labeled. They are used to indicate stitching or sewing.

i. Break lines. A break line is a thin (light) line interrupted by a z-shaped symbol. The break line indicates that the object has been shortened to save space on the drawing. The true length is indicated by the dimension specified.

(1) Identify a long break line. A long break line is a thin, solid-ruled line with freehand zigzags. It is used to reduce the size and the detail of a drawing delineating an object.

(2) Identify a short break line. A short break line is a thick, solid, freehand line used to indicate a short break.

j. Cutting lines. Cutting lines are a pair of short, heavy lines with arrowheads projected at a 90- degree angle. Letters may be placed at the arrowheads to show the direction of the section view. The cutting plane for a complex or offset view may be connected by a line of short, heavy dashes indicating the exact path of the cutting plane.

2. Identify the four types of plumbing symbols. Identify the--

NOTE: Plumbing symbols are used in utility drawings and are displayed in the plumbing plans. All piping, apparatus, and fixtures for water distribution and waste disposal within a building are classified as plumbing.

a. Line symbols for piping.

b. Pipe-fitting symbols for pipe unions, couplings, and connections.

c. Valve symbols indicating the required control points in the system.

d. Symbols indicating the fixtures required by the plan.

3. Identify the components in the title block, to include the notes and specifications.

NOTE: The notes should be read prior to beginning construction. Notations explaining construction methods or specifying materials (not indicated by symbols) are called specifications. The notes may list allowable substitutions, special provisions for certain locations, and additional reference material.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.

Brief soldier:  Tell the soldier that he will be required to complete the performance measures according to the standards set forth in the task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Identified plumbing lines. Identified the-- | —— | —— |
| a. Visible lines. |  |  |
| b. Hidden lines. |  |  |
| c. Centerlines. |  |  |
| d. Dimension lines. |  |  |
| e. Extension lines. |  |  |
| f. Leader lines. |  |  |
| g. Phantom or datum lines. |  |  |
| h. Stitch lines. |  |  |
| i. Long and short break lines. |  |  |
| j. Cutting lines. |  |  |
| 2. Identified the four types of plumbing symbols. | —— | —— |
| 3. Identified the components in the title block, to include the notes and specifications. | —— | —— |

Evaluation Guidance:  Score the soldier a GO if all steps are passed (P).  Score the soldier a NO-GO if any steps are failed (F).  If the soldier fails any steps, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 3-34.471 (FM 5-420) |  |
| TM 5-704 |  |

Skill Level 2

Subject Area 14: Underground Pipeline

Install Pipeline (Underground)

052-248-2005

Conditions: As a plumber/pipe fitter in a field environment, given specifications; a prepared section of pipe; a pioneer tool set; belt-type slings and/or chokers; the appropriate pipe-laying equipment; backfill-moving equipment; paint scrapers; paint brushes; coal tar and/or asphalt enamel; a fiberglass mat; felt, heavy wrapping paper, and/or burlap; pressure gauges; a lined pit; leakage-recovery operations; line taps (for the gauges); drain valves; an air compressor; an air-hose coupling fitting; a prepared pipe trench; and Field Manual (FM) 5-482.  The company has received an operation order (OPORD) to install pipeline underground.

Standards: Properly install a underground pipeline according to the specifications shown in FM 5-482.

Performance Steps

1. Comply with the construction standards to install an underground pipeline.

a. Bury the pipe deep enough to provide at least a 12-foot cover of earth. The cover will provide protection against the weight of trucks, tanks and other heavy vehicles, and aircraft. The larger the diameter of the pipe, the deeper it should be buried.

NOTE: Bury an 8- or 12-inch pipe to a depth of 3 feet.

b. Provide a minimum clearance no less than 4 inches (12 inches for metallic structures). Lay the pipeline so that other structures will not be damaged during future construction due to settlement, breakage, or movement of the pipeline.

NOTE: Other buried structures such as electrical cables, sewage systems, drain tiles, poles, and anchors for poles.

c. Provide corrosion prevention.

(1) Coat the pipe with corrosion-resistant materials such as coal-tar enamel or petroleum products.

(2) Apply protective wrapping.

d. Provide cathodic protection.

NOTE: A buried pipeline contains all of the same elements present in a battery--two materials that have differing electrochemical potentials, connected electrically, and immersed in an electrolyte. The anode is the focus of corrosion.

2. Comply with construction procedures to install an underground pipeline.

a. Dig a trench.

(1) Use a small emplacement excavator (SEE) to dig the trench.

NOTE: Dig the trench by hand if a vehicle is not available.

(2) Ensure that the trench supports a smooth surface for the pipe.

(3) Ensure that the trench is deeper between the points selected for the sags and over the bends so that the pipeline is as straight as possible.

(4) Ensure that there are no hard objects such as rocks, tree roots, and clods.

b. Assemble the pipe. Place the pipe on cribbing alongside the trench.

c. Coat and wrap the pipe.

(1) Remove any dirt, paint blisters, and mill scale from the outside of the pipe before applying the protective coating.

(2) Apply the coating, such as coal-tar or asphalt enamel, with brushes. When using a two-man crew, use the following procedures:

( a) Pour the coating on top of the pipe, and spread it by drawing the pipe back and forth using a belt sling placed underneath.

( b) Wrap a reinforcing mat (fiberglass) around the pipe, and embed it in the coating.

( c) Apply a protective outer wrap of felt or heavy wrapping paper. As an expedient, use burlap or other coarse fabric.

NOTE: Upon reaching the cribbing, wait for the pipe to be lifted with belt slings (or a pipe layer on large-pipe sizes) before completing the coating process.

d. Lower the pipe into the trench after the protective coating has hardened. The sags placed in line to follow the contour of the trench must rest on the bottom. The pipe should be lowered by pipe layers with belt-type slings.

e. Fill the trench.

(1) Bury the line during the coolest part of the day, while the pipe is contracted.

(2) Backfill immediately after lowering the pipeline so that the pipe and its protective coating are not damaged.

NOTE: Use only loose soil, free from trash, debris, rocks, or clods as the first layer placed over the pipeline. If this type of soil is not available along the right-of-way, it should be hauled in from other locations.

(3) Cover the pipe with not less than 4 inches of loose soil, using care not to disturb the coating and wrapping.

( a) Take extra precautions to prevent damage to the pipe and coating in rocky areas.

( b) Place sandbag dams at intervals in the trench on steep slopes to prevent the uncompacted trench from becoming a sluice for rainwater runoff.

( c) Ensure that the backfill is dry and placed quickly in areas where there is considerable ground water. The pipeline, because of its positive buoyancy, could float and rise out of a trench with wet, sloppy backfill.

3. Test for leaky joints. Test for leaky joints either before or after lowering the pipeline into the ditch; however, test for leaks before performing backfill operations, as the leaks will be easier to locate.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.

Brief soldier:   Tell the soldier that he will be required to complete the performance measures according to the standards set forth in the task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Complied with the construction standards to install an underground pipeline. | —— | —— |
| 2. Complied with the construction procedures to install an underground pipeline. | —— | —— |
| 3. Tested for leaky joints. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 5-482 |  |

Bend Pipe (for Pipeline)

052-248-2006

Conditions: As a plumber/pipe fitter in a field environment, given tactical vehicles, a simple block and tackle, hydraulic or mechanical machines, wood cribbing, A-frame or chassis-mounted shoes, gin poles, an acetylene torch, heavy-duty screw jacks, and Field Manual (FM) 3-34.471.  The company has received an operation order (OPORD) to install underground pipeline.

Standards: Bend pipe using the proper equipment and according to FM 3-34.471.

Performance Steps

1. Bend pipe using the cold-bend method.

NOTE: When bending pipe using the cold-bend method, the pipe joint is pulled until it is stressed beyond the yield point of the material, thus causing a permanent set. Do not use this method on thin-walled military tubing, as the tubing sections will always buckle before you can attain a slight bend. Whenever possible, use hydraulic or mechanical machines to provide the simplest method for creating pipe bends.

a. Calculate the length of the cold bend using the following formula: L = R x O x 0.17 + T

NOTE: L = Length of bend R = Radius of bend (8 x nominal pipe diameter) O = Number of degrees in bend T = Total length of tangents on each end of the bend

b. Mark the pipe with soapstone where it is to be bent.

c. Place the pipe section under the center of the vehicle.

d. Place a block on the ground on both sides of the pipe.

e. Place blocks perpendicular to the pipe at the bending mark.

f. Attach chain or cable around the pipe section, and connect it to a winch cable.

g. Bend the pipe to the desired angle using the winch.

2. Bend pipe using the cold-bend method, two trees, and a truck with a winch (Figure 052-248-2006-1).

Figure 052-248-2006-1 Cold-Bend Method Using a Truck and Winch

a. Calculate the length of the cold bend using the formula shown in paragraph 1a.

b. Mark the pipe with a piece of chalk where it is to be bent.

c. Place the pipe section between the two trees, at winch height.

d. Place blocks under the pipe section on each side of the two trees to support it at the vehicle's winch height.

e. Attach a chain or cable around the pipe section, and connect it to the winch cable.

f. Bend the pipe section with a winch until it reaches the desired angle.

3. Bend pipe using the wrinkle-bend method (Figure 052-248-2006-2).

Figure 052-248-2006-2 Wrinkle Bending

NOTE: For wrinkle bends, use an acetylene torch to heat the pipe (not tubing) to produce an area of relative weakness. When done correctly, the bent portion of the pipe should have an outwardly projecting wrinkle. The wrinkle-bend method requires a skilled welder and a large amount of time and materials. Wrinkle bending has become less popular because of specialized, reliable, cold-bending machines.

a. Mount the pipe so that its entire circumference is accessible to the welder. Do this by laying the pipe on the ground and digging a hole around the area to be heated or by supporting it on cribbing or a field-fabricated metal frame.

b. Construct a fulcrum using a pipe section driven into the ground to perform horizontal bending. For vertical bending, use a field-fabricated shoe welded to a truck chassis. Use a section of larger diameter pipe, properly staked or weighted, as a fulcrum.

c. Use items such as heavy-duty, manual screw jacks; a block and tackle; and power winches for an easily controllable bending force.

d. Construct a gin pole or an A-frame for supporting pipe on vertical bends or cribbing for horizontal bends.

e. Heat a narrow band of pipe (about two-thirds to three-quarters around the pipe's circumference) with a torch to a bright cherry-red color close to the desired bend.

f. Bend the pipe inward on the heated portion to form a wrinkle in the pipe wall. Limit the bend to no more than 5 degrees.

g. Space each successive bend one pipe diameter apart.

NOTE: To determine the length of pipe required for a wrinkle bend, use the following equation: (Degree of bend) L = (------------------------) -1 x nominal pipe diameter + T 5 degrees L = length of pipe required, in inches. T = total length of tangents on each end of the bend, in inches. EXAMPLE: Find the length of an 8-inch pipe required for making a 90-degree bend having 1-foot tangents on each end of the bend. T = 24 inches (2 x 12) L = 160 inches ((90/5 - 1) x 8 + 24 = 17 x 8 + 24 = 136 + 24)

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.

Brief soldier:  Tell the soldier to prepare and bend pipe according to FM 3-34.471.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Bent pipe using the cold-bend method. | —— | —— |
| 2. Bent pipe using the cold-bend method, two trees, and a truck with a winch. | —— | —— |
| 3. Bent pipe using the wrinkle-bend method. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 3-34.471 (FM 5-420) |  |
| FM 5-482 |  |

Subject Area 15: Emplace Hose Line

Emplace a Flexible Hose Line

052-248-2003

Conditions: As a plumber/pipe fitter in a field environment, given a flexible hose, flanking boxes, a 350- gallons-per-minute (GPM) pump-pressure regulator, a flow-control kit, a roadway crossing guard, a hose-line suspension kit, a hose-line displacement and evacuation kit, a sling assembly, a hose-line packing kit, a repair kit, Field Manual (FM) 10-67-1, and Technical Manual (TM) 5-482.  The company has received an operation order (OPORD) to set up a flexible hose line.

Standards: Emplace a flexible hose line according to FM 10-67-1 and FM 5-482.  Ensure that all hose lines are unpacked and placed properly.

Performance Steps

1. Stack the flanking boxes on top of each other, and load them onto the trucks using a lifting device.

a. Use a spacer bar with a sling.

b. Lift no more than three boxes at a time.

c. Install the retainer pins to prevent shifting.

d. Secure the stack of boxes on the truck to prevent slipping or damage during movement.

2. Distribute the hose.

a. Remove the plywood ends from the boxes, and replace them with fabric retainers.

b. Connect the hose coupling on the top box to the hose coupling on the next box down. Continue until all of the hoses in the boxes are interconnected.

c. Pull out the lead end of the hose from the top flanking box, and hold it on the ground while the truck moves forward.

d. Pull at least 100 feet of hose from the truck.

NOTE: After 100 feet of hose have been pulled from the truck, the weight on the ground will stop the truck from pulling the hose forward.

e. Lay the hose at a rate not to exceed 20 miles per hour (mph).

f. Walk along the line, straighten out any kinks or binds, and remove small obstructions in the road which might damage the hose.

3. Cross streams.

a. Use an existing bridge. Suspend the hose on improvised brackets on the outside of the bridge's railing.

b. Lay the hose directly in a narrow streambed if a bridge is not present. Ensure that the area is not apt to flood.

c. Use a hose-line suspension kit to cross a wide stream.

4. Cross roads and railbeds.

a. Run the hose under existing bridges or through culverts, when possible.

NOTE 1: Pull the hose through the culvert with a rope, or push it through with a piece of lumber or a small-diameter pipe. NOTE 2: If there is no bridge, post a roadway crossing guard to protect the hose.

b. Cross a railbed by installing a piece of heavy wall pipe in a shallow ditch under the rails or by suspending the hose over the railbed at a suitable height.

NOTE: Due to the fire hazard caused by trains, replace the hose line on the railbeds as soon as possible.

Evaluation Preparation:  Setup: Provide the soldier with the items listed in the conditions statement.

Brief soldier: Tell the soldier that he will be required to complete the performance measures according to the standards set forth in the task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Stacked the flanking boxes on top of each other and loaded them onto the trucks using a lifting device. | —— | —— |
| 2. Distributed the hose. | —— | —— |
| 3. Crossed a stream. | —— | —— |
| 4. Crossed a road and railbed. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P).  Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 10-67-1 | FM 5-482 |

Subject Area 16: Collapsible Tank

Emplace a Collapsible Tank

052-248-2004

Conditions: As a plumber/pipe fitter in a field environment, given a collapsible tank, a pioneer tool set, a grader, a dozer, a front loader, safety helmets, work gloves, Field Manual (FM) 10-67-1, and FM 5-482.  The company has received an operation order (OPORD) to provide a water-storage facility.

Standards: Emplace a collapsible tank according to FM 10-67-1 and FM 5-482, without error, and in compliance with applicable fire and safety regulations.

Performance Steps

1. Perform earthwork operations on a selected tank site.

a. Clear the site, and grade a 1-percent slope toward the tank drain assembly. Remove any sharp objects that could puncture the fabric tank.

b. Construct berms around the existing single or paired tanks from the surrounding area.

c. Place a berm basin drain at the lowest end of the tank pad. The drain should be a pipe (with a minimum 2-inch diameter) with a gate valve. Place this pipe under the berm during construction.

d. Add 1 foot of height to the berm as a safety factor. The berm should extend above the top of the tanks and be at least 4 feet wide at the crown. The walkway between a tank and a berm should only be wide enough to allow for maintenance.

NOTE: The type of earthwork construction depends on the site conditions and the available materials. There are three general forms of construction. A berm entirely above the maximum amount of earth must be hauled to the site, increasing the time and the expense. When possible, minimize the time needed for moving soil by equating the volume of cut with the volume of fill.

2. Prepare the selected site.

NOTE: The site selection, preparation, and earthwork are based on the plot plan prepared by the terminal-operating unit. Remain flexible when using the plot plan and preparing the site.

a. Base the site preparation work on the grading plan that minimizes cut and fill operations, even if the plan is roughly prepared in the field.

b. Base the plan on actual on-site elevations and surveys, obstructions, and knowledge of the types of soils present.

(1) Cut an access road, if one does not already exist.

(2) Stake out the area that must be cleared, and mark the areas where the major components will be located. Cut, grub out, doze, or blast out any major obstructions such as trees, bushes, large rocks and boulders, and buildings.

(3) Clear and grade the areas where the fuel tanks will be located, the transfer systems and the unloading facilities will be installed, and the roadways will be built.

NOTE: You do not have to clear and grade the entire area required for a tactical petroleum terminal (TPT). Ensure that the site has good drainage.

(4) Cut and fill the area. When possible, plan and execute cuts and fills so that the volume of cut soil roughly equals the amount of fill needed for low spots, tank berms, and roadways.

(5) Construct the roadways.

3. Perform emplacement procedures.

NOTE: The fabric on the collapsible tank is made of single-ply, elastomeric-coated nylon. It has four carrying handles, a filler/discharge assembly, and a fitting assembly. The tank is issued with a hose and gate-valve assembly and emergency repair items. When filled, the tank forms a 12-foot 6-inch square, 4 feet high.

a. Assemble the filler/discharge assembly.

(1) Assemble an access-door fitting.

(2) Attach a 4-inch suction stub.

(3) Attach an oval closure plate.

(4) Attach a 4-inch flanged adapter coupled to a 4-inch elbow fitting and a 4-inch dust cap.

b. Assemble a vent fitting assembly. Assemble--

NOTE: The vent fitting assembly is located near the center of the top of the tank near the filler/discharge assembly.

(1) A 2-inch vent flange.

(2) A quick disconnect.

(3) A male-coupling half connected to a 2-inch, quick-disconnect, female-coupling half.

(4) A 2-inch dust cap.

(5) A 2-inch vent pipe.

(6) A flame arrester.

(7) A pressure-relief cap with a gasket.

NOTE: The pressure-relief cap on the vent assembly opens automatically when the vapor pressure inside the tank reaches 10 pounds per square inch (psi).

c. Assemble the hose and gate-valve assembly. Assemble--

NOTE: The 3,000-gallon collapsible tank comes with a hose and valve assembly to help transfer the product. This tank is issued as a separate item and not as part of a system.

(1) A 3- to 4-inch reducer.

(2) A 3-inch, wire-reinforced hose assembly (4 feet long).

(3) A 3-inch gate valve.

NOTE: The 4-inch female end of the reducer is connected to the 4-inch elbow fitting of the filler/discharge assembly on the tank. The 3-inch male end of the reducer is connected to the 3-inch hose assembly, which is coupled to the 3-inch gate valve.

Evaluation Preparation:  Setup:  Provide the soldier with the items listed in the conditions statement.

Brief soldier :  Tell the soldier that he will be required to complete the performance measures according to the standards set forth in the task.

| Performance Measures | GO | NO GO |
| --- | --- | --- |
| 1. Performed earthwork operations on the selected tank site. | —— | —— |
| 2. Prepared the selected site. | —— | —— |
| 3. Performed emplacement procedures. | —— | —— |

Evaluation Guidance:  Score the soldier GO if all steps are passed (P). Score the soldier NO-GO if any step is failed (F).  If the soldier fails any step, show him how to do it correctly.

| References |
| --- |
| Required | Related |
| FM 10-67-1 |  |
| FM 5-482 |  |

90APPENDIX A - TRAINING AMMUNITION

A-1.  This appendix lists the mines and explosives, live and inert, required to support the training of critical tasks for SLs of MOS 51K.

A-2.  Training ammunition.  The two types of training ammunition are live and inert.

a.	Types of live ammunition include a (an)--

(1)	One-quarter-pound block of trinitrotoluene (TNT) demolition charge.

(2)	M11 branch line.

(3)	M12 transmission.

(4)	M9 holders used for blasting.

(5)	M60 fuse igniter.

(6)	M142 multipurpose firing device.

(7)	M11 nonelectric blasting cap.

(8)	Detonating cord.

(9)	M14 blasting caps.

(10)	M1 activator.

(11)	Composition C4 (C4) explosives.

(12)	Dynamite explosives.

b.	Types of inert ammunition include an--

(1)	M81 igniter, time-blasting fuze.

(2)	M1A4 priming adapter.

(3)	M14 time-delay fuse.

(4)	M15 antitank (AT) mine.

(5)	M19 AT mine.

(6)   M21 AT mine.

91APPENDIX B - DEPARTMENT OF THE ARMY (DA) FORM 5164-R (HANDS-ON EVALUATION)

B-1.  This appendix provides a copy of DA Form 5164-R.  Locally reproduce DA Form 5164-R on 8 1/2- by 11-inch paper.

B-2.  The use of this form is optional, but highly encouraged.  This evaluation allows you to maintain and track the soldier's proficiency at the performance level.

B-3.  Use the following instructions to complete DA Form 5164-R.  Enter the title and number of the task to be evaluated at the top of the form.

	In column "a" enter the number of each performance step from the evaluation guide.

	In column "b" enter each performance step title from the evaluation guide that corresponds to the number in column "a."  Abbreviate information, if necessary.

	If more than one soldier will be evaluated on the specific task or the same soldier will be evaluated more than once, you may locally reproduce the partially completed DA Form 5164-R.

	Before evaluating a soldier, enter the date, the evaluator's name, and the soldier's name and unit.

	For each performance step evaluated, enter a check in column "c" (PASS) or column "d" (FAIL), as appropriate.

	Check the status block GO or NO-GO.

92APPENDIX C - DEPARTMENT OF THE ARMY (DA) FORM 5165-R (FIELD EXPEDIENT SQUAD BOOK)

C-1.  This appendix provides a copy of an overprinted DA Form 5165-R for the tasks in this STP.

C-2.  Trainers should use the following instructions when completing DA Form 5165-R:

	Use the required DA Forms 5165-R (preprinted) provided in this appendix.  Blank reproducible forms may be obtained in AR 350-41.  All forms may be reproduced locally on 8 1/2- by 11-inch paper.

	Make all entries in pencil.

	Enter the task number and a short title in the appropriate column, or use the preprinted form provided.

	Record the date in the GO block if the soldier demonstrates task proficiency to the soldier’s manual standards.  Keep this form current by always recording the most recent date on which the soldier demonstrated task proficiency.

	Record the date in the NO-GO block if the soldier failed to demonstrate task proficiency to the soldier’s manual standards.  Soldiers who fail to perform the task should be retrained and evaluated until they can do the task.  Once the soldier performs the task correctly, enter the date in the GO block, and erase the previous entry from the NO-GO block.

	Read down each column (GO/NO-GO) to determine the training status of that individual.  This will give the trainer a quick indication of tasks on which a soldier needs training to be evaluated.

	Read across the rows for each task to determine the training status of all the soldiers.  The trainer can readily see on which tasks training should be focused.

	Add the names of newly assigned soldiers to one of the blank columns.

	Line through the training status column of any soldier who departs from the unit.

NOTE TO THE TRAINING MANAGER:  The training status of groups can be maintained (such as team, squad, or platoon) in a key critical MOS at any level by entering the level (such as 1st platoon, 2nd platoon, or 3rd platoon) in the column headings.  Simply have the trainers report the percentage of their soldiers who have (GO blocks) and have not (NO-GO blocks) demonstrated proficiency on each task, and record this information for each level.

| FIELD EXPEDIENT SQUAD BOOK For use of this form, see AR 350-57, the proponent agency is ODCSOPS | SHEET OF |
| --- | --- |
| USER APPLICATION |  |  |  |  | SOLDIER'S NAME |  |  |  |  |
|  | STATUS |
| TASK NUMBER AND SHORT TITLE | GO | NO-GO | GO | NO-GO | GO | NO-GO | GO | NO-GO | GO | NO-GO | GO | NO-GO | GO | NO-GO | GO | NO-GO | GO | NO-GO |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

DA FORM 5165-R, SEP 85

EDITION OF DEC 82 IS OBSOLETE

93APPENDIX D - CONVERSION FACTORS (UNITED STATES [US] AND METRIC)

Table D-1.  Conversion Chart

| US Units | Multiplied By | Equals Metric Units |
| --- | --- | --- |
| Length |
| Feet | 0.30480 | Meters |
| Inches | 2.54000 | Centimeters |
| Inches | 0.02540 | Meters |
| Inches | 25.40010 | Millimeters |
| Area |
| Square inches | 6.45160 | Square centimeters |
| Square feet | 0.09290 | Square meters |
| Volume |
| Cubic inches | 16.38720 | Cubic centimeters |
| Cubic feet | 0.02830 | Cubic meters |
| Metric Units | Multiplied By | Equals US Units |
| Length |
| Centimeters | 0.39370 | Inches |
| Meters per second | 2.23700 | Miles per hour |
| Millimeters | 0.03937 | Inches |
| Meters | 3.28080 | Feet |
| Meters | 39.37000 | Inches |
| Area |
| Square centimeters | 0.15500 | Square inches |
| Square meters | 10.76400 | Square feet |
| Volume |
| Cubic centimeters | 0.06100 | Cubic inches |
| Cubic meters | 35.31440 | Cubic feet |

88GLOSSARY

Section I

Abbreviations

1SG	first sergeant

1ST	first

2ND	second

A	Army; armed

ABS	acrylonitrile butadiene styrene

AC	active component

ACCP	Army Correspondence Course Program

AHD	antihandling device

AIT	advanced individual training

AN	annually

AN/PSS-12	hand-held, portable mine-detecting set

ANCOC	Advanced Noncommissioned Officers Course

AR	Army regulation; armor

ARTEP	Army Training and Evaluation Program

AT	antiterrorism; antitank

ATTN	attention

BA	biannually

BNCOC	Basic Noncommissioned Officers Course

BW	biweekly

C4	composition C4

CM	centimeter(s)

CMF	career management field

CPL	corporal

CPVC	chlorinated polyvinyl chloride

Critical task	See "task," "critical collective task," and "critical individual task."

CSM	command sergeant major

DA.	Department of the Army

DC	Dental Corps; District of Columbia; direct current

Dec	December

DWV	drain waste vent

E1	private 1

E2	private 2

E3	private first class

E4	specialist

E5	sergeant; Table E5

E6	staff sergeant

E7	sergeant first class

E8	master sergeant; first sergeant

E9	sergeant major; command sergeant major

EA	each; engagement area

EM	engineer manual; earthmoving; enlisted member

EMO	electronic media only

EPMS	Enlisted Personnel Management System

F	frequency; fail; Fahrenheit; full

FM	field manual; frequency modulated/modulation

FSC	Finance Support Command; federal supply catalog

GAA	general agency agreement; grease (automotive and artillery)

GED	general education development

gpm	gallons per minute

GTA	graphic training aid

H6	composition H6

IN	Infantry; inch(es)

intel	intelligence

ITEP	Individual Training Evaluation Program

LB	pound

ldr	leader

LRA	local reproduction authorized

MDI	modernized demolition initiator

METL	mission essential task list

MO	Missouri; monthly

MOS	military occupational specialty

MOSC	military occupational specialty code

MPFD	multipurpose firing device

MPH	miles per hour

MSG	message; master sergeant

MTP	mission training plan; MOS training plan

NCO	noncommissioned officer

NCOES	Noncommissioned Officer Education System

NCOIC	noncommissioned officer in charge

ODCSOPS	Office of the Deputy Chief of Staff for Operations and Plans

OIC	officer in charge

OPORD	operation order

ops	operational procedures; operations

P	pass; barometric pressure; mean radius of curvature

PB	property book; polybutylene; particle beam

PC	personal computer; politically correct

PE	polyethylene; practical exercise

PFC	private first class

PLDC	Primary Leadership Development Course

PLT	platoon

PSI	pounds per square inch

PVC	point of vertical curvature; polyvinyl chloride

PVT	private; point of vertical tangency

QT	quarterly

RC	Reserve Component

RECON	reconnaissance

S	secret; safe; grid distance; geodetic distance, second, slope distance

SA	semiannually; situational awareness

sec	second; section

SEE	small emplacement excavator

Sep	September

SFC	special forces command

SFC.	sergeant first class

SGM	sergeant major

SGT	sergeant

SL	skill level

SM	soldier's manual

SMCT	soldier's manual of common tasks

SPC	specialist; standard printing color

sqd	squad

SSG	staff sergeant

STP	soldier's training publication

SW	service weight

TG	trainer's guide

TM	technical manual

TNT	trinitrotoluene

TPT	tactical petroleum terminal

US	United States

USASMA	United States Army Sergeants Major Academy

WK	weekly

X	all weather; none; by; Table 10

XH	extra-heavy weight

Section II

Terms

3RD

third

Army Training and Evaluation Program (ARTEP)

The cornerstone of unit training.  It is the umbrella program to be used by the trainer and training manager in the training evaluation of units. The ARTEP is a complete program enabling commanders to evaluate and develop collective training based on unit weaknesses, ten train the unit to overcome those weaknesses and reevaluate.  Success on the battlefield depends on the coordinated performance of collective and individual skills that are taught through the ARTEP MTP.

det

detonation; detachment

Integration training

The completion of initial entry training in SL 1 tasks for a soldier who is newly arrived in a unit. This training is specifically limited to tasks associated with the mission, organization, and equipment of the soldier's unit.

pace

A full 30-inch step as used when marching (1.3 paces = 1 meter).

Unit training

Training (individual, collective, and joint or combined) conducted in a unit.

99REFERENCES

Required Publications

Required publications are sources that users must read in order to understand or to comply with this publication.

Department of Army Forms

DA FORM 5164-R	Hands-On Evaluation (LRA).  1 September 1985

DA FORM 5165-R	Field Expedient Squad Book (LRA).  1 September 1985

Field Manuals

FM 10-67-1	Concepts and Equipment of Petroleum Operations  2 April 1998

FM 10-69	Petroleum Supply Point Equipment and Operations.  22 October 1986

FM 25-100	Training the Force.  15 November 1988

FM 25-101	Battle Focused Training.  30 September 1990

FM 25-4	How to Conduct Training Exercises.  10 September 1984

FM 25-5	Training for Mobilization and War.  25 January 1985

FM 3-34.471 (FM 5-420)	Plumbing, Pipe Fitting, and Sewerage.  To be published within six months.

FM 5-482	Military Petroleum Pipeline Systems.  26 August 1994

Soldier Training Publications

STP 21-1-SMCT	Soldier's Manual of Common Tasks Skill Level 1.  1 October 1994

STP 21-24-SMCT	Soldier's Manual of Common Tasks (SMCT) Skill Levels 2-4.  1 October 1992

Technical Manuals

TM 5-704	Construction Print Reading in the Field AFM 85-27.  2 January 1969

TM 9-243	Use and Care of Hand Tools and Measuring Tools (M6290-AJ-MAN-010; to 32-1-101; TM-10209-10/1).  12 December 1983

Related Publications

Related publications are sources of additional information.  They are not required in order to understand this publication.

Field Manuals

FM 20-32	Mine/Countermine Operations.  28 May 1998

FM 3-34.471 (FM 5-420)	Plumbing, Pipe Fitting, and Sewerage.  To be published within six months.

FM 5-102	Countermobility.  14 March 1985

FM 5-125	Rigging Techniques, Procedures, and Applications.  3 October 1995

FM 5-250	Explosives and Demolitions.  30 July 1998

FM 5-34	Engineer Field Data.  30 August 1999

FM 5-482	Military Petroleum Pipeline Systems.  26 August 1994

Graphic Training Aids

GTA 5-10-36	Mine Card, Part 1.  28 May 1997

GTA 5-10-37	Mine Card, Part 2.  28 May 1997

Technical Manuals

TM 43-0001-36	Army Ammunition Data Sheets for Land Mines (FSC 1345).  1 September 1994

TM 5-6665-298-10	Operator's Manual for AN/PSS-12 Mine Detecting Set.  28 February 1995

TM 9-1375-213-12	Operator's and Unit Maintenance Manual (Including Repair Parts and Special Tools List):  Demolition Materials.  30 March 1973

Army Regulations

AR 350-41	Training in Units.  19 March 1993

AR 350-57	Self-Development Test.  17 June 1994

AR 614-200	Enlisted Assignments and Utilization Management.  31 October 1997

Department of Army Pamphlets

DA PAM 350-59	Army Correspondence Course Program Catalog.  1 October 2000

STP 5-51K12-SM-TG

15 March 2001

By Order of the Secretary of the Army:

ERIC K. SHINSEKI

General, United States Army

Chief of Staff

Official:

JOEL B. HUDSON

Administrative Assistant to the

Secretary of the Army

0108810

DISTRIBUTION:

Active Army, Army National Guard, and US Army Reserve:  Not to be distributed.  EMO only.

# Footnotes

DISTRIBUTION RESTRICTION: Approved for public release; distribution is unlimited.

DESTRUCTION NOTICE: Destroy by any method that will prevent disclosure of contents or reconstruction of the document.

*This publication supersedes STP 5-51K12-SM-TG, 29 September 1987.