## Gral Bid PDV II
QUOTED BY: Derwick Associates S.A
PHONE: (507) 667.7612
FAX: (507) 216.8002
EMAIL: ptrebbau@derwickassociates.com
YOUR REQUEST: 6000337393
BID PROCESS: UD64005412
OUR QUOTATION NUMBER: 409-2981
DATE: 2/10/2010
Item | Description | Quantity | Unit | Country of Origin | OEM Unit Cost | PES Unit Price (USD) | PES Total Price (USD) | PES Profit (US$) | PES Profit (%)
1 | Rolls Royce Trent60. Capacity 58MW ISO. Dual Fuel. Mounting Type: Fixed. Generator Synchronous 3P, air Cooled, 13.8 KV 60Hz. SEE ADDENDUM #11 | 3 | PC | USA-Canada-Germany-China | 22200000 | 26000000 | 78000000 | 11400000 | 17.1171
2 | Pratt & Whitney 60. Capacity 60 MW ISO. Dual Fuel. Mounting Type: Fixed. Generator Synchronous 3P, air Cooled, 13.8 KV 60Hz. SEE ADDENDUM #15 | 3 | PC | USA | 22400000 | 26432000 | 79296000 | 12096000 | 18
3 | 3 x Rolls Royce Trent60 Training for operators and maintainers. SEE ADDENDUM #12 | 1 | PC | USA | 32851 | 70000 | 70000 | 37149 | 113.0833
4 | Setp up transformer 75 MVA. HV 115KV (Y). LV 13.8KV (D). SEE ADDENDUM #13 | 3 | PC | CHINA | 800000 | 1394191 | 4182573 | 1782573 | 74.2739
5 | P&W SW 60Training for operators and maintainers. SEE ADDENDUM #16 | 1 | PC | USA | 32851 | 80250 | 80250 | 47399 | 144.2848
6 | Setp up transformer 75MVA. HV 115KV (Y). LV 13.8KV (D). SEE ADDENDUM #17 | 3 | PC | CHINA | 800000 | 1394191 | 4182573 | 1782573 | 74.2739
7 | P&W SW 60 Spare parts for one Year of operation. SEE ADDENDUM #18 | 3 | PC | USA | 1012350 | 1265438 | 1265438 | 253088 | 25
|  | Total Amount (USD) |  |  | 47278052 |  | 167076834 | 27398782 | 66.5761
MILESTONE TABLE:
DOWN PAYMENT OF 20% MARCH 29, 2010 USD $41,389,200. AGAINST ORDER ACKNOWLEDGEMENT, INVOICE AND STANDBY LETTER OF CREDIT ACCEPTED BY PDVSA SERVICES BV
1.-PRATT & WHITNEY RELEASE OF DRAWING 7.67% =USD $ 15,879,520. SPD APRIL 1. AFTER INSPECTION RELEASE BY PSBV INSPECTION AGENCY
2.- ROLLS ROYCE RELEASE OF DRAWING 7.55% = USD $ 15,619,040. SPD APRIL 15. AFTER INSPECTION RELEASE BY PSBV INSPECTION AGENCY
3.- FAS DELIVER OF 6 POWER TRANSFORMERS. AFTER INSPECTION RELEASE BY PSBV INSPECTION AGENCY. 3.16% USD $6,529,757 SPD: MAY 30,2010
4.- FAS DELIVER OF 1 TURBO GENERATOR 60MW ISO, PW AND SPARE PARTS FOR 3 TURBO GENERATORS PW. AFTER INSPECTION RELEASE BY PSBV INSPECTION AGENCY. 10.69% USD $22,122,142. SPD: NOV 30,2010.
5.- FAS DELIVER OF 1 TURBO GENERATOR 60MW ISO. AFTER INSPECTION RELEASE BY PSBV INSPECTION AGENCY PW. 10.17% USD $21,053,283 SPD: DECEMBER 25,2010