Cadafe

Av. Licenciado Sanz,

Urbanización El marqués,

Edificio Centro Eléctrico Nacional

Caracas, Venezuela

Atención,  Alirio Vílchez

Estimado Alirio:

Las maquinas salieron de  la fábrica de General  Electric en el año 2002 y se instalaron en la planta de Southhaven es mismo ano 2002. Los dueños de la planta nunca renovaron el contrato del combustible (gas) por lo tanto estas maquinas se instalaron y no pudieron correr más de las horas requeridas por el fabricante para pasar las pruebas de poder, eficiencia y requerimientos atmosféricos requeridos por los dueños y por el gobierno del estado de Mississippi y por el fabricante para poder cobrar su último pago por  lo que estas maquinas  GE frames 7EA solo tiene las siguientes horas de operación:

Serial: 297631, 297632, 297633, 297634

Turbina                                                 GT-1                      GT-2                      GT-3                      GT-4

Horas de operación                           210                         138                         274                         287

Gross Out (MW)                               84,443                    83,541                   83,576                   83,559

Heat rate (btu/kWh)                      10,438                   10,426                   10,449                   10,468

Gas Turbine Package #1 Serial No. 297631     					Cantidad  Notas

Accessory/Starter Skid                                                                                             1

Turbine Skid                                                                                                               1

Generator              									   1

Gas Turbine Package #2 Serial No. 297632

Accessory/Starter Skid            							   1

Turbine Skid               								   1

Generator               									   1

Gas Turbine Package #3 Serial No. 297633

Accessory/Starter Skid             							  1

Turbine Skid      								              1

Generator    										  1

Gas Turbine Package #3 Serial No. 297634

Accessory/Starter Skid             							  1

Turbine Skid      								              1

Generator    										  1

Balance de Planta

Generator Air Filter             								 4

Generator Auxiliary Compartment (GAC)        					 4

Turbine Inlet Air Filter            							 4

Inlet Fogging System            							 4

Air Processing Unit          				   			             4

Lube Oil Demister                        							 4

Fuel Gas Module              								 4

Packaged Electrical & Electronic Control Center (PEECC)        			 4

• Generator Control System

• 480V Motor Controls

• 125V DC Battery System

• Mark VI Turbine Control System

Exhaust Stack             								 4

Exhaust Frame Blowers           							 8

Fuel Gas Electric Heater                      						 4

Fuel Gas Scrubber                       							 4

Cooling Water Module                      						 4

CO2 Fire Protection Unit           					 2   1 per 2 CTGs

Power Distribution Center (PDC)           				 2   1 per 2 CTGs

Auxiliary Transformers            							 4

• 13.8kV to 4160V           						 2   1 per 2 CTGs

• 13.8kV to 480V           						 2   1 per 2 CTGs

Generator Step Up Transformer          						 2

Switchyard Equipment           					 2   1 per 2 CTGs

Fuel Gas Separator            						 1   1 per 4 CTGs

Water Wash System            						 1   1 per 4 CTGs