Appendix A

EQUIPMENT LIST

Dresser Model _ LM2500PE

Gas Turbine Generator Package

- Package Data

  - Dresser

- Engine Data

  - LM2500PE Engine

  - Fuel System: Dual Fuel

  - Control System: Updated by PES

- Generator Data

  - Manufacturer: Holec

  - Model No: DTG 177 ZM-02

  - Serial No: 1-5502-1/81

  - Output: 24,000 kW

  - Voltage: 30,000 kVA

  - Power Factor: 0.8

- Additional Scope Included with Package

  - Modular Control House Containing

    - Main Generator Circuit Breaker

    - Gas Turbine Control Panel

    - Gas Turbine Motor Control Center

    - Control Batteries & Chargers

    - Air Conditioning

  - Hydraulic Start Skid

  - Exhaust Stack

  - Station Service Auxiliary Transformer 11Kv/380V

  - Liquid Fuel System

    - Low Pressure Filters

    - Liquid Fuel Supply Pumps

    - Liquid Fuel High Pressure Pump

    - Liquid Fuel High Pressure Air Filter

  - Gas Fuel System

    - Gas Fuel Separator & Regulator Skid

    - Gas Fuel Filter