Section 4.0	Design Basis and Interconnect Points

4.1	Design Basis

| Design Conditions |  |
| --- | --- |
| Site Elevation | TBD |
| Air Temperature, High | TBD |
| Air Temperature, Low | TBD |
| Design Temperature | TBD |
| Relative Humidity | TBD |
| Wind Speed | TBD |
| Gas Turbine Power | TBD |
| GTG Fuel Consumption Rate | 42,000 MCFD Natural Gas |
| GTG Liquid Fuel Consumption Rate | 260 gpm |
| High Voltage Interconnect | 230 KV |
| Demin Water Storage | TBD |
| Instrument Air System | TBD |
| Waste Oil Storage | TBD |
| Waste Water Storage | TBD |
| Raw Water Storage | TBD |
| Treated Fuel Storage | TBD |

  - Interconnect Points

| Natural Gas at min. 450 psig | Owner to provide interconnection point outside of the Plant Battery Limits. |
| --- | --- |
| Treated Liquid Fuel | Owner to provide pipeline and measurement at Plant Battery limits |
| Plant Waste Water | Plant Battery Limits. |
| Plant Waste Oil | Plant Waste Oil Tank. |
| 230 KV | Connection to Utility via dead end structure inside Substation. |
| Telephone | Plant Battery Limits. |
| Raw Water Supply | Plant Battery Limits. |
| Sanitary Sewer | Existing Plant Septic System at boundary |
| Raw/Firewater Supply | Plant Battery Limits by Owner |