6.0	Plant and Equipment Warranties

  - Equipment Warranties

Contractor will obtain from all new equipment vendors their warranty on the material and equipment provided.  Derwick warranties will be for a term of 12 months following the commercial operation date.  The warranty for each component will include replacement of the item as well as the Contract labor cost to replace and install for those items not considered a normal maintenance replacement.

This vendor warranty information will be assembled and packaged into a Warranty Manual.  The information will be indexed and cross referenced by vendor, component description, model and/or SN, and supply contact (telephone, email and address).  A Warranty Manual will be provided to the Owners for use by the operator.

  - Plant Warranty

As part of this warranty, Contractor agrees to provide for a period of six months following the commercial operation of the facility, a person responsible for administrating the plant and equipment warranties.  This person will be an employee of Derwick.  He will be available, on call, to manage the warranty items.