## CI Consum 7FA
List Total:
43999.9995
GT Combustion Inspection Consumables
LINE |  |  | REC | UNIT | ORDER | TOTAL
ITEM | PART NAME | PART DESCRIPTION | QTY | PRICE | QUANTITY | PRICE
1 | RETAINER | CHAMBER ARR, CROSSFIRE TUBE,RETNR | 28 | 179.01 | 28 | 5012.28
2 | BOLT | CHAMBER ARR, FLOW SLEEVE, BOLT | 56 | 2.1665 | 56 | 121.3229
3 | GASKET | CHAMBER ARR, SPARK PLUG, GASKET | 3 | 5.8752 | 3 | 17.6256
4 | GASKET | CHAMBER ARR, FLAME DETECTOR, GASKET | 4 | 2.8458 | 4 | 11.3832
5 | STOP | CHAMBER ARR, FLOW SLEEVE, STOP/SHIM | 42 | 57.834 | 42 | 2429.028
6 | BOLT | CHAMBER ARR, FLAME DTCTR, MNTNG BLT | 4 | 43.9814 | 4 | 175.9255
7 | SCREW | CHAMBER ARR, FLOW SLEEVE, MNTNG SCR | 12 | 2.1665 | 12 | 28
8 | SCREW | CHAMBER ARR, FLOW SLEEVE, MNTNG SCR | 12 | 2.1665 | 12 | 28
9 | RING PKG | CHAMBER ARR, XFIRE ASSY,PKG RNG | 56 | 22.3074 | 56 | 1268
10 | BOLT | CHAMBER ARR,FUEL NOZZ,MTNG BLT,SHRT | 1 | 16.6525 | 1 | 16.2
11 | BOLT | CHAMBER ARR, COMB CASE AFT,BOLT | 70 | 8.6108 | 70 | 610
12 | SCREW | CHAMBER ARR, SPRK PLG CVR MTNG,SCRW | 2 | 20.1501 | 2 | 40.3002
13 | RING-SEAL | CHAMBER ARR, TRNS PC,RING-SEAL | 14 | 524.1781 | 14 | 7358
14 | BOLT | CHAMBER ARR, XFIRE TUBE RTNR,BOLT | 34 | 9.4554 | 34 | 321.4836
15 | WASHER | CHAMBER ARR, SPARK PLUG,WASHER | 8 | 0.8721 | 8 | 6.9768
16 | WASHER | CHAMBER ARR, FLAME DET MTG, WASHER | 20 | 6.3617 | 20 | 127.2348
17 | SUPPORT | TRNS PC ARR,FWD MNT SPPRT,BULL HORN | 14 | 581.9569 | 14 | 8147.3969
18 | BOLT | TRNS PC, FWD MNT SPRT BLT (HRN/BLK) | 28 | 22.7113 | 28 | 645.92
19 | PLATE-LOCK | TRNS PC ARR, FWD MNT SPPRT LCKPLT | 14 | 6.6647 | 14 | 93.3055
20 | BOLT | TRNS PC, FWD MNT SPRT BLT (BLK/CSG) | 28 | 105.2579 | 28 | 2961.22
21 | SEAL | TRNS PC ARR, SEAL,SIDE | 14 | 164.322 | 14 | 2300.508
22 | PLATE-LOCK | TRNS PC ARR, FWD MNT SPRT LKPLT | 14 | 5.0306 | 14 | 70.429
23 | BOLT | CASE ARR, COMB-OTR, BOLT, AFT MOUNT | 93 | 8.6108 | 93 | 799.61
24 | GASKET | CASE ARR, COMB-OTR, GASKET-AFT | 14 | 32.0107 | 14 | 448.1492
25 | INSERT | CSE, CMB-OTR, INSERT FWD CSNG FLNG | 105 | 3.8831 | 105 | 407.7297
26 | PIN | CSE, CMB-OTR, PIN, COMB CSG\O WRAP | 7 | 8.4364 | 7 | 59.0549
27 | INSERT | CSE, CMB-OTR, INSERT XFIRE TUBE FLG | 42 | 31.4874 | 42 | 1322.4708
28 | GASKET | PP AR, AIR EXTR,GSKT,AIR EXTR VLV | 16 | 4.2228 | 16 | 67.5648
29 | GASKET | PP AR, AIR EXTR, MANIFOLD | 5 | 15.0919 | 5 | 75.4596
30 | GASKET | PP AR, AIR EXTR, NZL/A.A.CONN | 14 | 2.754 | 14 | 38.556
31 | BOLT | PP AR, AIR EXTR, BOLT, MNFLD FLNG | 10 | 19.9114 | 10 | 199.1142
32 | BOLT | PP AR, AIR EXTR, BOLT, PIGTAIL | 45 | 2.6071 | 45 | 117.3204
33 | GASKET | PP, AIR EXTR, GASKET, SPIRAL-WOUND | 42 | 3.8005 | 42 | 159.6218
34 | BOLT | PP AR, AIR EXTR, BOLT,NZL/PGTL PIPE | 4 | 1.4688 | 4 | 5.8752
35 | NUT-LOCK | PP, AIR EXTR, NUT, SELF-LOCKING | 48 | 2.7999 | 48 | 134.3952
36 | NUT-LOCK | PP, AIR EXTR, NUT, SELF-LOCKING | 84 | 2.0288 | 84 | 170.4175
37 | GASKET | PP ARR, GAS TRBN, GSKT, PGTL/ MNFLD | 2 | 4.2228 | 2 | 8.4456
38 | GASKET | PP ARR, GAS TRBN, GSKT, PGTL/ MNFLD | 2 | 4.2228 | 2 | 8.4456
39 | GASKET | PP ARR, GAS TRBN, GSKT, MNFLD & PRG | 2 | 6.325 | 2 | 12.65
40 | GASKET | PP ARR, GAS TRBN, GSKT, MNFLD & PRG | 2 | 6.325 | 2 | 12.65
41 | BOLT | PP ARR, GAS TRBN, BOLT FUEL NOZ | 8 | 1.2852 | 8 | 10.2816
42 | BOLT | PP ARR, GAS TRBN, BOLT FUEL NOZ | 5 | 1.2852 | 5 | 6.426
43 | BOLT | PP ARR, GAS-TRBN, BOLT PIGTAIL | 12 | 4.3421 | 12 | 52.1057
44 | BOLT | PP ARR, GAS-TRBN, BOLT PIGTAIL | 20 | 4.3421 | 20 | 86.8428
45 | BOLT | PP ARR, GAS TRBN, BOLT, MNFLD FLNG | 4 | 2.6071 | 4 | 10.4285
46 | BOLT | PP ARR, GAS TRBN, BOLT, MNFLD FLNG | 4 | 2.6071 | 4 | 10.4285
47 | BOLT | PP ARR, GAS TRBN, BOLT, SPPRT CHNL | 7 | 6.7473 | 7 | 47.2311
48 | NUT | PP ARR, GAS TRBN, NUT, SPPRT CHNL | 5 | 6.0772 | 5 | 30.3858
49 | GASKET | PP ARR, GAS TRBN, GASKET | 10 | 2.8458 | 10 | 28.458
50 | GASKET | PP ARR, GAS TRBN, GASKET | 18 | 2.8458 | 18 | 51.2244
51 | BOLT | PP ARR, FUEL GAS, BOLT | 2 | 1.735 | 2 | 3.47
52 | BOLT | PP ARR,GAS TRBN,BOLT HX HD | 34 | 1.4688 | 34 | 49.9392
53 | NUT | PP ARR, GAS TRBN, NUT,SELF-LOCKING | 12 | 2.7999 | 12 | 33.5988
54 | NUT | PP ARR, GAS TRBN, NUT,SELF-LOCKING | 24 | 2.7999 | 24 | 67.1976
55 | BOLT | PP ARR, GAS, PRM MNFLD, BOLT | 8 | 3.773 | 8 | 30.1838
56 | BOLT | PP ARR, GAS, PRM MNFLD, BOLT | 15 | 3.773 | 15 | 56.5947
57 | GASKET | PP ARR, GAS, SCN MNFLD/NOZZ, GASKET | 42 | 2.754 | 42 | 115.668
58 | NUT-LOCK | PP ARR, GAS, SCN, PIGTAIL, NUT-LOCK | 20 | 0.9639 | 20 | 19.278
59 | NUT-LOCK | PP ARR, GAS, SCN, PIGTAIL, NUT-LOCK | 56 | 0.9639 | 56 | 53.9784
60 | BOLT | PP ARR, GAS, SCN MNFLD, BOLT | 13 | 1.2852 | 13 | 16.7076
61 | GASKET | PP ARR, GAS, QTN, PIGTAIL, GASKET | 10 | 4.9572 | 10 | 49.572
62 | GASKET | PP ARR, GAS, QTN, PIGTAIL, GASKET | 4 | 4.9572 | 4 | 19.8288
63 | GASKET | PP, BSE INTCN, GASKET, SPIRAL-WOUND | 9 | 6.325 | 9 | 56.9252
64 | BOLT | PP, BSE INTCN, BOLT, HEX HEAD | 10 | 2.6071 | 10 | 26.0712
65 | NUT-LOCK | PP, BSE INTCN, NUT, SELF-LOCKING | 28 | 2.7999 | 28 | 78.3972
66 | DETECTOR | DTCTR, FLME (28FD), ASSEMBLY | 4 | 1504.602 | 4 | 6018.408
67 | WASHER-LCK | SPRK PLG ASM, LOCKWASHER | 8 | 1.2852 | 8 | 10.2816
68 | GASKET | SPRK PLG ASM, GASKET | 4 | 10.0337 | 4 | 40.135
69 | IGNITER | SPRK PLG, BALL JOINT, IGNITER | 2 | 540.9407 | 2 | 1081.8814

## HGP Consumables 7FA
List Total:
14000.0009
GT Hot Gas Path Inspection
LINE |  |  | REC | UNIT | ORDER | TOTAL
ITEM | PART NAME | PART DESCRIPTION | QTY | PRICE | QUANTITY | PRICE
1 | GASKET | CASE ARR, TURB, GSKT, ACCESS COVER | 4 | 30.6135 | 4 | 122.4539
2 | BOLT | CASE ARR, TURB, BLT, ACCESS CVR-SML | 26 | 26.4648 | 26 | 688.0858
3 | GASKET | CASE ARR, TURB, GSKT, ACCSS CVR-SML | 4 | 41.5325 | 4 | 166.1301
4 | BOLT | CASE ARR, TURB, BOLT, ALY STL 12 PT | 7 | 34.0835 | 7 | 238.5845
5 | NUT | CASE ARR, TURB, NUT, 12 POINT NUT | 7 | 16.8104 | 7 | 117.6729
6 | BOLT | PP ARR,C&SA, BLT, CMP BLD MNFLD | 4 | 1.6194 | 4 | 6.4774
7 | PLATE-LOCK | PP ARR C&SA, PLATE,LOCKING,NUT&BOLT | 32 | 4.6113 | 32 | 147.5615
8 | PLATE-LOCK | PP ARR C&SA, PLATE,LOCKING,NUT&BOLT | 96 | 1.7427 | 96 | 167.3022
9 | GASKET | PP ARR C&SA, GASKET,SPIRAL-WOUND | 8 | 11.9061 | 8 | 95.2487
10 | GASKET | PP ARR C&SA, GASKET,SPIRAL-WOUND | 8 | 20.2033 | 8 | 161.6268
11 | GASKET | PP ARR C&SA, GASKET,SPIRAL-WOUND | 38 | 21.5451 | 38 | 818.7135
12 | GASKET | PP ARR C&SA, GASKET,SPIRAL-WOUND | 8 | 17.1189 | 8 | 136.9509
13 | GASKET | PP ARR C&SA, GASKET,SPIRAL-WOUND | 4 | 10.626 | 4 | 42.5041
14 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 1 | 2.8069 | 1 | 2.8069
15 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 7 | 0.81739 | 7 | 5.7217
16 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 13 | 7.2948 | 13 | 94.8323
17 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 7 | 2.4676 | 7 | 17.2731
18 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 7 | 4.4725 | 7 | 31.3075
19 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 13 | 2.6218 | 13 | 34.0835
20 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 23 | 2.1591 | 23 | 49.6601
21 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 20 | 2.1591 | 20 | 43.1827
22 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 11 | 2.9148 | 11 | 32.0632
23 | NUT-LOCK | PP ARR C&SA, NUT,SELF-LOCKING | 1 | 10.2096 | 1 | 10.2096
24 | NUT-LOCK | PP ARR C&SA, NUT,SELF-LOCKING | 10 | 1.6194 | 10 | 16.1935
25 | NUT-LOCK | PP ARR C&SA, NUT,SELF-LOCKING | 42 | 4.7038 | 42 | 197.5609
26 | NUT-LOCK | PP ARR C&SA, NUT,SELF-LOCKING | 29 | 3.4084 | 29 | 98.8422
27 | BOLT | PP ARR C&SA, BOLT, 9TH STG BFLY VLV | 10 | 22.054 | 10 | 220.5403
28 | HOSE | PP AR, CLNG WTR, FLX HS, BS/MNFLD | 2 | 492 | 2 | 984
29 | GASKET | PP ARR, CLNG WTR, GASKET, HS/MNFLD | 6 | 11.0579 | 6 | 66.3472
30 | WIRE-LCK | TRBN RTR, STG 1, BUCKET LOCKWIRE | 1 | 1471.06 | 1 | 1471.06
31 | WIRE-LCK | TRBN RTR, STG 2, BUCKET LOCKWIRE | 1 | 1470.49 | 1 | 1470.49
32 | WIRE-LCK | TRBN RTR, STG 3, BUCKET LOCKWIRE | 1 | 1975.11 | 1 | 1975.11
33 | BOLT | NOZZ 1ST-STG, HOR HLD DWN CLMP BOLT | 1 | 87.445 | 1 | 87.445
34 | PLATE-LOCK | NOZZ 1ST-STG, HOR HLD DWN CLMP LKPL | 4 | 3.686 | 4 | 14.7438
35 | BOLT | NOZZ 1ST-STG, BOLT, CLMP OTR SPPRT | 8 | 92.5807 | 8 | 740.6453
36 | PLATE-LOCK | NOZZ 1ST-STG, LKPLT, CLMP OTR SPPRT | 2 | 63.4015 | 2 | 126.803
37 | BOLT | NOZZ 1ST-STG, RTNG RING BOLT | 1 | 121.46 | 1 | 121.46
38 | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 42 | 10.4872 | 42 | 440.4637
39 | INSERT | NOZZ 1ST-STG, RTG RG WIR-LK BLT INS | 1 | 61.74 | 1 | 61.74
40 | BOLT | NOZZ 1ST-STG, BOLT, KEY, LOCTNG | 2 | 53.62 | 2 | 107.24
41 | PLATE-LOCK | NOZZ 1ST-STG, LCKPLT, KEY, LOCTNG | 2 | 21.2675 | 2 | 42.535
42 | BOLT | SPPRT RNG, 1ST-STG, RNG MNT BOLT | 1 | 53.3461 | 1 | 53.3461
43 | STUD | B&D ARR, STUD, DSCH CS/TRB SHL-JNT | 1 | 152.2191 | 1 | 152.2191
44 | WASHER | BLT & DWL (B &D) ARR, WASHER | 36 | 64.4656 | 36 | 2320.7628

## OperaSpares 7FA
List Total:
214120.9973
GT Turbine Operationals
LINE | CATALOG |  |  |  | REC | UNIT | ORDER | TOTAL
ITEM | NUMBER | PART NAME | PART DESCRIPTION | CYC | QTY | PRICE | QUANTITY | PRICE
____________
1 | G0235A0V | QUILL | INST ARR, BRG#1, QUILL | 8 | 1 | 906.3469 | 1 | 906.3469
2 | G0235A1H | PROXIMITOR | INST ARR, BRG#1, PRXMTR (39VS12) | 6 | 1 | 463.8708 | 1 | 463.8708
3 | G0235A1K | PROXIMITOR | INST ARR, BRG#1, PRXMTR (39VS11) | 6 | 1 | 463.8708 | 1 | 463.8708
4 | G0235A1N | PROXIMITOR | INST ARR, BRG#1, PRXMTR (77RP11) | 6 | 1 | 463.8708 | 1 | 463.8708
5 | G0235A1R | PROXIMITOR | INST ARR, BRG#1, PRXMTR (96VC12) | 6 | 1 | 463.8708 | 1 | 463.8708
6 | G0235A1T | PROXIMITOR | INST ARR, BRG#1, PRXMTR (96VC11) | 6 | 1 | 463.8708 | 1 | 463.8708
7 | G0235A9J | EXTENSION | INST ARR,BRG #1, VIB DET EXT 96VC12 | 7 | 1 | 294.84 | 1 | 294.84
8 | G0235A9M | EXTENSION | INST ARR,BRG #1, VIB DET EXT 96VC11 | 7 | 1 | 294.84 | 1 | 294.84
9 | G0235AHD | EXTENSION | INST ARR,BRG #1,VIB DET EXT 39VS11 | 7 | 1 | 294.84 | 1 | 294.84
10 | G0235AHE | EXTENSION | INST ARR,BRG #1,VIB DET EXT 39VS12 | 7 | 1 | 294.84 | 1 | 294.84
11 | G0235AHG | EXTENSION | INST ARR,BRG #1,VIB DET EXT 77RP11 | 7 | 1 | 294.84 | 1 | 294.84
12 | G0235BAE | EXTENSION | INST ARR,BRG #2, VIB DET EXT 39VS21 | 7 | 1 | 273.24 | 1 | 273.24
13 | G0235BAF | EXTENSION | INST ARR,BRG #2, VIB DET EXT 39VS22 | 7 | 1 | 273.24 | 1 | 273.24
14 | G0235BAJ | PROXIMITOR | INST ARR, BRG#2, PRXMTR (39VS22) | 6 | 1 | 463.8708 | 1 | 463.8708
15 | G0235BAK | PROXIMITOR | INST ARR, BRG#2, PRXMTR (39VS21) | 6 | 1 | 463.8708 | 1 | 463.8708
16 | G0507 | BEARING | STOP/ SPEED RATIO VALVE, LINED BEARING | 10 | 2 | 65.88 | 2 | 131.76
17 | G0507 | KEY | STOP/ SPEED RATIO VALVE, TAPER KEY | 10 | 1 | 52.488 | 1 | 52.488
18 | G0507 | PACKING | STOP/ SPEED RATIO VALVE, PACKING RING | 10 | 1 | 16.74 | 1 | 16.74
19 | G0507 | PACKING SET | STOP/ SPEED RATIO VALVE, PACKING SET | 10 | 1 | 37.584 | 1 | 37.584
20 | G0507 | PIN | STOP/ SPEED RATIO VALVE, GROOVE PIN | 10 | 1 | 10.044 | 1 | 10.044
21 | G0507 | REPAIR KIT | STOP/ SPEED RATIO VALVE, REPAIR KIT | 10 | 1 | 1168.56 | 1 | 1168.56
22 | G0507 | SPARES KIT | STOP/ SPEED RATIO VALVE, ACTUATOR | 10 | 1 | 7232.76 | 1 | 7232.76
23 | G0509 | GASKET | STOP/ SPEED RATIO VALVE, GASKET | 10 | 1 | 45.468 | 1 | 45.468
24 | G0509 | GROOVE PIN | STOP/ SPEED RATIO VALVE, GROOVE PIN | 10 | 1 | 5.616 | 1 | 5.616
25 | G0509 | PLUG STEM | STOP/ SPEED RATIO VALVE, PLUG STEM | 10 | 1 | 616.6801 | 1 | 616.6801
26 | G0509 | PLUG VALVE | STOP/ SPEED RATIO VALVE, PLUG VALVE | 10 | 1 | 2345.76 | 1 | 2345.76
27 | G0509 | REPAIR KIT | STOP/ SPEED RATIO VALVE, REPAIR KIT | 10 | 1 | 158.76 | 1 | 158.76
28 | G0509 | SEAT / LINER | STOP/ SPEED RATIO VALVE, SEAT / LINER | 10 | 1 | 4919.4 | 1 | 4919.4
29 | G0509 | SPARES KIT | STOP/ SPEED RATIO VALVE, ACTUATOR | 10 | 1 | 4572.72 | 1 | 4572.72
30 | G05400V | WASHER-LCK | SRVO&DRV ARR, VAR IGV, LCKWSHR | 3 | 4 | 13.6944 | 4 | 54.7776
31 | G054807 | FILTER | ACTUATOR ASSEMBLY, IGV, HYD FILTER | 12 | 1 | 491.4 | 1 | 491.4
32 | G05480R | O-RING | ACTUATOR ASM,HYD-VAR IGV,O-RING | 3 | 2 | 13.608 | 2 | 27.216
33 | G0557T4GC | VALVE | TRNSDCR ARR, CHECK VALVE | 17 | 3 | 629.64 | 3 | 1888.92
34 | G05590D | VALVE | SNSR ARR, INL/EXH, VLV, 3-WAY VALVE | 7 | 3 | 408.24 | 3 | 1224.72
35 | G06375V | CONNECTOR | TC ARR,REMOVBL,CONNECTOR, TTIB1 | 8 | 1 | 24.6564 | 1 | 24.6564
36 | G06375W | CONNECTOR | TC ARR,REMOVBL,CONNECTOR, TTIB2 | 8 | 1 | 24.6564 | 1 | 24.6564
37 | G06390S | MANIFOLD | FL GS FLW MEAS SYS,MTR TB 5-VLV MFD | 11 | 1 | 839.8405 | 1 | 839.8405
38 | G09055J | SIGHT | PP LO FD&DRN, SIGHT INDICATOR-LO | 9 | 1 | 376.8876 | 1 | 376.8876
39 | G09091M | FILTER | PP ARR C&SA,FILTER, FLD PR CONTAIR | 10 | 1 | 456.4404 | 1 | 456.4404
40 | G0909AV | VLV-BUTTERFLY | PP ARR,CLG&SLG,VLV,AE-10 | 14 | 4 | 4826.304 | 4 | 19305.216
41 | G091514 | VALVE | PP AR, CLNG WTR -TRB CSE, PURGE VLV | 11 | 1 | 36.288 | 1 | 36.288
42 | G091517 | VLV-BALL | PP AR, CLNG WTR, BALL VLV, SHUT OFF | 14 | 1 | 323.4168 | 1 | 323.4168
43 | G091518 | VLV-BALL | PP AR, CLNG WTR, BALL VLV, SHUT OFF | 14 | 1 | 653.4 | 1 | 653.4
44 | G092006 | VLV-BALL | FLS STRT DRN, BALL VLV | 14 | 1 | 448.6104 | 1 | 448.6104
45 | G092008 | VLV-BALL | FLS STRT DRN, BALL VLV | 14 | 1 | 3654.018 | 1 | 3654.018
46 | G092009 | VLV-BALL | FLS STRT DRN, BALL VLV | 14 | 1 | 455.1336 | 1 | 455.1336
47 | G09530M | NOZZLE | CMPR WSH, W WSH NZL ASM-ON-LINE-FWD | 12 | 3 | 496.692 | 3 | 1490.076
48 | G09530N | NOZZLE | CMPR WSH, W WSH NZL ASM-ON-LINE-AFT | 9 | 3 | 430.3584 | 3 | 1291.0752
49 | G095311 | VLV-NEEDLE | CMPRSR WSH, DRAIN VALVE | 11 | 1 | 163.08 | 1 | 163.08
50 | G096406 | NOZZLE | PP AR,FIR PRTCTN,NZZL,.156 ORFC DIA | 11 | 1 | 63.9144 | 1 | 63.9144
51 | G097901 | VLV-BALL | PPG ARR, INLT PLNM DRN, VLV,WTR DRN | 12 | 3 | 1220.638 | 3 | 3661.914
52 | G098701 | PROBE | PRFM MNTR SYS TUBING ARR, PROBE | 10 | 1 | 215.1792 | 1 | 215.1792
53 | G102200 | VALVE | CONT-13 OR 9 STG EXT | 5 | 1 | 8169.336 | 1 | 8169.336
54 | G102600 | VALVE | VLV, REG-FALSE STRT DRN (VA17) | 14 | 2 | 1667.52 | 2 | 3335.04
55 | G11050Z | LEAD | CND, FLD WRNG, SPRK PLG LEAD | 18 | 2 | 1271.16 | 2 | 2542.32
56 | G121301 | LEAD | IGNITION SYS, LEAD, SPRK PLG | 18 | 2 | 1271.16 | 2 | 2542.32
57 | G12130A | EXCITER | IGNITION SYS, EXCITER (95SG) | 26 | 1 | 5574.96 | 1 | 5574.96
58 | G121400 | ASM-SPARK PLUG | SPRK PLG ASM | 18 | 2 | 3335.04 | 2 | 6670.08
59 | G1218A1J | WIRE-LOCK | SENSOR ARR, VBRTN, WIRE-LOCK | 15 | 2 | 23.4252 | 2 | 46.8504
60 | G1218A8Y | WASHER-LCK | SENSOR ARR,VBRTN,WSHR,SNSR MTG WSHR | 9 | 8 | 1.944 | 8 | 15.552
61 | G1218A91 | SCREW-CAP | SENSOR ARR,VBRTN,SCRW,SNSR MTG SCRW | 8 | 8 | 6.9552 | 8 | 55.6416
62 | G1218B8Y | WASHER-LCK | SENSOR ARR,VBRTN,WSHR,SNSR MTG WSHR | 9 | 8 | 1.944 | 8 | 15.552
63 | G1218B91 | SCREW-CAP | SENSOR ARR,VBRTN,SCRW,SNSR MTG SCRW | 8 | 8 | 6.9552 | 8 | 55.6416
64 | G20CB-2 | VALVE-SOL | CMPRSSR BYP OR BLD OR BLWOF SOL VLV | 14 | 1 | 4428 | 1 | 4428
65 | G20TW1 | VALVE | TB(CPRSR)WSH WI SOL(MTR) VLV-OFF-LN | 7 | 1 | 1930.068 | 1 | 1930.068
66 | G20TW3 | VALVE | TRB(CPRSR)WSH WI SOL(MTR)VLV-ON-LNE | 10 | 1 | 2036.664 | 1 | 2036.664
67 | G23HT-3A | HEATER | SPACE HEATER TURB COMPT | 12 | 1 | 2449.44 | 1 | 2449.44
68 | G23HT-3B | HEATER | SPACE HEATER TURB COMPT | 12 | 1 | 2449.44 | 1 | 2449.44
69 | G26BT-2 | SWITCH | SWITCH, TURB COMPT TEMP | 9 | 1 | 475.9992 | 1 | 475.9992
70 | G26HT-3 | THERMOSTAT | TURBINE COMPARTMENT THERMOSTAT | 9 | 1 | 475.9992 | 1 | 475.9992
71 | G39V-1A | SENSOR | SENSOR ARR, VBRTN, SENSOR | 14 | 1 | 1390.738 | 1 | 1390.738
72 | G39V-1B | SENSOR | SENSOR ARR, VBRTN, SENSOR | 14 | 1 | 1390.738 | 1 | 1390.738
73 | G39V-2A | SENSOR | VIBRATION SENSOR TURBINE | 14 | 1 | 1390.738 | 1 | 1390.738
74 | G39V-2B | SENSOR | VIBRATION SENSOR TURBINE | 14 | 1 | 1390.738 | 1 | 1390.738
75 | G39VS-21 | PROBE | VIBRATION SENSOR (NON-CONTACTING) | 9 | 1 | 218.16 | 1 | 218.16
76 | G39VS-22 | PROBE | VIBRATION SENSOR (NON-CONTACTING) | 9 | 1 | 218.16 | 1 | 218.16
77 | G45FT-1A | DETECTOR | FIRE DETECTOR-TURBINE COMPARTMENT | 24 | 1 | 463.32 | 1 | 463.32
78 | G45FT-1B | DETECTOR | FIRE DETECTOR-TURBINE COMPARTMENT | 24 | 1 | 463.32 | 1 | 463.32
79 | G45FT-2A | DETECTOR | FIRE DETECTOR-TURBINE COMPARTMENT | 24 | 1 | 463.32 | 1 | 463.32
80 | G45FT-2B | DETECTOR | FIRE DETECTOR-TURBINE COMPARTMENT | 24 | 1 | 463.32 | 1 | 463.32
81 | G45FT-3A | DETECTOR | FIRE DETECTOR-TURBINE COMPARTMENT | 24 | 1 | 463.32 | 1 | 463.32
82 | G45FT-3B | DETECTOR | FIRE DETECTOR-TURBINE COMPARTMENT | 24 | 1 | 463.32 | 1 | 463.32
83 | G45HT-1 | DETECTOR | COMBUSTIBLE GAS DTCTR - TURB COMPT | 20 | 1 | 1543.32 | 1 | 1543.32
84 | G45HT-2 | DETECTOR | COMBUSTIBLE GAS DTCTR - TURB COMPT | 20 | 1 | 1543.32 | 1 | 1543.32
85 | G63EA-1 | SW-PRESS | EXHAUST DUCT PRESSURE HIGH SWITCH | 10 | 1 | 323.19 | 1 | 323.19
86 | G63ET-1 | SW-PRESS | EXHAUST DUCT PRESSURE HIGH HIGH | 10 | 1 | 323.19 | 1 | 323.19
87 | G63ET-2 | SW-PRESS | EXHAUST DUCT PRESSURE HIGH HIGH | 10 | 1 | 323.19 | 1 | 323.19
88 | G77HT-1 | PICKUP | HIGH PRESS SET MAGNETIC PCKUP(OVSP) | 11 | 1 | 149.9688 | 1 | 149.9688
89 | G77HT-2 | PICKUP | HIGH PRESS SET MAGNETIC PCKUP(OVSP) | 11 | 1 | 149.9688 | 1 | 149.9688
90 | G77HT-3 | PICKUP | HIGH PRESS SET MAGNETIC PCKUP(OVSP) | 11 | 1 | 149.9688 | 1 | 149.9688
91 | G77NH-1 | PICKUP | HIGH PRESS SET MAG PICKUP-SPEED | 11 | 1 | 149.9688 | 1 | 149.9688
92 | G77NH-2 | PICKUP | HIGH PRESS SET MAG PICKUP-SPEED | 11 | 1 | 149.9688 | 1 | 149.9688
93 | G77NH-3 | PICKUP | HIGH PRESS SET MAG PICKUP-SPEED | 11 | 1 | 149.9688 | 1 | 149.9688
94 | G90TV | VLV-SERVO | TURB INLET GUIDE VANE SERVO VALVE | 15 | 1 | 2698.92 | 1 | 2698.92
95 | G95RH-1 | SENSOR | (RELATIVE)HUMDTY,(FROST POINT)DTCTR | 14 | 1 | 6604.2 | 1 | 6604.2
96 | G96AP-1A | TRANSMITTER | BAROMETRIC PRESSURE TRANSMITTER | 12 | 1 | 1594.08 | 1 | 1594.08
97 | G96AP-1B | TRANSMITTER | BAROMETRIC PRESSURE TRANSMITTER | 12 | 1 | 1594.08 | 1 | 1594.08
98 | G96AP-1C | TRANSMITTER | BAROMETRIC PRESSURE TRANSMITTER | 12 | 1 | 1594.08 | 1 | 1594.08
99 | G96BD-1 | TRANSMITTER | TRB CMPR INLT BLMTH DIFF PR TRNSMTR | 12 | 1 | 2766.96 | 1 | 2766.96
100 | G96CS-1 | TRANSMITTER | INLET AIR TOTAL PRSSR TRNSMTTR | 9 | 1 | 2766.96 | 1 | 2766.96
101 | G96EP-1 | TRANSMITTER | EXHAUST PRESSURE TRANSMITTER | 9 | 1 | 2766.96 | 1 | 2766.96
102 | G96FF-1 | TRANSMITTER | FUEL GAS FLOW ORIFICE DIFF PRESSURE | 12 | 1 | 3073.68 | 1 | 3073.68
103 | G96FF-2 | TRANSMITTER | FUEL GAS FLOW ORIFICE DIFF PRESSURE | 12 | 1 | 2766.96 | 1 | 2766.96
104 | G96FG-1 | TRANSMITTER | FUEL GAS FLW ORFC UPSTRM PRS XMTR | 12 | 1 | 1771.2 | 1 | 1771.2
105 | G96TV-1 | TRANSDUCER | TURB INLET GUIDE VANE LVDT | 7 | 1 | 1887.343 | 1 | 1887.343
106 | G96TV-2 | TRANSDUCER | TURB INLET GUIDE VANE LVDT | 7 | 1 | 1887.343 | 1 | 1887.343
107 | G96VC11 | TRANSMITTER | SHAFT AXIAL POS TRANSMITTER, BRNG 1 | 8 | 1 | 713.2861 | 1 | 713.2861
108 | G96VC12 | TRANSMITTER | SHAFT AXIAL POS TRANSMITTER, BRNG 1 | 8 | 1 | 713.2861 | 1 | 713.2861
109 | GA03705 | THERMOWELL | CONTROL ARRGT INLET HTG THERMOWELL | 10 | 1 | 126.36 | 1 | 126.36
110 | GA03706 | TRANSMITTER | CONTROL ARRGT INLET HTG TRANSMITTER | 19 | 1 | 1771.2 | 1 | 1771.2
111 | GA037TC | THERMOCOUPLE | CONTROL BLD HEAT ARR, THERMOCOUPLE | 10 | 3 | 346.68 | 3 | 1040.04
112 | GA12503 | VLV-BALL | PP ARR, LO FLSH-FLD, BALL VALVE | 7 | 1 | 469.476 | 1 | 469.476
113 | GA1251D | VLV-BALL | PP ARR, LO FLSH-FLD, BALL VALVE | 10 | 1 | 17.172 | 1 | 17.172
114 | GA1251F | STRAINER | PP ARR, LO FLSH-FLD, STRAINER | 5 | 1 | 245.1708 | 1 | 245.1708
115 | GA1251FR | STRAINER | PP ARR, LO FLSH-FLD, STRAINER, REPL | 6 | 1 | 285.5952 | 1 | 285.5952
116 | GA1251G | STRAINER | PP ARR, LO FLSH-FLD, STRAINER | 4 | 1 | 115.56 | 1 | 115.56
117 | GA1251GR | STRAINER | PP ARR, LO FLSH-FLD, STRAINER, REPL | 5 | 3 | 112.9464 | 3 | 338.8392
118 | GA1251H | STRAINER | PP ARR, LO FLSH-FLD, STRAINER | 15 | 1 | 83.16 | 1 | 83.16
119 | GA1251HR | STRAINER | PP ARR, LO FLSH-FLD, STRAINER, REPL | 4 | 1 | 184.842 | 1 | 184.842
120 | GA1251K | STRAINER | PP ARR, LO FLSH-FLD, STRAINER | 9 | 1 | 108 | 1 | 108
121 | GA1251KR | STRAINER | PP ARR, LO FLSH-FLD, STRAINER, REPL | 5 | 2 | 25.5744 | 2 | 51.1488
122 | GA1251L | STRAINER | PP ARR, LO FLSH-FLD, STRAINER | 4 | 1 | 131.8572 | 1 | 131.8572
123 | GBTJ11A&B | TCPL | TCPL BRG METAL TEMP | 13 | 1 | 466.56 | 1 | 466.56
124 | GBTJ12A&B | TCPL | TCPL BRG METAL TEMP | 13 | 1 | 466.56 | 1 | 466.56
125 | GBTJ21A&B | TCPL | TCPL BRG METAL TEMP A, BRNG 2 | 13 | 1 | 466.56 | 1 | 466.56
126 | GBTJ22A&B | TCPL | TCPL BRG METAL TEMP A, BRNG 2 | 13 | 1 | 466.56 | 1 | 466.56
127 | GCT-DA-1 | TCPL | TCPL, COMPRESSOR DISCHARGE TEMP 1 | 10 | 1 | 835.758 | 1 | 835.758
128 | GCT-DA-2 | TCPL | TCPL, COMPRESSOR DISCHARGE TEMP 2 | 10 | 1 | 835.758 | 1 | 835.758
129 | GCT-DA-3 | TCPL | TCPL, COMPRESSOR DISCHARGE TEMP 3 | 10 | 1 | 835.758 | 1 | 835.758
130 | GCTIF1A&B | TCPL | COMP. INLET THERMOCOUPLE | 8 | 1 | 385.56 | 1 | 385.56
131 | GCTIF2A&B | TCPL | COMP. INLET THERMOCOUPLE | 8 | 1 | 385.56 | 1 | 385.56
132 | GCT-IF-3/R | RTD | COMP. INLET DETECTOR | 10 | 1 | 301.32 | 1 | 301.32
133 | GFT-GI-1A&B | TCPL | FUEL GS FLW MEA SYS,THERMOCOUPLE | 10 | 1 | 348.192 | 1 | 348.192
134 | GFT-GI-2A&B | TCPL | FUEL GS FLW MEA SYS,THERMOCOUPLE | 10 | 1 | 348.192 | 1 | 348.192
135 | GLT-B1D-1A | TCPL | LO THERMOCOUPLE NO 1 BRNG DRAIN | 10 | 1 | 348.192 | 1 | 348.192
136 | GLT-B1D-1B | TCPL | LO THERMOCOUPLE NO 1 BRNG DRAIN | 10 | 1 | 348.192 | 1 | 348.192
137 | GTT-IB-1 | TCPL | TCPL,TURB TEMP INNER BARREL | 10 | 1 | 835.758 | 1 | 835.758
138 | GTT-IB-2 | TCPL | TCPL,TURB TEMP INNER BARREL | 10 | 1 | 835.758 | 1 | 835.758
139 | GTT-IB-3 | TCPL | TCPL,TURB TEMP INNER BARREL | 10 | 3 | 835.758 | 3 | 2507.274
140 | GTT-WS1AO-1 | TCPL | TCPL, WHLSPC -STG 1 AFT OUTER -1 | 14 | 1 | 791.532 | 1 | 791.532
141 | GTT-WS1AO-2 | TCPL | TCPL, WHLSPC -STG 1 AFT OUTER -2 | 14 | 1 | 791.532 | 1 | 791.532
142 | GTT-WS1FI-1 | TCPL | TURB TEMP, WLSPC STG-1 FWD INR -1 | 12 | 1 | 835.758 | 1 | 835.758
143 | GTT-WS1FI-2 | TCPL | TURB TEMP, WLSPC STG-1 FWD INR -2 | 12 | 1 | 835.758 | 1 | 835.758
144 | GTT-WS2AO-1 | TCPL | TCPL, WHLSPC -STG 2 AFT OUTER -1 | 12 | 1 | 835.758 | 1 | 835.758
145 | GTT-WS2AO-2 | TCPL | TCPL, WHLSPC -STG 2 AFT OUTER -2 | 12 | 1 | 835.758 | 1 | 835.758
146 | GTT-WS2FO-1 | TCPL | TCPL, WHLSPC -STG 2 FWD OUTER -1 | 12 | 1 | 835.758 | 1 | 835.758
147 | GTT-WS2FO-2 | TCPL | TCPL, WHLSPC -STG 2 FWD OUTER -2 | 12 | 1 | 835.758 | 1 | 835.758
148 | GTT-WS3AO-1 | TCPL | TCPL, WHLSPC -STG 3 AFT OUTER -1 | 9 | 1 | 803.52 | 1 | 803.52
149 | GTT-WS3AO-2 | TCPL | TCPL, WHLSPC -STG 3 AFT OUTER -2 | 9 | 1 | 803.52 | 1 | 803.52
150 | GTT-WS3FO-1 | TCPL | TCPL, WHLSPC -STG 3 FWD OUTER -1 | 12 | 1 | 1018.44 | 1 | 1018.44
151 | GTT-WS3FO-2 | TCPL | TCPL, WHLSPC -STG 3 FWD OUTER -2 | 12 | 1 | 1018.44 | 1 | 1018.44
152 | GTT-XD-1 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-1) | 12 | 1 | 846.72 | 1 | 846.72
153 | GTT-XD-10 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-10) | 12 | 1 | 846.72 | 1 | 846.72
154 | GTT-XD-11 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-11) | 12 | 1 | 846.72 | 1 | 846.72
155 | GTT-XD-12 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-12) | 12 | 1 | 846.72 | 1 | 846.72
156 | GTT-XD-13 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-13) | 12 | 1 | 846.72 | 1 | 846.72
157 | GTT-XD-14 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-14) | 12 | 1 | 846.72 | 1 | 846.72
158 | GTT-XD-15 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-15) | 12 | 1 | 846.72 | 1 | 846.72
159 | GTT-XD-16 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-16) | 12 | 1 | 846.72 | 1 | 846.72
160 | GTT-XD-17 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-17) | 12 | 1 | 846.72 | 1 | 846.72
161 | GTT-XD-18 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-18) | 12 | 1 | 846.72 | 1 | 846.72
162 | GTT-XD-19 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-19) | 12 | 1 | 846.72 | 1 | 846.72
163 | GTT-XD-2 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-2) | 12 | 1 | 846.72 | 1 | 846.72
164 | GTT-XD-20 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-20) | 12 | 1 | 846.72 | 1 | 846.72
165 | GTT-XD-21 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-21) | 12 | 1 | 846.72 | 1 | 846.72
166 | GTT-XD-22 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-22) | 12 | 1 | 846.72 | 1 | 846.72
167 | GTT-XD-23 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-23) | 12 | 1 | 846.72 | 1 | 846.72
168 | GTT-XD-24 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-24) | 12 | 1 | 846.72 | 1 | 846.72
169 | GTT-XD-25 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-25) | 12 | 1 | 846.72 | 1 | 846.72
170 | GTT-XD-26 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-26) | 12 | 1 | 846.72 | 1 | 846.72
171 | GTT-XD-27 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-27) | 12 | 1 | 846.72 | 1 | 846.72
172 | GTT-XD-3 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-3) | 12 | 1 | 846.72 | 1 | 846.72
173 | GTT-XD-4 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-4) | 12 | 1 | 846.72 | 1 | 846.72
174 | GTT-XD-5 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-5) | 12 | 1 | 846.72 | 1 | 846.72
175 | GTT-XD-6 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-6) | 12 | 1 | 846.72 | 1 | 846.72
176 | GTT-XD-7 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-7) | 12 | 1 | 846.72 | 1 | 846.72
177 | GTT-XD-8 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-8) | 12 | 1 | 846.72 | 1 | 846.72
178 | GTT-XD-9 | TCPL | THERMOCOUPLE, EXHAUST (TT-XD-9) | 12 | 1 | 846.72 | 1 | 846.72
179 | GVA2-1 | VLV-BLEED | COMPRESSOR BLEED VLV | 5 | 1 | 8169.336 | 1 | 8169.336

## MSD 7FA
List Total:
548381
MSD Spares (Estimated)
LINE | CAT
ITEM | LOC | PART NAME | PART DESCRIPTION | LINE PRICE
1 | 0507 | SPARE PARTS FOR | (0991)-VALVE,STOP-FUEL GAS | 18780
2 | 0509 | SPARE PARTS FOR | VALVE ASSY,CONTROL-FUEL GAS | 37643
4 | 0511 | SPARE PARTS FOR | VALVE,STOP-FUEL OIL | 4366
5 | 0516 | SPARE PARTS FOR | VALVE ASSY,BYPASS-FUEL OIL | 4934
6 | 0557 | SPARE PARTS FOR | PRESSURE TRANSDUCER ARR,UNIT | 6000
7 | 0559 | SPARE PARTS FOR | SENSOR ARR,INLET/EXHAUST | 14811
8 | 0569 | SPARE PARTS FOR | STOP VALVE,DLN,GAS PREMIX | 13534
9 | 0573 | SPARE PARTS FOR | SERVO ARRANGEMENT,PREMIX STOP | 2820
10 | 0639 | SPARE PARTS FOR | FUEL GAS FLOW MEASUREMENT SYS | 884
11 | 0929 | SPARE PARTS FOR | STRAINER ASSY,FUEL GAS | 4366
13 | 1005 | SPARE PARTS FOR | PUMP,LUBE OIL-MAIN | 14170
14 | 1006 | SPARE PARTS FOR | PUMP,LUBE OIL-AUXILIARY | 4527
15 | 1007 | SPARE PARTS FOR | PUMP,LUBE OIL-EMERGENCY | 6173
17 | 1059 | SPARE PARTS FOR | PUMP,DC,EMERGENCY-SEALING OIL | 5749
18 | 1207 | SPARE PARTS FOR | BATTERY&ACCESSORIES | 3497
20 | 557T | SPARE PARTS FOR | PRESSURE TRANSDUCER ARR,TURB | 9042
24 | A037 | SPARE PARTS FOR | CONTROL ARR,INLET HEATING | 20990
25 | A037 | SPARE PARTS FOR | MANUAL STOP VALVE | 20990
26 | A037 | SPARE PARTS FOR | CONTROL VALVE | 20990
27 | A037 | SPARE PARTS FOR | INLET BLEED HEAT CON VALVE | 20990
30 | A059 | SPARE PARTS FOR | CONTROL CENTER PKG,OFF BASE | 88522
31 | A068 | SPARE PARTS FOR | FIRE PROTECTION SYSTEM,CO2 | 25118
34 | A130 | SPARE PARTS FOR | AIR PROCESSING UNIT | 14152
36 | A138 | SPARE PARTS FOR | MONITOR,VIBRATION,REMOTE | 47919
37 | A139 | SPARE PARTS FOR | MONITOR,HAZARDOUS GAS,ALARM | 15034
38 | A141 | SPARE PARTS FOR | TRANSFORMER,ISOLATION,STAT STR | 16660
44 | E041 | SPARE PARTS FOR | DISTILITE FUEL HEATER | 53741
45 | G002 | SPARE PARTS FOR | INLET GAS SCRUBBER | 33637
46 | G007 | SPARE PARTS FOR | FILTER SEPARATOR,FUEL GAS | 18342

## Mark V 7FA
List Total:
138533.9328
MARK V TMR Spares
LINE | CAT |  |  |  | REC |  | ORDER
ITEM | LOC | PART NAME | PART DESCRIPTION | CYC | QTY | UNIT PRICE | QUANTITY | TOTAL PRICE
1 |  |  | TERMINATOR (93 OHMS) | 11 | 1 | 32.4 | 1 | 32.4
2 |  |  | 2AG FUSE 1.5A,250V | 15 | 10 | 3.24 | 10 | 32.4
3 |  |  | RES 50 5% 40W WW | 12 | 1 | 35.64 | 1 | 35.64
4 |  |  | DIODE MOD,1200V-45A,SKKD46/12 | 11 | 1 | 54 | 1 | 54
5 |  |  | KEYPAD | 12 | 1 | 88.452 | 1 | 88.452
6 |  |  | SHUNT | 12 | 1 | 8.64 | 1 | 8.64
7 |  |  | GROUND STRAP 7 INCH | 12 | 1 | 22.9608 | 1 | 22.9608
8 |  |  | ARCNET CONTRL BD | 11 | 1 | 1238.76 | 1 | 1238.76
9 |  |  | PRINTER RIBBON/CARTRIDGE | 11 | 1 | 120.96 | 1 | 120.96
10 |  |  | RESISTOR | 11 | 1 | 16.2 | 1 | 16.2
11 |  |  | RESISTOR | 11 | 1 | 66.96 | 1 | 66.96
12 |  |  | FUSE (5 A) | 6 | 10 | 4.32 | 10 | 43.2
13 |  |  | FUSE (7 A) | 6 | 10 | 4.32 | 10 | 43.2
14 |  |  | FUSE (1.5A) | 6 | 10 | 4.32 | 10 | 43.2
15 |  |  | FUSE (10A) | 6 | 10 | 4.32 | 10 | 43.2
16 |  |  | FUSE (15A) | 11 | 10 | 4.32 | 10 | 43.2
17 |  |  | FUSE 5 A | 6 | 10 | 6.48 | 10 | 64.8
18 |  |  | FUSE 8 A | 11 | 10 | 6.48 | 10 | 64.8
19 |  |  | FUSE 3.2A/250V, SLO-BLOW | 10 | 10 | 3.24 | 10 | 32.4
20 |  |  | COMP ENET ADAPTER | 8 | 1 | 784.08 | 1 | 784.08
21 |  |  | CAP-METALLIZED-MYLAR | 11 | 1 | 32.4 | 1 | 32.4
22 |  |  | RELAY, DPDT, SEALED, NO LAMP | 11 | 1 | 14.04 | 1 | 14.04
23 |  |  | 30A FILTER | 15 | 1 | 277.56 | 1 | 277.56
24 |  |  | TERM. BD (C) | 6 | 1 | 4844.88 | 1 | 4844.88
25 |  |  | TERM. DIGITAL CONT. IN | 6 | 1 | 5184 | 1 | 5184
26 |  |  | TERM. BD DIGITAL CONT. IN | 6 | 1 | 4844.88 | 1 | 4844.88
27 |  |  | TERM. BD RLY/SOLENOID | 6 | 1 | 4844.88 | 1 | 4844.88
28 |  |  | TERM. BD RLY SOLENOID | 6 | 1 | 4507.92 | 1 | 4507.92
29 |  |  | TERMINATION BD.<P> MODULE | 9 | 1 | 4844.88 | 1 | 4844.88
30 |  |  | TERM. BOARD (R-S-T) | 11 | 1 | 4844.88 | 1 | 4844.88
31 |  |  | DRIVE CONTROL CARD | 10 | 1 | 6126.84 | 1 | 6126.84
32 |  |  | LAN COMM CARD | 10 | 1 | 8264.16 | 1 | 8264.16
33 |  |  | TERM. BD (C) ANALOG I/O | 6 | 1 | 4844.88 | 1 | 4844.88
34 |  |  | TERM.BD (C)R-S-T TC I/O | 6 | 1 | 4844.88 | 1 | 4844.88
35 |  |  | TERM BD(R-S-T) ANALOG I/O | 6 | 1 | 4844.88 | 1 | 4844.88
36 |  |  | TC2000 COMMON ANALOG I/O | 10 | 1 | 5607.36 | 1 | 5607.36
37 |  |  | DIG. I/O BD. CONF. COAT | 10 | 1 | 5405.4 | 1 | 5405.4
38 |  |  | EMERGENCY OVER SPEED BOARD | 10 | 1 | 8001.72 | 1 | 8001.72
39 |  |  | COMM. CIRCUITS FOR THE EOS BD. | 9 | 1 | 8001.72 | 1 | 8001.72
40 |  |  | POWER DISTRIBUTION MODULE | 11 | 1 | 6229.44 | 1 | 6229.44
41 |  |  | DC INPUT PWR SUPPLY BOARD | 11 | 1 | 8001.72 | 1 | 8001.72
42 |  |  | (RST) ANALOG I/O BOARD | 10 | 1 | 8001.72 | 1 | 8001.72
43 |  |  | (RST) OVERFLOW BOARD | 10 | 1 | 8001.72 | 1 | 8001.72
44 |  |  | RELAY OUTPUT BOARD | 6 | 1 | 6845.04 | 1 | 6845.04
45 |  |  | GT TMR/SIMPLEX TRIP BD | 6 | 1 | 7442.28 | 1 | 7442.28
46 |  |  | MOV | 15 | 2 | 3.24 | 2 | 6.48
47 |  |  | SILCONE FLAME DETECTOR | 8 | 1 | 908.28 | 1 | 908.28
48 |  |  | CONTACT BLOCK | 13 | 1 | 35.64 | 1 | 35.64

## InitCapitalSpares 7FA
List Total:
19561668.29
GT Turbine Capitals
LINE | CATALOG |  |  |  | REC | UNIT | ORDER | TOTAL
ITEM | NUMBER | PART NAME | PART DESCRIPTION | CYC | QTY | PRICE | QUANTITY | PRICE
____________
1 | G070504 | SHROUD | CASE ARR, TURB, STG 1 SHROUD RNG ASM | 27 | 1 | 830306.2 | 1 | 830306.2
2 | G070507 | SHROUD | CASE ARR, TURB, STG 2 SHROUD RNG ASM | 27 | 1 | 561589.3 | 1 | 561589.3
3 | G07050A | SHROUD | CASE ARR, TURB, STG 3 SHROUD RNG ASM | 37 | 1 | 480475.8 | 1 | 480475.8
4 | G130101 | BLADE | CMPRSR STATR, BLD-IGV | 24 | 64 | 5261.5763 | 64 | 336740.88
5 | G13014X | KIT | CMPRSR STATR, VANE ARR, KIT -BLADES | 37 | 1 | 1702884 | 1 | 1702884
6 | G13032S | KIT | CMPRSR RTR, BLADE KIT | 37 | 1 | 1725981.4 | 1 | 1725981.4
7 | G13052J | KIT | ROTOR, TRBN, BUCKET KIT - 1ST STG | 33 | 1 | 3700119 | 1 | 3700119
8 | G13052M | KIT | ROTOR, TRBN, BUCKET KIT - 2ND STG | 33 | 1 | 2276003 | 1 | 2276003
9 | G13052P | KIT | ROTOR, TRBN, BUCKET KIT - 3RD STG | 33 | 1 | 2591564 | 1 | 2591564
10 | G140100 | NOZZLE-ASM | NOZZ 1ST-STG, ASSEMBLY | 25 | 1 | 1847099 | 1 | 1847099
11 | G140200 | NOZZLE-ASM | NOZZ 2ND STG, ASSEMBLY | 37 | 1 | 1773215 | 1 | 1773215
12 | G140300 | RING-ASM | SPPRT RNG, 1ST-STG ASSEMBLY | 24 | 1 | 47134.71 | 1 | 47134.71
13 | G140900 | NOZZLE-ASM | NOZZLE 3RD STG, ASSEMBLY | 29 | 1 | 1688556 | 1 | 1688556

## Summary
3x7FA Spares
GT OPS | 214120.9973
MSD Spares | 548381
Mark V Spares | 138533.9328
Ci Consumables | 43999.9995
HGP Consumables | 14000.0009
Initial Capital Spares | 19561668.29
20520704.2205