## Sheet1
| TOTAL | 900000.0028
Item | Description | Quantity | Cost Each | Cost Total
Recommended Spares
Valves
| DN150 Butterfly - Wafer Valve | 2 | 109.0483 | 218.0966
| DN15 Ball Valve - reduced bore Threaded female NPT | 2 | 34.56 | 69.12
| DN40 Ball Valve - reduced bore Threaded female NPT | 2 | 107.2512 | 214.5024
| DN150 Ball Valve - reduced bore Flanged | 1 | 691.44 | 691.44
| DN80 Dual Swing Check Valve - Wafer | 1 | 185.6678 | 185.6678
| DN40 Pressure Control Valve (Air) | 1 | 3777.04 | 3777.04
| DN15 Pressure Relief Valve (Air) | 1 | 1173.52 | 1173.53
| DN80 Pressure Control Valve (Fuel) | 1 | 2825.59 | 2825.58
9154.9769
PUMPS
Conditioned Fuel Transfer Pump No. 1
| Ball Bearing | 1 | 993.0816 | 993.0816
| Ball Bearing | 1 | 110.5574 | 110.5574
| Casing Gasket | 1 | 424.9152 | 424.9152
| Deflector | 1 | 475.8682 | 475.8682
| Deflector | 1 | 485.87 | 485.87
| Mechanical Seal | 2 | 4520.3 | 9040.6
11530.8924
Fuel Forwarding Pumps
| Mechanical Seals | 1 | 288 | 288
| Casing Gaskets | 1 | 59.72 | 59.72
347.72
Demineralised Water Pumps No. 2
| Chamfer stack | 1 | 1134.3974 | 1134.3974
| Shaft seal | 1 | 259.5686 | 259.5686
| Viton gasket kit | 1 | 94.2106 | 94.2106
1488.1766
Sludge Transfer Pump
| Diaphragm | 1 | 57.888 | 57.888
| Valve Balls | 2 | 11.5546 | 23.1091
| Valve Seat O-ring | 2 | 5.184 | 10.368
| Glyd ring | 2 | 24.0768 | 48.1536
| Pilot Sleeve Assy | 1 | 274.37 | 274.37
| Pro Flo Air Valve | 1 | 493.6896 | 493.6896
| Gasket Air Valve | 1 | 7.6954 | 7.6954
| Retaining Ring | 2 | 9.6768 | 19.3536
934.6273
Portable Sump Pump
| Basic repair kit (includes bearings & seals) | 1 | 1860.61 | 1860.61
| Portable Sump Pump | 1 | 1601.28 | 1601.28
JOCKEY FIRE FIGHTING PUMP |  |  | #DIV/0! | 0
| O-ring | 1 | 52.151 | 52.151
| O-ring | 1 | 50.953 | 50.953
| Gasket | 1 | 6.7277 | 6.7277
| Coupling complete | 1 | 62.4845 | 62.4845
| Chamber stack | 1 | 596.0448 | 596.0448
| Shaft Seal | 1 | 219.57 | 219.57
4449.821
Diesel Fire Water Pump & Electric Fire Water Pump
| Impeller | 1 | 633.92 | 633.92
| Backplate - Mechanical Seal | 1 | 492.02 | 492.02
| Impeller Washer | 1 | 41.3338 | 41.3338
| Water Slinger | 1 | 2.4077 | 2.4077
| Pump Shaft | 1 | 818.1158 | 818.1158
| Mechanical Seal | 1 | 400.8845 | 400.8845
| Impeller Key | 1 | 49.0291 | 49.0291
| Casing O-ring | 1 | 48.18 | 48.18
| Bearing - Impeller End | 1 | 100.9382 | 100.9382
| Oil Seal - Impeller End | 1 | 9.02 | 9.02
| Oil Seal - Drive End | 1 | 9.4349 | 9.4349
| Bearing - Drive End | 1 | 100.9382 | 100.9382
| Bearing Shim | 1 | 19.93 | 19.93
| Bearing Shim | 1 | 13.6512 | 13.6512
2739.8034
Air Receiver
| Pressure Relieve Valve | 1 | 1163.52 | 1163.52
| Pressure Indicator | 1 | 1324.75 | 1324.75
| Pressure Control Valve | 1 | 3767.04 | 3767.04
6255.31
Air Dryer
| Pre Filter | 1 | 233.7293 | 233.7293
| Pre Filter | 1 | 233.7293 | 233.7293
| Electronic Auto Drain | 1 | 188.7322 | 188.7322
656.1907
Turbine Generators
Twin Pac Turbine Generator
| PICK-UP,VIBRATION | 2 | 1785.6 | 3571.2
| BOLT,HEX HEAD | 6 | 4.32 | 25.92
| BOLT | 10 | 14.9184 | 149.184
| PACKING | 5 | 14.4 | 72
| SHAFT,FT OUTPUT | 1 | 55296 | 55296
| BOLT,D-HEAD | 10 | 17.28 | 172.8
| NUT | 10 | 19.9411 | 199.4112
| LOCK TAB | 36 | 25.92 | 933.12
| BOLT | 30 | 13.248 | 397.44
| BOLT | 12 | 16.416 | 196.992
| BOLT | 20 | 18.144 | 362.88
| BOLT | 20 | 21.024 | 420.48
| BOLT,HEX HEAD | 20 | 8.2829 | 165.6576
| BOLT | 50 | 7.2 | 360
| TRANSDUCER | 2 | 1836 | 3672
| GASKET | 8 | 14.4 | 115.2
| BOLT | 10 | 12.096 | 120.96
| SOLENOID | 6 | 17280 | 103680
| PACKING | 5 | 2.1658 | 10.8288
| PACKING | 5 | 3.456 | 17.28
| PACKING | 5 | 9.3658 | 46.8288
| PACKING | 5 | 1.728 | 8.64
| PACKING | 5 | 0.576 | 2.88
| PACKING | 5 | 1.152 | 5.76
| PACKING | 5 | 3.456 | 17.28
| PACKING | 5 | 1.44 | 7.2
| PACKING | 5 | 2.88 | 14.4
| PACKING | 5 | 2.304 | 11.52
| PACKING | 5 | 1.9584 | 9.792
| PACKING | 5 | 1.728 | 8.64
| PACKING | 5 | 1.728 | 8.64
| PACKING | 5 | 1.3133 | 6.5664
| BOLT | 10 | 7.1309 | 71.3088
| BOLT | 10 | 4.32 | 43.2
| BOLT | 10 | 4.32 | 43.2
| BOLT | 10 | 6.336 | 63.36
| BOLT | 10 | 13.3978 | 133.9776
| BOLT | 10 | 4.32 | 43.2
| BOLT | 10 | 8.64 | 86.4
| BOLT | 10 | 14.112 | 141.12
| FUEL PUMP "C" | 1 | 40320 | 40320
| EXCITER C | 2 | 21600 | 43200
| THERMOCOUPLE | 6 | 1296 | 7776
| NUT | 12 | 4.6771 | 56.1254
| NUT | 12 | 4.6771 | 56.1254
| WASHER | 12 | 0.576 | 6.912
| WASHER | 12 | 0.576 | 6.912
| BLEED VALVE KIT | 2 | 288 | 576
| TRANSDUCERS | 4 | 1134.72 | 4538.88
| VANE,T-1 C-MODEL | 1 | 2073.6 | 2073.6
| VANE,T-1 A-MODEL | 1 | 720 | 720
| VANE,T-1 A-11 MODEL | 1 | 2073.6 | 2073.6
| STRAINER | 1 | 446.4 | 446.4
| SEAL | 10 | 86.4 | 864
| SEAL | 10 | 93.6 | 936
| FILTER | 5 | 4608 | 23040
| PACKING | 5 | 8.64 | 43.2
| VALVE,SHUT-OFF - C | 1 | 11462.4 | 11462.4
| PACKING | 5 | 17.9251 | 89.6256
| HARNESS, T7 THERMOCOUPLE (L/H) | 2 | 9924.48 | 19848.96
| HARNESS, T7 THERMOCOUPLE (R/H) | 2 | 9924.48 | 19848.96
| PUMP,MAIN OIL | 1 | 43776 | 43776
| VALVE,P&D | 1 | 36864 | 36864
| STARTER,TDI | 1 | 9792 | 9792
| FUEL PUMP "A" | 1 | 43776 | 43776
| EXCITER A | 2 | 11520 | 23040
| MOD VALVE,LIQUID C | 2 | 40320 | 80640
| MANIFOLD,LIQUID | 1 | 51840 | 51840
| PUMP,MAIN OIL - FT | 1 | 23040 | 23040
| BOLT,COUPLING | 50 | 86.976 | 4348.8
| NUT,COUPLING | 50 | 43.2 | 2160
| WASHER,INSULATION | 72 | 20.16 | 1451.52
| BUSHING,INSULATION | 72 | 20.16 | 1451.52
| BOLT,COUPLING | 18 | 75.168 | 1353.024
| NUT,COUPLING | 18 | 48.96 | 881.28
| WASHER,KEY | 20 | 1.728 | 34.56
| BOLT | 20 | 10.08 | 201.6
| PACKING | 5 | 38.7648 | 193.824
| BOLT | 10 | 8.64 | 86.4
| BOLT | 50 | 16.8768 | 843.84
| VALVE,SOV ALTAIR | 1 | 6681.6 | 6681.6
| BOLT | 10 | 15.552 | 155.52
| WASHER,KEY | 10 | 4.32 | 43.2
| TABWASHER | 10 | 3.744 | 37.44
| BOLT | 10 | 16.5197 | 165.1968
| NUT | 30 | 7.2 | 216
| BOLT | 30 | 25.92 | 777.6
| BLEED VALVE - UPPER | 1 | 31680 | 31680
| BLEED VALVE - RIGHT | 1 | 31680 | 31680
| BLEED VALVE - LEFT | 1 | 31680 | 31680
| FILTER SET AIR | 1 | 60825.6 | 60825.6
838413.4925
Twin Pac Air Compressors
Twin Pac Air Compressor - Type 30
| Inlet filter element - 10 micron | 2 | 65.4912 | 130.9824
| UL104B Valve - O-ring | 2 | 99.5789 | 199.1578
| UL104B Valve - seat - condensate drain | 2 | 56.3558 | 112.7117
| UL104B Valve - O-ring | 2 | 11.1514 | 22.3027
| Compressor frame assembly - O-ring | 2 | 11.6237 | 23.2474
| Compressor frame assy - gasket, frame end cover | 2 | 25.9891 | 51.9782
| Compressor frame assy - pilot valve | 2 | 84.7526 | 169.5053
| Compressor frame assy - thrust pin assembly | 2 | 63.0374 | 126.0749
| Compressor frame assy - centrifugal unloader spring | 2 | 153.5846 | 307.1693
| Compressor frame assy - connecting rod | 2 | 521.5565 | 1043.113
| Compressor frame assy - connecting rod | 2 | 439.511 | 879.0221
| Compressor frame assy - oil seal | 2 | 134.496 | 268.992
| Compressor frame assy - gasket, shaft end cover | 2 | 14.112 | 28.224
| Bare compressor check valve - H.P | 2 | 628.3008 | 1256.6016
| Bare compressor - air head gasket | 2 | 8.9856 | 17.9712
| Bare compressor - air head gasket | 2 | 14.688 | 29.376
| Bare compressor - flange gasket | 2 | 22.5446 | 45.0893
| Bare compressor - air head gasket - top/bottom | 2 | 17.568 | 35.136
| Bare compressor - air head gasket | 2 | 13.9046 | 27.8093
| Bare compressor - air head gasket - top/bottom | 2 | 25.632 | 51.264
| Bare compressor - air head gasket | 2 | 30.1018 | 60.2035
| Bare compressor - 2 way solenoid valve | 2 | 533.664 | 1067.328
| Bare compressor - 3 way solenoid valve | 2 | 533.664 | 1067.328
| Piston ring assy - piston/pin 1.625" 3rd stage | 2 | 839.2205 | 1678.441
| Piston ring assy - ring set | 2 | 129.1507 | 258.3014
| Piston ring assy - piston/pin 3" 2nd stage | 2 | 479.2896 | 958.5792
| Piston ring assy - ring set | 2 | 80.3866 | 160.7731
| Piston ring assy - piston/pin 5.5" 1st stage | 2 | 620.3405 | 1240.681
| Piston ring assy - ring set | 2 | 128.9318 | 257.8637
| 20 GA Valve assy - complete | 2 | 1000.1664 | 2000.3328
| 20 GA Valve discharge plate | 2 | 90.3398 | 180.6797
| 20 GA Valve discharge spring | 2 | 48.3494 | 96.6989
| 20 GA Valve washer, Belleville-5/8 | 2 | 18.1325 | 36.265
| 20 GA Valve inlet spring | 2 | 48.3494 | 96.6989
| 20 GA Valve inlet plate | 2 | 90.3398 | 180.6797
| 35 GA Valve assy - complete | 2 | 1218.6662 | 2437.3325
| 35 GA Valve discharge plate | 2 | 100.3162 | 200.6323
| 35 GA Valve discharge spring | 2 | 87.4714 | 174.9427
| 35 GA Valve washer, Belleville-5/8 | 2 | 18.1325 | 36.265
| 35 GA Valve inlet spring | 2 | 112.009 | 224.0179
| 35 GA Valve inlet plate | 2 | 99.7286 | 199.4573
| 50 GA Valve assy - complete | 2 | 1499.6045 | 2999.209
| 50 GA Valve discharge plate | 2 | 99.8784 | 199.7568
| 50 GA Valve discharge spring | 2 | 112.009 | 224.0179
| 50 GA Valve washer, Belleville-5/8 | 2 | 23.8003 | 47.6006
| 50 GA Valve inlet spring | 2 | 56.8627 | 113.7254
| 50 GA Valve inlet plate | 2 | 118.8749 | 237.7498
| Intercooler Safety Valve 60 psig | 2 | 43.3613 | 86.7226
| Intercooler Safety Valve 260 psig | 2 | 43.3613 | 86.7226
| Intercooler pressure gauge 100 psig | 2 | 90.6163 | 181.2326
| Intercooler pressure gauge 300 psig | 2 | 85.0752 | 170.1504
| Intercooler tube assy - finned 36" | 2 | 163.8144 | 327.6288
| Intercooler tube assy - finned 38-3/4" | 2 | 163.8144 | 327.6288
| Intercooler tube assy - finned 41-1/2" | 2 | 163.8144 | 327.6288
| Intercooler manifold gasket | 2 | 11.808 | 23.616
| Aftercooler tubing - finned | 2 | 163.8144 | 327.6288
| Aftercooler safety valve 1400 psi | 2 | 242.6342 | 485.2685
| Compressor drive accessories - V belt 900 rpm | 2 | 105.8688 | 211.7376
| Compressor drive accessories - V belt 555 & 750 rpm | 2 | 105.8688 | 211.7376
24028.992