DISMANTLING, REMOVAL, INSTALLATION & COMMISSIONING

OF (2) GE FRAME 7EA GAS TURBINE GENERATORS

AT THE GENERAL RAFAEL URDANETA

TERMOELECTRIC POWER COMPLEX

(ENGLISH TRANSLATION)

SECTION II

General Terms and Conditions

A. GENERAL CONDITIONS

1. SUBCONTRACTORS.

CONTRACTOR in the next 15 (fifteen) days from the signing of Minutes of Home, subject to approval of THE CONTRACTING ENTITY a complete list of names and addresses of all Subcontractors proposed for the Work, together with the extent of Work to be performed by each. Subcontractors subsequently engaged by the Contractor, likewise, be subject to the approval of THE CONTRACTING ENTITY. No approval will release the Contractor of any of the obligations of the contract. CONTRACTOR shall maintain liability Ente as if any SUB-CONTRACTOR has been awarded. 

The contractor is responsible for the acts or omissions of all subcontractors and persons employed by them. If sufficient reason, at any time during the progress of the work, CONTRACTOR ENTE determines that any subcontractor is incompetent, it shall notify the Contractor, who shall within a period not exceeding fifteen (15) days to take the corrective actions necessary to resolve the issues raised. Not taken the necessary corrective action within the time stipulated, the Contractor shall proceed to terminate the subcontract. EL ENTE CONTRACTOR shall not be liable for delays or costs incurred by the Contractor by hand or disapproval of a subcontractor. 

CONTRACTOR shall incorporate the relevant sections of these specifications in all subcontracts, so that each Subcontractor shall be attached to the contract as they apply to the development of their part of the Work. Nothing creates a compromise between a subcontractor and THE CONTRACTING ENTITY or any obligation on the part of THE CONTRACTING ENTITY to pay or ensure payment of any sum to a subcontractor of CONTRACTOR. 

A) OBLIGATION TO SUB FOR THE IMPLEMENTATION OF THE WORK TO SMIs, BUSINESS OPTIONS AND / OR COOPERATIVES.

a. It constitutes an obligation for the company that obtains the good pro, the alternative hiring of cooperative associations and/or companies or Pymis with a list annual average of forty workers (40) and whose level of financial hiring east between levels I and III, for the execution of the following services:

- Cleaning of Constructions.

- Transport of Personnel.

- Demarcation and Signaling

- Provision of meals and refreshments

- Monitoring without armament

- Harvesting and elimination of nontoxic remainders.

- Control of Vegetation: it itches and it prunes

- Waterproofing and painting.

Each of these workings, will have to be developed by Cooperative Associations and/or different Alternative companies.

If by application of the obligation anticipated in this clause partnerships constituted by PYMI´s are subcontracted, alternative companies and/or cooperative these will not be able to modify their composition without the previous authorization given in writing on the part of the OWNER, for which the Partnership will have to present/display to the approval of the OWNER all the information that is necessary for the evaluation of or the substitutes. The OWNER will be able to refuse to such modification, in which case the Partnership will have to culminate the execution of the Contract conserving its original conformation. In case of being beneficiary (s) from sub-contracting by virtue of the established thing in the present clause; The OWNER will have the right to audit during the execution of the Contract and until for three (3) years after the completion of the Contract, books, archives, contracts and other documents of the PYMI´s, alternative and/or cooperative companies, of the Partnerships in which these participate and in the integral companies of these Partnerships, related to the Contract, to the aims to verify that in the execution of the same acts do not take place that transgress the intention of the granted preference. The OWNER will be able to order the CONTRACTOR to give by finished the subcontract in case it determines that the PYMI´s, Cooperative Association and/or Alternativa Company, (n) have carried out acts that manage or try to weaken the preferences anticipated in this Sheet, without he is originating in such cases the indemnification payment some.

2. PERMISSIONS

2,1 PERMISSIONS WITH THIRD PARTIES. The OWNER will support to the Contratista company in the obtaining of the associated permissions to carry out works in areas that are property of third parties, such as PDVSA.

2,2 ENVIRONMENTAL PERMISSIONS AND OF OPERATION The OWNER will manage and obtain in the dates required according to the CRONOGRAM OF the PROJECT, the necessary permissions before the national governmental organisms, of the state and policemen for the construction and operation of the Units of Generation in the area of the project. The CONTRACTOR will have to provide opportunely, according to the CRONOGRAM OF the PROJECT, all the technical information related to the construction of the WORK and its impact to the atmosphere, demanded by the national and regional authorities for the procedure of the corresponding permissions. The delay in the information delivery, on the part of the CONTRACTOR, necessary for the obtaining of the corresponding permissions, that affect the run time of the WORK, will have to be absorbed in the CRONOGRAM OF the PROJECT by the CONTRACTOR, without it implies modification or extension of the implementation time of the WORK, because they will be the responsibility of the CONTRACTOR. In case of delay in the obtaining of the permissions by causes imputable to the OWNER, the predicted thing in the Clause of penalties will be applied.

3. INDEMNIFICATIONS AND INSURANCES

The CONTRACTOR will be the unique person in charge of, and will be forced to, to take care of and to execute all the suitable measures of security in Obra, necessary or advisable for the accident prevention and will fulfill all the laws, rules and regulations applicable to the WORK, to avoid damage, loss or damages of any type or nature, to any person or property. The CONTRACTOR, previous notification with the had diligence to be able to defend the case and receipt of the documentation that has the OWNER and corresponding authorizations, agrees upon compensating, defending and to support the OWNER, OTHER CONTRACTORS and to his agents, free of direct damages, legal demands, actions, procedures, responsibilities, costs, expenses, including reasonable expenses of the lawyers, caused against the OWNER, due to corporal injuries or death of any employee of the OWNER, or damage towards the tangible property of the OWNER or its agents caused exclusively and directly by the negligence of the CONTRACTOR, SUBCONTRACTORS, their employees or its agents. The OWNER, previous notification with the had diligence to be able to defend the case and receipt of the documentation that has the corresponding CONTRACTOR and authorizations, agrees upon compensating, defending and to support the CONTRACTOR, SUBCONTRACTORS and free agents of direct damages of and against legal reclamations, demands, actions, procedures, responsibilities, costs, expenses, including reasonable expenses of the lawyers, against the CONTRACTOR, due to corporal injuries or death of any employee of the CONTRACTOR, SUBCONTRACTORS and agents, or damage towards the tangible property of the CONTRACTOR, SUBCONTRACTORS and agents, caused exclusively and directly by the negligence of the OWNER, OTHER CONTRACTORS, its employees or their agents. The CONTRACTOR agrees, without limiting his obligations and responsibilities, in constituting Insurance policies of Supervisory or Individual Personal Accidents or Collective Responsibility in all the work areas including in areas covered by the I.V.S.S, Insurance policies

General civilian and of Civil Responsibility for Vehicles, in the cases that last one applies this one. These policies, whose conditions, forms and I matter they will be subject to the approval of the OWNER, will be maintained in use throughout the run time of OBRA (IPC) until the DEFINITIVE ACCEPTANCE and the amount of the respective premiums could be cancelled by order of the OWNER, according to the established thing in the Clause Seventh of this CONTRACT, unless the same have been obtained by the CONTRACTOR, to satisfaction of the OWNER. Policy of Personal Accidents, the minimum amounts will be the following:

Accidental death ........... Versus. F.20.000, 00

Permanent dissability…. Versus. F 20,000, 00

Medical expenses .............. Versus. F. 2,000, 00

Funeral expenses .......... Versus. F 2,000, 00

Policy of Supervisory Responsibility, the amounts assured for each employee must be like minimums the same that settle down for the policy of Personal Accidents and nonsmaller

Catastrophic Limite of Versus. F. 200,000, 00

Policy of Civil Responsibility of Vehicles, the contracted minimum amounts must be the following: The established thing in the Law of Transit of Terrestrial according to the type of vehicle (like basic) An excess of Bs.F. 25.000, 00

Without limiting the responsibility settled down in the CONTRACT, the CONTRACTOR will obtain and maintain to his expenses, during the use of this CONTRACT (including the period of guarantee) until the DEFINITIVE ACCEPTANCE, safe of the types and settled down minimum amounts down:

1. Surely of General Civil Responsibility, against its responsibility by damages, death, (corporal damages) (including a any employee of the OWNER) or any property that is inside or outside the CONTRACT. This insurance will also include an indemnification to the OWNER with a limit by event of (Two million Dollars) (U.S. $ 2.000.000, 00) that giving fulfillment to articles from the 116 to the 119 of the law of the Central bank of Venezuela, is equivalent a (four million three hundred of thousand Bolivars Strong with zero pennies) (Bs.F 4.300.000, 00) by each one of the losses, graces period in bolivars to the effective rate official in the Central bank from Venezuela to the date of the payment (and that this one is not cumulative annually).

2. Surely All Risk of Obra under contract to name of the CONTRACTOR and the OWNER, jointly, with respect to OBRA (IPC) by the total value of its replacement in case of total losses or damage by any cause within the terms usually assured for this type OBRA (IPC) under reasonable terms (including Greater Force, usually assured for this type OBRA (IPC), to where as surely he is available in reasonable terms). Also it must extend to cover a policy for other properties with the OWNER that is in the adyacencias until (a million Dollars) U.S. $1.000.000, 00 that giving fulfillment to articles from the 116 to the 119 of the law of the Central bank of Venezuela, is equivalent a (Two million one hundred fifty thousand Bolivars Strong with zero pennies) Bs.F. 2.150.000, 00, graces period in Strong Bolivars to the effective official rate in the Central bank from Venezuela to the date of the payment. The Policy of General Civil Responsibility will include cover for the responsibility assumed by the CONTRACTOR according to the laws of Venezuela, with a limit of not less than above specified in Subparagraph 1. The Certificates of Insurances that will be provided in agreement with this Clause, they will reflect such covers and they will name and include to the OWNER like additional insured. The CONTRACTOR will have to provide to the OWNER information on the name of the Leader or Leaders of Reinsurance as well as the Insurance agencies. These Insurance policies will be emitted by a Company or Companies enrolled in the Registry of Commerce of Venezuela, and in the Supervision of Insurances. Before beginning any work, the CONTRACTOR will provide to the Certificates, in triplicate, demonstrating the covers of these Policies. By virtue of this, before beginning any work, to any SUBCONTRACTOR of the CONTRACTOR he will also require himself to obtain and to maintain to him during the use of the subcontract with this SUBCONTRACTOR, the insurances required by the CONTRACTOR. The CONTRACTOR assumes the responsibility by the observance of these SUBCONTRACTORS. All the covers required here will have to be placed with insuring that are acceptable for the OWNER. The mentioned insurance policies in the previous paragraph must express that the insurance agencies resign to the subrogation rights that could exert against the OWNER or its personnel, and who the insurance will not be cancelled before finishing OBRA (IPC) and without giving warning in writing to the OWNER with thirty (30) working days, at least, of anticipation. The policies also must at least satisfy the minimum norms that could demand the OWNER, among other things, related to the effectiveness, use and authenticity of the policies. In the cases that (s) the policy (s) is (n) obtained directly by the CONTRACTOR, and to object to avoid any doubt that the same cover the responsibilities with that one with the OWNER, the CONTRACTOR will obtain from the insuring company, a certificate or endorsement in the policy, describing the reach of the policy and that covers the requirements established in this CONTRACT. Before beginning the execution of OBRA (IPC), in the cases of policies obtained directly by the CONTRACTOR, the OWNER will be able to require of this the presentation of a certificate where it is pointed out that is properly insured in agreement with the settled down thing in the present Clause.

4. QUALITY CONTROL

The contractor will have to count on a quality program that she indicates, in the form of picture summarize: components, Equipment or civil, mechanical or electrical works, of being the case, to which they are going away to them to carry out the tests, tests to realise, objective of the test, norms under which the tests are in force, defect acceptance number, zone of the component to which one tests and stage to him of the involved process, considering like stages of the process: tests in make, tests in site and tests in the put into operation. It is responsibility OF the CONTRACTOR to prepare and to give a weekly report of the physical advance of the project, according to the specified thing in the engineering specifications and additionally must maintain updated Libro de Obra of the Project

The CONTRACTOR, will have to give with sufficient time of advance the cronogram of accomplishment of the tests, as well as the procedures to follow to realise the tests, to the different components object from the present specification. The CONTRACTOR will have to put at the disposal of the OWNER at the moment at which this one she considers it necessary, the norms indicated in the picture summarize of the Quality program. The Quality program will have to consider, for each one of the equipment, components or civil, mechanical or electrical works established in the present engineering specifications or their defect established thing, in the measurement of application, the norms International PDVSA, COBENIN, Nationals or. The Quality program will be under approval and commentaries on the part of the OWNER, reason by which will have to be realised any change or inclusion of additional tests that they are required, to request of the OWNER.

5. ADDITIONAL INFORMATION

The Contractor will have to consider in his supply all regarding the payments of taxes, insurance premiums (they include the insurances by damages to third parties and facilities of the OWNER and the Insurance of Construction Against All Risk), tests of operation for acceptance and guarantees, and any other position that generates by the defined reach the supply will have to in detail detach the expenses by these concepts. In case of rejection of the works on the part of the Inspection of the OWNER, not to fulfill the technical specifications, norms, planes or other elements, the CONTRACTOR will have independently to remake them, until his definitive acceptance and he will not be causal of extension of the downtime. The Contractor will have to consider the study of supply route, for the transfer of the equipment from the port and/or airport to site of the work. If in the stage of execution of the works one takes place any damage to equipment and facilities property of the OWNER or some third party, its correction repair and cost will be in charge of the CONTRACTOR. The CONTRACTOR and his SUB CONTRACTORS are responsible to obtain or to renew their License before the Direction of Municipal Rents of the Mayorship in whose territory the activity is executed that causes the municipal taxes. The contractors will have to fulfill all the requirements of declarations asked for by the Mayorship of the Municipality where the service all the corresponding one for effects of the payment of its invoices is lent, or that they make the payment corresponding to (s) the Mayorship (s) or that a.c. Electrical Energy of Venezuela is declared Hold-back agent by the referred Municipality. The company

favored with the good pro it will have to directly pay to the Municipality the corresponding taxes in case the OWNER is not declared hold-back agent. The contractors and subcontractors involved in the execution of the work whose address is in the Zulia State will have to be reliable with the payment of the service of electricity. The Offerers will favor the incorporation of goods with added value national.

B. GENERAL TECHNICAL ASPECTS

1. CONDITIONS OF THE GOODS The goods supplied for Line B that include the consumable spare parts for the adjustment for operation with liquid fuel, spare parts and for the beginning of operation and the wiring of power and control, must be new, of recent manufacture. Used, repaired, reclaimed goods are not accepted, in evil been or with visible signs of deterioration.

2. RUN TIME OF THE WORK

In order to reach the Run time, the CONTRACTOR will have to fulfill the following minimum requirements:

FOR LINE B In order to reach the Run time, the CONTRACTOR will have to fulfill the following minimum requirements:

• Ninety and Five percent (95%) of the Guarantee of Yield for the power output with liquid fuel.

• To give to three (03) copies of the historical dossier of the Installation and Beginning.

3. GUARANTEE OF THE WORK.

The CONTRACTOR guarantees the OWNER that the Equipment to be given in each one of the lines stipulated here appropriately will be disassembled, transported, adapted and mounted in conditions apt for its intention to generate electricity when they are operated with Liquid fuel (N°2 Distillate) and gas in agreement with the specific instructions of operation OF the OWNER and in the absence of the described thing in this contract, in agreement with generally accepted the operational practices of the Electrical Industry, is free of defects in the material, manpower and the title.

4) Period of Correction

During the Period of Correction the OWNER will have to facilitate the Unit to the CONTRACTOR to be able to take the remedial actions. The programming for these activities will be decided mutually with OWNER with the purpose of to limit the nonavailability of the unit. The CONTRACTOR will be able at any time during the Period of Correction, to pay to the OWNER the appropriate amount by damages and damages by breach of the yield guarantees.

5) Industrial Security

Basic minimum requirements as far as the Personal Protective equipment to give fulfillment with the established thing in the applied policies of Industrial Security in the OWNER, all this based on Art.s 06, 19, 20 of the Statutory law of Prevention, Conditions and Environment of Trabajo (LOPCYMAT).

1. Equipment and/or accessories of personal protection: They are all those implementos destined to protect to the worker against external agents who can cause an injury or professional disease.

1.1 Footwear of security (NORM COBENIN 39): It is that one footwear that it has as an aim to provide comfort and protection on the feet of the user, diminishing the risk to the electrical contact, impacts or compressing forces. It is possible to emphasize that no footwear of security can be used by itself like unique protection to carry out work where the energizadas possibility of contact with apparatuses or parts exists electrically. The footwear used in the plants of generation of the OWNER is of the type “Brodekin” or footwear with a height nongreater to 12 cm.

Requirements to fulfill for its correct use:

• Compressive strenght.

• Fatigue strenght.

• Resistance to the impact.

Electrical isolation.

• Hardness of the floor.

The footwear must be comfortable, aesthetically acceptable and not to produce annoyances to the toes or heel according to the design aspects and materials. Toes of security that are resistant to the impact, understanding and to the corrosion, established in the Norm COBENIN 1008 Toes for footwear of industrial security (NORM COBENIN 1008): It is a piece of material adapted of a form and design like a to be including in the Footwear of security, provides protection to the fingers of the user.

1.2 Helmets of security (NORM COBENIN 815): It is an armor in the form of cupola that is used to provide partial or total protection at the top.

• Visor: It is the part integrated to the cupola that extends forwards on the eyes.

• Suspension: They are the internal implementos of the helmet that hold at the top.

• Crown: It is the part of the suspension that rests on the head and it is united indirectly to the cupola by four or six strap directly integrated or her and that it can take to weave tapes special in the part superior to cushion the impact.

• Band of sweat: It is a fixed and/or replacable part of the adjustable band of head that has contact with the forehead and serves to absorb the sweat of the same.

The helmet used in the OWNER for the Companies Suppliers of Servicios (PDS) and Associations of Cooperatives must be: Helmets without in excess wing that include visor, these must be of Red color. Class (b): They are those destining to reduce the force of impacts of objects falling, besides reducing the danger of contact with exhibited conductors of high voltage (20,000 v).

Requirements that must fulfill the helmets for their correct use:

• Electrical isolation.

• Resistance to the impact.

• Resistance to the penetration.

• Resistance to the boiling water.

• Inflammability.

• Water absorption.

The cap and the suspension provide protection limited against the impact and the penetration with objects that fall in the part superior of the helmet, “PROTECTS” of the blows against impact or penetration in form limited by the front, side or later part of the helmet; “IT PROTECTS” of electrical risks of high voltage but “IT AVOIDS” the contact of the cap with electrical cables or equipment energizados in evil been. It does not alter, it perforates or it modifies the cap or suspension, this diminishes the protection against impacts and destroys the dielectric protection.

1.3 Auditory protectors (NORM COBENIN 871): It is a device that is used to protect the auditory system of the effects of the noise. The recommended and used auditory protector for works in the OWNER is of the type: Permanent auricular cork: It is that one auricular cork of form and permanent size and that the pair must come united by a cord. Bedspread or glass: He is an auditory protector who adapts habitually on the pavilion of the ear with a defense soft and that is maintained adapted by a band in the head or by means of means to a security helmet On guard. Requirements that must fulfill the auditory protectors for their correct use:

• Resistance to high temperatures.

• Resistance of shock.

• Resistance of vibration.

• Easy to clean.

1.4 Gloves of work (NORM COBENIN 1927): It is a piece with the separated fingers used to protect the hand of the wrist. Requirements that must fulfill the gloves of work for their suitable use: • The type of leather will have to be carnaza it will in particular use, it in all the parts of the glove or a part.

• It will not have to present/display you cut or sharp cracks, nor surfaces, as well as that galling does not produce, nor wounded to the being used by the user.

It must have certain degree of flexibility that allows the free maneuverability him to the user, without it diminishes the characteristics of the glove.

1.5 Eye shields and face (NORM COBENIN 955): It is transparent glass means or plastic I color or colorless, through what the user can see, mounted in an appropriate armor. The eye shields and face recommended and used for works in the OWNER must fulfill the following characteristics: They must fulfill international norm ANSI Z87.1-1989 and COBENIN 955. The lens must be clear color for normal works, green gray or for works outdoors and amber for works of inspection in such a way that the user can see, mounted in an appropriate armor. Made with 100% POLYCARBONATE. To own lateral protective barriers with ventilation, among others.

1.6 Respiratory protection (COBENIN NORM 1056 - I): It is a designed device to protect the user of the inhalation of polluting agents, as well as, of the deficiency of I oxygenate. The respiratory protective equipment can be of average complete expensive face or, reason why their respective filters are classified according to their ability to catch different types from polluting agents following the concentration levels of these polluting agents.