EXHIBIT A

TO

ASSIGNMENT AND BILL OF SALE

DESCRIPTION OF EQUIPMENT

Gas Turbine

General Electric LM2500 PE

Gas Generator Serial Number: 691-098

Power Turbine Serial Number: 4013080-586P03  07482

Generator

GEC Turbine Generators Limited

26375 KVA 12470 VAC 1121 Amps

Serial Number: S3435/01/2201

Gas Turbine Package and Inlet Filter House

Turbine Generator Controls & Relay Protection

Water Injection Skid

Gas Turbine and Generator Lube Storage Systems with Fin Fan Cooler

Turbine Water Wash System

Hydraulic Starter Skid

Natural Gas Control Skid/Valves

Motor Control Center for Turbine and Generator Auxiliaries

Spare Parts and Additional Misc Equipment

1.   Gen L/oil pump /Motor

2.   “I” Beam for pulling Gas Turbine

3.   2 HMI computers for Gas Turbine

4.   Spare Filters for Hyd Start Skid, Turbine L/oil ,Gen L/oil

5.   Generator Air Filters

6.   2 ea pressure switches

7.   Accelerometer and Cable.

8.  RTD for Turbine.

9.  T54 Harness.

10. Center of Gravity Lift Fixture for mounting to Turbine for removal or Install.

11. Spare Water injection pump motors – Qty 2.

12. Spare NOx water forwarding pump motor.

13.  Spare Control Cards listed below:

ABPLCK 1771IXE Thermocouple/Milliv Lnx

ABPLC 1771NOC High Resolution ISO Lnx

ABPLC 1785L40L Extended Local PLC5 Lnx

ABPLC 1771P4R Power Supply, Redund Lnx

ABPLC 1771IA Input Module, 120V lnx

ABPLC 1771IFE Analog Input

ABPLC 17710AD 120V Output 16

ABPLC 1771IAD 120v AC/DC 16 inputs

ABPLC 1771IBD Input Module 10 - 30 lnx

ABPLC 17710BD 10/60V dc output mo Lnx

ABPLC 17710A 120V AC Output Modu Lnx

ABPLC 1771IR RTD input module, 3 lnx

ABPLC 1771ALX local I/O ADA LNX

AB PLC 500 1747-L553 Processor