## Pratt Whitney TP1-PES10-1418
TP-1 Item & Photo Number | PES 10-1418 METAL TAG NUMBER | 291 Longczak Drive, Hangar 15, Chicopee, MA 01022 - PRATT & WHITNEY TWIN PACK TP-1 - Description | QTY | Crating Instructions | Length (inches) | Width (inches) | Height (inches) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt)
TP1-1 | PES-1001 | GG/ FT with Baseplate, GG S/N P686625, FT S/N 600530 | 1 | Crate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30000 | 13607.7711 | 13.605
TP1-2 | PES-1002 | GG/ FT with Baseplate, GG S/N P686626, FT S/N 600528 | 1 | Crate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30000 | 13607.7711 | 13.605
TP1-3 | PES-1003 | Inlet Filter House | 1 | Enclosure with plywood and banding; shrink wrap | 236 | 134 | 130 | 2379.1204 | 5.9944 | 5.9944 | 3.4036 | 15.3924 | 0 | 0 | 0
TP1-4 | PES-1004 | Inlet Filter House | 1 | Enclosure with plywood and banding; shrink wrap | 236 | 134 | 130 | 2379.1204 | 5.9944 | 5.9944 | 3.4036 | 15.3924 | 0 | 0 | 0
TP1-5 | PES-1005 | Lube Oil Cooler Hoods - 1 of 4 | 1 | Skidded and Boxed | 127 | 99 | 66 | 480.2188 | 3.2258 | 3.2258 | 2.5146 | 8.9662 | 0 | 0 | 0
TP1-5 | PES-1043 | Lube Oil Cooler Hoods - 2 of 4 | 1 | Skidded and Boxed | 127 | 99 | 66
TP1-5 | PES-1044 | Lube Oil Cooler Hoods - 3 of 4 | 1 | Skidded and Boxed | 127 | 99 | 66
TP1-5 | PES-1045 | Lube Oil Cooler Hoods - 4 of 4 | 1 | Skidded and Boxed | 127 | 99 | 66
TP1-6 | PES-1006 | Inlet Filter Silencer Stack | 1 | Needs skid, box plywood on top | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP1-7 | PES-1007 | GG/ FT Enclosure | 1 | Weld inside beams | 498 | 142 | 135 | 5524.6875 | 12.6492 | 12.6492 | 3.6068 | 28.9052 | 0 | 0 | 0
TP1-8 | PES-1008 | GG/ FT Enclosure | 1 | Weld inside beams | 498 | 142 | 135 | 5524.6875 | 12.6492 | 12.6492 | 3.6068 | 28.9052 | 0 | 0 | 0
TP1-9 | PES-1009 | Start Package | 1 | Needs skid, cover glass and hood covers, shrink wrap | 276 | 144 | 120 | 2760 | 7.0104 | 7.0104 | 3.6576 | 17.6784 | 0 | 0 | 0
TP1-10 | PES-1010 | Switchgear Enclosure | 1 | Shrink wrap | 153 | 132 | 116 | 1355.75 | 3.8862 | 3.8862 | 3.3528 | 11.1252 | 0 | 0 | 0
TP1-11 | PES-1011 | Control House | 1 | Cover hole on roof; shrink wrap, remove lift eye | 303 | 141 | 135 | 3337.7344 | 7.6962 | 7.6962 | 3.5814 | 18.9738 | 0 | 0 | 0
TP1-12 | PES-1012 | Generator Exhaust Hood | 1 | Skid, plywood top, shrink wrap | 231 | 93 | 96 | 1193.5 | 5.8674 | 5.8674 | 2.3622 | 14.097 | 2000 | 907.1847 | 0.907
TP1-13 | PES-1013 | Generator Exhaust Stack | 1 | Skid | 141 | 112 | 144 | 1316 | 3.5814 | 3.5814 | 2.8448 | 10.0076 | 6000 | 2721.5542 | 2.721
TP1-14 | PES-1014 | Inlet Filter Silencer Stack | 1 | Needs a skid and box or plywood on top covered | 135 | 138 | 91 | 981.0938 | 3.429 | 3.429 | 3.5052 | 10.3632 | 0 | 0 | 0
TP1-15 | PES-1015 | Generator Enclosure Top Section | 1 | Skid and covered | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP1-16 | PES-1016 | Generator Enclosure Side Section | 1 | Skid and boxed | 288 | 96 | 60 | 960 | 7.3152 | 7.3152 | 2.4384 | 17.0688 | 0 | 0 | 0
TP1-17 | PES-1017 | Generator Enclosure Side Section | 1 | Skid and boxed | 288 | 96 | 60 | 960 | 7.3152 | 7.3152 | 2.4384 | 17.0688 | 0 | 0 | 0
TP1-18 | PES-1018 | Fuel Forwarding Skid | 1 | Small box hardware w/strainer | 87 | 52 | 64 | 167.5556 | 2.2098 | 2.2098 | 1.3208 | 5.7404 | 0 | 0 | 0
TP1-19 | PES-1019 | Generator Lube Oil Skid | 1 | Skid and box | 132 | 69 | 120 | 632.5 | 3.3528 | 3.3528 | 1.7526 | 8.4582 | 19000 | 8618.255 | 8.6165
TP1-20 | PES-1020 | Nelson Winslow Fuel Filter | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP1-21 | PES-1021 | Enclosure Exhaust Stack (Bottom Section) | 1 | Skid | 222 | 171 | 99 | 2174.9062 | 5.6388 | 5.6388 | 4.3434 | 15.621 | 0 | 0 | 0
TP1-22 | PES-1022 | Enclosure Exhaust Stack (Center Section) | 1 | Skid | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP1-23 | PES-1023 | Enclosure Exhaust Stack (Upper Section) | 1 | Skid | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP1-24 | PES-1024 | Generator Enclosure (Wall Section) | 1 | Wall cross brace; boxed | 270 | 96 | 138 | 2070 | 6.858 | 6.858 | 2.4384 | 16.1544 | 0 | 0 | 0
TP1-25 | PES-1025 | Generator Enclosure (Wall Section) | 1 | Wall cross brace; boxed | 270 | 138 | 138 | 2975.625 | 6.858 | 6.858 | 3.5052 | 17.2212 | 0 | 0 | 0
TP1-26 | PES-1026 | Cable Connection Panel Hoods 1 of 2 | 1 | Boxed and crated | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP1-26 | PES-1026 | Cable Connection Panel Hoods 2 of 2 | 1 | Boxed and crated | 220 | 171 | 152 | 3309.1667 | 5.588 | 5.588 | 4.3434 | 15.5194 | 0 | 0 | 0
TP1-27 | PES-1027 | Enclosure Exhaust Stack (Upper Section) | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP1-28 | PES-1028 | Enclosure Exhaust Stack (Bottom Section) * Location: Hangar 13 | 1 | Skid | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP1-29 | PES-1029 | Enclosure Exhaust Stack (Center Section) * Location: Hangar 13 | 1 | skid and box | 220 | 171 | 132 | 2873.75 | 5.588 | 5.588 | 4.3434 | 15.5194 | 0 | 0 | 0
TP1-30 | PES-1030 | Generator Exhaust Louver Assembly | 1 | Skid and box | 123 | 111 | 54 | 426.6562 | 3.1242 | 3.1242 | 2.8194 | 9.0678 | 0 | 0 | 0
TP1-31 | PES-1031 | Exhaust Stack Support Columns (8 Each) | 8 | Skid | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP1-32 | PES-1032 | Bellmouth & Miscellaneous Hardware (See Attached List) | 1 |  | 79 | 79 | 31 | 111.9624 | 2.0066 | 2.0066 | 2.0066 | 6.0198 | 0 | 0 | 0
TP1-33 | PES-1033 | Bellmouth & Miscellaneous Hardware (See Attached List) | 1 |  | 79 | 79 | 31 | 111.9624 | 2.0066 | 2.0066 | 2.0066 | 6.0198 | 0 | 0 | 0
TP1-34 | PES-1034 | Generator Main Breaker | 1 | Skid and box | 72 | 72 | 96 | 288 | 1.8288 | 1.8288 | 1.8288 | 5.4864 | 0 | 0 | 0
TP1-35 | PES-1035 | GG & FT Lube Oil Cooler Fans | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP1-35 | PES-1140 | GG & FT Lube Oil Cooler Fans | 1
TP1-35 | PES-1141 | GG & FT Lube Oil Cooler Fans | 1
TP1-35 | PES-1142 | GG & FT Lube Oil Cooler Fans | 1
TP1-36 |  | Generator Soleplates (1 Set) | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP1-37 | PES-1037 | Battery Bank (20 Cells) | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP1-38 |  | Generator Lube Oil Piping | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP1-39 |  | Generator Bus Duct | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP1-40 |  | Bleed Valve Ducts - NO PARTS AT THIS LOCATION |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP1-41 | PES-1041 | Generator Coupling Guards | 4 | Box and box separately from TP2 Coupling Guards | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP1-42 | PES-1042 | Fuel Filters - Spares |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP1-43 |  | Interconnect Cables - NO PARTS AT THIS LOCATION |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP1-44 | PES-1044 | PO# 65470 Line: 2 - Set of Engine & Generator Enclosure Hardware & Gaskets for TP-1 | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP1-44 | PES-1044 | 168' - 22 Enclosure to Base Gasket (Note: Spare Roll Included) | 4
TP1-44 | PES-1044 | 21' - Item# 22 Enclosure to Base Gasket | 1
TP1-44 | PES-1044 | 21' - Item# 22 Enclosure to Base Gasket | 1
TP1-44 | PES-1044 | 43' - Item# 23 Gen Encl to Base Gasket | 1
TP1-44 | PES-1044 | 24' - Item# 23 Gen Encl to Base Gasket | 1
TP1-44 | PES-1044 | 26 - Item# 25 Washer 3/8" | 1
TP1-44 | PES-1044 | 378 - Item# 27 Washer 1/2" SS | 1
TP1-44 | PES-1044 | 448 - Item# Washer 1/2" SS | 1
TP1-44 | PES-1044 | 11 - Item# 28 Tube of Caulking Compound | 1
TP1-44 | PES-1044 | 29 - Item# 29 Bolt 3/8 x 1 1/2" SS | 1
TP1-44 | PES-1044 | 29 - Item# 30 Washer 3/8" SS | 1
TP1-44 | PES-1044 | 12 - Item# 33 Bolt 3/8-9 x 1 1/2" | 1
TP1-44 | PES-1044 | 104 - Item # 39 Nut 1/2-13 SS | 1
TP1-44 | PES-1044 | 1 Roll Item# 40 Fiberglass Wool | 1
TP1-44 | PES-1044 | 2 Rolls 50 FT - Item# TP-1 A Engine to Generator Encl Gasket & Hardware | 1
TP1-44 | PES-1044 | 2 Rolls - Item# TP1-C Angle Iron Gasket | 1
TP1-44 | PES-1044 | 3 Rolls - Item# TP1-D Gen & Eng Encl Door Gasket | 1
TP1-44 | PES-1044 | 5 Rolls 125' - Item# TP1-E Gen & Eng Encl Door Gasket | 1
TP1-44 | PES-1044 | 2 Rolls 50' - Item# TP1-F Cable Cover Gasket | 1
TP1-44 | PES-1044 | 90' - Item# TP1-G Eductor to First Exhaust Stack Gasket | 1
TP1-44 | PES-1044 | 120' Item TP-1 1st Exh Stack to 2nd Exh Stack Gasket | 1
TP1-44 | PES-1044 | 90' Item# TP1-H Fiber Glass Tape 1/4" x 3" | 1
TP1-44 | PES-1044 | 120' - Item# TP1-J Fiber Glass Tape 1/4" x 3" | 1
TP1-44 | PES-1044 | 120' - Item# TP1-K 2nd Exh Stack to Top Stack Gasket | 1
TP1-44 | PES-1044 | 356 - Item# TP1-M Stack System Bolting Hardware | 1
TP1-44 | PES-1044 | 356 Item# TP1-N Stack System Bolting Hardware | 1
TP1-44 | PES-1044 | 712 Item# - TP1-O Stack System Bolting Hardware | 1
TP1-44 | PES-1044 | 4 Rolls 100' - Item# TP-1-Q Generator Firewall Gasket | 1
TP1-44 | PES-1044 | 2 Rolls 50' - Item# TP1-R Generator Encl Roof Gasket | 1
TP1-44 | PES-1044 | 2 Rolls 50' - Item # TP1-T Generator Encl to Gen Exhaust Gasket | 1
TP1-44 | PES-1044 | 1 Punch Set | 1
TP1-45 |  | NO INFORMATION |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP1-46 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Pratt Whitney TP2-PES10-1418
TP-2 Item & Photo Number | PES 10-1418 METAL TAG NUMBER | 291 Longczak Drive, Hangar 15, Chicopee, MA 01022 - PRATT & WHITNEY TWIN PACK TP-2 - Description | QTY | Shipping Instructions | Length (inches) | Width (inches) | Height (inches) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt)
TP2-1 | PES-2001 | GG/ FT with Baseplate, GG S/N P686655, FT S/N 600425 | 1 | Crate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP2-2 | PES-2002 | GG/ FT with Baseplate, GG S/N P686663, FT S/N 600496 | 1 | Crate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP2-3 | PES-2003 | Nelson Winslow Fuel Filter | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP2-4 | PES-2004 | Start Package (Tank & Compressor) | 1 | Close ends, box glass and top | 242 | 112 | 144 | 2258.6667 | 6.1468 | 6.1468 | 2.8448 | 15.1384 | 0 | 0 | 0
TP2-5 | PES-2005 | Start Package (Compressor House) | 1 |  | 115 | 101 | 144 | 967.9167 | 2.921 | 2.921 | 2.5654 | 8.4074 | 0 | 0 | 0
TP2-6 | PES-2006 | Start Package Air Tank | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP2-7 | PES-2007 | Fuel Forwarding Skid | 1 | Small box hardware w/strainer | 87 | 50 | 64 | 161.1111 | 2.2098 | 2.2098 | 1.27 | 5.6896 | 0 | 0 | 0
TP2-8 | PES-2008 | Bellmouth & Miscellaneous Hardware (See Attached List) | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP2-9 | PES-2009 | Bellmouth & Miscellaneous Hardware (See Attached List) | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP2-10 | PES-2010 | GG & FT Lube Oil Cooler Assemblies | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP2-10 | PES-2047 | GG & FT Lube Oil Cooler Assemblies | 1
TP2-10 | PES-2048 | GG & FT Lube Oil Cooler Assemblies | 1
TP2-10 | PES-2049 | GG & FT Lube Oil Cooler Assemblies | 1
TP2-11 | PES-2011 | Battery Bank (20 Cells) |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP2-12 | PES-2012 | Generator Bus Duct |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP2-12 | PES-2145 | Generator Bus Duct
TP2-12 | PES-2146 | Generator Bus Duct
TP2-13 | PES-2013 | Bleed Valve Ducts |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP2-14 | PES-2014 | Generator Coupling Guards | 4 | Box and box separately from TP1 Coupling Guards | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP2-15 | PES-2015 | Air Filters Hardware and Gaskets | 8 Pallets | Skid, boxed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP2-16 | PES-2016 | Fuel Filters - Spares |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP2-17 |  | Interconnect Cables - NO PARTS AT THIS LOCATION |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP2-18 | PES-2018 | 1 set of Engine and Generator & Gaskets for TP-2 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TP2-18 | PES-2018 | 168' - R1 Enclosure to Base Gasket (Note: Spare Roll Included) | 4
TP2-18 | PES-2018 | 20' - Item R2 Enclosure to Base Gasket | 1
TP2-18 | PES-2018 | 40' - Item R3 - Enclosure to Base Gasket | 1
TP2-18 | PES-2018 | 20' - Item R4 Gen Encl to Base Gasket | 1
TP2-18 | PES-2018 | 20' - Item R5 Gen Encl to Base Gasket | 1
TP2-18 | PES-2018 | 225 - Item# AA Bolt 1/2 - 13 x 1" SS | 1
TP2-18 | PES-2018 | 225 - Item# BB Lockwasher 1/2" SS | 1
TP2-18 | PES-2018 | 115 - Item# CC Bolt 1-8 x 3" | 2
TP2-18 | PES-2018 | 115 - Item# DD Washer 1" SS | 1
TP2-18 | PES-2018 | 38 - Item# EE Bolt 3/8 - 16 x 1" SS | 1
TP2-18 | PES-2018 | 38 - Item# FF Lockwasher 3/8" SS | 1
TP2-18 | PES-2018 | 45 - Item #GG Nut 3/4 - 10 | 1
TP2-18 | PES-2018 | 45 - Item # HH Washer 3/4" | 1
TP2-18 | PES-2018 | 228 - Item# JJ Self Tapping Screw 1/4 - 20 x 3/4" SS | 1
TP2-18 | PES-2018 | 8 - Item# TP2-A Caulking Compound | 1
TP2-18 | PES-2018 | 12 - Item# KK Bevel Washer 3/4" | 1
TP2-18 | PES-2018 | 228 - Item# JJ Self Tapping Screw 1/4 - 20 x 3/4" SS | 1
TP2-18 | PES-2018 | 1 Roll - Item# TP2-B Fiberglass Wool | 1
TP2-18 | PES-2018 | 18 - Item# MM Jam Nut 1-8 | 1
TP2-18 | PES-2018 | 18 - Item# NN Hex Nut 1-8 | 1
TP2-18 | PES-2018 | 36 - Item# PP Washer 1" | 1
TP2-18 | PES-2018 | 18 - Item# RR Bolt 3/4 - 10 x 1" SS | 1
TP2-18 | PES-2018 | 18 - Item# SS Washer 3/4" SS | 1
TP2-18 | PES-2018 | 40' - Item# G-1 High Temp Gasket Enclosure to Lower Stack | 1
TP2-18 | PES-2018 | 40' - Item# G-2 High Temp Gasket Enclosure to Lower Stack | 1
TP2-18 | PES-2018 | 180' Item# G-3 High Temp Bolt Hole Tape 2nd & 3rd Stack | 1
TP2-18 | PES-2018 | Item# TT Bolt 5/8 - 11 x2 1/2" SS | 1
TP2-18 | PES-2018 | Item# UU Lockwasher 5/8" SS | 1
TP2-18 | PES-2018 | Item# VV Bolt 1-8 x 1 1/2" SS | 1
TP2-18 | PES-2018 | Item# WW Bolt 21 1/2-6 x 2" SS | 1
TP2-18 | PES-2018 | Item# ZZ Washer 1 1/2" SS | 1
TP2-18 | PES-2018 | Item# AAA Bolt 1/2 - 13 x 1 3/4" | 1
TP2-18 | PES-2018 | 70 - Item# BBB Washer 1/2" | 1
TP2-18 | PES-2018 | 58 - Item# CCC Bolt 1/2 - 13 -X 2 SS | 1
TP2-18 | PES-2018 | 46 - Item# DDD Nut 1/2-13 SS | 1
TP2-18 | PES-2018 | 46 - Item# FFF Bevel Washer 1/2" | 1
TP2-18 | PES-2018 | 125 - Item# GGG Washer 3/8" | 1
TP2-18 | PES-2018 | 125 - Item# HHH Bolt 3/8" - 16 x 1" | 1
TP2-18 | PES-2018 | 4 - Item# JJJ Bolt 3/4 - 10 x 2" | 1
TP2-18 | PES-2018 | 4 - Item# KKK Washer 3/4" | 1
TP2-18 | PES-2018 | 3 Rolls 70' - Item# TP2-C Engine & Generator Door Gasket | 1
TP2-18 | PES-2018 | 5 Rolls 120' Item# TP2-D Engine & Generator Door Gasket | 1
TP2-18 | PES-2018 | 2 Rolls 50' - Item# TP2-E Generator Firewall Gasket | 1
TP2-18 | PES-2018 | 2 Rolls 50' - Item# TP2-F Generator Firewall Gasket | 1
TP2-18 | PES-2018 | 4 Rolls 100' - Item TF2-G GT Enclosure Roof Hatch Gasket | 1
TP2-18 | PES-2018 | 6 Rolls 150' - Item# TP2-H Generator Roof & Gen Stack Gasket | 1
TP2-18 | PES-2018 | 6 Rolls 130' - Item# TP2-I Secondary Air Gasket | 1
TP2-18 | PES-2018 | 2 Rolls 50' - Item# TP2-J Cable Cover Gasket | 1
TP2-18 | PES-2018 | 1 Set - Item# TP2-L Punch Set | 1
TP2-19
TP1 & TP2-0 | PES-2144 | 1 Set of Air Pac & Control House Hardware & Gaskets | 1
|  | 3 Rolls CCNR 1/4" x 3" x 25' TP-1 Switch Gear | 1
|  | 2 Rolls CCNR 1/4" x 3/4" x 25' TP1 Air Pac Doors | 1
|  | 2 Rolls CCNR 1/4" x 3/4" x 25' TP-2 Air Pac Doors | 1
|  | 2 Rolls CCNR 1/4" x 3/4" x 25' TP-2 Air Pac Doors | 1

## Pratt Whitney Jax FL
TP-1 Item | PES METAL TAG NUMBER | PRATT & WHITNEY TWIN PACK Description | QTY | Crating Instructions | Length (inches) | Width (inches) | Height (inches) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt)
GG/FT Enclosure
GG/FT Enclosure
Lube Oil Cooler Hoods (4 each)
Control House
Inlet Filter Silencer Stack
Inlet Filter Silencer Stack
Inlet Filter House
Inlet Filter House
Enclsoure Exhaust Stack ( Bottom Section)
Enclsoure Exhaust Stack ( Bottom Section)
Bleed Valve Ducts, Upper (2 each)
Generator Enclosure Top Section
Generator Enclosure Side Section
Generator Enclosure Side Section
Generator Exhaust Hood
Generator Exhaust Stack
Generator Enclosure (Wall Section)
Generator Enclosure (Wall Section)
Ca ble Connection panel Hoods (2 each)

## Spare Parts NOT ONSITE
Line | Qty | Description
1 | 1 | VALVE ASSY PRESSURIZING
2 | 2 | 1ea LH 1ea RH (set)
3 | 10 | PACKING
4 | 10 | PACKING
5 | 1 | PUMP
6 | 1 | EXCITER IGNITION 125 DC
7 | 2 | CABLE EXCITER
8 | 10 | GASKET
9 | 4 | IGNITER PLUG
10 | 1 | TT7 HARNESS
11 | 1 | TT7 HARNESS
12 | 10 | PACKING
13 | 1 | ACTUATOR ASSEMBLY (RIGHT)
14 | 1 | ACTUATOR ASSEMBLY (UPPER)
15 | 1 | ACTUATOR ASSEMBLY (LEFT)
16 | 24 | WASHER KEY
17 | 60 | PACKING
18 | 20 | PACKING
19 | 20 | PACKING
20 | 20 | PACKING
21 | 10 | PACKING
22 | 18 | WASHER KEY
23 | 60 | WASHER KEY
24 | 10 | COTTER PIN
25 | 10 | GASKET
26 | 10 | GASKET
27 | 6 | TT7 Thermocouple Quick
28 | 1 | TDI Starter w/ Flange
29 | 3 | COMBUSTION CHAMBER "W" #1,3,7
30 | 3 | COMBUSTION CHAMBER "W" #2,6,8
31 | 1 | COMBUSTION CHAMBER "W" #4
32 | 1 | COMBUSTION CHAMBER "W" #5
33 | 4 | STRAINER
34 | 6 | TRANSDUCER
35 | 2 | PUMP ASSY N2
36 | 104 | PLATES
37 | 10 | PACKING
38 | 10 | PACKING
39 | 18 | GASKET
40 | 10 | PACKING
41 | 10 | SEAL
42 | 18 | PACKING
43 | 18 | SHIM
44 | 10 | GASKET
45 | 4 | STRAINER
46 | 10 | PACKING
47 | 4 | STRAINER
48 | 10 | PACKING
49 | 24 | PACKING
50 | 12 | PACKING
51 | 10 | GASKET
52 | 1 | VALVE ASSEMBLY
53 | 10 | PACKING
54 | 16 | PACKING
55 | 10 | GASKET
56 | 1 | VALVE ASSY
57 | 10 | GASKET
58 | 10 | GASKET
59 | 10 | PACKING
60 | 16 | PACKING
61 | 32 | PACKING
62 | 8 | RETAINER
63 | 32 | GASKET
64 | 32 | GASKET
65 | 1 | Filter
66 | 40 | PACKING
67 | 40 | RETAINER
68 | 20 | GASKET
69 | 4 | SEAL RING
70 | 105 | BOLT
71 | 16 | RIVET
72 | 320 | WASHER KEY
73 | 320 | BOLT
74 | 72 | WASHER KEY
75 | 16 | PACKING
76 | 6 | TRANSDUCER
77 | 6 | SHIM
78 | 24 | PACKING
79 | 10 | GASKET
80 | 32 | PACKING
81 | 32 | PACKING
82 | 32 | PACKING
83 | 32 | PACKING
84 | 32 | PACKING
85 | 32 | GASKET
86 | 32 | GASKET
87 | 4 | STRAINER
88 | 4 | GASKET
89 | 1 | N3 Pump
90 | 1 | LIQUID METERING
91 | 2 | FILTER ELEMENT
92 | 2 | FILTER ELEMENT
93 | 4 | FASTENER
94 | 6 | SEALING GASKET
95 | 50 | FUEL ELEMENT
96 | 6 | CARTRIDGE HP 100
97 | 100 | FUEL ELEMENT
98 | 4 | FILTER ELEMENT
99 | 2 | GASKET FUEL
100 | 1 | VITEC MONITOR
101 | 1 | RACK POWER SUPPLY
102 | 1 | CONTACT INPUT MODULE
103 | 1 | CONTACT OUTPUT MODULE
104 | 1 | ANALOG INPUT MODULE
105 | 1 | ANALOG OUTPUT MODULE
106 | 1 | TEMPERATURE INPUT MODULE
107 | 1 | SPEED INPUT MODULE
108 | 1 | ETHERNET MODULE
109 | 1 | CONTROL NET INTERFACE MODULE
110 | 20 | FUSES
111 | 2 | GENERATOR LUBE OIL FILTER
112 | 2 | DRAIN TIMER SOLENOID
113 | 2 | AIR ASSIST REGULATOR
114 | 2 | CONTROL POWER TRANSFORMER
115 | 12 | PANEL LAMPS
116 | 2 | LOCK OUT RELAY COILS
118 | 12 | LAMPS FOR VIBRATION MONITORS
119 | 2 | AIR ASSIST ELEMENT
120 | 3 | MCC CONTACTOR NEMA 1
121 | 10 | MCC FUSES
122 | 1 | FREE TURBINE SIDE MOUNTS (2 EA)
123 | 1 | ENGINE STAND LIFTING SLING ( 1EA)
124 | 1 | GENERATOR ROTOR REMOVAL TOOLIING
125 | 1 | FT SCREW JACK
126 | 1 | GG VIBRATION PICK UP
127 | 1 | LUBE OIL TEMPERTURE VALVE
128 | 3 | ENGINE ENCLOSURE THERMAL SENSORS
129 | 7 | VIBRATION (CHANNEL CARDS)
130 | 1 | PRESSURE TRANSDUCER -534CR-TN211
131 | 1 | PRESSURE TRANSDUCER -534CR-TN51
132 | 1 | PRESSURE TRANSDUCER -534CR-TN11
133 | 1 | PRESSURE TRANSDUCER -534CR-TN20
134 | 1 | PRESSURE TRANSDUCER -534CR-TN210
135 | 1 | PRESSURE TRANSDUCER -534CR-TN2X
136 | 1 | PRESSURE TRANSDUCER -56AG-JX216
137 | 1 | HEAT DETECTOR
138 | 1 | HEAT DETECTOR
139 | 1 | HEAT DETECTOR