## UD 64005412
[5 empty] | QUOTED BY: |  | Derwick Associates S.A
[5 empty] | PHONE: |  | (507) 667.7612
[5 empty] | FAX: |  | (507) 216.8002
[5 empty] | EMAIL: |  | ptrebbau@derwickassociates.com
COMPANY LOGO |  |  |  |  | YOUR REQUEST: |  | 6000335081
[5 empty] | BID PROCESS: |  | UD64005412
[5 empty] | OUR QUOTATION NUMBER: |  | 409-2981
[5 empty] | DATE: |  | December, 18th 2009
PAYMENT TERMS: |  | 10% Within five days of signature of the Contract Agreement by both Parties, paid against Seller’s invoice.
90% Upon notice of Ready to Ship
DELIVERY TERMS |  | December, 30th 2009
BID EXP. DATE |  | January, 18th 2010
Item | Material Code | Description | Quantity | Unit | Delivery Aro | Country of Origin | Unit Price (USD) | Total Price (USD)
1 | N/A | GE TM2500. Capacity 22 MW ISO. Dual Fuel. Mounting on Trailer. Generator Synchronous 3P, Air Cooled, 13.8 KV 60Hz. | 4 | PC |  | Tanzania | 17325000 | 69300000
| N/A | GE 4 x TM2500 Training for operators and maintainers. | 1 | PC |  | USA | 83150 | 83150
| N/A | Setp up transformer 75MVA. HV 115KV (Y). LV 13.8KV (D). NLTC 5 positions. (SIPORORO ) | 2 | PC |  | CHINA | 1680000 | 3360000
| N/A | GE 4 xTM2500 & 1 x LM2500 Spare parts for one Year of operation. | 1 | PC |  | USA | 3360224.03 | 3360224.03
2 | N/A | Rolls Royce Trent60. Capacity 58MW ISO. Dual Fuel. Mounting Type: Fixed. Generator Synchronous 3P, air Cooled, 13.8 KV 60Hz. | 4 | PC |  | USA-Canada-Germany-China | 31500000 | 126000000
| N/A | 4 x Rolls Royce Trent60 Training for operators and maintainers. | N/A | PC |  | USA | 119000 | 119000
| N/A | Setp up transformer 150MVA. HV 115KV (Y). LV 13.8KV (D). (BARINAS) | 2 | PC |  | USA | 3450500 | 6901000
| N/A | Rolls Royce Trent60 Spare parts for one year of operation. | 1 | PC |  | USA-CANADA-UK | 5035261.3 | 5035261.3
3 | N/A | Pratt & Whitney FT-4C-1D. Capacity 50MW ISO. Dual Fuel. Mounting Type: Fixed. Generator Synchronous 3P, air Cooled, 13.8 KV 60Hz. | 2 | PC |  | USA | 19800000 | 39600000
| N/A | 2 x FT-4C-1D Training for operators and maintainers. | 1 | PC |  | USA | 80250 | 80250
| N/A | Setp up transformer 75MVA. HV 115KV (Y). LV 13.8KV (D). NLTC 5 positions. ( LA FRIA) | 2 | PC |  | CHINA | 1680000 | 3360000
| N/A | Pratt & Whitney FT-4C-1D Spare parts for one year of operations. | 1 | PC |  | USA | 3065462 | 3065462
4 | N/A | GE LM2500. Capacity 22 MW ISO. Dual Fuel. Mounting Type: Fixed. Generator Synchronous 3P, Air Cooled, 13.8 KV 60Hz. | 1 | PC |  | USA | 15345000 | 15345000
| N/A | 1 x LM2500 Training for operators and maintainers. | 1 | PC |  | USA | 80250 | 80250
| N/A | Step up transformer 36MVA. HV 115KV (Y). LV 13.8KV (D). NLTC 5 positions (SIPORORO) | 1 | PC |  | CHINA | 750000 | 750000
| N/A | LM2500 Spare parts for one year of operation included on the TM2500 | 1 | PC |  | USA | 840056 | 840056
[5 empty] | Total Amount (USD) |  | 277279653.33
Consideration: All transformers will be delivery 90 days after the first payment
TAXES: Vendor shall be responsible for and shall pay when due any and all corporate and individual taxes that are measured by its net income or profit which relate to the equipment or services furnished by Vendor under this Contract. Buyer shall be responsible for and shall pay when due any and all other taxes, duties, fees or other charges (including ad valorem, consumption, excise, franchise, gross receipts, import, license, property, sales, stamp, use or value added taxes) imposed by any governmental authority which relate to the equipment or services furnished by Vendor under this Contract. In the event Vendor is obligated to pay such taxes or charges for which Buyer is responsible then Buyer agrees that it will reimburse Vendor and Vendor may gross up each invoice amount to include such taxes or charges.
DELIVERY AND DELAY IN DELIVERY: Delivery of each GTG Package and any other equipment furnished under this Contract shall occur Ex Works (Incoterms 2000) at the facility where the equipment is located at the time this Contract is executed by the parties. The contract price does not include, and Buyer shall reimburse Vendor or its supplier on a monthly basis for, the cost to store, insure, maintain and protect the equipment commencing on the date of Vendor’s or its supplier’s Notice of Readiness to Ship and until the equipment is removed from storage. In the event Vendor or its supplier agrees to ship the equipment then Buyer shall reimburse Vendor or its supplier at cost plus 10% and such payment shall be made in advance upon receipt of Vendor’s or its supplier’s invoice.
RISK AND TRANSFER OF OWNERSHIP: Title in and to the equipment furnished under this Contract shall transfer to Buyer upon Vendor’s or its supplier’s Notice of Readiness to Ship. Risk of loss in and to the equipment furnished under this Contract shall transfer to Buyer upon the equipment being placed at Buyer’s or its agent disposal for shipment.
WARRANTIES: Vendor warrants that there are no defects in material and workmanship in any of the equipment, materials and work provided by Vendor under this Contract for a period of twelve (12) months from the installation of the equipment at Buyer’s or its affiliate’s project site or eighteen (18) months from the date of delivery of the last major component of the GTG Packages, whichever occurs first. In the event of a warranted defect in the equipment, materials or work occurs during the warranty term and Buyer so notifies Vendor within said period, Vendor shall correct such defect by either repair or making available a repaired or replacement of such equipment, materials or work, or part thereof, at Vendor’s or its supplier’s place of repair/replacement. Buyer shall be responsible for removing, transporting and installing any defective or repaired/replaced equipment, materials or work, or part thereof. The terms set forth in this Section 12 sets forth the exclusive remedies for all claims based on failure of or defect in the equipment, materials or work provided under this Contract whether the failure arises before, during or after the warranty period and whether said claim is based on contract, indemnity, warranty, tort (including negligence), strict liability or otherwise. The duties of Vendor under this Section 12 do not extend to any repairs, adjustments, alterations, replacements or maintenance that may be required as a result of normal wear and tear in the operation of the equipment, materials or work, normal degradation in the performance of the equipment, materials or work, or as a result of (i) improper repair or alteration by Buyer or any other person (other than Vendor or its suppliers), (ii) misuse, negligence or damage by Buyer or any other person (other than Vendor or its suppliers), (iii) misuse, negligence or damage by Buyer or other persons, (iv) excessive operation at peak capacity, frequent starting, type of fuel, detrimental air inlet conditions, or erosion, corrosion or material deposit of fluids. The warranty and remedies are further conditioned upon (a) the proper storage, installation, operation and maintenance of the equipment, materials and work and conformance with the operation and instruction manuals provided by the suppliers and manufacturers, (b) repair or modification pursuant to the instructions of the suppliers and manufacturers and as otherwise directed by Vendor, and (c) either (y) installation, startup and commissioning of the equipment, materials and work will be performed at Buyer’s cost by the Vendor’s supplier under separate agreement or (z) on-site supervisory services for the installation, startup and commissioning of the equipment, materials and work will be performed at Buyer’s cost by the Vendor’s supplier under separate agreement. VENDOR HEREBY DISCLAIMS ANY OTHER WARRANTY EXPRESS, IMPLED, STATUTORY OR OTHERWISE, INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE AS TO THE EQUIPMENT, MATERIALS AND WORK.