| 2 | 1 EACH | GE LM2500. Capacity 22 ISO. Dual Fuel. Mounting Type: Fixed. Generator Synchronous 3P, Air Cooled, 13.8KV 60 Hz. All equipment listed on Packing List PES 409-2215. Generator Serial No.: GEC 2S553435/01/580K. The gas turbine is not installed and not included in this release. |
| --- | --- | --- |
|  |  | THIS RELEASE IS FOR PACKING ONLY. |
|  |  | (REV 01: Changed Item number from 4 to 2. Note PO page 2/27 shows item as 4, but body of PO page 7/27 shows as item 2.) |