January 4, 2010

Bariven, S.A.							Purchase order

c/o PDVSA Services, B.V.				   	5100077213

Purchasing Agent (BE00)					Contact Person: Christian Maldonado

President Kennedylaan 19					Tel. Holland: +31703488606

2517 JK The Hague The Netherlands				E-Mail: c.maldonado@bariven.eu

PDVSA SUPPLIER CODE: 350015280

REFERENCE: 409-2981-C

Bariven Reference: RFQ #6000335081/UD640054412

Dear Mr. Maldonado:

Thanks for your purchase order, the following are our comments in regards to the above document:

- Page 1 the date of issuing this document is December 30, 2009, however we received this document on January 4, 2010. (Just for references).

- Page 2 item # 3 on the scope the Pratt & Whitney units are “liquid only” and not Dual fuel. In our offer states the units are liquid only. La Fria the location where these units are going to be installed there is no gas available. The conversion can be done as part of the EPC. Please correct.

- Page 3 “IT IS MANDATORY FOR THE SUPPLIER TO PROVIDE ALL THE MAIN AND AUXILIARY SYSTEMS THAT GUARANTEE OUR RELIABLE AND SAFE OPERATION OF THE EQUIPMENT.EXCEPTION IN THIS MATTER WILL NOT BE ADMITTED’ Derwick will provide all the required equipment for the proper operation of those units, however certain parts of the same are considered part of the BOP. Like for example Transformers, in this case the TM exhausts are included, however in other equipment it is an optional equipment part of the EPC.

- Page 3: References SF6 breaker. This is not in the scope. References “On Line” water wash. Only offline is in proposal.  References Auxiliary systems that guarantee reliable and safe operation. This should be part of the BOP – Water treatment and forwarding skids specifically were excluded.

- Page 4 Additional note: “IT REQUIRES THAT THE EQUIPMENT IS FULLY OPERATIONAL BY NO LATER THAN 90 CALENDAR DAYS” Since this is equipment purchasing only installation is not included.  However can be done as a part of a separate EPC contract. Those units will be available to be delivery in less than 90 days after the payment of the equipment.  References training. This is an option in the proposal

- Page 5 “IT IS MANDATORY FOR THE SUPPLIER TO PROVIDE ALL THE MAIN AND AUXILIARY SYSTEMS THAT GUARANTEE OUR RELIABLE AND SAFE OPERATION OF THE EQUIPMENT.EXCEPTION IN THIS MATTER WILL NOT BE ADMITTED’ Derwick will provide all the required equipment for the proper operation of those units, however certain parts of the same are considered part of the BOP. Like for example the LM exhausts is an optional equipment part of the EPC.  References SF6 breaker. This is not in the scope. References Auxiliary systems that guarantee reliable and safe operation part of the  BOP – Water treatment and forwarding skids were specifically excluded

- Page 6 Additional note: “IT REQUIRES THAT THE EQUIPMENT IS FULLY OPERATIONAL BY NO LATER THAN 90 CALENDAR DAYS” Since this is equipment purchasing only installation is not included.  However can be done as a part of a separate EPC contract. Those units will be available to be delivery in less than 90 days after the payment of the equipment. References training. This is an option in the proposal.

- Page 7 “IT IS MANDATORY FOR THE SUPPLIER TO PROVIDE ALL THE MAIN AND AUXILIARY SYSTEMS THAT GUARANTEE OUR RELIABLE AND SAFE OPERATION OF THE EQUIPMENT.EXCEPTION IN THIS MATTER WILL NOT BE ADMITTED’ Derwick will provide all the required equipment for the proper operation of those units, however certain parts of the same are considered part of the BOP. References SF6 breaker. This is not in the scope.– Water treatment and forwarding skids were specifically excluded

- Page 8 Additional note: “IT REQUIRES THAT THE EQUIPMENT IS FULLY OPERATIONAL BY NO LATER THAN 90 CALENDAR DAYS” Since this is equipment purchasing only installation is not included.  However can be done as a part of a separate EPC contract. Those units will be available to be delivery in less than 90 days after the payment of the equipment. References training. This is an option in the proposal.

- Page 9 “IT IS MANDATORY FOR THE SUPPLIER TO PROVIDE ALL THE MAIN AND AUXILIARY SYSTEMS THAT GUARANTEE OUR RELIABLE AND SAFE OPERATION OF THE EQUIPMENT.EXCEPTION IN THIS MATTER WILL NOT BE ADMITTED’ Derwick will provide all the required equipment for the proper operation of those units, however certain parts of the same are considered part of the BOP. References SF6 breaker this is not in the scope. References “On Line” water wash. Only offline is in proposal. – Water treatment and forwarding skids were specifically excluded.

- Page 10 Additional note: “IT REQUIRES THAT THE EQUIPMENT IS FULLY OPERATIONAL BY NO LATER THAN 90 CALENDAR DAYS” Since this is equipment purchasing only installation is not included.  However can be done as a part of a separate EPC contract. Those units will be available to be delivery in less than 90 days after the payment of the equipment.

- Page 11 “PARTIALS ARE NOT ALLOWED” However the payment structure is partial, so the units will be shipped as per payment scheduled.

- Page 11 “NEW MATERIAL” MATERIAL MUST BE IN NEW CONDITION,FREE FROM DEFECTS AND SUITABLE FOR ANY SERVICE SPECIFIED, UNLESS OTHERWISE STATED”  In our proposals state clearly that some equipment is used, however it has been refurbished as “as new condition”

This is the case on the TM2500, LM2500 and the FT-4C-1D, the Rolls Royce units are brand new.

- Page 12: Pratt & Whitney FT-4C -1D it is a “Liquid Fuel only” and not Dual Fuel. Please make the correction as per our offer.