Section 3.0	Design Conditions

3.1 Design Conditions

| Design Conditions (Assumed) |  |
| --- | --- |
| Site Elevation | 323 feet |
| Air Temperature, High | 92o F |
| Air Temperature, Low | 74o F |
| Maximum Wind Velocity | 80 mph |
| Relative Humidity | 70% |
| Seismic Zone | 4 |
| Raw Liquid Fuel Storage Tank | Existing |
| Treated Liquid Fuel Storage Tank | Existing |
| Firewater System with plant storage | N/A |
| Total Plant Liquid Fuel Consumption Rate | 25 gpm |
| Total NOx water Injection | 0 gpm |
| Demin water (centrifuge, water wash) | N/A |
| High Voltage Interconnect | 13.8 KV to Owners 34KV GSU |
| Instrument Air System | 185 scfm by Contractor |

3.2	Interconnect Points

Interconnect Points with Owner Facilities

Liquid Fuel Diesel Fuel line next to existing LM 2500 Plant Waste Water Waste water to Owner’s existing Oil/Water Waste Oil At waste oil tank pump to Owner’s truck 34 KV 13.8KV cable extended to Owners 34KV substation Telephone N/A Water Supply At plant battery limits by Owner – of acceptable potable water quality