| 11 | 2 | PROLEC TRANSFORMER 90/120/150/168 MVA 115/13.8/13.8 KV ONAN/ONAF1/ONAF2 SERIAL NUMBER G2137-01 & G2137-02 |
| --- | --- | --- |
|  |  | QUALIFIED RELEASE: Release issued on instructions from PDVSA (Leiro Medina) |
|  |  | NO TESTING WAS WITNESSED. THIS RELEASE DOES NOT CONFIRM OPERABILITY. THESE TRANSFORMERS ARE UNDER THE GUARANTEE OF DERWICK ASSOCIATES. |
|  |  | RELEASED FOR PACKING ONLY. |