## TM2500 - SUMMARY SHEET
Derwick Associates SA
QTY 4 x TM2500 & 1 x LM2500
SPECIFIC RECOMMENDED SPARE PARTS LIST
SECTION
TM2500 - PACKAGE SPARES
TM2500 - BRUSH GENERATOR MODEL BDAX62.170 SPARES
TM2500 - TURBINE INSURANCE SPARES
TM2500 - TURBINE EXPENDABLE SPARES
RECOMMENDED SPARE PARTS LIST TOTAL | 4200280.03

## TM2500 - PACKAGE SPARES
Quantity | Item | Description | LEAD TIME
2 | DCT120-12-A653 | BATTERY CHARGER,120VDC,12AMP | 4 WEEKS
2 | DCT24-150-4653 | BATTERY CHARGER,24VDC,150AMP | 4 WEEKS
2 | DCT24-25-A643 | BATTERY CHARGER,24VDC,25AMP | 4 WEEKS
2 | 5437-523 | BOARD,TERMINAL,8 CHAN,ANALOG | 6 WEEKS
4 | 5437-524 | BOARD,TERMINAL,8 CHAN,T/C COMP | 6 WEEKS
2 | 8EH2DHM1 | CABLE,ENG E7,2500,+,DLE,90 DEG | 9 WEEKS
2 | 8EH2AEG1 | CABLE,ENGINE,LM2500,+,DLE,40FT | 8 WEEKS
2 | 8EH2AEM1 | CABLE,ENGINE,LM2500,+,DLE,40FT | 9 WEEKS
2 | 8EH2AEP1 | CABLE,ENGINE,LM2500,+,DLE,55FT | 9 WEEKS
2 | 8EH2AEV1 | CABLE,ENGINE,LM2500+,40FT | 9 WEEKS
2 | 8EH2AKG1 | CABLE,ENGINE,LM2500+DLE | 9 WEEKS
2 | 8EH2DHS1 | CABLE,ENGINE,LM2500+DLE | 9 WEEKS
2 | 8EH2DHT1 | CABLE,ENGINE,LM2500+DLE | 9 WEEKS
2 | 8EH2DHU1 | CABLE,ENGINE,LM2500+DLE | 9 WEEKS
2 | 8EH2DHW1 | CABLE,ENGINE,LM2500+DLE | 9 WEEKS
2 | 8EH2DHY1 | CABLE,ENGINE,LM2500+DLE | 9 WEEKS
2 | J02507 | CABLE,PROXIMITY PROBE EXT,4.5* | 8 WEEKS
2 | 33013-085-01-05 | CABLE,PROXIMITY PROBE EXT,8.5M | 8 WEEKS
2 | J04938 | CABLE,SENSOR,FLAME,UV,E27,E28 | 8 WEEKS
2 | J05550 | CARD,HERMETIC RELAY,VIB SYS | 6 WEEKS
8 | P16-5354 | CHARGE PUMP FILTER ELEMENT | 2 WEEKS
2 | 6601-01-019-C | CLUTCH,OVERRUNNING,HYD START* | 4 WEEKS
2 | 5466-409 | CPU,NT,W/64 MB RAM* | 2 WEEKS
4 | 240835EXPB | DETECTOR,THERMAL SPOT 450 DEG | 1 WEEK
10 | 1N4937 | DIODE,600V,1AIF | 2 WEEKS
2 | 8200-177 | DRIVER,EM DIGITAL/ANALOG | 2 WEEKS
4 | 377A1152P0000 | ELEMENT,FILTER,3 MICRON,GLO | 2 WEEKS
8 | 377A1151P0000 | ELEMENT,FILTER,3 MICRON,TLO | 2 WEEKS
2 | J00457 | ELEMENT,TEMP,RTD,DUAL,12 IM/LG | 4 WEEKS
2 | J01068 | ELEMENT,TEMP,RTD,DUAL,2 1/2 IM | 4 WEEKS
4 | 4326GG20VN | FILTER,SIMPLEX,3/4 FNPT,40Mu | 2 WEEKS
2 | FF6672 | FLAME ARRESTER,2 FNPT,SS | 4 WEEKS
2 | 866B | FLAME ARRESTER,6 125#FF,VENT | 4 WEEKS
2 | J00125 | FLOW METER,2 300#RF,0-345 ACFM | 12 WEEKS
2 | FT-16NEXB-LEA-5 | FLOW METER,LIQUID,1"MNPT | 2 WEEKS
2 | FT-16NEXWRLEG-5 | FLOW METER,WATER,1"MNPT | 3 WEEKS
10 | KLM-10 | FUSE,10 AMP,500 V,AC/DC | 2 WEEKS
10 | FRN-R-125 | FUSE,125 AMP,125 VDC RATED | 2 WEEKS
10 | KLM-2 | FUSE,2 AMP,500 V,AC/DC | 2 WEEKS
10 | KLM-20 | FUSE,20 AMP,500 V,AC/DC | 2 WEEKS
10 | FRN-R-30 | FUSE,30 AMP,125VDC RATED | 2 WEEKS
2 | 155-500710-606 | HEATER,TNK,3KW,480VAC,3,150#RF | 4 WEEKS
2 | 155-500710-605 | HEATER,TNK,4KW,480VAC,3 150#RF | 4 WEEKS
2 | 584652 | HOSE ASSY,1 1/2 X 18 1/4 CTE | 3 WEEKS
2 | 584719 | HOSE ASSY,1 1/2 X 38" CTC | 3 WEEKS
2 | 584720 | HOSE ASSY,1 1/2 X 9' CTC | 3 WEEKS
2 | 554636 | HOSE ASSY,1 1/2" X 22"OAL,TLO | 3 WEEKS
2 | 554640 | HOSE ASSY,1 1/2" X 22"OAL,TLO | 3 WEEKS
2 | 554643 | HOSE ASSY,1 1/2" X 35" CTE,TLO | 3 WEEKS
2 | 554637 | HOSE ASSY,1 1/2" X 48"OAL,TLO | 3 WEEKS
2 | 554638 | HOSE ASSY,1 1/2" X 50"OAL,TLO | 3 WEEKS
2 | 554635 | HOSE ASSY,1 1/2" X 85"OAL,TLO | 3 WEEKS
2 | 584623 | HOSE ASSY,1 1/2"X 18 1/2OAL,GL | 3 WEEKS
2 | 584628 | HOSE ASSY,1 1/2"X 26 OAL,GLO | 3 WEEKS
2 | 584627 | HOSE ASSY,1 1/2"X 30"OAL,GLO | 3 WEEKS
2 | 554625 | HOSE ASSY,1 1/2X27 1/2 OAL,GLO | 3 WEEKS
2 | 554626 | HOSE ASSY,1 1/2X29 1/2 OAL,GLO | 3 WEEKS
2 | 584663 | HOSE ASSY,1 1/4 X 33 OAL | 3 WEEKS
2 | 584717 | HOSE ASSY,1 1/4 X 44 CTC | 3 WEEKS
2 | 584715 | HOSE ASSY,1 1/4 X 50 ETE | 3 WEEKS
2 | 584716 | HOSE ASSY,1 1/4 X 64 OAL | 3 WEEKS
2 | 554641 | HOSE ASSY,1 1/4" X 35"OAL,TLO | 3 WEEKS
2 | 554645 | HOSE ASSY,1 X 46"OAL,HYD ST | 3 WEEKS
Quantity | Item | Description | LEAD TIME
2 | 584718 | HOSE ASSY,1 X 52 CTC | 3 WEEKS
2 | 554678 | HOSE ASSY,1" X 19"OAL | 3 WEEKS
2 | 554644 | HOSE ASSY,1" X 30"OAL,TLO | 3 WEEKS
2 | 554679 | HOSE ASSY,1" X 32"OAL | 3 WEEKS
2 | 554642 | HOSE ASSY,1" X 38"CTE,TLO | 3 WEEKS
2 | 554647 | HOSE ASSY,1" X 47"OAL,HYD ST | 3 WEEKS
2 | 584686 | HOSE ASSY,1"X 24 OAL,LIQUID | 3 WEEKS
2 | 554646 | HOSE ASSY,1"X 52"CTC,HYD ST | 3 WEEKS
2 | 584722 | HOSE ASSY,1/2" X 4'OAL | 3 WEEKS
2 | 448678 | HOSE ASSY,1/4 X 24 OAL | 3 WEEKS
2 | 584661 | HOSE ASSY,1/4 X 48 OAL | 3 WEEKS
2 | 584650 | HOSE ASSY,2 X 24 OAL | 3 WEEKS
2 | 584654 | HOSE ASSY,2 X 30 ETE | 3 WEEKS
2 | 584684 | HOSE ASSY,2" X 23 CTE,GAS | 3 WEEKS
2 | 584683 | HOSE ASSY,2" X 43 OAL,GAS | 3 WEEKS
2 | 554634 | HOSE ASSY,2" X 61"OAL,TLO | 3 WEEKS
2 | 584677 | HOSE ASSY,2" X COMPLEX | 3 WEEKS
2 | 584624 | HOSE ASSY,2"X 27 OAL,GLO | 3 WEEKS
2 | 584721 | HOSE ASSY,3/4" X 16'-8" OAL | 3 WEEKS
2 | 554677 | HOSE ASSY,3/4" X 18"OAL | 3 WEEKS
2 | 584692 | HOSE ASSY,3/4" X 19 OAL,WATER | 3 WEEKS
2 | 554697 | HOSE ASSY,3/4" X 19"OAL | 3 WEEKS
2 | 554693 | HOSE ASSY,3/4" X 24"OAL,WATER | 3 WEEKS
2 | 554696 | HOSE ASSY,3/4" X 26" OAL | 3 WEEKS
2 | 554688 | HOSE ASSY,3/4" X 28"OAL,LIQUID | 3 WEEKS
2 | 554630 | HOSE ASSY,3/4" X 30"QAL,W.W. | 3 WEEKS
2 | 554631 | HOSE ASSY,3/4" X 40"OAL,W.W. | 3 WEEKS
2 | 398150 | HOSE ASSY,3/8 X 32 OAL | 3 WEEKS
2 | 584629 | HOSE ASSY,4"X 59"CTE,GLO | 3 WEEKS
2 | 554687 | HOSE ASSY,5/8" X 25"OAL,LIQUID | 3 WEEKS
2 | 584712 | HOSE ASSY,CASE DRAIN Q/D | 3 WEEKS
2 | 584710 | HOSE ASSY,GAS VENT Q/D | 3 WEEKS
2 | J04675 | HOSE ASSY,GLO SUP/RET Q/D | 3 WEEKS
2 | 584711 | HOSE ASSY,HYDR STRT RET Q/D | 3 WEEKS
2 | J04676 | HOSE ASSY,HYDR STRT SUP Q/D | 3 WEEKS
2 | 584653 | HOSE ASSY,LIQUID FUEL Q/D | 3 WEEKS
2 | J04672 | HOSE ASSY,TURB LUBE OIL Q/D | 3 WEEKS
2 | J04674 | HOSE ASSY,W/W SUPPLY Q/D | 3 WEEKS
2 | J04673 | HOSE ASSY,WATER INJ. SUP Q/D | 3 WEEKS
2 | 398013 | HOSE, INSTRUMENT | 3 WEEKS
2 | 398012B | HOSE, INSTRUMENT | 3 WEEKS
2 | 5453-754 | INTERFACE,FTM,ETHERNET,MICRO* | 4 WEEKS
2 | 8008-2015 | KIT,DRIVE,LIQUID FUEL,LM2500LM
2 | 8008-2016 | KIT,DRIVE,WATER INJ,LM2000/LM2
4 | 116B6708G1G | LAMP ASSY,IND,GREEN,24V* | 2 WEEKS
4 | 116B6708G1R | LAMP ASSY,IND,RED,24VDC* | 2 WEEKS
2 | 9905-760 | LOOP,TERMINATOR | 4 WEEKS
2 | 106452AAAA/UL | METER,SYNCHROSCOPE,120VAC,60HZ | 12 WEEKS
4 | 95-117 | MIST DEMISTER,2 FNPT,SS CONST | 2 WEEKS
2 | 5466-031 | MODLULE,DIST,I/O NETWRK INTERF | 4 WEEKS
2 | 9905-970 | MODULE,100 OHM RTD INPUT | 4 WEEKS
2 | 9905-969 | MODULE,4-20MA INPUT W/24 LOOP | 4 WEEKS
2 | 5464-658 | MODULE,4CH MPU,4CH,MICRONET | 4 WEEKS
2 | XREF0103 | MODULE,ACC INTERFACE,UNIV AP* | 4 WEEKS
2 | 9905-971 | MODULE,DIGITAL,INPUT,DISCRETE | 4 WEEKS
2 | 5501-376 | MODULE,FLD TERM,HI DEN,ANALOG | 4 WEEKS
2 | 5466-332 | MODULE,HI DEN,ANALOG,24-8 I/O | 4 WEEKS
2 | 5466-258 | MODULE,HI DEN,DISCRETE,48/24IO | 4 WEEKS
2 | 5464-333 | MODULE,THERMOCOUPLE | 4 WEEKS
2 | 9905-204 | MODULE,W/VO MATCH | 4 WEEKS
2 | 3300/03-02-01 | MONITOR SYSTEM,UNIV APPROVED | 8 WEEKS
2 | 3300/16-02-01-02-01 | MONITOR,DUAL VIBRATION,XY&GAP | 8 WEEKS
Quantity | Item | Description | LEAD TIME
2 | XREF0096 | MONITOR,DUAL VIBRATION/GG | 8 WEEKS
2 | J04594 | MOTOR STARTER,125 VDC,2HP | 8 WEEKS
2 | 5115005 | MOTOR,HYD START,LM25/5/6* | 4 WEEKS
2 | 330180-50-05 | PROXIMITOR,3300 SERIES,5M TUNE | 8 WEEKS
2 | 330180-90-05 | PROXIMITOR,3300 SERIES,9M TUNE | 8 WEEKS
2 | 1SVD-7 | PUMP,CENT,22 GPM,3600 RPM | 2 WEEKS
2 | J05000 | PUMP,HYDRAULIC,4.57 CI(60HZ) | 3 WEEKS
2 | 8005-1257 | PUMP,LUBE,30.5 GPM,125 VDC | 12 WEEKS
2 | 8005-1211A | PUMP,TURBINE LIQUID FUEL METERING | 12 WEEKS
2 | 8005-1212 | PUMP,WATER INJ,33 GPM,VFD ASSY | 12 WEEKS
2 | 5441-693 | RELAY ASSY,HI DEN,24/12 I/O* | 6 WEEKS
2 | KHS17A11-120VAC | RELAY,120VAC COIL,4PDT | 2 WEEKS
2 | RR3B-U-24VDC | RELAY,24 VDC | 2 WEEKS
2 | RH4B-U-DC-24V | RELAY,24VDC COIL,4PDT | 2 WEEKS
2 | 752XDXH10-24D | RELAY,24VDC COIL,4PDT,PLUGIN | 2 WEEKS
2 | ARD440LR | RELAY,24VDC COIL,DC CRTG,4POLE | 2 WEEKS
2 | PRD11DJO-24 | RELAY,24VDC COIL,DPDT | 2 WEEKS
2 | 8647680000 | RELAY,24VDC COIL,SPDT | 2 WEEKS
2 | PRS250 | RELAY,VERI-SYNC | 2 WEEKS
8 | P16-5659 | REPLACEMENT ELEMENT FOR FILTER,DUPLEX,1 1/2 CD61,10 MU | 2 WEEKS
8 | XREF0446 | REPLACEMENT ELEMENT FOR FILTER,DUPLEX,GAS FUEL,3"3MU | 2 WEEKS
8 | PH312-11-CG | REPLACEMENT ELEMENT FOR FILTER,DUPLEX,LIQ.FUEL,LM2500 | 2 WEEKS
2 | J04937 | SENSOR,FLAME,UV | 2 WEEKS
4 | WFGASDE505 | SENSOR,GAS,COMBUSTIBLE,24VDC | 2 WEEKS
2 | 9907-072 | SUPPLY,POWER,24VDC,ISOLATION | 4 WEEKS
2 | 5437-092 | SUPPLY,POWER,5VDC MODULE* | 4 WEEKS
2 | XREF0091 | SUPPLY,POWER,DC,UNIV APPVL | 6 WEEKS
2 | V33ZA70 | SURGE ARRESTOR,27VDC | 2 WEEKS
2 | 800H-FPX6D4 | SWITCH,EMERGENCY STOP | 2 WEEKS
2 | 52100 | SWITCH,LEVEL,1 NPT,SS,SIDE MT | 2 WEEKS
2 | J04919 | SWITCH,LEVEL,2 1/2 NPT,SIDE MT | 8 WEEKS
4 | 1950-00 | SWITCH,PRESS DIFF,.07-.15" H20 | 2 WEEKS
4 | 180P44C6R | SWITCH,PRESS DIFF,1-28" HG | 6 WEEKS
4 | 132P4S129 | SWITCH,PRESS,1-30 PSIG | 6 WEEKS
4 | 132P44C6B | SWITCH,PRESS,330 DEC-725 INC | 2 WEEKS
4 | 100P44C6R | SWITCH,PRESS,36-300 PSIG | 6 WEEKS
4 | 132T4FC6 | SWITCH,TEMP,70-200 DEG F,SPDT | 6 WEEKS
4 | 100TC5DC6R | SWITCH,TEMP,7-175 DEG F SPDT | 6 WEEKS
2 | J04460 | TRANSMITTER,PRESS,0-4000 PSIG | 4 WEEKS
2 | J04467 | TRANSMITTER,PRESS,0-800 PSIG | 4 WEEKS
2 | J04571 | TRANSMITTER,PRESS,0-800 PSIG | 4 WEEKS
2 | J00095 | VALVE, TURBINE LIQUID FUEL SHUT-OFF SOLENOID | 14 WEEKS
2 | J00098 | VALVE, TURBINE LIQUID FUEL SOLENOID | 2 WEEKS
2
0
2 | 2"AF5246TM300 | VALVE,CONT,2 300#RF,NC,24 VDC | 4 WEEKS
2 | 8915-953 | VALVE,CONT,2 600#RF,GAS FUEL | 14 WEEKS
2 | J04575 | VALVE,CONT,2"-300#RF,NC,24VDC | 8 WEEKS
2 | WK897494 | VALVE,MAIN SOLENOID,FIRE SYST | 1 WEEK
2 | 377A2687P0001 | VALVE,SOL,1 1/2 FNPT,FC,24 VDC | 8 WEEKS
2 | 377A2686P0001 | VALVE,SOL,1 FSAE,FC,24 VDC | 8 WEEKS
2 | J00091 | VALVE,SOL,3/4 FNPT,NC,115 VAC* | 4 WEEKS
2 | J00146 | VALVE,SOL,3/4 FSAE,NC,115 VAC | 2 WEEKS
2 | J00133 | VALVE,SOL,3/4 FSAE,NC,120VAC* | 14 WEEKS
2 | J00097 | VALVE,SOL,3/4 FSAE,NC,24 VDC | 14 WEEKS
2 | 32840-1041 | VALVE,SOL.1-300#RF,NO,24VDC | 14 WEEKS
2 | AF1530PT23VW4-140 | VALVE,THERM BYPASS,1 1/2,140 F | 2 WEEKS
2 | CA21000-11-05-00-00-085-03-02 | ELEMENT, VIBRATION | 8 WEEKS
20 | KLM-5 | FUSE: 5 AMP | 2 WEEKS
20 | KTKR1-1/2 | FUSE: 1 1/2 AMP | 2 WEEKS
20 | KTKR2 | FUSE: 2 AMP 500 V AC/DC | 2 WEEKS
20 | FRN-R-1-6/10 | FUSE: 1 6/10 AMP | 2 WEEKS
20 | FRN-R-30 | FUSE: 30 AMP 125 VDC | 3 WEEKS
4 | 006824-022 | GAS HEAD | 2 WEEKS
Quantity | Item | Description | LEAD TIME
4 | 226585-1 | TRANSMITTER, GAS | 2 WEEKS
4 | 1950-00 | SWITCH, PRESSURE | 2 WEEKS
4 | 1504DGS-1C-4.5B-C-C-V | SWITCH, DIFF. PRESS. | 3 WEEKS
4 | 1151AP6E22B2DF | TRANSMITTER,PRESSURE | 4 WEEKS
4 | 78R25N00A025T34E6 | ELEMENT, RTD | 4 WEEKS
2 | 5441-693 | RELAY, ASSY. | 6 WEEKS
2 | 5466-419 | CPU CARD | 6 WEEKS
4 | 8900-067 | SENSOR, CIT | 6 WEEKS
4 | 9905-760 | TERMINATER,LINKNET | 6 WEEKS
4 | 9905-972 | CIRCUIT, BOARD | 4 WEEKS
TOTAL>>>>>>>>>>

## TM25 - TURBINE INS. SPARES
Qty | Item Number | Item Description | Lead Time
STANDARD EQUIPMENT
4 | 4J7316 | CHIP DETECTOR | 2 WEEKS
6 | 9103M46P01 | P54 PLUG | 2 WEEKS
4 | 9103M85G02 | PLUG, BORESCOPE S1 | 2 WEEKS
2 | 9055M89P03 | HARNESS TOP RIGHT THERMOCOUPLE | 8 WEEKS
2 | 9055M90P05 | HARNESS TOP LEFT THERMOCOUPLE | 8 WEEKS
2 | 9055M90P06 | HARNESS BOTTOM RIGHT THERMOCOUPLE | 8 WEEKS
2 | 9055M91P03 | HARNESS BOTTOM LEFT THERMOCOUPLE | 8 WEEKS
4 | 9600M37P12 | IGNITER CABLE | 2 WEEKS
2 | 9634M44P07 | A/O SEPARATOR COVER | 2 WEEKS
2 | 9649M41P08 | VSV ROD ENDS, FEEDBACK CABLE | 2 WEEKS
2 | 9680M73G03 | PLUG, BORESCOPE S2 | 2 WEEKS
4 | 9691M29P25 | VAR STATOR ACTUATOR | 10 WEEKS
4 | L21131P02 | GG SPEED SENSOR | 2 WEEKS
4 | L21693P02 | VSV CABLE, FEEDBACK | 2 WEEKS
2 | L28339P01 | T3 SENSOR | 8 WEEKS
4 | L31302G01 | ROD END, IGB/TGB | 2 WEEKS
4 | L31302G02 | ROD END, IGB/TGB | 2 WEEKS
2 | L34143G01 | P54 PROBE, PT PRESSURE | 2 WEEKS
2 | L34246P04 | ACCELEROMETER | 4 WEEKS
2 | L34319P01 | SENSOR CIT/CIP | 4 WEEKS
2 | L34379P03 | CONTROL - VSV | 2 WEEKS
6 | L35166P01 | LUBE RTD-DUAL
4 | L36000G02 | SIGHT, FLAME | 2 WEEKS
6 | L43450P01 | IGNITER
2 | L44500P16 | LUBE PUMP | 33 WEEKS
4 | L44780P01 | PT SPEED SENSOR | 2 WEEKS
20 | L31809P07 | NOZZLE, FUEL | 4 WEEKS
2 | L21615P01 | ELEMENT, PT SPEED | 4 WEEKS
Dual Fuel & Dual Fuel Water
20 | L31809P10 | FUEL NOZZLE | 4 WEEKS
20 | L46380G01 | TUBE, LIQ PRY | 4 WEEKS
4 | L51268P03 | TUBE, GAS PRI | 4 WEEKS
20 | L46466G01 | TUBE, LIQ SECY | 4 WEEKS
6 | L51269P03 | TUBE, GAS PRI | 4 WEEKS
14 | L51270P03 | TUBE, GAS PRI | 4 WEEKS
2 | 9504M33P01 | TEMPERATURE SENSOR | 2 WEEKS
2 | 7017M64G03 | PRESSURIZING VALVE | 4 WEEKS
2 | L21674P13 | CHECK VALVE | 4 WEEKS
2 | L21674P14 | CHECK VALVE | 4 WEEKS
TOTAL>>>>>>>>>>>>>

## TM25 - TURBINE EXP. SPARES
Qty | Item Number | Item Description | LEAD TIME
WP 100 00 - VARIABLE STATOR VANE ACTUATOR
4 | 9691M29P25 | VSV Actuator | 10 WEEKS
8 | J221P023 | Packing, Preformed | 8 WEEKS
8 | J221P019 | Packing, Preformed | 8 WEEKS
16 | J221P904 | Packing, Preformed | 8 WEEKS
WP 101 00 - FUEL SYSTEM
DUAL FUEL
30 | 9655M01P10 | Seal Ring, Metal | 2 WEEKS
4 | L35579P01 | Gasket | 1 WEEK
4 | L35228P18 | Gasket | 1 WEEK
4 | J219P07 | Gasket | 2 WEEKS
4 | J219P05 | Gasket | 8 WEEKS
12 | J221P912 | Packing, Preformed | 8 WEEKS
4 | J221P904 | Packing, Preformed | 8 WEEKS
8 | J221P910 | Packing, Preformed | 8 WEEKS
SWP 103 02 - VARIABLE STATOR VANE CONTROL
2 | L34379P03 | Control, Variable Stator Vane | 4 WEEKS
2 | 9643M56P02 | Gasket | 2 WEEKS
8 | J221P908 | Packing, Preformed | 8 WEEKS
2 | J221P906 | Packing, Preformed | 8 WEEKS
2 | J221P910 | Packing, Preformed | 8 WEEKS
2 | J221P216 | Packing, Preformed | 8 WEEKS
2 | 9608M12P04 | Gasket | 2 WEEKS
WP 105 00 & SWP 105 02 LUBE & SCAVENGE PUMP
2 | L44500P08 | Lube & Scavenge Pump | 26 WEEKS
4 | 9013M28P01 | Gasket | 2 WEEKS
4 | 9013M29P02 | Gasket | 2 WEEKS
4 | 9013M30P02 | Gasket | 2 WEEKS
4 | 9608M12P04 | Gasket | 2 WEEKS
8 | J221P904 | Packing, Preformed | 8 WEEKS
WP 108 00 - GG SPEED SENSOR
4 | L21131P02 | GG Speed Sensor | 2 WEEKS
8 | J219P04 | Gasket | 8 WEEKS
WP110 00 - PT SPEED SENSOR
4 | L44780P01 | PT Speed Sensor | 2 WEEKS
16 | J221P020 | Packing, Preformed | 8 WEEKS
WP AAA 00 - T2/P2 SENSOR
4 | L34319P01 | P2/T2 (CIT/CIP) Sensor | 1 WEEK
4 | J221P903 | Packing, Preformed | 8 WEEKS
WP 113 00 - LUBE RTD'S
4 | L35166P01 | Lube RTD | 2 WEEKS
20 | J221P904 | Packing, Preformed | 8 WEEKS
WP 117 00 - GG & GT EXTERNAL PIPING
8 | MS9373-055 | Gasket | 1 WEEK
4 | MS9373-035 | Gasket | 1 WEEK
Qty | Item Number | Item Description | LEAD TIME
12 | 9608M08G47 | Gasket | 1 WEEK
8 | 9608M08G45 | Gasket | 2 WEEKS
4 | 9608M08G43 | Gasket | 2 WEEKS
4 | 9608M08G48 | Gasket | 2 WEEKS
4 | 9629M79P116 | Gasket | 2 WEEKS
6 | 9670M46P05 | Gasket | 2 WEEKS
4 | L34518P04 | Spacer, Metering | 1 WEEK
4 | 1554M38P01 | Gasket | 1 WEEK
4 | 9627M01P02 | Gasket | 2 WEEKS
4 | MS27196-48 | Gasket | 2 WEEKS
4 | J219P06 | Gasket | 8 WEEKS
4 | J219P07 | Gasket | 2 WEEKS
8 | J221P234 | Packing, Preformed | 8 WEEKS
WP 120 00 - AIR OIL SEPARATOR & GEARBOX
4 | J219P04 | Gasket | 8 WEEKS
4 | J221P263 | Packing, Preformed | 2 WEEKS
6 | J221P134 | Packing, Preformed | 8 WEEKS
18 | 9009M32P01 | Key Washer | 2 WEEKS
WP 127 00 ACCESSORY GEARBOX CARBON SEALS
8 | 9009M39P01 | Seal, Oil | 4 WEEKS
4 | 9365M41P229 | Seal, O-Ring | 2 WEEKS
4 | 9601M73P07 | Seal, Oil | 2 WEEKS
4 | 9009M74P03 | Gasket | 2 WEEKS
4 | 9634M85P01 | Ring | 2 WEEKS
4 | 9634M85P06 | Ring | 1 WEEK
4 | 9634M85P08 | Ring | 2 WEEKS
8 | J221P129 | Packing, Preformed | 8 WEEKS
4 | J221P138 | Packing, Preformed | 8 WEEKS
12 | J221P140 | Packing, Preformed | 8 WEEKS
WP YYY OO - T3 SENSOR
2 | L28339P01 | T3 Sensor | 8 WEEKS
24 | MS9372-029 | Gasket, Metal O-Ring | 8 WEEKS
WP XXX 00 - MAGNETIC PLUG/CHIP DETECTOR
4 | M83248/1-121 | Packing , Preformed | 8 WEEKS
20 | M83248/1-905 | Packing , Preformed | 8 WEEKS
12 | M83248/1-910 | Packing , Preformed | 8 WEEKS
12 | M83248/1-912 | Packing , Preformed | 8 WEEKS
WP ZZZ 00 - COMMON MAG PLUG
8 | J221P910 | Packing, Preformed | 8 WEEKS
8 | J221P012 | Packing, Preformed | 8 WEEKS

## GEN. BDAX62.170ER SPARES
QTY | PART NUMBER | DESCRIPTION | LEAD TIME
COMMISSIONING SPARES
2 | S317741201 | RECTIFIER SPARES KIT | 14 WEEKS
10 | S314428801 | FUSE ATM20 | 8 WEEKS
0 | OPERATIONAL SPARES
2 | S314321902 | GASKET (STATOR) SET OF 4 | 6 WEEKS
2 | S313833307 | GASKET (STATOR) SET OF 10 | 8 WEEKS
2 | S313833306 | GASKET (STATOR) SET OF 4 | 6 WEEKS
2 | S317187201 | GASKET (STR TERMS) SET OF 2 | 8 WEEKS
2 | S312027301 | TERMINAL BUSHING GSKT SET OF 6 | 8 WEEKS
2 | S311745730 | GASKET (PIPE) SET OF 4 | 6 WEEKS
2 | S317520801 | TEMPERATURE DETECTOR - DUPLEX | 12 WEEKS
2 | S317520809 | TEMPERATURE DETECTOR | 13 WEEKS
2 | S314415402 | HEATER (STATOR) | 10 WEEKS
8 | S840012001 | BRUSH - CARBON | 8 WEEKS
2 | S313743404 | TERMINAL BUSHING | 22 WEEKS
2 | S314909801 | GASKET (EXCITER) SET OF 4 | 8 WEEKS
2 | S317713601 | GASKET (EXCITER) | 8 WEEKS
2 | S314853501 | GASKET (EXCITER) SET OF 2
2 | S316657502 | GASKET (EXCITER) SET OF 2 | 8 WEEKS
2 | S314816002 | GASKET (EXCITER) | 6 WEEKS
2 | S025281852 | HEATER (EXCITER) SET OF 2 | 12 WEEKS
2 | S317520809 | TEMPERATURE DETECTOR
2 | S317638301 | GASKET(BRG PROX PROBE)SET OF 2 | 6 WEEKS
2 | S313448702 | GASKET (ENDFRAME) SET OF 2 | 8 WEEKS
2 | S311745677 | WASHER (JOINT) | 6 WEEKS
2 | S024116168 | SEAL WASHER (SET OF 4) | 10 WEEKS
8 | S024111426 | SEAL WASHER | 10 WEEKS
2 | S313012411 | GASKET (BEARING) SET OF 2 | 8 WEEKS
2 | S313382718 | GASKET (BEARING) | 6 WEEKS
10 | S024111416 | DOWTY WASHER | 10 WEEKS
2 | S312559801 | GASKET (ENDFRAME) SET OF 2 | 6 WEEKS
4 | S314097101 | BONDED SEAL | 6 WEEKS
2 | S314788301 | GASKET (BEARING SEAL) SET OF 2 | 8 WEEKS
2 | S317715101 | GASKET (BEARING) SET OF 2 | 8 WEEKS
2 | S840013102 | TEMPERATURE DETECTOR | 12 WEEKS
2 | S840013210 | TEMPERATURE DETECTOR | 10 WEEKS
2 | S840014402 | TEMPERATURE DETECTOR | 12 W EEKS
2 | S317727901 | BEARING SEAL FASTENER KIT | 8 WEEKS
2 | S317978702 | M12 X 25 SCREW SET OF 50 | 6 WEEKS
2 | S317978704 | M12 WASHER SET OF 50 | 6 WEEKS
2 | S317978711 | M10x30lg SET OF 50 | 6 WEEKS
2 | S317978712 | M12 WASHER(STL/STL) SET OF 50 | 6 WEEKS
2 | S018713133 | SEALING COMPOUND SET OF 3 | 6 WEEKS
4 | S018713194 | LOCKING COMPOUND | 6 WEEKS
0 | MAINTENANCE SPARES
2 | S840012101 | BRUSH HOLDER | 12 WEEKS
0 | STRATEGIC SPARES
2 | S961503700 | ROTOR EARTH FAULT AERIAL | 16 WEEKS
2 | S961502100 | ROTOR EARTH FAULT TRANSMITTER | 16 WEEKS
2 | S313825201 | OIL PUMP | 18 WEEKS
2 | S317706700 | BEARING BUSH - (Optional) | 32 WEEKS
2 | S317706900 | BEARING BUSH - (Optional) | 32 WEEKS
2 | S313568201 | NON RETURN VALVE | 12 WEEKS
2 | S314023412 | HOSE ASSEMBLY | 10 WEEKS
2 | S313223719 | HOSE ASSEMBLY | 10 WEEKS
2 | S313223720 | HOSE ASSEMBLY | 10 WEEKS
2 | S313223717 | HOSE ASSEMBLY | 10 WEEKS
2 | S314149413 | SHAFT SEAL - (Optional) | 16 WEEKS
2 | S317696801 | SHAFT SEAL - (Optional) | 22 WEEKS
0 | MICRO AVR SPARES
2 | S962243400 | ASSY,STANDBY CARD
2 | S961529800 | BOARD,UTILITY
2 | S962243100 | ASSY.CONT.CD-M.AVR
2 | S962243700 | ASS-M.AVR.MON.CRD
QTY | PART NUMBER | DESCRIPTION | LEAD TIME
2 | S962615908 | SEMI-CONDUCTOR FUSE 20ET (MAINFRAME FS5, FS6) SET OF 5 | 12 WEEKS
2 | S962615909 | FUSE 5A (20MM X 5MM) (FRONT PANEL FS1, FS2) SET OF 5 | 12 WEEKS
2 | S962615936 | FUSE 2A (20MM X 5MM) (FRONT PANEL FS3, FS4) SET OF 5 | 12 WEEKS
2 | S962615912 | FUSE 250MA (20MM X 5MM) (STANDBY FS1, FS2, FS3) (UTILITIES FS2, FS4) SET OF 5 | 12 WEEKS
2 | S962615913 | FUSE 1A (20MM X 5MM) (UTILITIES FS1, FS3) SET OF 5 | 12 WEEKS
2 | S962615914 | FUSE 100MA (20MM X 5MM) (UTILITIES FS5) SET OF 5 | 12 WEEKS
TOTAL