XXXXXXXX XXXXXXXXXXXXXX PO#: XXXXX

1 x TRENT 60 WLE Dual Fuel 50Hz Power Generation Package Spare Parts Delivery Terms: FOB Mt. Vernon, USA.

Maintenance & Operational Spares

| Part No. | Tag No. |  | Description |  | Quantity (per Unit) | Leadtime (weeks) | Net Price (USD) (per Quantity) | Total Net Price (USD) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Liquid Fuel System |  |  |  | P&ID No: GED00011820 Component List No: |  |  |  |  |

| RRE005241 PDT1050 RRE005204 PT1019 RRE008155 FCV1010 RRE006817 88FLIM RRE010280 FV1017 RRE006816 FV1015 RRE005197 PSV1000 RRE019969 ELEMENT1000 | Supply Filter Pressure Differential Transmitter Supply Line Pressure Transmitter Fuel Control Valve Fuel Control Valve Motor Controller Primary Fuel Isolation Valve Secondary Fuel Isolation Valve Pump Discharge Pressure Safety Valve Fuel Supply Simplex Filter Replacement Element | 1 1 1 1 1 1 1 1 | 11 3,540.00 3,540.00 11 3,220.00 3,220.00 18 53,450.00 53,450.00 23 11,170.00 11,170.00 12 19,580.00 19,580.00 14 15,210.00 15,210.00 10 4,690.00 4,690.00 8 558.00 558.00 |
| --- | --- | --- | --- |
| Gas Fuel System |  |  | P&ID No: GED00011812 Component List No: |
| RRE005204 PT0600 RRE026592 TE0602 RRE006818 FCV0610 RRE009756 SPM0600/1 RRE018555 FV0620 | Gas Supply Press Transmitter Fuel Gas Supply Temperature RTD Fuel Control Valve Fuel Control Valve Static Pressure Meter (SPM) Fuel Supply Drain Valve | 1 1 1 1 1 | 11 3,220.00 3,220.00 9 930.00 930.00 24 41,382.00 0.00 19 5,170.00 0.00 11 5,240.00 5,240.00 |
| Instrument Air System |  |  | P&ID No: GED00011810 Component List No: |

| RRE005229 PT1901 Inlet Supply Pressure Transmitter RRE005226 PDT1924 Pressure Differential Transmitter RRE005191 PSV1900 P30 Reference Pressure Safety Valve | 1 1 1 | 7 3,380.00 3,380.00 11 3,560.00 3,560.00 7 2,580.00 2,580.00 |
| --- | --- | --- |
| Liquid Fuel Purge System |  | P&ID No: GED00011811 Component List No: |
| RRE005226 PDT0858 P30 Supply Orifice Pressure Diff Transmitter RRE006841 TE0860A/B Cooler Outlet RTD RRE005239 PT0854 Cooler Outlet Pressure Transmitter | 1 1 1 | 11 3,560.00 3,560.00 11 860.00 860.00 11 3,100.00 3,100.00 |
| WLE Water Flush System |  | P&ID No: GED00011819 Component List No: |
| RRE005224 PT1714 Pump Discharge Pressure Transmitter RRE005242 FCV1710 Water Flush Supply Flow Control Valve RRE005234 STR1710 Supply Strainer RRE005238 PSV1710 Pump Discharge Pressure Safety Valve RRE019971 ELEMENT1710 Pump Discharge Filter Replacement Element | 1 1 1 1 1 | 5 3,164.00 3,164.00 12 9,580.00 9,580.00 9 200.00 200.00 10 2,020.00 2,020.00 7 495.00 495.00 |
| WLE Water Injection System |  | P&ID No: GED00011818 Component List No: |
| RRE006842 TE1701 Inlet Supply Temperature Transmitter RRE005227 FCV1701 Water Injection Supply Flow Control Valve RRE011109 PSV1700 Water Injection Pump Discharge Safety Valve RRE019969 ELEMENT1701 Water Injection Pump Discharge Filter Replacement Element | 1 1 1 4 | 11 670.00 670.00 14 57,110.00 57,110.00 8 490.00 490.00 7 614.00 2,456.00 |
| Engine Lube & Hyd Start System |  | P&ID No: GED00011813 Component List No: GED00016979 |
| RRE008211 PDI0729 Lube Oil Tank Strainer Pressure Diff Indicator RRE008183 LT0700 Lube oil Tank Level Transmitter RRE008208 PDT0702 Lube Oil Pump Discharge Duplex Filter Pressure Diff Transmitter RRE008228 PT0703 Lube Oil Supply Pressure to Bearings RRE027125 PDT0705A/B Across Bearing Pressure Diff Transmitter | 1 1 1 1 1 | 5 710.00 710.00 10 4,010.00 4,010.00 9 3,090.00 3,090.00 7 2,240.00 2,240.00 14 3,850.00 3,850.00 |

| RRE009236 | PT0708 |
| --- | --- |
| RRE008209 | TE0707 |
| RRE008235 | PT0731 |
| RRE022701 | ELEMENT0700 |
| RRE022702 | ELEMENT0702 |
| RRE008234 | PRV0721 |
| RRE028264 | ELEMENT0701 |
| RRE021746 | GASKET0701 |
| RRE026753 | ELEMENT0704 |
| RRE022703 | ELEMENT0703A |
| RRE008226 | PRV0743 |
| RRE008234 | PRV0741 |
| RRE008239 | PRV0746 |

Scavenge Return Pressure Transmitter Oil Mist Cooler Temperature RTD Hyd Pump Discharge Pressure Transmitter Lube Oil Tank Filling Filter Replacement Element Lube Oil Pump Discharge Duplex Filter Replacement Element Scavenge Return Relief Valve Demister Replacement Element Demister Top Cover Gasket Hydraulic Start Motor Return Filter Replacement Element Cooling Oil Supply Filter Element Cooling Oil Relief Valve Start Pump Return Relief Starter Motor Return Relief 4,602.00 4,602.00

| 1 | 7 |
| --- | --- |
| 1 | 10 |
| 1 | 11 |
| 2 | 9 |
| 4 | 6 |
| 1 | 6 |
| 6 | 6 |
| 1 | 6 |
| 2 | 4 |
| 2 | 11 |
| 1 | 5 |
| 1 | 6 |
| 1 | 12 |

680.00 680.00 2,232.00 2,232.00 1,260.00 2,520.00 1,386.00 5,544.00

330.00 330.00 3,695.00 22,170.00

565.00 565.00 3,500.00 7,000.00 1,553.00 3,106.00

490.00 490.00

330.00 330.00 1,190.00 1,190.00

| Combustion Air System |  | P&ID No: GED00012091 Component List No: |
| --- | --- | --- |
| RRE020220 PDT0101 Combustion Filter Pressure Diff Transmitter RRE020213 AT0800 Humidity Sensor RRE024070 N/A Combustion Air Filters - complete set | 1 1 240 | 4 6,390.00 6,390.00 4 4,850.00 4,850.00 9 630.00 151,200.00 |
| GT & AC Gen Ventilation System |  | P&ID No: GED00012092 Component List No: |
| RRE028675 ZSL0907/8/9 Enclosure Access Door Microswitches RRE028676 ZSL0901/3 Enclosure Fire Damper Microswitches - Open Position RRE028937 ZSH0900/2 Enclosure Fire Damper Microswitches - Closed Position | 1 1 1 | 4 490.00 490.00 4 2,000.00 2,000.00 4 2,000.00 2,000.00 |
| Hydraulic Control System |  | P&ID No: GED00011816 Component List No: GED00016979 |
| RRE008212 PT0760 Combined Pump Discharge Pressure Transmitter RRE022701 ELEMENT0703 Tank Pre-Charge Filter Replacement Element RRE008255 FILTER0705 Tank Vent Filter RRE008246 PSV0771/2 Hydraulic Control Pump Discharge Relief Valve RRE018102 ELEMENT0761 Pump Discharge Duplex Filter Replacement Element RRE008256 STR0708 Hydraulic Return Strainer | 1 2 4 2 2 1 | 7 2,240.00 2,240.00 9 1,260.00 2,520.00 10 22.00 88.00 7 790.00 1,580.00 3 1,307.00 2,614.00 7 2,060.00 2,060.00 |

| IGV & BOV Control System |  |  | P&ID No: GED00011817 |
| --- | --- | --- | --- |
|  |  |  | Component List No: |
| RRE009237 PT0247 | LP Thrust Piston Pressure Transmitter | 1 | 10 4,058.00 4,058.00 |

| Fire & Gas System |  |  |  |  | P&ID No: GED00012177 |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Component List No: |  |  |
| RRE014788 | YSY1323A/B/C/D | GT CO2 Bottle Manual Release Lever/Solenoid Valve | 1 | 55 | 1,150.00 | 1,150.00 |
| RRE014789 | YSY1323A/B/C/D | GT CO2 Bottle Manual Release Lever Control Head | 1 | 55 | 320.00 | 320.00 |
| RRE014783 | FH1300A thro' P | GT CO2 Bottle Control Head Valve | 2 | 10 | 670.00 | 1,340.00 |
| RRE014786 | PSE1328 | GT Manifold Discharge Bursting Disc | 1 | 55 | 290.00 | 290.00 |
| RRE014790 | PSS1320 | GT Manifold Discharge Pressure Switch | 1 | 55 | 1,220.00 | 1,220.00 |
| RRE010823 | RST1300/1/2/3 | GT Flame Detector | 1 | 10 | 1,080.00 | 1,080.00 |
| RRE005919 | TSS1304/5 | GT Heat Detector | 1 | 9 | 1,425.00 | 1,425.00 |
| RRE009243 | QST1306/7 | GT Gas Detector | 1 | 8 | 7,710.00 | 7,710.00 |
| RRE009218 | YSL1308/9/47 | Xenon Beacons | 1 | 9 | 1,840.00 | 1,840.00 |
| RRE009219 | YSA1309/47 | Sounder Horn | 1 | 9 | 3,380.00 | 3,380.00 |

| AC Generator Spares |  |  |  |  |  | P&ID No: |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Component List No: |  |  |
| Generator Control Panel |  |  |  |  |  |  |  |  |
| RRE019827 | ? | Relay | 1 |  | 13 |  | 154.00 | 154.00 |
| RRE019826 | ? | Relay | 2 |  | 7 |  | 270.00 | 540.00 |
| RRE019828 | ? | Relay | 1 |  | 9 |  | 674.00 | 674.00 |
| RRE019829 | ? | Timer Block | 1 |  | 10 |  | 872.00 | 872.00 |
| RRE019831 | ? | Contactor - 24v DC | 1 |  | 10 |  | 1,044.00 | 1,044.00 |
| RRE019832 | ? | Contactor Latch 24v (set of 2) | 1 |  | 13 |  | 773.00 | 773.00 |
| RRE019835 | ? | LED Indicator (set of 5) | 1 |  | 8 |  | 625.00 | 625.00 |
| RRE019836 | ? | Fuse (set of 10) | 1 |  | 11 |  | 32.90 | 32.90 |
| RRE028945 | ? | Transducer | 1 |  | 8 |  | 5,500.00 | 5,500.00 |
| RRE028793 | ? | Annunciator Alarm Module | 1 |  | 10 |  | 10,000.00 | 10,000.00 |
| RRE019957 | ? | Annunciator Flasher Driver | 1 |  | 11 |  | 3,168.00 | 3,168.00 |
| RRE019842 | ? | Annunciator Lamp (set of 10) | 1 |  | 9 |  | 347.00 | 347.00 |
| RRE019837 | ? | Fuse 10A (set of 10) | 1 |  | 6 |  | 60.00 | 60.00 |

| RRE028790 | ? | Communication Converter | 1 | 12 | 6,392.00 | 6,392.00 |
| --- | --- | --- | --- | --- | --- | --- |
| RRE028788 | ? | Standby Control Card | 1 | 12 | 18,175.00 | 18,175.00 |
| RRE028787 | ? | Utilities Card | 1 | 12 | 13,495.00 | 13,495.00 |
| RRE028766 | ? | A30-CON Complete | 1 | 12 | 21,277.00 | 21,277.00 |
| RRE028765 | ? | A30-MON Complete | 1 | 12 | 17,409.00 | 17,409.00 |
| RRE019852 | ? | Auto Synchroniser MAS100 | 1 | 15 | 7,326.00 | 7,326.00 |
| RRE019853 | ? | Check Synchroniser MCS100 | 1 | 19 | 4,000.00 | 4,000.00 |
| RRE028800 | ? | R10 Receiver Assembly | 1 | 12 | 12,927.00 | 12,927.00 |
| RRE031769 | ? | Controller, Exciter | 1 | 9 | 49,400.00 | 49,400.00 |
| Generator |  |  |  |  |  |  |
| RRE019813 | 0101 | Gasket - Stator (set of 4) | 1 | 6 | 840.00 | 840.00 |
| RRE019812 | 0102 | Gasket - Stator (set of 6) | 1 | 6 | 670.00 | 670.00 |
| RRE019811 | 0103 | Gasket - Stator (set of 8) | 2 | 6 | 740.00 | 1,480.00 |
| RRE019589 | 0105 | Gasket - Terminal Bush (set of 6) | 1 | 6 | 205.00 | 205.00 |
| RRE028780 | 0106 | Gasket - Str Terms (set of 2) | 1 | 8 | 267.00 | 267.00 |
| RRE019594 | 0107 | Gasket - Pipe (set of 2) | 2 | 6 | 245.00 | 490.00 |
| RRE019587 | 0108 | Gasket - Pipe (set of 4) | 2 | 6 | 150.00 | 300.00 |
| RRE028773 | 0109 | Gasket - Pipe (set of 8) | 1 | 8 | 517.00 | 517.00 |
| RRE028772 | 0110 | Gasket - Joint | 1 | 8 | 130.00 | 130.00 |
| RRE019588 | 0111 | Gasket - Joint | 1 | 6 | 55.00 | 55.00 |
| RRE028771 | 0112 | Washer - Joint | 1 | 8 | 65.00 | 65.00 |
| RRE028775 | 0128 | Valve - Block and Bleed | 1 | 10 | 1,151.00 | 1,151.00 |
| RRE019821 | 0185 | Brush - Carbon | 1 | 11 | 228.00 | 228.00 |
| RRE019822 | 0186 | Brush Holder | 1 | 15 | 693.00 | 693.00 |
| Exciter |  |  |  |  |  |  |
| RRE019809 | 0200 | Gasket - Exciter (set of 4) | 1 | 6 | 515.00 | 515.00 |
| RRE019810 | 0201 | Gasket - Exciter | 1 | 6 | 155.00 | 155.00 |
| RRE019807 | 0203 | Gasket - Exciter (set of 2) | 1 | 6 | 430.00 | 430.00 |
| RRE019808 | 0204 | Gasket - Exciter (set of 2) | 1 | 6 | 440.00 | 440.00 |
| RRE019898 | 0220 | Rotor Earth Fault Aerial | 1 | 15 | 7,049.00 | 7,049.00 |
| RRE019897 | 0222 | Rotor Earth Fault Transmitter | 1 | 19 | 7,727.00 | 7,727.00 |
| Bearings |  |  |  |  |  |  |
| RRE019815 | 0500 | Gasket - Bearing Proximity Probe (set of 2) | 2 | 6 | 51.90 | 103.80 |
| RRE028786 | 0501 | Proximity Transducer | 1 | 10 | 6,891.00 | 6,891.00 |
| RRE019591 | 0502 | Gasket - Endframe (set of 2) | 1 | 6 | 440.00 | 440.00 |

| RRE019584 0503 RRE028767 0504 RRE019588 0505 RRE019582 0506 RRE019592 0507 RRE019593 0508 RRE019581 0509 RRE019590 0510 RRE028768 0511 RRE019597 0512 RRE019595 0513 RRE019596 0514 RRE019894 0550 RRE028783 0572 Consumables RRE019819 0800 RRE019579 0803 RRE019580 0804 RRE028802 0810 AC Gen Instrumentation RRE019818 TE1213 RRE019818 TE1210 RRE019818 TE1209 RRE019823 TE1215 RRE019824 TE1214 AC Generator Lube Oil System RRE019951 0855 RRE019953 0869 RRE028543 0127 RRE028544 0163 RRE019952 0866 | Washer - Joint Seal Washer (set of 4) Gasket - Joint Seal Washer Gasket - Bearing (set of 2) Gasket - Bearing Dowty Washer Gasket - Endframe (set of 2) Seal Washer Gasket - Bearing (set of 2) Gasket - Bearing Seal (set of 2) Gasket - Bearing Bearing Seal Fastener Kit Vibration Sensor Metric Fixing Kit Sealing Compound (set of 3) Locking Compound Locking Plate (set of 80) Exciter Temperature RTD Generator NDE Inlet Air Temperature RTD Generator DE Inlet Air Temperature RTD Generator NDE Bearing Temperature RTD Generator DE Bearing Temperature RTD Lube Oil Supply Cooler Temperature Control Valve Lube Oil Supply Duplex Filter Pressure Diff Transmitter Lube Oil Supply to Bearings Pressure Transmitter Jacking Oil Supply Pressure Transducer/Switch AC Lube Oil Pump Discharge Relief Valve | 4 1 1 4 1 1 10 1 2 1 1 2 1 1 1 1 1 1 1 1 1 1 1 1 1 1 1 1 | 6 68.00 272.00 10 64.00 64.00 6 55.00 55.00 10 4.50 18.00 6 102.00 102.00 6 115.00 115.00 6 1.50 15.00 6 720.00 720.00 12 37.00 74.00 6 1,030.00 1,030.00 6 1,030.00 1,030.00 6 120.00 240.00 10 1,860.00 1,860.00 10 16,565.00 16,565.00 6 535.00 535.00 5 280.00 280.00 5 630.00 630.00 14 700.00 700.00 P&ID No: GED00012026 Component List No: 16 988.20 988.20 16 988.20 988.20 16 988.20 988.20 20 847.80 847.80 20 777.60 777.60 P&ID No: A0 319570200 Component List No: (Brush) 10 8,943.00 8,943.00 14 14,489.00 14,489.00 14 24,220.00 24,220.00 14 5,924.00 5,924.00 16 11,608.00 11,608.00 |
| --- | --- | --- | --- |

| RRE019570 0856 RRE019872 0875 RRE019872 0875 | Lube Oil Supply Duplex Filter Element DE Jacking Oil Pump Discharge Relief Valve NDE Jacking Oil Pump Discharge Relief Valve | 2 1 1 | 16 3,492.00 19 12,330.00 19 12,330.00 | 6,984.00 12,330.00 12,330.00 |
| --- | --- | --- | --- | --- |
| Controls System |  |  | P&ID No: Component List No: |  |
| E-01E-001-082 0036 RRE018658 0067 RRE018972 0150 E-04S-001-008 0153 E-01E-001-107 0190 RRE014502 0211 E-01E-001-103 0253 E-88E-108-103 0305 E-88E-058-009 0370 RRE014511 0410 E-88E-058-011 0411 RRE020296 0412 RRE007069 0540 RRE007113 0541 RRE007070 0601 RRE007063 0602 RRE007072 0603 RRE007065 0610 RRE007067 0611 RRE020911 0612 RRE007074 0613 | Fluorescent Lamp Thermostat Cabinet Heater Door Switch Enclosure Button Intrinsic Barrier Intrinsic Barrier Ethernet Switch PLC Computer PLC Computer PLC Computer PLC Computer PLC Computer PLC Computer (2-88E-058-227) PLC Computer Terminal Block PLC Computer PLC Computer PLC Computer PLC Computer PLC Computer | 2 1 1 1 1 1 1 1 1 1 1 1 2 1 1 4 2 1 1 1 1 | 8 24.00 15 120.00 4 1,510.00 6 60.00 5 126.00 13 590.00 7 207.00 8 1,071.00 6 2,500.00 8 3,222.00 6 864.00 6 3,222.00 7 297.00 4 12.00 7 1,311.00 6 252.00 7 250.00 7 385.00 7 437.00 7 530.00 7 2,122.00 | 48.00 120.00 1,510.00 60.00 126.00 590.00 207.00 1,071.00 2,500.00 3,222.00 864.00 3,222.00 594.00 12.00 1,311.00 1,008.00 500.00 385.00 437.00 530.00 2,122.00 |

| RRE007071 | 0615 |  | PLC Computer |  | 1 |  | 7 | 1,207.00 | 1,207.00 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RRE007073 | 0617 |  | PLC Computer |  | 1 |  | 6 | 1,602.00 | 1,602.00 |
| RRE014495 | 0618 |  | PLC Computer |  | 1 |  | 8 | 1,692.00 | 1,692.00 |
| RRE006592 | 0701 |  | Fire & Gas Controller |  | 1 |  | 7 | 13,350.00 | 13,350.00 |
| RRE005911 | 0702 |  | Ground Fault Monitor |  | 1 |  | 7 | 670.00 | 670.00 |
| RRE011063 | 1204 |  | LVDT Rail Card |  | 1 |  | 36 | 2,268.00 | 2,268.00 |
| RRE016676 | 1210 |  | Signal Conditioner |  | 1 |  | 13 | 1,750.00 | 1,750.00 |
| RRE013867 | 1212 |  | Signal Conditioner |  | 1 |  | 13 | 2,940.00 | 2,940.00 |
| RRE014510 | 1401 |  | PLC Non-C1D2 Relay |  | 4 |  | 8 | 22.90 | 91.60 |
| RRE027690 | 1475 |  | PLC Relay |  | 4 |  | 6 | 63.00 | 252.00 |
| E-01E-001-007 1476 |  |  |  | Safety Relay |  | 1 | 13 | 208.00 | 208.00 |
| RRE004192 | 1501 |  | Circuit Breaker |  | 1 |  | 6 | 107.00 | 107.00 |
| RRE007004 | 1511 |  | 125VDC Power Converter |  | 1 |  | 10 | 1,498.00 | 1,498.00 |
| E-01E-001-102 1513 |  |  |  | Power Converter |  | 1 | 8 | 470.00 | 470.00 |
| E-06C-001-008 1524 |  |  |  | Power Filter |  | 1 | 10 | 414.00 | 414.00 |
| G513-067C.B06 1596 |  |  |  | Component Carrier |  | 1 | 21 | 195.00 | 195.00 |
| G513-067C.B07 1597 |  |  |  | Component Carrier |  | 1 | 11 | 460.00 | 460.00 |
| 204E212510 |  | 1725 |  | Red Button |  | 1 | 7 | 290.00 | 290.00 |
| E-04S-635-002 1785 |  |  |  | Selector Switch |  | 1 | 6 | 200.00 | 200.00 |
| 204E212006 |  | 1795 |  | Contact Block |  | 1 | 7 | 170.00 | 170.00 |
| RRE004098 |  | 1810 |  | Feed Through Terminal |  | 6 | 14 | 1.50 | 9.00 |
| RRE004101 |  | 1811 |  | End Plate Terminal |  | 4 | 6 | 0.80 | 3.20 |
| RRE004100 |  | 1812 |  | Fused Disc Terminal |  | 6 | 12 | 16.00 | 96.00 |
| RRE014491 |  | 1818 |  | Disc Terminal |  | 6 | 6 | 5.50 | 33.00 |
| E-10E-111-016 1819 |  |  |  | Large Terminal |  | 1 | 8 | 20.00 | 20.00 |
| RRE026274 | 1828 |  | LED, 16A Terminal |  | 1 |  | 9 | 31.00 | 31.00 |

RRE007040 1861

RRE007041 1862

RRE007043 1863

RRE007044 1865

210E002601 1873

RRE019517 2006

RRE026181 2024 E544055A14 2301 ZE544055A10022302 ZE544055A20022303 ZE544055A30022305 ZE544055A40022306 ZE544055A50022307 ZE544055A52022308 ZE544055A54022309 ZE544055A19012310 ZE544055A190102313 ZE544055A190112314 ZE544001A541202316 210E172910 2351 E-10E-001-030 3301

RRE019515 3405

RRE019516 3406 G513-067C.B03 3410

Trent Engine

| L913635 | Valve - HP3 Bleed Air |
| --- | --- |
| AGS3707 | Insert -LPC Boroscope Plate |
| AGS3731 | Insert -IPC Boroscope Cover |

1A Fuse

2A Fuse

5A Fuse

10A Fuse

1.25” 15A Fuse

PLC Computer

Galvanic Separation Unit FT-55 Main Module 32DI Internal Module 16DO Internal Module 6FI Internal Module 12AO Internal Module 16AI Internal Module 12RTD Internal Module 16TC Internal Module 26C Cable 40C Cable 40C Cable Cold Junction Module Comms Module PLC Computer

PLC Computer

PLC Computer Component Carrier 1512 1212 1612 1012 812 61 7

1 1 30 1 27 1 27 1 19 1 26 1 26 1 26 1 26 1 13 1 13 1 13 1 20 18 1 33

61 5

1 1 24

Component List No:

0.52 6.24

76.00 912.00

76.00 912.00

32.00 384.00

0.94 11.28

300.00 300.00

1,278.00 1,278.00 19,476.00 19,476.00 1,116.00 1,116.00

756.00 756.00

666.00 666.00

540.00 540.00

792.00 792.00

594.00 594.00

594.00 594.00

139.00 139.00

199.00 199.00

281.00 281.00

216.00 216.00

57.20 57.20 5,284.00 5,284.00

1,230.00 1,230.00

510.00 510.00

261.00 261.00

P&ID No:

| 1 | 20 | 5,755.00 | 5,755.00 |
| --- | --- | --- | --- |
| 2 | 17 | 1.82 | 3.64 |
| 2 | 17 | 1.75 | 3.50 |

AS12943 AS43003-912 L9 - L12 inc AS43013-015 AS48538 AS60209 BLT5509 BLT5527 FK25134 FK25178 FK25179 TRN17116 LYB1440 M83248-1-910 TRN100728 TRN100729 TRN100809 TRN11787 TRN11969 TRN12204 TRN12690 TRN12702 TRN13851 TRN13924 TRN14179 TRN14521 TRN14574 TRN14575 TRN14800 TRN14880 TRN15141 TRN15142 TRN15154 TRN15742 TRN15848 TRN15849 TRN15850 TRN15851 TRN16214 TRN17301 TRN17302 TRN17303 Washer - Turb. Gas Temp (TGT) Thermocouple Debris Housing "O" Seal Seal - O-Ring, Chip Det Bolt - HP3 Bleed Air Valve Bolt -Intermediate Comp Boroscope Plug Bolt - (Borescope Cover) Bolt -IPT Boroscope Plug Plug – IPT Boroscope Plug Plug - Intermediate Comp Boroscope Cover - Boroscope IPC BOV - IP8 Clamp - V-Band, IP/LP TP, 2" O-Ring - Seal, QDM Injector - D/F WLE Injector - D/F WLE Hose - Diesel, WLE Seal - P30 Transducer Transducer - Vibration, Front & Centre Transducer - Vibration Rear Kit - Igniter Lead (4x18ft & 4x24ft Tagged) Valve – LP & VIGV Servo Actuator - LP Bleed Valve Probe - Thermocouple-T44 IP Turb Probe - Thermocouple-T25 IP Comp Actuator – LP Bleed Valve Plug - Boroscope LPT NGV Plug - Boroscope LPT NGV Probe - Inlet Temp, LP Comp T20 Probe – IP8 T/C Transducer - P30 Pressure, HP Comp Transducer - P30 Press Conditioner Transducer - CP103 Noise Probe Probe – RTD Hose – VIGV Retract Hose – VIGV Retract Hose – VIGV Extend Hose – VIGV Extend Plug, Igniter – WLE Thermocouple - Turb. Gas Temp (TGT) Thermocouple - Turb. Gas Temp (TGT) Thermocouple - Turb. Gas Temp (TGT)

36 5 5 24 2 2 2 1 1 1 1 1 5

23 3

24 3 2 1 1 1 2 1 1 2 1 1 1 1 1 2 1 1 1 2 1 2 4 1 1 1

17 17 17 17 17 17 17 17 17 17 24 23 17 60 60 32 23 32 29 16 30 24 38 22 34 20 24 17 23 17 24 25 34 34 34 21 34 22 32 32 32

1.30 46.80

8.63 43.15

4.79 23.95

9.47 227.28

33.50 67.00

29.20 58.40

5.72 11.44

196.20 196.20 2,606.40 2,606.40

259.20 259.20 4,778.00 4,778.00 1,809.00 1,809.00

14.70 73.50 19,489.00 448,247.00 19,080.00 57,240.00

740.00 17,760.00

136.00 408.00 10,557.00 21,114.00 10,430.00 10,430.00 15,075.00 15,075.00 56,789.00 56,789.00 13,029.00 26,058.00

2,348.00 2,348.00 5,296.00 5,296.00 18,505.00 37,010.00 3,279.00 3,279.00 3,279.00 3,279.00

11,938.00 11,938.00

557.00 557.00 4,477.00 4,477.00 1,619.00 3,238.00

33,227.00 	33,227.00 2,648.00 2,648.00

875.00 875.00 1,098.00 2,196.00

981.00 981.00 1,228.00 2,456.00 2,101.00 8,404.00 2,000.00 2,000.00 2,000.00 2,000.00 2,000.00 2,000.00

| TRN17304 | Thermocouple - Turb. Gas Temp (TGT) | 1 | 32 | 2,000.00 | 2,000.00 |
| --- | --- | --- | --- | --- | --- |
| TRN17305 | Thermocouple - Turb. Gas Temp (TGT) | 1 | 32 | 2,000.00 | 2,000.00 |
| TRN17306 | Thermocouple - Turb. Gas Temp (TGT) | 1 | 32 | 2,000.00 | 2,000.00 |
| TRN17307 | Thermocouple - Turb. Gas Temp (TGT) | 1 | 32 | 2,000.00 | 2,000.00 |
| TRN17308 | Thermocouple - Turb. Gas Temp (TGT) | 1 | 32 | 2,000.00 | 2,000.00 |
| TRN17309 | Thermocouple - Turb. Gas Temp (TGT) | 1 | 32 | 2,000.00 | 2,000.00 |
| TRN17349 | "C" Seal - Igniter Seal | 16 | 25 | 104.00 | 1,664.00 |
| TRN17349 | "C" Seal - Central Plug | 8 | 25 | 104.00 | 832.00 |
| TRN17440 | Igniter Module | 2 | 29 | 7,158.00 | 14,316.00 |
| TRN17444 | Probe - Thermocouple-T42 IP Turb | 1 | 30 | 4,277.00 | 4,277.00 |

Generator Fin Fan Cooler P&ID No:

| RRE028809 | 1451-INS-0038 | Discharge Pressure transmitter | 1 | 6 | 2,684.00 | 2,684.00 |
| --- | --- | --- | --- | --- | --- | --- |
| RRE028814 | 1451-INS-0039 | Temperature transmitter | 1 | 6 | 2,882.00 | 2,882.00 |
| RRE028859 | 2315-1018 | Vibration Cut Off Switch | 1 | 6 | 1,309.00 | 1,309.00 |
| RRE028860 | 14155-001-BELT | Drive belts dodge or Equiv | 3 | 6 | 256.00 | 768.00 |

Component List No:

Total (USD) 1,736,297.68