Class Purpose

To provide management, engineering, and maintenance personnel with LM6000 component and system familiarization.  Students will be trained to locate and identify all LM6000 components.  Students will be able to state component purpose and function and will be able to follow flow-paths on all LM6000 mechanical system prints.

Recommended Trainees

Personnel requiring general familiarization with the LM6000 Package, specifically in the areas of routine maintenance, on-site repair, operations, and performance.

Sections:

    - ABBREVIATIONS AND PRINT READING TERMS

    - POWER PLANT OVERVIEW

    - LM6000 ENGINE FUNDAMENTALS

    - LUBRICATION SYSTEMS

    - ENGINE AIR SYSTEMS

    - DUAL FUEL AND WATER INJECTION SYSTEMS

    - IGNITION SYSTEM

    - START SYSTEM

    - ENGINE AND GENERATOR VIBRATION SYSTEMS

    - FIRE PROTECTION SYSTEMS

    - GAS PATH CLEANING SYSTEM

    - PUBLICATIONS

    - MAINTENANCE OVERVIEW

    - BORESCOPE OVERVIEW

    - BOP SYSTEMS

Format

Formal classroom instruction using handouts, site mechanical prints, and component instructional aids.  Each session includes a formal site walk-down of each system during or after the classroom presentation.