Metal FumeFlo™

Worktable

# MANUAL NO. 8881-0996

# REV. A

## TABLE OF CONTENTS

Safety  …………………………………………………………………….	3

Introduction ………………………………………………………………	4

Specification. …………………………………………………………….	4

Features ………………………………………………………………….	4

Set-Up…………………………………………………………………….	5

Operation…………………………………………………………………           5

Maintenance ……………………………………………………………..	5

Warranty……………………………………………………………………	6

Equipment Registration Form …………………………………………..	7

##### WARNING

Read the safety & set-up information sections in this manual thoroughly before installing and using your fume extraction accessory.

## Safety

PACE Fume Extraction systems are designed to reduce the level of harmful contaminants from the work environment and to assist in the achievement of recommended health and safety requirements for local exhaust ventilation and contaminant removal.  Be sure to follow all safety guidelines contained herein and precautions contained in other relevant product safety literature (i.e., Material Safety Data Sheets) provided with the substances and equipment producing the fumes to be extracted.

Disclaimer

PACE hereby disclaims all responsibility for any personal injury, property damage, fine, citation or penalty imposed by any government or private entity which results from any use, misuse or mis-application of this product, failure of the user to regularly maintain the product according to the recommended guidelines, or failure to adequately monitor fume extraction exhaust air and the ambient workplace air for the presence of harmful levels of gases, fumes and particulates.

Compliance with all applicable environmental and personal safety regulations is the sole responsibility of the user and adequate self-monitoring of exhaust air released into the atmosphere or the workplace as well as monitoring of the ambient workplace air is strongly recommended.  To insure continued effective performance, the following guidelines must be followed.

Dangers

- PACE Fume Extractors are not intended to be used as a substitute for devices such as personal protective respirators which are designed to remove poorly adsorbed substances including carbon monoxide, methane, hydrogen, acetylene and other gases.  Risk of serious injury or death, fire or explosion may result from improper use.  If in doubt, contact your industrial hygienist or PACE.

- Never use PACE Fume Extraction Systems to extract fumes from highly flammable liquids and gases such as Ether, Gasoline (Petrol) and others.  Risk of serious injury, death, fire or explosion may result.

- High concentrations or airborne contaminants such as Methyl Ethyl Ketone, Cyclohexone, Ozone and others when contacted with activated carbon, can undergo oxidation, decomposition or polymerization resulting in exothermic reactions or heat generation.  PACE Fume Extraction Systems must not be used to extract fumes from these substances when high concentrations are present.

- Failure to comply with the application and maintenance guidelines, filter replacement schedules, monitoring recommendations and safety guidelines contained herein and in other relevant product safety literature (i.e., Material Safety Data Sheets) provided with the substances and equipment producing the fumes to be extracted could result in risk of serious injury, fire or explosion.

## Introduction

Solder Fume removal when hand soldering is an often-overlooked work place hazard.  Medical research has confirmed that there is an increase incidence of occupational asthma, chronic bronchitis, allergic reactions and other health related effects associated with exposure to solder/flux fumes in the electronics industry.

New from PACE an ESD safe, Self Contained, 2 in 1 Fume collection system for Benchtop Fume Removal, the Metal FumeFlo Worktable.

Fumes are removed via a combination of: Plenum Extraction or Downdraught/Pull Down methods.  The PACE Metal FumeFlo Worktable is placed on a standard bench and connected to a suitable Central Filtration Unit, having a flow rate of at least 90cfm.  The Metal FumeFlo Worktable is fitted with a heat resistant ESD safe work surface.  The fumes are “pulled down” through the work surface or through the Plenum and drawn into the Central Filter Unit, filtered and returned to the work environment as clean air.

Specifications

System Part Number 		8886-0220

Size H x W x D			105 x 455 x 620mm (4.1” x 17.9” x 24.4”)

Downdraught Area		410 x 310mm (16.1” x 12.2”)

Plenum H x W			95 x 450mm (3.7” x 17.7”)

Equipment Shelf W x D		450 x 190mm (17.7” x 7.5”)

Weight		       		4.8kg (10.7 lbs)

Housing			Steel chassis, Aluminium Chassis for ESD Work Pad

Inlet Diameter			75mm (3”)

## Features

Metal FumeFlo Worktable

1.	Worktable Plenum

2.	Worktable Downdraught Platform

3.	Plenum Selection Knobs

5

4.	Grounding Point(s)

5.	Hose Connection (at rear of unit)

1

2

3

4

Fig 1	Metal FumeFlo Worktable

Set up

This product has been designed for ease of use and maximum installation flexibility in mind.  Carefully remove from packaging and place on a suitable flat worksurface, ensuring that there is enough room at the rear to allow the connection to a Central Filter Unit, such as PACE’s FumeFlo Central Filtration Unit.  As  the outlet on the Metal FumeFlo Worktable is of 75mmØ, the Central Filter Unit selected should also have outlets of this size for optimum airflow performance.  Using the hosing supplied, connect one end to the outlet at the rear of the Worktable and secure using end-cuff provided.  Secure the other end to the inlet of the Central Filter Unit.  Connect the Central Filter Unit to an appropriate power outlet and switch on.

If the Metal FumeFlo  Worktable is to be used in an EPA, connect it to a common ground point via one of the 10mm studs attached to housing.

Plenum Operation

To select Plenum Extraction, move the Operation Selection Knobs counter-clockwise to loosen, open Plenum to desired position and turn Selection Knobs clockwise to secure.  (see fig 1).

Downdraught Operation

To select Downdraught Extraction, The Plenum opening must be in the closed position.  Once the Plenum is closed, all fumes are drawn through the worktable.

###### Maintenance

Housing:	The housing of the Metal FumeFlo Worktable is manufactured from heavy duty steel, which may require routine cleaning to remove any build up of particulates and flux fume residue.  We recommend the use of a mild, metal safe cleaner with a soft cloth to clean the unit, should it be required.

Fig 2:	Metal FumeFlo Worktable with FumeFlo Central Filtration Unit

Limited Warranty

Seller warrants to the first user that products manufactured by it and supplied hereunder are free of defects in materials and workmanship for a period of three (3) years from the date of receipt by such user. This Warranty as applied to blowers and motor pumps is limited to a period of one (1) year. Monitors, computers and other brand equipment supplied by not manufactured by PACE are covered by their respective manufacturer’s warranty in lieu of this Warranty.

This warranty does not cover wear and tear under normal use, repair or replacement required as a result of misuse, improper application, mishandling or improper storage.  Consumable items such as tips, heaters, filters, etc. which wear out under normal use are excluded.  Failure to perform recommended routine maintenance, alterations or repairs made other than in accordance with Seller’s directions, or removal or alteration of identification markings in any way will void this warranty. This warranty is available only to the first user, but the exclusions and limitations herein apply to all persons and entities.

SELLER MAKES NO OTHER WARRANTY, EXPRESS OR IMPLIED, AND MAKES NO WARRANTY OF MERCHANTABILITY OR FITNESS FOR A PARTICULAR PURPOSE.

Seller will, at its option, repair or replace any defective products at its facility or other location approved by it at no charge to user, or provide parts without charge for installation by the user in the field at user’s expense and risk.  User will be responsible for all costs of shipping equipment to Seller or other location for warranty service.

EXCEPT FOR THE REMEDY ABOVE DESCRIBED, UNLESS OTHERWISE REQUIRED BY APPLICABLE LAW, SELLER WILL HAVE NO OTHER OBLIGATION WITH REGARD TO ANY BREACH OF WARRANTY OR OTHER CLAIM WITH RESPECT TO THE PRODUCTS, OR LIABILITY FOR ANY DIRECT, INDIRECT, CONSEQUENTIAL, OR INCIDENTAL LOSS OR DAMAGE CAUSED BY OR OCCURRING IN CONNECTION WITH ANY OF THE PRODUCTS.

Warranty service may be obtained by contacting the appropriate PACE Company or local Authorized PACE distributor as set forth below to determine if return of any item is required, or if repairs can be made by the user in the field.

For PACE USA Customers:			For PACE Europe Customers:

PACE, INCORPORATED			PACE EUROPE LIMITED

9030 Junction Drive				Sherbourne House, Sherbourne Drive

Annapolis Junction, Maryland 20701		Tilbrook, Milton Keynes

Tel.  301-317-3588 				MK7 8HX

FAX:	301-498-3252				United Kingdom

Tel: (44) 1908 277666

WARRANTY SERVICE FAX: (44) 1908 277777

For all other Customers:

Local Authorized PACE Distributor

Defective products may not be returned to PACE without a Service Authorization (“SA”) Number.

Any warranty or other claim with respect to the products must be made in writing delivered to PACE (or local Authorized PACE distributor for Buyers outside the USA and the United Kingdom) within a reasonable time of the expiration date of this warranty with sufficient evidence of purchase and date of receipt, otherwise user’s rights under this warranty shall be deemed waived.

To register your purchase with PACE, fill in the form below and mail or FAX to the applicable PACE address listed above.

EQUIPMENT WARRANTY REGISTRATION CARD

Date

Model No.			 	Serial No.			Of Receipt

Purchased from

Company Name

Mailing Address

Telephone number with area code

Fax Number with area code

Internet Address

Full Name

Authorized Signature, Title

www.paceworldwide.com